## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PYRENE | 4433 | 34469GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.7625 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.64787 | PYRENE | . | 0.02 | 0.494 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 0.93031 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.5909 | PYRENE | . | 0.02 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93031 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.85401 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.62528 | PYRENE | . | 0.02 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85401 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.83869 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.5977 | PYRENE | . | 0.02 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83869 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 0.83883 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.6366 | PYRENE | . | 0.02 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83883 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.89538 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.5464 | PYRENE | . | 0.02 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89538 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.73044 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.6366 | PYRENE | . | 0.02 | 0.465 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73044 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.94251 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.5915 | PYRENE | . | 0.02 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94251 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.0116 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.6366 | PYRENE | . | 0.02 | 0.644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0116 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.84826 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.5915 | PYRENE | . | 0.02 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84826 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86526 | 0.083722 | 0.85114 | 0.091623 | 0.067919
PYRENE | 4433 | 34469GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.0417 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3984 | PYRENE | . | 0.02 | 0.415 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0417 |  | 1.0417 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.7602 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.62615 | PYRENE | . | 0.02 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7602 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 0.91949 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.62099 | PYRENE | . | 0.02 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91949 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.80975 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.5193 | PYRENE | . | 0.02 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80975 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.71338 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.584 | PYRENE | . | 0.02 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71338 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.89489 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.6336 | PYRENE | . | 0.02 | 0.567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89489 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.55682 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.584 | PYRENE | E | 0.02 | 0.882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55682 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.81676 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.5344 | PYRENE | . | 0.02 | 2.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81676 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.84438 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.6336 | PYRENE | . | 0.02 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84438 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.82071 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.584 | PYRENE | . | 0.02 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82071 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.62342 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.5344 | PYRENE | . | 0.02 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62342 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77598 | 0.11532 | 0.81326 | 0.131 | 0.097107
PYRENE | 4433 | 34469GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.5997 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.82041 | PYRENE | . | 0.2 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5997 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.77626 | 0.17119 | 0.78758 | 0.34182 | 0.25339
PYRENE | 4433 | 34469GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.78758 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.6506 | PYRENE | . | 0.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78758 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.77626 | 0.17119 | 0.78758 | 0.34182 | 0.25339
PYRENE | 4433 | 34469GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.94152 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.42272 | PYRENE | . | 0.2 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94152 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.77626 | 0.17119 | 0.78758 | 0.34182 | 0.25339
PYRENE | 4433 | 34469GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.04 | PYRENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.97 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.1 | PYRENE | . | 0.02 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97 |  | 0.97 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.85 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.04 | PYRENE | . | 0.02 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85 |  | 0.85 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.1 | PYRENE | . | 0.02 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.8025 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.4 | PYRENE | . | 0.02 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8025 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8025 |  | 0.8025 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.865 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.2 | PYRENE | . | 0.02 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.865 |  | 0.865 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.71 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.4 | PYRENE | . | 0.02 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71 |  | 0.71 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.2 | PYRENE | . | 0.02 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94 |  | 0.94 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.75216 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.42145 | PYRENE | . | 0.2 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75216 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6654 | 0.090545 | 0.67515 | 0.14935 | 0.11071
PYRENE | 4433 | 34469GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.62233 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.82753 | PYRENE | . | 0.2 | 0.515 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62233 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6654 | 0.090545 | 0.67515 | 0.14935 | 0.11071
PYRENE | 4433 | 34469GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.55911 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.6973 | PYRENE | . | 0.2 | 0.949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55911 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6654 | 0.090545 | 0.67515 | 0.14935 | 0.11071
PYRENE | 4433 | 34469GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.72798 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.85442 | PYRENE | . | 0.2 | 0.622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72798 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6654 | 0.090545 | 0.67515 | 0.14935 | 0.11071
PYRENE | 4433 | 34469GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.77035 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11943 | PYRENE | E | 0.2 | 0.092 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77035 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.79936 | 0.041027 | 0.79936 | 0.058022 | 0.043011
PYRENE | 4433 | 34469GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.82837 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.12193 | PYRENE | E | 0.2 | 0.101 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82837 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.79936 | 0.041027 | 0.79936 | 0.058022 | 0.043011
PYRENE | 4433 | 34469GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1318 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.10073 | PYRENE | . | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1318 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0878 | 0.062255 | 1.0878 | 0.088042 | 0.065265
PYRENE | 4433 | 34469GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0437 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | PYRENE | . | 0.02 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0878 | 0.062255 | 1.0878 | 0.088042 | 0.065265
PYRENE | 4433 | 34469GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0843 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1992 | PYRENE | . | 0.02 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0843 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95131 | 0.18814 | 0.95131 | 0.26606 | 0.19723
PYRENE | 4433 | 34469GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.81827 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1992 | PYRENE | . | 0.02 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81827 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95131 | 0.18814 | 0.95131 | 0.26606 | 0.19723
PYRENE | 4433 | 34469GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.82706 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 0.7968 | PYRENE | . | 0.02 | 0.659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82706 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82769 | 0.00088743 | 0.82769 | 0.001255 | 0.00093033
PYRENE | 4433 | 34469GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.82831 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 0.3984 | PYRENE | . | 0.02 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82831 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82769 | 0.00088743 | 0.82769 | 0.001255 | 0.00093033
PYRENE | 4433 | 34469GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.785 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.2 | PYRENE | . | 0.02 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.785 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.785 |  | 0.785 | 0 | 0
PYRENE | 4433 | 34469GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.04 | PYRENE | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0