## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.43734 | Accu | 209081217 | Accu 209081217: 20 µl | 0.38186 | TETRACHLORETHYLENE | E | 0.4 | 0.167 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.43734 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.48459 | 0.040932 | 0.50718 | 0.071907 | 0.053304
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-05-12 | 2009-10-01 | 2010-09-30 | ug/L | 0.50718 | Accu | 209081217 | Accu 209081217: 40 µl | 0.836 | TETRACHLORETHYLENE | E | 0.4 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50718 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.48459 | 0.040932 | 0.50718 | 0.071907 | 0.053304
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.50925 | Accu | 209081217 | Accu 209081217: 80 µl | 1.5552 | TETRACHLORETHYLENE | E | 0.4 | 0.792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50925 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.48459 | 0.040932 | 0.50718 | 0.071907 | 0.053304
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.60622 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.9135 | TETRACHLORETHYLENE | E | 0.16 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60622 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.60622 |  | 0.60622 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.54688 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.384 | TETRACHLORETHYLENE | E | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54688 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.54688 |  | 0.54688 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.575 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2 | TETRACHLORETHYLENE | E | 0.16 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.575 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.575 |  | 0.575 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.488 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | TETRACHLORETHYLENE | E | 0.16 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.488 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Estimated Values | Y | 2 |  | 1 | 0.488 |  | 0.488 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.66597 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.3814 | TETRACHLORETHYLENE | E | 0.16 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66597 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.66597 |  | 0.66597 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.498 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TETRACHLORETHYLENE | E | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.498 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.549 | 0.072125 | 0.549 | 0.102 | 0.075612
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TETRACHLORETHYLENE | E | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.549 | 0.072125 | 0.549 | 0.102 | 0.075612
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.51496 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.6331 | TETRACHLORETHYLENE | E | 0.16 | 0.841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51496 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 0.54882 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.65778 | TETRACHLORETHYLENE | E | 0.16 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54882 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.48171 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.656 | TETRACHLORETHYLENE | E | 0.16 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48171 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.59832 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.624 | TETRACHLORETHYLENE | E | 0.16 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59832 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.60518 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.656 | TETRACHLORETHYLENE | E | 0.16 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60518 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.53354 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.624 | TETRACHLORETHYLENE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53354 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.62805 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.64 | TETRACHLORETHYLENE | E | 0.16 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62805 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.54116 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.656 | TETRACHLORETHYLENE | E | 0.16 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54116 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.58232 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.64 | TETRACHLORETHYLENE | E | 0.16 | 0.955 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58232 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.81174 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 2.624 | TETRACHLORETHYLENE | E | 0.16 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81174 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.58458 | 0.091475 | 0.56557 | 0.071646 | 0.053111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.46617 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.5102 | TETRACHLORETHYLENE | E | 0.4 | 0.704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46617 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.50899 | 0.09058 | 0.47783 | 0.11279 | 0.083613
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.43903 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.37128 | TETRACHLORETHYLENE | E | 0.4 | 0.163 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.43903 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.50899 | 0.09058 | 0.47783 | 0.11279 | 0.083613
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.6413 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.76252 | TETRACHLORETHYLENE | E | 0.4 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6413 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.50899 | 0.09058 | 0.47783 | 0.11279 | 0.083613
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-09-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.48948 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.77837 | TETRACHLORETHYLENE | E | 0.4 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48948 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.50899 | 0.09058 | 0.47783 | 0.11279 | 0.083613
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.57682 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.3814 | TETRACHLORETHYLENE | E | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57682 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.57682 |  | 0.57682 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.59167 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.96 | TETRACHLORETHYLENE | E | 0.16 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59167 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.59167 |  | 0.59167 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.556 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | TETRACHLORETHYLENE | E | 0.16 | 0.556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.556 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.556 |  | 0.556 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.636 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | TETRACHLORETHYLENE | E | 0.16 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.636 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.636 |  | 0.636 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.49717 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | TETRACHLORETHYLENE | E | 0.4 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49717 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.51309 | 0.022515 | 0.51309 | 0.031841 | 0.023603
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.52901 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | TETRACHLORETHYLENE | E | 0.4 | 0.516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52901 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.51309 | 0.022515 | 0.51309 | 0.031841 | 0.023603
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 0.72723 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | TETRACHLORETHYLENE | E | 0.16 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72723 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.73705 | 0.013894 | 0.73705 | 0.019649 | 0.014566
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.74687 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | TETRACHLORETHYLENE | E | 0.16 | 0.956 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74687 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.73705 | 0.013894 | 0.73705 | 0.019649 | 0.014566
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.692 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | TETRACHLORETHYLENE | E | 0.16 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.692 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.609 | 0.11738 | 0.609 | 0.166 | 0.12305
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.526 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | TETRACHLORETHYLENE | E | 0.16 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.526 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.609 | 0.11738 | 0.609 | 0.166 | 0.12305
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.74463 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.907 | TETRACHLORETHYLENE | E | 0.16 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74463 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.74463 |  | 0.74463 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.63802 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.384 | TETRACHLORETHYLENE | E | 0.16 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63802 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63802 |  | 0.63802 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.484 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | TETRACHLORETHYLENE | E | 0.16 | 0.968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.484 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.484 |  | 0.484 | 0 | 0
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.41766 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64167 | TETRACHLORETHYLENE | E | 0.16 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41766 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.70584 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.64321 | TETRACHLORETHYLENE | E | 0.16 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70584 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.611 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5532 | TETRACHLORETHYLENE | E | 0.16 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.611 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.48959 | Supelco | LB77171 | Supelco LB77171: 80 µl | 2.5736 | TETRACHLORETHYLENE | E | 0.16 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48959 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.54088 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6434 | TETRACHLORETHYLENE | E | 0.16 | 0.348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54088 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.56077 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.6085 | TETRACHLORETHYLENE | E | 0.16 | 0.902 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56077 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54865 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6434 | TETRACHLORETHYLENE | E | 0.16 | 0.353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54865 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111
TETRACHLORETHYLENE | 4433 | 34475GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.62481 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.6434 | TETRACHLORETHYLENE | E | 0.16 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62481 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.5624 | 0.087617 | 0.55471 | 0.10267 | 0.076111