## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRICLOSAN | 4433 | 61708GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.0425 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.56401 | TRICLOSAN | . | 0.32 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0425 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.2203 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3849 | TRICLOSAN | . | 0.32 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2203 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 1.3337 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.54435 | TRICLOSAN | E | 0.32 | 0.726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3337 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.82679 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3909 | TRICLOSAN | . | 0.32 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82679 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 1.1674 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5542 | TRICLOSAN | . | 0.32 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1674 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.92476 | Abs | 090910WW | Abs 090910WW: 80 µl | 2.2168 | TRICLOSAN | . | 0.32 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92476 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97618 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5542 | TRICLOSAN | . | 0.32 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97618 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.1765 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3855 | TRICLOSAN | . | 0.32 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1765 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.2017 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.5542 | TRICLOSAN | . | 0.32 | 0.666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2017 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0177 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.3855 | TRICLOSAN | . | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0177 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0888 | 0.15611 | 1.105 | 0.22555 | 0.1672
TRICLOSAN | 4433 | 61708GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.73749 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.6712 | TRICLOSAN | . | 0.32 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73749 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73749 |  | 0.73749 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.8852 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 7.84 | TRICLOSAN | . | 0.32 | 6.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8852 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8852 |  | 0.8852 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.90065 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.54294 | TRICLOSAN | . | 0.32 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90065 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 1.1737 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.53847 | TRICLOSAN | . | 0.32 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.97505 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.1845 | TRICLOSAN | . | 0.32 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97505 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.77175 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.3735 | TRICLOSAN | . | 0.32 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77175 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.2013 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5494 | TRICLOSAN | . | 0.32 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2013 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.53149 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.3735 | TRICLOSAN | E | 0.32 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53149 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95104 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.1976 | TRICLOSAN | . | 0.32 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95104 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.103 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.5494 | TRICLOSAN | . | 0.32 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.103 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0411 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.3735 | TRICLOSAN | . | 0.32 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0411 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.80997 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 2.1976 | TRICLOSAN | . | 0.32 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80997 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94591 | 0.20395 | 0.96305 | 0.29305 | 0.21723
TRICLOSAN | 4433 | 61708GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.63233 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.7164 | TRICLOSAN | . | 0.2 | 0.453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63233 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90036 | 0.24021 | 0.97256 | 0.46386 | 0.34385
TRICLOSAN | 4433 | 61708GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0962 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.4414 | TRICLOSAN | . | 0.2 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0962 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90036 | 0.24021 | 0.97256 | 0.46386 | 0.34385
TRICLOSAN | 4433 | 61708GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.97256 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.36913 | TRICLOSAN | . | 0.2 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97256 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90036 | 0.24021 | 0.97256 | 0.46386 | 0.34385
TRICLOSAN | 4433 | 61708GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.97401 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.654 | TRICLOSAN | . | 0.32 | 0.637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97401 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.97401 |  | 0.97401 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.63688 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 6.626 | TRICLOSAN | E | 0.32 | 4.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63688 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.63688 |  | 0.63688 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.85204 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.96 | TRICLOSAN | . | 0.32 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85204 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90816 | 0.079369 | 0.90816 | 0.11224 | 0.083206
TRICLOSAN | 4433 | 61708GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96429 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 1.96 | TRICLOSAN | . | 0.32 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96429 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90816 | 0.079369 | 0.90816 | 0.11224 | 0.083206
TRICLOSAN | 4433 | 61708GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0791 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 3.92 | TRICLOSAN | . | 0.32 | 4.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0791 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0791 |  | 1.0791 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.74006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.654 | TRICLOSAN | . | 0.32 | 0.484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74006 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74006 |  | 0.74006 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0012 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.678 | TRICLOSAN | . | 0.32 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0012 |  | 1.0012 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0663 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 1.96 | TRICLOSAN | . | 0.32 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0663 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0663 |  | 1.0663 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 2 | TRICLOSAN | . | 0.32 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.84893 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.36752 | TRICLOSAN | . | 0.2 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84893 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7846 | 0.21346 | 0.87676 | 0.25275 | 0.18736
TRICLOSAN | 4433 | 61708GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.91736 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.72164 | TRICLOSAN | E | 0.2 | 0.662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91736 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7846 | 0.21346 | 0.87676 | 0.25275 | 0.18736
TRICLOSAN | 4433 | 61708GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.46752 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.4801 | TRICLOSAN | . | 0.2 | 0.692 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46752 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7846 | 0.21346 | 0.87676 | 0.25275 | 0.18736
TRICLOSAN | 4433 | 61708GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.90459 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.74509 | TRICLOSAN | . | 0.2 | 0.674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90459 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7846 | 0.21346 | 0.87676 | 0.25275 | 0.18736
TRICLOSAN | 4433 | 61708GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.68033 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | TRICLOSAN | . | 0.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68033 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.80407 | 0.17499 | 0.80407 | 0.24748 | 0.18345
TRICLOSAN | 4433 | 61708GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.92781 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | TRICLOSAN | . | 0.2 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92781 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.80407 | 0.17499 | 0.80407 | 0.24748 | 0.18345
TRICLOSAN | 4433 | 61708GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.03 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | TRICLOSAN | . | 0.32 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.96033 | 0.098574 | 0.96033 | 0.1394 | 0.10334
TRICLOSAN | 4433 | 61708GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.89062 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | TRICLOSAN | . | 0.32 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89062 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.96033 | 0.098574 | 0.96033 | 0.1394 | 0.10334
TRICLOSAN | 4433 | 61708GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8175 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 8 | TRICLOSAN | . | 0.32 | 6.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8175 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77875 | 0.054801 | 0.77875 | 0.0775 | 0.05745
TRICLOSAN | 4433 | 61708GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 4 | TRICLOSAN | . | 0.32 | 2.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77875 | 0.054801 | 0.77875 | 0.0775 | 0.05745
TRICLOSAN | 4433 | 61708GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.7575 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 8 | TRICLOSAN | . | 0.32 | 6.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7575 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7575 |  | 0.7575 | 0 | 0
TRICLOSAN | 4433 | 61708GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.065 | Supelco | LB92782 | Supelco LB92782: 20 µl | 2 | TRICLOSAN | . | 0.32 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.065 |  | 1.065 | 0 | 0