## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.256 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.256 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.256 |  | 0.256 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.68674 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.92611 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68674 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.1984 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.37301 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1984 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 0.93414 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.488 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93414 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.76882 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.372 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76882 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.85349 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.488 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85349 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.84409 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.93 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84409 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0511 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.372 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0511 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.96559 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.93 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.898 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96559 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.9543 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.488 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9543 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9174 | 0.15228 | 0.93414 | 0.12151 | 0.090071
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.77 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.77 |  | 0.77 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.896 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.25 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.896 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.896 |  | 0.896 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.63 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.63 |  | 0.63 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.308 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 0.25 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.308 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.308 |  | 0.308 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.693 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.693 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.693 |  | 0.693 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.654 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.654 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.654 |  | 0.654 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.626 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.626 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.626 |  | 0.626 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.908 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.908 |  | 0.908 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.66987 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66987 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71426 | 0.062782 | 0.71426 | 0.088787 | 0.065817
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.75865 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.2 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75865 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.71426 | 0.062782 | 0.71426 | 0.088787 | 0.065817
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.514 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.514 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2273 | 0.40545 | 1.2273 | 0.57339 | 0.42505
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.94063 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.301 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94063 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2273 | 0.40545 | 1.2273 | 0.57339 | 0.42505
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.4825 | Restek | A070024 | Restek A070024: 20 µl | 0.42072 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4825 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55662 | 0.16741 | 0.58419 | 0.20441 | 0.15153
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.68692 | Restek | A070024 | Restek A070024: 40 µl | 0.86473 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68692 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55662 | 0.16741 | 0.58419 | 0.20441 | 0.15153
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.30814 | Restek | A070024 | Restek A070024: 80 µl | 1.6875 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.2 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30814 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.55662 | 0.16741 | 0.58419 | 0.20441 | 0.15153
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.58419 | Restek | A070024 | Restek A070024: 20 µl | 0.43136 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.252 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58419 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55662 | 0.16741 | 0.58419 | 0.20441 | 0.15153
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.72132 | Restek | A070024 | Restek A070024: 40 µl | 0.84012 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72132 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.55662 | 0.16741 | 0.58419 | 0.20441 | 0.15153
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.304 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.304 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.266 | 0.05374 | 0.266 | 0.076 | 0.056338
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.228 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.228 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.266 | 0.05374 | 0.266 | 0.076 | 0.056338
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.2185 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2185 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.20325 | 0.021567 | 0.20325 | 0.0305 | 0.022609
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.188 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.188 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.20325 | 0.021567 | 0.20325 | 0.0305 | 0.022609
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.502 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.5 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.502 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.502 |  | 0.502 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.92 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.1 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92 |  | 0.92 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.69393 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3718 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69393 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.94986 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.37269 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.04 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94986 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.79088 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.4794 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.04 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79088 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 1.026 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.4912 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.026 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.92006 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3728 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92006 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.80472 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.932 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80472 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.853 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3728 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.853 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.84764 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.3728 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.04 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84764 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.86076 | 0.10341 | 0.85032 | 0.13716 | 0.10167
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.57 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.85789 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.36939 | 0.21474 | 0.39633 | 0.35381 | 0.26228
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.52259 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.41715 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.2 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52259 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.36939 | 0.21474 | 0.39633 | 0.35381 | 0.26228
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.11491 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.87027 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.2 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11491 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.36939 | 0.21474 | 0.39633 | 0.35381 | 0.26228
TRIETHYL CITRATE (ETHYL CITRATE) | 4433 | 62833GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.27006 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.7959 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.2 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27006 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.36939 | 0.21474 | 0.39633 | 0.35381 | 0.26228