## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.66376 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 0.8015 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66376 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.66376 |  | 0.66376 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.7125 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.16 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7125 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7125 |  | 0.7125 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.8752 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.0224 | TRIPHENYL_PHOSPHATE | . | 0.08 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8752 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8752 |  | 0.8752 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.84256 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0112 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84256 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84256 |  | 0.84256 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.87173 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.1606 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87173 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.87173 |  | 0.87173 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.806 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.806 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.889 | 0.11738 | 0.889 | 0.166 | 0.12305
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.972 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.486 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.972 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.889 | 0.11738 | 0.889 | 0.166 | 0.12305
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.79745 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.50787 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79745 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.1831 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.20455 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1831 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.78922 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.204 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78922 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.0453 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.816 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.853 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0453 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0098 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.204 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0098 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.96936 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.816 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.791 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96936 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95686 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.51 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95686 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0686 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.204 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0686 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.9451 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.51 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9451 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.0294 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 0.816 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0294 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.97943 | 0.11939 | 0.98958 | 0.10025 | 0.074311
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.95268 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.1606 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95268 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.95268 |  | 0.95268 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.4 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86729 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0112 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86729 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86729 |  | 0.86729 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.789 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | TRIPHENYL_PHOSPHATE | E | 0.08 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.789 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.789 |  | 0.789 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.77453 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | TRIPHENYL_PHOSPHATE | . | 0.2 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77453 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83836 | 0.090262 | 0.83836 | 0.12765 | 0.094626
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.90218 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | TRIPHENYL_PHOSPHATE | . | 0.2 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90218 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83836 | 0.090262 | 0.83836 | 0.12765 | 0.094626
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0921 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0921 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0273 | 0.091627 | 1.0273 | 0.12958 | 0.096056
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.9625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0273 | 0.091627 | 1.0273 | 0.12958 | 0.096056
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.69815 | Restek | A070024 | Restek A070024: 20 µl | 0.10027 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69815 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.79258 | 0.21137 | 0.84908 | 0.27234 | 0.20189
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.97049 | Restek | A070024 | Restek A070024: 40 µl | 0.20608 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97049 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.79258 | 0.21137 | 0.84908 | 0.27234 | 0.20189
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.47244 | Restek | A070024 | Restek A070024: 80 µl | 0.40217 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47244 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.79258 | 0.21137 | 0.84908 | 0.27234 | 0.20189
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.97275 | Restek | A070024 | Restek A070024: 20 µl | 0.1028 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97275 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.79258 | 0.21137 | 0.84908 | 0.27234 | 0.20189
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84908 | Restek | A070024 | Restek A070024: 40 µl | 0.20022 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84908 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.79258 | 0.21137 | 0.84908 | 0.27234 | 0.20189
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.9553 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5056 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9553 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81388 | 0.19999 | 0.81388 | 0.28283 | 0.20966
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.67247 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5056 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67247 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81388 | 0.19999 | 0.81388 | 0.28283 | 0.20966
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.54296 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 0.803 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.436 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54296 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.54296 |  | 0.54296 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.16 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.69 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | TRIPHENYL_PHOSPHATE | . | 0.08 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69 |  | 0.69 | 0 | 0
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.72745 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.20345 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72745 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.89242 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.20394 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89242 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.92153 | Supelco | LB77171 | Supelco LB77171: 80 µl | 0.80952 | TRIPHENYL_PHOSPHATE | E | 0.08 | 0.746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92153 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.83088 | Supelco | LB77171 | Supelco LB77171: 80 µl | 0.816 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83088 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.97059 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.204 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97059 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.82353 | Supelco | LB77171 | Supelco LB77171: 50 µl | 0.51 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82353 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.94608 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.204 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94608 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.88235 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.204 | TRIPHENYL_PHOSPHATE | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87435 | 0.078445 | 0.88739 | 0.1066 | 0.07902
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.77953 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.20525 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77953 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.57064 | 0.20555 | 0.58342 | 0.33961 | 0.25175
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.70137 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.099805 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.70137 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.57064 | 0.20555 | 0.58342 | 0.33961 | 0.25175
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.33619 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.20821 | TRIPHENYL_PHOSPHATE | E | 0.2 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33619 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.57064 | 0.20555 | 0.58342 | 0.33961 | 0.25175
TRIPHENYL PHOSPHATE | 4433 | 62834GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.46548 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.42967 | TRIPHENYL_PHOSPHATE | . | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46548 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.57064 | 0.20555 | 0.58342 | 0.33961 | 0.25175