## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.69277 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 1.328 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69277 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.69277 |  | 0.69277 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 12 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 10.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.91406 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 1.28 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91406 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Estimated Values | Y | 2 |  | 1 | 0.91406 |  | 0.91406 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.57055 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 13.04 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 7.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57055 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.57055 |  | 0.57055 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.93667 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93667 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.99833 | 0.08721 | 0.99833 | 0.12333 | 0.091426
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.06 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 3 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.99833 | 0.08721 | 0.99833 | 0.12333 | 0.091426
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.1233 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 6 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 6.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | Crescent 05BB045 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.1233 |  | 1.1233 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.95085 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.95598 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.909 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95085 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 2.0154 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.38504 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.776 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601 | 2
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.96875 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.384 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.372 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96875 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.3932 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.536 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3932 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.1823 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.384 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.454 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1823 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0807 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.536 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0807 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 1.0344 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.96 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.993 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.3464 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.384 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.517 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3464 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 1 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.4375 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 0.96 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4375 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 1.3281 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.536 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3281 | Crescent 06MM136 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.2722 | 0.31215 | 1.2552 | 0.35885 | 0.26601
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.74141 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 1.28 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.949 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74141 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.74141 |  | 0.74141 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.97289 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 3.32 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97289 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.97289 |  | 0.97289 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.82667 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 3 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82667 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.82667 |  | 0.82667 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.87708 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 3.01 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87708 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.87708 |  | 0.87708 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.7222 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8217 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 2.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7222 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.84807 | 0.17801 | 0.84807 | 0.25175 | 0.18662
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.97395 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.9016 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97395 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.84807 | 0.17801 | 0.84807 | 0.25175 | 0.18662
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.1169 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2232 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1169 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.0506 | 0.093709 | 1.0506 | 0.13253 | 0.098239
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.98438 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 5.12 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 5.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98438 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.0506 | 0.093709 | 1.0506 | 0.13253 | 0.098239
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.5845 | Restek | A070024 | Restek A070024: 20 µl | 0.22412 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5845 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.93711 | 0.37525 | 1.0705 | 0.54389 | 0.40318
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.3893 | Restek | A070024 | Restek A070024: 40 µl | 0.46065 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3893 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.93711 | 0.37525 | 1.0705 | 0.54389 | 0.40318
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.51281 | Restek | A070024 | Restek A070024: 80 µl | 0.89897 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51281 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.93711 | 0.37525 | 1.0705 | 0.54389 | 0.40318
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0705 | Restek | A070024 | Restek A070024: 20 µl | 0.22979 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0705 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.93711 | 0.37525 | 1.0705 | 0.54389 | 0.40318
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.1284 | Restek | A070024 | Restek A070024: 40 µl | 0.44754 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1284 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.93711 | 0.37525 | 1.0705 | 0.54389 | 0.40318
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.77824 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 12.04 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 9.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77824 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.72384 | 0.076936 | 0.72384 | 0.1088 | 0.080655
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.66944 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 6.02 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 4.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66944 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.72384 | 0.076936 | 0.72384 | 0.1088 | 0.080655
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.70266 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 12.04 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 8.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70266 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.70266 |  | 0.70266 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.75249 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.43323 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.326 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75249 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.83589 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.43427 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.363 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83589 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.0848 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.7238 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0848 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.99563 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.7376 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99563 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.3076 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4344 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.568 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3076 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.88398 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.086 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88398 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.96455 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4344 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 0.419 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96455 | Supelco LB77171 | [9 empty] | Y | Estimated Values | Y | 1 |  | 7 | 0.97498 | 0.18273 | 0.96455 | 0.24892 | 0.18452
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.1229 | Supelco | LB92782 | Supelco LB92782: 20 µl | 3.01 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.64 | 3.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1229 | Supelco LB92782 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.1229 |  | 1.1229 | 0 | 0
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1203 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.45701 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1203 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.61802 | 0.42603 | 0.59283 | 0.68529 | 0.508
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.801 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.22222 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.801 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.61802 | 0.42603 | 0.59283 | 0.68529 | 0.508
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.16609 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.4636 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16609 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.61802 | 0.42603 | 0.59283 | 0.68529 | 0.508
TRIS(2-BUTOXYETHYL)PHOSPHATE | 4433 | 62830GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.38466 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.95668 | TRIS(2-BUTOXYETHYL)PHOSPHATE | E | 0.2 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38466 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.61802 | 0.42603 | 0.59283 | 0.68529 | 0.508