## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.72546 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.406 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72546 | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.72546 |  | 0.72546 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.72695 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.282 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72695 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72695 |  | 0.72695 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.77061 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2.1152 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77061 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77061 |  | 0.77061 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-05-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.7952 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 1.0576 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7952 | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7952 |  | 0.7952 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.87019 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2804 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87019 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.87019 |  | 0.87019 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.902 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.902 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97 | 0.096167 | 0.97 | 0.136 | 0.10082
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.038 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.038 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97 | 0.096167 | 0.97 | 0.136 | 0.10082
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.84023 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.0307 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.866 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84023 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-04-14 | 2011-02-01 | 2011-09-30 | ug/L | 1.0937 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.41512 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0937 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.78986 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.414 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78986 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.0205 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.656 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.88889 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.414 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-01-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.86353 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.656 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86353 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.95556 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.035 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.989 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0773 | Crescent | 06MM136 | Crescent 06MM136: 20 µl | 0.414 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 0.96618 | Crescent | 06MM136 | Crescent 06MM136: 50 µl | 1.035 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96618 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-07-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.99638 | Crescent | 06MM136 | Crescent 06MM136: 80 µl | 1.656 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99638 | Crescent 06MM136 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.94921 | 0.10174 | 0.96087 | 0.157 | 0.11639
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-09-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.93438 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2804 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93438 | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93438 |  | 0.93438 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.81844 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.705 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.577 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81844 | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81844 |  | 0.81844 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.8056 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 1.0576 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8056 | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8056 |  | 0.8056 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-12-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.762 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 1 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.762 | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.762 |  | 0.762 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.70964 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95541 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.678 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70964 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83154 | 0.1724 | 0.83154 | 0.2438 | 0.18073
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.95344 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.97541 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95344 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.83154 | 0.1724 | 0.83154 | 0.2438 | 0.18073
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0474 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8058 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.844 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0237 | 0.03352 | 1.0237 | 0.047404 | 0.03514
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0237 | 0.03352 | 1.0237 | 0.047404 | 0.03514
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2009-12-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.72282 | Restek | A070024 | Restek A070024: 20 µl | 0.14942 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.108 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72282 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.78475 | 0.27819 | 0.8111 | 0.21498 | 0.15936
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-02-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.9378 | Restek | A070024 | Restek A070024: 40 µl | 0.3071 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9378 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78475 | 0.27819 | 0.8111 | 0.21498 | 0.15936
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.35541 | Restek | A070024 | Restek A070024: 80 µl | 0.59931 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35541 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.78475 | 0.27819 | 0.8111 | 0.21498 | 0.15936
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0966 | Restek | A070024 | Restek A070024: 20 µl | 0.15319 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.168 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0966 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.78475 | 0.27819 | 0.8111 | 0.21498 | 0.15936
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.8111 | Restek | A070024 | Restek A070024: 40 µl | 0.29836 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8111 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78475 | 0.27819 | 0.8111 | 0.21498 | 0.15936
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-07-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.90772 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5288 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90772 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83113 | 0.10831 | 0.83113 | 0.15318 | 0.11355
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-03-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.75454 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.5288 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75454 | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83113 | 0.10831 | 0.83113 | 0.15318 | 0.11355
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-08-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.61484 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.402 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.862 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61484 | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.61484 |  | 0.61484 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88298 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.282 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88298 | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88298 |  | 0.88298 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-02-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.81511 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.42326 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81511 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-04-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.80609 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.42427 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80609 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.86098 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.6841 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86098 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-08-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.84237 | Supelco | LB77171 | Supelco LB77171: 80 µl | 1.6976 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84237 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-10-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0203 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4244 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0203 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.75495 | Supelco | LB77171 | Supelco LB77171: 50 µl | 1.061 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75495 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-03-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.83883 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4244 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83883 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2012-07-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.83648 | Supelco | LB77171 | Supelco LB77171: 20 µl | 0.4244 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.16 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83648 | Supelco LB77171 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.84688 | 0.077071 | 0.83765 | 0.041077 | 0.03045
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.77461 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.30467 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77461 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.49848 | 0.28251 | 0.50936 | 0.47964 | 0.35555
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.702 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.14815 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.104 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.702 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.49848 | 0.28251 | 0.50936 | 0.47964 | 0.35555
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-05-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.2006 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.30907 | TRIS(2-CHLOROETHYL)PHOSPHATE | E | 0.2 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2006 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.49848 | 0.28251 | 0.50936 | 0.47964 | 0.35555
TRIS(2-CHLOROETHYL)PHOSPHATE | 4433 | 62831GCM99 | 2010-08-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.31672 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.63778 | TRIS(2-CHLOROETHYL)PHOSPHATE | . | 0.2 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31672 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.49848 | 0.28251 | 0.50936 | 0.47964 | 0.35555