## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-02-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.1812 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.37757 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1812 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-04-15 | 2011-02-01 | 2011-09-30 | ug/L | 1.2727 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.92713 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2727 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-05-03 | 2011-02-01 | 2011-09-30 | ug/L | 0.99066 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.3644 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.32 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99066 | Abs 090910WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-07-07 | 2011-02-01 | 2011-09-30 | ug/L | 0.96012 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.93113 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.894 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96012 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-08-16 | 2011-02-01 | 2011-09-30 | ug/L | 1.2588 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.371 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2588 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-11-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.9973 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.484 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9973 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-12-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0081 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.371 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0081 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.2399 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9275 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2399 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-04-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.3261 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.371 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.492 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3261 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.0663 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.9275 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.989 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0663 | Abs 090910WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.1301 | 0.13942 | 1.1238 | 0.26146 | 0.19381
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-10-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.72246 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.6464 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72246 | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72246 |  | 0.72246 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-02-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.62755 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 3.92 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62755 | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.62755 |  | 0.62755 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-12-15 | 2010-10-01 | 2011-01-31 | ug/L | 0.94264 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.36387 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94264 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-02-18 | 2011-02-01 | 2011-09-30 | ug/L | 1.2109 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.36087 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.32 | 0.437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2109 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-06-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.1065 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.464 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1065 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-08-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.90386 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9205 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90386 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-08-17 | 2011-02-01 | 2011-09-30 | ug/L | 1.2928 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3682 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2928 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-02-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.60511 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9205 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.32 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60511 | ChemService 448-12A | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-03-06 | 2011-10-01 | 2050-09-30 | ug/L | 1.0932 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4728 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0932 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-03-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.157 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.3682 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.157 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-05-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.1515 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.9205 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1515 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.95736 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.4728 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95736 | ChemService 448-12A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0421 | 0.19732 | 1.0999 | 0.21434 | 0.15888
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2009-12-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.72563 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.36658 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.2 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72563 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90989 | 0.17035 | 0.9424 | 0.33601 | 0.24908
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-02-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0616 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.73753 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.2 | 0.783 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0616 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90989 | 0.17035 | 0.9424 | 0.33601 | 0.24908
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.9424 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18888 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.2 | 0.178 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9424 | ChemService 480-95B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.90989 | 0.17035 | 0.9424 | 0.33601 | 0.24908
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-12-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.89238 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.604 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89238 | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y | Recoverable Result | Y | 2 |  | 1 | 0.89238 |  | 0.89238 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-08-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.6094 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 6.252 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.32 | 3.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6094 | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.6094 |  | 0.6094 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-08-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.60102 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.98 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.589 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60102 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.70459 | 0.14647 | 0.70459 | 0.20714 | 0.15355
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-12-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.80816 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.98 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80816 | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.70459 | 0.14647 | 0.70459 | 0.20714 | 0.15355
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-07-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.80102 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 1.96 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80102 | Crescent 05BB045 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.80102 |  | 0.80102 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-11-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75662 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.604 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75662 | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75662 |  | 0.75662 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 1.0087 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.616 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0087 |  | 1.0087 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-05-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.65102 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.98 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 0.638 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65102 | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.65102 |  | 0.65102 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-09-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0239 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 1.006 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0239 | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0239 |  | 1.0239 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2009-12-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0066 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.18776 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.2 | 0.189 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0066 | NSI 083109-01WW | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.8761 | 0.2556 | 0.93867 | 0.36044 | 0.26719
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.87071 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.36866 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.2 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87071 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8761 | 0.2556 | 0.93867 | 0.36044 | 0.26719
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.52105 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.75616 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.2 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52105 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8761 | 0.2556 | 0.93867 | 0.36044 | 0.26719
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-07-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.106 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.38064 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.2 | 0.421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.106 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8761 | 0.2556 | 0.93867 | 0.36044 | 0.26719
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.74313 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9108 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.2 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74313 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.84829 | 0.14871 | 0.84829 | 0.21031 | 0.1559
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2010-08-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.95344 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9508 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.2 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95344 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.84829 | 0.14871 | 0.84829 | 0.21031 | 0.1559
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-05-19 | 2011-02-01 | 2011-09-30 | ug/L | 1.0673 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6116 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0673 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0336 | 0.04756 | 1.0336 | 0.06726 | 0.049859
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.0336 | 0.04756 | 1.0336 | 0.06726 | 0.049859
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-12-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8002 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 4.024 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 3.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8002 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76044 | 0.056231 | 0.76044 | 0.079523 | 0.058949
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-02-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.72068 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 2.012 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72068 | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76044 | 0.056231 | 0.76044 | 0.079523 | 0.058949
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2013-03-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.71819 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 4.024 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71819 | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71819 |  | 0.71819 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 4433 | 61707GCM99 | 2012-07-28 | 2011-10-01 | 2050-09-30 | ug/L | 1.0437 | Supelco | LB92782 | Supelco LB92782: 20 µl | 1.006 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.32 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Supelco LB92782 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0437 |  | 1.0437 | 0 | 0