## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.76233 | Abs | 081908H | Abs 081908H: 25 µl | 1.5085 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76233 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80315 | 0.094151 | 0.86189 | 0.101 | 0.074873
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-03-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.86189 | Abs | 081908H | Abs 081908H: 25 µl | 1.5199 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86189 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80315 | 0.094151 | 0.86189 | 0.101 | 0.074873
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.86334 | Abs | 081908H | Abs 081908H: 25 µl | 1.5174 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86334 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80315 | 0.094151 | 0.86189 | 0.101 | 0.074873
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-06-24 | 2007-04-30 | 2010-09-30 | ng/L | 0.87288 | Abs | 081908H | Abs 081908H: 25 µl | 1.4893 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87288 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80315 | 0.094151 | 0.86189 | 0.101 | 0.074873
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-08-11 | 2007-04-30 | 2010-09-30 | ng/L | 0.65531 | Abs | 081908H | Abs 081908H: 25 µl | 1.5107 | 17-ALPHA-ESTRADIOL | . | 0.8 | 0.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65531 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.80315 | 0.094151 | 0.86189 | 0.101 | 0.074873
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-12-03 | 2007-04-30 | 2010-09-30 | ng/L | 0.75481 | Abs | 083109H | Abs 083109H: 20 µl | 1.709 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75481 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.1713 | 0.9456 | 0.19893 | 0.14747
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.9111 | Abs | 083109H | Abs 083109H: 20 µl | 1.6573 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9111 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.1713 | 0.9456 | 0.19893 | 0.14747
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.84787 | Abs | 083109H | Abs 083109H: 40 µl | 3.3613 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84787 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.1713 | 0.9456 | 0.19893 | 0.14747
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-07-12 | 2007-04-30 | 2010-09-30 | ng/L | 0.9801 | Abs | 083109H | Abs 083109H: 20 µl | 1.6529 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9801 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.1713 | 0.9456 | 0.19893 | 0.14747
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-10-25 | 2010-10-01 | 2012-05-30 | ng/L | 1.0468 | Abs | 083109H | Abs 083109H: 40 µl | 3.3913 | 17-ALPHA-ESTRADIOL | . | 0.8 | 3.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0468 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.1713 | 0.9456 | 0.19893 | 0.14747
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-11-01 | 2010-10-01 | 2012-05-30 | ng/L | 1.2461 | Abs | 083109H | Abs 083109H: 20 µl | 1.7094 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.246 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96446 | 0.1713 | 0.9456 | 0.19893 | 0.14747
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-02-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.75705 | Crescent | 162776 | Crescent 162776: 25 µl | 2.0738 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75705 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-03-10 | 2010-10-01 | 2012-05-30 | ng/L | 0.89365 | Crescent | 162776 | Crescent 162776: 100 µl | 8.2919 | 17-ALPHA-ESTRADIOL | . | 0.8 | 7.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89365 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-05-09 | 2010-10-01 | 2012-05-30 | ng/L | 0.71175 | Crescent | 162776 | Crescent 162776: 25 µl | 2.0513 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71175 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-06-23 | 2010-10-01 | 2012-05-30 | ng/L | 0.93426 | Crescent | 162776 | Crescent 162776: 100 µl | 8.2525 | 17-ALPHA-ESTRADIOL | . | 0.8 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93426 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-07-25 | 2010-10-01 | 2012-05-30 | ng/L | 0.52725 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52725 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-10-12 | 2010-10-01 | 2012-05-30 | ng/L | 0.87875 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87875 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-11-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.85025 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85025 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-03-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.92388 | Crescent | 162776 | Crescent 162776: 100 µl | 8.4211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 7.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92388 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-04-06 | 2010-10-01 | 2012-05-30 | ng/L | 1.1115 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1115 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.84315 | 0.164 | 0.87875 | 0.16682 | 0.12366
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2014-02-25 | 2012-05-31 | 2050-09-30 | ng/L | 0.69947 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 4.9895 | 17-ALPHA-ESTRADIOL | . | 0.8 | 3.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69947 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69947 |  | 0.69947 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2014-03-05 | 2012-05-31 | 2050-09-30 | ng/L | 0.84378 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 4.9895 | 17-ALPHA-ESTRADIOL | . | 0.8 | 4.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84378 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84378 |  | 0.84378 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-09-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.93697 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.9958 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93697 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93697 |  | 0.93697 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-06-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.65638 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 1.9958 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65638 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.65638 |  | 0.65638 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 0.89043 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 1.5947 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89043 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89043 |  | 0.89043 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-11-07 | 2012-05-31 | 2050-09-30 | ng/L | 0.88416 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 3.1895 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88416 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88416 |  | 0.88416 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.75248 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 3.1895 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75248 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76188 | 0.013302 | 0.76188 | 0.018812 | 0.013945
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-04-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.77129 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 3.1895 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77129 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76188 | 0.013302 | 0.76188 | 0.018812 | 0.013945
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-02-08 | 2012-05-31 | 2050-09-30 | ng/L | 0.77756 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 1.5947 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77756 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77756 |  | 0.77756 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2008-10-24 | 2007-04-30 | 2010-09-30 | ng/L | 1.167 | Restek | A055510 | Restek A055510: 50 µl | 1.868 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.167 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84431 | 0.31921 | 0.83717 | 0.6383 | 0.47316
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 0.52873 | Restek | A055510 | Restek A055510: 50 µl | 1.7968 | 17-ALPHA-ESTRADIOL | . | 0.8 | 0.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52873 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84431 | 0.31921 | 0.83717 | 0.6383 | 0.47316
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.83717 | Restek | A055510 | Restek A055510: 50 µl | 1.7918 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83717 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84431 | 0.31921 | 0.83717 | 0.6383 | 0.47316
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.73077 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 1.5737 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73077 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73077 |  | 0.73077 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.94682 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 1.5737 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94682 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94682 |  | 0.94682 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.88645 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 3.1474 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88645 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88645 |  | 0.88645 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.8801 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 3.1474 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8801 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8801 |  | 0.8801 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-05-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.88432 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 3.3698 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88431 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89087 | 0.079874 | 0.86763 | 0.14581 | 0.10809
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.82855 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.7018 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82855 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89087 | 0.079874 | 0.86763 | 0.14581 | 0.10809
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 1.0012 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.819 | 17-ALPHA-ESTRADIOL | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0012 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89087 | 0.079874 | 0.86763 | 0.14581 | 0.10809
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-08-19 | 2007-04-30 | 2010-09-30 | ng/L | 0.97436 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.6831 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97436 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89087 | 0.079874 | 0.86763 | 0.14581 | 0.10809
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-10-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.80584 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 3.3133 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80584 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89087 | 0.079874 | 0.86763 | 0.14581 | 0.10809
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2010-11-15 | 2010-10-01 | 2012-05-30 | ng/L | 0.85095 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.7275 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85095 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89087 | 0.079874 | 0.86763 | 0.14581 | 0.10809
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-08-29 | 2012-05-31 | 2050-09-30 | ng/L | 0.99766 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 1.5737 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99766 | Spex Organics T1120525010 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.99766 |  | 0.99766 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-07-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.81146 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 2.0211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81146 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 |  | 1 | 0.81146 |  | 0.81146 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2014-01-23 | 2012-05-31 | 2050-09-30 | ng/L | 0.69766 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.0211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69766 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69766 |  | 0.69766 | 0 | 0
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-06-04 | 2012-05-31 | 2050-09-30 | ng/L | 0.75208 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.0211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75208 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.70508 | 0.066475 | 0.70508 | 0.09401 | 0.069689
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2013-12-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.65807 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.0211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65807 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.70508 | 0.066475 | 0.70508 | 0.09401 | 0.069689
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-03-04 | 2010-10-01 | 2012-05-30 | ng/L | 0.83226 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.0547 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83226 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-03-31 | 2010-10-01 | 2012-05-30 | ng/L | 0.75566 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.0644 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75566 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-05-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.98165 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.0781 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98165 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-06-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.91466 | Supelco | LB77167 | Supelco LB77167: 100 µl | 8.3091 | 17-ALPHA-ESTRADIOL | . | 0.8 | 7.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91466 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-09-29 | 2010-10-01 | 2012-05-30 | ng/L | 0.703 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.703 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2011-10-13 | 2010-10-01 | 2012-05-30 | ng/L | 0.88706 | Supelco | LB77167 | Supelco LB77167: 100 µl | 8.4211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 7.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88706 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-01-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.7885 | Supelco | LB77167 | Supelco LB77167: 100 µl | 8.4211 | 17-ALPHA-ESTRADIOL | . | 0.8 | 6.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7885 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-04-04 | 2010-10-01 | 2012-05-30 | ng/L | 1.0165 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-04-17 | 2010-10-01 | 2012-05-30 | ng/L | 1.083 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 2.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2012-07-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.80275 | Supelco | LB77167 | Supelco LB77167: 25 µl | 2.1053 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80275 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8765 | 0.12234 | 0.85966 | 0.19315 | 0.14318
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.9296 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.6136 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9296 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.90938 | 0.063581 | 0.9296 | 0.028224 | 0.020922
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.96431 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5866 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96431 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.90938 | 0.063581 | 0.9296 | 0.028224 | 0.020922
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-06-15 | 2007-04-30 | 2010-09-30 | ng/L | 0.94021 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5635 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94021 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.90938 | 0.063581 | 0.9296 | 0.028224 | 0.020922
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-08-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.80081 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5359 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80081 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.90938 | 0.063581 | 0.9296 | 0.028224 | 0.020922
17-ALPHA-ESTRADIOL | 4434 | 64528GM005 | 2009-09-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.91199 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5461 | 17-ALPHA-ESTRADIOL | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91199 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.90938 | 0.063581 | 0.9296 | 0.028224 | 0.020922