## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2014-02-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.77569 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 3.0038 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77569 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.56262 | 0.30132 | 0.56262 | 0.42613 | 0.31588
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2014-03-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.34956 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 3.0038 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 1.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34956 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.56262 | 0.30132 | 0.56262 | 0.42613 | 0.31588
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-02-07 | 2010-10-01 | 2012-05-30 | ng/L | 1.1617 | Crescent | 162776 | Crescent 162776: 25 µl | 3.6499 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 4.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1617 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-03-10 | 2010-10-01 | 2012-05-30 | ng/L | 0.69208 | Crescent | 162776 | Crescent 162776: 100 µl | 14.5937 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 10.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69208 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-05-09 | 2010-10-01 | 2012-05-30 | ng/L | 0.82266 | Crescent | 162776 | Crescent 162776: 25 µl | 3.6103 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82266 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-06-23 | 2010-10-01 | 2012-05-30 | ng/L | 0.79865 | Crescent | 162776 | Crescent 162776: 100 µl | 14.5244 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79865 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-07-25 | 2010-10-01 | 2012-05-30 | ng/L | 0.7017 | Crescent | 162776 | Crescent 162776: 25 µl | 3.7053 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7017 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-10-12 | 2010-10-01 | 2012-05-30 | ng/L | 0.85554 | Crescent | 162776 | Crescent 162776: 25 µl | 3.7053 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 3.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85554 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2011-11-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.74759 | Crescent | 162776 | Crescent 162776: 25 µl | 3.7053 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74759 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-03-27 | 2010-10-01 | 2012-05-30 | ng/L | 1.1808 | Crescent | 162776 | Crescent 162776: 100 µl | 14.821 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1808 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-04-06 | 2010-10-01 | 2012-05-30 | ng/L | 0.92031 | Crescent | 162776 | Crescent 162776: 25 µl | 3.7053 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 3.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92031 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87566 | 0.18248 | 0.82266 | 0.17273 | 0.12804
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2014-02-25 | 2012-05-31 | 2050-09-30 | ng/L | 0.3955 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 7.5095 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3955 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.3955 |  | 0.3955 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2014-03-05 | 2012-05-31 | 2050-09-30 | ng/L | 0.56995 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 7.5095 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 4.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56995 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.56995 |  | 0.56995 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-09-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.54931 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.0038 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54931 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.54931 |  | 0.54931 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-06-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.38468 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 2.9895 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 1.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38468 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.38468 |  | 0.38468 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-11-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.67914 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 3.0038 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67914 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.67914 |  | 0.67914 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-08-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.4857 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 7.4737 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 3.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4857 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.4857 |  | 0.4857 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 0.75174 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 8.4737 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 6.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75174 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75174 |  | 0.75174 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-11-07 | 2012-05-31 | 2050-09-30 | ng/L | 0.88509 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 16.9474 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88509 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88509 |  | 0.88509 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.83199 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 16.9474 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83199 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81429 | 0.025034 | 0.81429 | 0.035404 | 0.026244
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-04-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.79658 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 16.9474 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 13.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79658 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81429 | 0.025034 | 0.81429 | 0.035404 | 0.026244
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-02-08 | 2012-05-31 | 2050-09-30 | ng/L | 0.76826 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 8.4737 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 6.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76826 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76826 |  | 0.76826 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2008-10-24 | 2007-04-30 | 2010-09-30 | ng/L | 1.0625 | Restek | A055510 | Restek A055510: 50 µl | 3.9435 | 4-ANDROSTENE-3,17-DIONE | E | 0.8 | 4.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Restek A055510 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.96396 | 0.095232 | 0.95698 | 0.19008 | 0.1409
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 0.95698 | Restek | A055510 | Restek A055510: 50 µl | 3.7932 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 3.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95698 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96396 | 0.095232 | 0.95698 | 0.19008 | 0.1409
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.87242 | Restek | A055510 | Restek A055510: 50 µl | 3.7826 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 3.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87242 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.96396 | 0.095232 | 0.95698 | 0.19008 | 0.1409
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.63854 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 8.3158 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 5.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63854 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.63854 |  | 0.63854 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.5219 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 8.3158 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 4.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5219 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.5219 |  | 0.5219 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.66139 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 16.6316 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66139 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.66139 |  | 0.66139 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.72152 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 16.6316 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72152 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72152 |  | 0.72152 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2012-08-29 | 2012-05-31 | 2050-09-30 | ng/L | 1.0017 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 8.3158 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 8.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0017 | Spex Organics T1120525010 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0017 |  | 1.0017 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2014-01-23 | 2012-05-31 | 2050-09-30 | ng/L | 0.67581 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 3.0038 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 2.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67581 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.67581 |  | 0.67581 | 0 | 0
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-06-04 | 2012-05-31 | 2050-09-30 | ng/L | 0.33116 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.9895 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 0.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33116 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.43988 | 0.15375 | 0.43988 | 0.21743 | 0.16118
4-ANDROSTENE-3,17-DIONE | 4434 | 64533GM005 | 2013-12-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.54859 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.9895 | 4-ANDROSTENE-3,17-DIONE | . | 0.8 | 1.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54859 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.43988 | 0.15375 | 0.43988 | 0.21743 | 0.16118