## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHOLESTEROL | 4434 | 64534GM005 | 2014-02-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.93604 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 451.9032 | CHOLESTEROL | . | 200 | 423 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93604 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80991 | 0.17838 | 0.80991 | 0.25227 | 0.187
CHOLESTEROL | 4434 | 64534GM005 | 2014-03-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.68377 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 451.9032 | CHOLESTEROL | . | 200 | 309 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68377 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80991 | 0.17838 | 0.80991 | 0.25227 | 0.187
CHOLESTEROL | 4434 | 64534GM005 | 2012-08-24 | 2012-05-31 | 2050-09-30 | ng/L | 1.2285 | Abs | 051512 | Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 10600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2285 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.2285 |  | 1.2285 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2011-02-23 | 2009-11-18 | 2012-05-30 | ng/L | 0.92519 | Abs | 081810 | Abs 081810: 25 µl | 3728.956 | CHOLESTEROL | . | 200 | 3450 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92519 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-03-30 | 2009-11-18 | 2012-05-30 | ng/L | 0.83663 | Abs | 081810 | Abs 081810: 25 µl | 3669.497 | CHOLESTEROL | . | 200 | 3070 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83663 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-05-09 | 2009-11-18 | 2012-05-30 | ng/L | 0.8196 | Abs | 081810 | Abs 081810: 100 µl | 15007.41 | CHOLESTEROL | . | 200 | 12300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8196 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-06-13 | 2009-11-18 | 2012-05-30 | ng/L | 1.0722 | Abs | 081810 | Abs 081810: 25 µl | 3674.823 | CHOLESTEROL | . | 200 | 3940 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0722 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-10-03 | 2009-11-18 | 2012-05-30 | ng/L | 0.82428 | Abs | 081810 | Abs 081810: 100 µl | 14922.1 | CHOLESTEROL | . | 200 | 12300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82428 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2011-10-12 | 2009-11-18 | 2012-05-30 | ng/L | 1.0481 | Abs | 081810 | Abs 081810: 25 µl | 3730.526 | CHOLESTEROL | . | 200 | 3910 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0481 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-01-27 | 2009-11-18 | 2012-05-30 | ng/L | 1.469 | Abs | 081810 | Abs 081810: 25 µl | 3730.526 | CHOLESTEROL | . | 200 | 5480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.469 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-03-27 | 2009-11-18 | 2012-05-30 | ng/L | 0.96501 | Abs | 081810 | Abs 081810: 25 µl | 3730.526 | CHOLESTEROL | . | 200 | 3600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96501 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-04-17 | 2009-11-18 | 2012-05-30 | ng/L | 0.98512 | Abs | 081810 | Abs 081810: 100 µl | 14922.1 | CHOLESTEROL | . | 200 | 14700 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98512 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2012-07-02 | 2012-05-31 | 2050-09-30 | ng/L | 0.99182 | Abs | 081810 | Abs 081810: 100 µl | 14922.1 | CHOLESTEROL | . | 200 | 14800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99182 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.99369 | 0.18982 | 0.97506 | 0.21148 | 0.15677
CHOLESTEROL | 4434 | 64534GM005 | 2014-02-25 | 2012-05-31 | 2050-09-30 | ng/L | 0.894 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 1129.758 | CHOLESTEROL | . | 200 | 1010 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.894 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.894 |  | 0.894 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-06-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.71472 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 450.5263 | CHOLESTEROL | . | 200 | 322 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71472 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.71472 |  | 0.71472 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-11-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.74352 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 451.9032 | CHOLESTEROL | . | 200 | 336 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74352 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74352 |  | 0.74352 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-08-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.76533 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 1126.316 | CHOLESTEROL | . | 200 | 862 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76533 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76533 |  | 0.76533 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 1.1335 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 9780 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1335 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1335 |  | 1.1335 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2013-02-08 | 2012-05-31 | 2050-09-30 | ng/L | 1.3156 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 8589.474 | CHOLESTEROL | . | 200 | 11300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3156 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3156 |  | 1.3156 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2012-08-31 | 2012-05-31 | 2050-09-30 | ng/L | 1.1404 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 9840 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1404 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1236 | 0.023766 | 1.1236 | 0.03361 | 0.024915
CHOLESTEROL | 4434 | 64534GM005 | 2012-12-03 | 2012-05-31 | 2050-09-30 | ng/L | 1.1068 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 17256.84 | CHOLESTEROL | . | 200 | 19100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1068 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1236 | 0.023766 | 1.1236 | 0.03361 | 0.024915
CHOLESTEROL | 4434 | 64534GM005 | 2013-04-10 | 2012-05-31 | 2050-09-30 | ng/L | 1.1537 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 8589.474 | CHOLESTEROL | . | 200 | 9910 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1537 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1537 |  | 1.1537 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2009-03-05 | 2008-07-01 | 2009-11-17 | ng/L | 1.0857 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 4853.978 | CHOLESTEROL | . | 2000 | 5270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0857 | ERA 0813-08-07H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2791 | 0.40718 | 1.1126 | 0.094422 | 0.069994
CHOLESTEROL | 4434 | 64534GM005 | 2009-03-16 | 2008-07-01 | 2009-11-17 | ng/L | 2.4948 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 5210.811 | CHOLESTEROL | . | 2000 | 13000 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0813-08-07H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2791 | 0.40718 | 1.1126 | 0.094422 | 0.069994 | 2
CHOLESTEROL | 4434 | 64534GM005 | 2009-05-21 | 2008-07-01 | 2009-11-17 | ng/L | 1.0173 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 4993.784 | CHOLESTEROL | . | 2000 | 5080 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0173 | ERA 0813-08-07H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2791 | 0.40718 | 1.1126 | 0.094422 | 0.069994
CHOLESTEROL | 4434 | 64534GM005 | 2009-07-16 | 2008-07-01 | 2009-11-17 | ng/L | 1.1126 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 4925.404 | CHOLESTEROL | . | 2000 | 5480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1126 | ERA 0813-08-07H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2791 | 0.40718 | 1.1126 | 0.094422 | 0.069994
CHOLESTEROL | 4434 | 64534GM005 | 2009-09-17 | 2008-07-01 | 2009-11-17 | ng/L | 1.1801 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 5050.293 | CHOLESTEROL | . | 2000 | 5960 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1801 | ERA 0813-08-07H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2791 | 0.40718 | 1.1126 | 0.094422 | 0.069994
CHOLESTEROL | 4434 | 64534GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.96164 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 8589.474 | CHOLESTEROL | . | 200 | 8260 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96164 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0455 | 0.11854 | 1.0455 | 0.16765 | 0.12427
CHOLESTEROL | 4434 | 64534GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 1.1293 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 17178.95 | CHOLESTEROL | . | 200 | 19400 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1293 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0455 | 0.11854 | 1.0455 | 0.16765 | 0.12427
CHOLESTEROL | 4434 | 64534GM005 | 2008-12-02 | 2008-07-01 | 2009-11-17 | ng/L | 6.1745 | Restek | A055510 | Restek A055510: 50 µl | 4502.396 | CHOLESTEROL | E | 2000 | 27800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Restek A055510 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 2 | 0 | 2 | 0 | 0 | 2
CHOLESTEROL | 4434 | 64534GM005 | 2009-03-25 | 2008-07-01 | 2009-11-17 | ng/L | 4.6104 | Restek | A055510 | Restek A055510: 50 µl | 4489.847 | CHOLESTEROL | . | 2000 | 20700 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 2 | 0 | 2 | 0 | 0 | 2
CHOLESTEROL | 4434 | 64534GM005 | 2010-02-01 | 2009-11-18 | 2012-05-30 | ng/L | 0.86911 | Restek | A070624 | Restek A070624: 20 µl | 2715.434 | CHOLESTEROL | . | 200 | 2360 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86911 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96456 | 0.063733 | 0.99508 | 0.068597 | 0.05085
CHOLESTEROL | 4434 | 64534GM005 | 2010-08-19 | 2009-11-18 | 2012-05-30 | ng/L | 0.99875 | Restek | A070624 | Restek A070624: 20 µl | 2743.434 | CHOLESTEROL | . | 200 | 2740 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99875 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96456 | 0.063733 | 0.99508 | 0.068597 | 0.05085
CHOLESTEROL | 4434 | 64534GM005 | 2010-10-25 | 2009-11-18 | 2012-05-30 | ng/L | 0.99897 | Restek | A070624 | Restek A070624: 20 µl | 2722.807 | CHOLESTEROL | . | 200 | 2720 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99897 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96456 | 0.063733 | 0.99508 | 0.068597 | 0.05085
CHOLESTEROL | 4434 | 64534GM005 | 2010-11-15 | 2009-11-18 | 2012-05-30 | ng/L | 0.99142 | Restek | A070624 | Restek A070624: 40 µl | 5446.751 | CHOLESTEROL | . | 200 | 5400 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99142 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.96456 | 0.063733 | 0.99508 | 0.068597 | 0.05085
CHOLESTEROL | 4434 | 64534GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 1.1393 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 8628.421 | CHOLESTEROL | . | 200 | 9830 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1393 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1393 |  | 1.1393 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.96048 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 17178.95 | CHOLESTEROL | . | 200 | 16500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96048 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96048 |  | 0.96048 | 0 | 0
CHOLESTEROL | 4434 | 64534GM005 | 2011-03-10 | 2009-11-18 | 2012-05-30 | ng/L | 0.87867 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3664.648 | CHOLESTEROL | . | 200 | 3220 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87867 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-03-31 | 2009-11-18 | 2012-05-30 | ng/L | 0.77846 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 14772.73 | CHOLESTEROL | . | 200 | 11500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77846 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-05-26 | 2009-11-18 | 2012-05-30 | ng/L | 0.95871 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3723.743 | CHOLESTEROL | . | 200 | 3570 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95871 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-07-11 | 2009-11-18 | 2012-05-30 | ng/L | 0.86495 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3641.834 | CHOLESTEROL | . | 200 | 3150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86495 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-09-29 | 2009-11-18 | 2012-05-30 | ng/L | 0.8255 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 14778.95 | CHOLESTEROL | . | 200 | 12200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8255 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-10-13 | 2009-11-18 | 2012-05-30 | ng/L | 0.9933 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3694.737 | CHOLESTEROL | . | 200 | 3670 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9933 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2011-11-28 | 2009-11-18 | 2012-05-30 | ng/L | 0.89316 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3694.737 | CHOLESTEROL | . | 200 | 3300 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89316 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2012-02-01 | 2009-11-18 | 2012-05-30 | ng/L | 0.98113 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 14778.95 | CHOLESTEROL | . | 200 | 14500 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98113 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2012-08-16 | 2012-05-31 | 2050-09-30 | ng/L | 1.2883 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 3694.737 | CHOLESTEROL | . | 200 | 4760 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2883 | Spex Organics T1100629008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94024 | 0.14875 | 0.89316 | 0.11618 | 0.08612
CHOLESTEROL | 4434 | 64534GM005 | 2013-06-04 | 2012-05-31 | 2050-09-30 | ng/L | 0.72804 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 450.5263 | CHOLESTEROL | . | 200 | 328 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72804 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1054 | 0.53363 | 1.1054 | 0.75467 | 0.55943
CHOLESTEROL | 4434 | 64534GM005 | 2013-12-09 | 2012-05-31 | 2050-09-30 | ng/L | 1.4827 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 450.5263 | CHOLESTEROL | . | 200 | 668 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4827 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1054 | 0.53363 | 1.1054 | 0.75467 | 0.55943
CHOLESTEROL | 4434 | 64534GM005 | 2009-03-16 | 2008-07-01 | 2009-11-17 | ng/L | 1.1022 | Supelco | LB60732 | Supelco LB60732: 25 µl | 5071.7 | CHOLESTEROL | . | 2000 | 5590 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1022 | Supelco LB60732 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0583 | 0.057974 | 1.0702 | 0.056641 | 0.041988
CHOLESTEROL | 4434 | 64534GM005 | 2009-05-01 | 2008-07-01 | 2009-11-17 | ng/L | 1.1084 | Supelco | LB60732 | Supelco LB60732: 25 µl | 5052.521 | CHOLESTEROL | . | 2000 | 5600 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1084 | Supelco LB60732 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0583 | 0.057974 | 1.0702 | 0.056641 | 0.041988
CHOLESTEROL | 4434 | 64534GM005 | 2009-06-15 | 2008-07-01 | 2009-11-17 | ng/L | 0.96499 | Supelco | LB60732 | Supelco LB60732: 25 µl | 4974.146 | CHOLESTEROL | . | 2000 | 4800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96499 | Supelco LB60732 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0583 | 0.057974 | 1.0702 | 0.056641 | 0.041988
CHOLESTEROL | 4434 | 64534GM005 | 2009-08-11 | 2008-07-01 | 2009-11-17 | ng/L | 1.0456 | Supelco | LB60732 | Supelco LB60732: 25 µl | 4963.88 | CHOLESTEROL | . | 2000 | 5190 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0456 | Supelco LB60732 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0583 | 0.057974 | 1.0702 | 0.056641 | 0.041988
CHOLESTEROL | 4434 | 64534GM005 | 2009-10-05 | 2008-07-01 | 2009-11-17 | ng/L | 1.0702 | Supelco | LB60732 | Supelco LB60732: 25 µl | 4989.626 | CHOLESTEROL | . | 2000 | 5340 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0702 | Supelco LB60732 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0583 | 0.057974 | 1.0702 | 0.056641 | 0.041988
CHOLESTEROL | 4434 | 64534GM005 | 2010-10-19 | 2009-11-18 | 2012-05-30 | ng/L | 0.89905 | Supelco | LB69645 | Supelco LB69645: 20 µl | 2702.86 | CHOLESTEROL | . | 200 | 2430 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89905 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.88142 | 0.043704 | 0.89905 | 0.081901 | 0.060712
CHOLESTEROL | 4434 | 64534GM005 | 2010-10-25 | 2009-11-18 | 2012-05-30 | ng/L | 0.91355 | Supelco | LB69645 | Supelco LB69645: 20 µl | 2714.672 | CHOLESTEROL | . | 200 | 2480 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91355 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.88142 | 0.043704 | 0.89905 | 0.081901 | 0.060712
CHOLESTEROL | 4434 | 64534GM005 | 2010-11-17 | 2009-11-18 | 2012-05-30 | ng/L | 0.83165 | Supelco | LB69645 | Supelco LB69645: 40 µl | 5567.222 | CHOLESTEROL | . | 200 | 4630 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83165 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.88142 | 0.043704 | 0.89905 | 0.081901 | 0.060712