## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.71129 | Abs | 081908H | Abs 081908H: 25 µl | 2.0807 | CIS-ANDROSTERONE | E | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71129 | Abs 081908H | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.74581 | 0.074763 | 0.71129 | 0.081472 | 0.060394
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-03-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.6678 | Abs | 081908H | Abs 081908H: 25 µl | 2.0964 | CIS-ANDROSTERONE | E | 0.8 | 1.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6678 | Abs 081908H | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.74581 | 0.074763 | 0.71129 | 0.081472 | 0.060394
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.70714 | Abs | 081908H | Abs 081908H: 25 µl | 2.0929 | CIS-ANDROSTERONE | E | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70714 | Abs 081908H | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.74581 | 0.074763 | 0.71129 | 0.081472 | 0.060394
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-06-24 | 2007-04-30 | 2010-09-30 | ng/L | 0.78862 | Abs | 081908H | Abs 081908H: 25 µl | 2.0542 | CIS-ANDROSTERONE | . | 0.8 | 1.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78862 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74581 | 0.074763 | 0.71129 | 0.081472 | 0.060394
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-08-11 | 2007-04-30 | 2010-09-30 | ng/L | 0.85422 | Abs | 081908H | Abs 081908H: 25 µl | 2.0838 | CIS-ANDROSTERONE | . | 0.8 | 1.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85422 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74581 | 0.074763 | 0.71129 | 0.081472 | 0.060394
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-12-03 | 2007-04-30 | 2010-09-30 | ng/L | 0.82503 | Abs | 083109H | Abs 083109H: 20 µl | 1.709 | CIS-ANDROSTERONE | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82503 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0714 | 0.46311 | 0.94421 | 0.14297 | 0.10599
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.92316 | Abs | 083109H | Abs 083109H: 20 µl | 1.6573 | CIS-ANDROSTERONE | . | 0.8 | 1.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92316 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0714 | 0.46311 | 0.94421 | 0.14297 | 0.10599
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.74672 | Abs | 083109H | Abs 083109H: 40 µl | 3.3613 | CIS-ANDROSTERONE | . | 0.8 | 2.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74672 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0714 | 0.46311 | 0.94421 | 0.14297 | 0.10599
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-07-12 | 2007-04-30 | 2010-09-30 | ng/L | 0.968 | Abs | 083109H | Abs 083109H: 20 µl | 1.6529 | CIS-ANDROSTERONE | . | 0.8 | 1.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0714 | 0.46311 | 0.94421 | 0.14297 | 0.10599
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-10-25 | 2010-10-01 | 2012-05-30 | ng/L | 2.1791 | Abs | 083109H | Abs 083109H: 40 µl | 3.3913 | CIS-ANDROSTERONE | E | 0.8 | 7.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Abs 083109H | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0714 | 0.46311 | 0.94421 | 0.14297 | 0.10599 | 2
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-11-01 | 2010-10-01 | 2012-05-30 | ng/L | 0.96525 | Abs | 083109H | Abs 083109H: 20 µl | 1.7094 | CIS-ANDROSTERONE | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96525 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0714 | 0.46311 | 0.94421 | 0.14297 | 0.10599
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-02-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.80527 | Crescent | 162776 | Crescent 162776: 25 µl | 2.0738 | CIS-ANDROSTERONE | . | 0.8 | 1.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80527 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-03-10 | 2010-10-01 | 2012-05-30 | ng/L | 0.71757 | Crescent | 162776 | Crescent 162776: 100 µl | 8.2919 | CIS-ANDROSTERONE | . | 0.8 | 5.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71757 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-05-09 | 2010-10-01 | 2012-05-30 | ng/L | 0.79463 | Crescent | 162776 | Crescent 162776: 25 µl | 2.0513 | CIS-ANDROSTERONE | . | 0.8 | 1.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79463 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-06-23 | 2010-10-01 | 2012-05-30 | ng/L | 0.78643 | Crescent | 162776 | Crescent 162776: 100 µl | 8.2525 | CIS-ANDROSTERONE | . | 0.8 | 6.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78643 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-07-25 | 2010-10-01 | 2012-05-30 | ng/L | 0.7125 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 1.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7125 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-10-12 | 2010-10-01 | 2012-05-30 | ng/L | 0.95475 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 2.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95475 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2011-11-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.80275 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 1.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80275 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-03-27 | 2010-10-01 | 2012-05-30 | ng/L | 1.0153 | Crescent | 162776 | Crescent 162776: 100 µl | 8.4211 | CIS-ANDROSTERONE | . | 0.8 | 8.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0153 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-04-06 | 2010-10-01 | 2012-05-30 | ng/L | 1.14 | Crescent | 162776 | Crescent 162776: 25 µl | 2.1053 | CIS-ANDROSTERONE | . | 0.8 | 2.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.14 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.8588 | 0.14555 | 0.80275 | 0.16832 | 0.12478
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-02-25 | 2012-05-31 | 2050-09-30 | ng/L | 0.51492 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 5.0105 | CIS-ANDROSTERONE | . | 0.8 | 2.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51492 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.51492 |  | 0.51492 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-03-05 | 2012-05-31 | 2050-09-30 | ng/L | 0.66859 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 5.0105 | CIS-ANDROSTERONE | . | 0.8 | 3.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66859 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.66859 |  | 0.66859 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-09-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.58876 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.0042 | CIS-ANDROSTERONE | . | 0.8 | 1.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58876 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.58876 |  | 0.58876 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-06-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.60373 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 2.0042 | CIS-ANDROSTERONE | . | 0.8 | 1.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60373 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.60373 |  | 0.60373 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 0.85158 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 7.3158 | CIS-ANDROSTERONE | . | 0.8 | 6.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85158 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85158 |  | 0.85158 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-11-07 | 2012-05-31 | 2050-09-30 | ng/L | 0.7518 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 14.6316 | CIS-ANDROSTERONE | . | 0.8 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7518 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7518 |  | 0.7518 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.82014 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.6316 | CIS-ANDROSTERONE | . | 0.8 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82014 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78939 | 0.043495 | 0.78939 | 0.061511 | 0.045597
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-04-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.75863 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.6316 | CIS-ANDROSTERONE | . | 0.8 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75863 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78939 | 0.043495 | 0.78939 | 0.061511 | 0.045597
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-02-08 | 2012-05-31 | 2050-09-30 | ng/L | 0.80237 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 7.3158 | CIS-ANDROSTERONE | . | 0.8 | 5.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80237 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80237 |  | 0.80237 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 0.82291 | Restek | A055510 | Restek A055510: 50 µl | 1.3975 | CIS-ANDROSTERONE | . | 0.8 | 1.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82291 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91375 | 0.12848 | 0.91375 | 0.18169 | 0.13469
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 1.0046 | Restek | A055510 | Restek A055510: 50 µl | 1.3936 | CIS-ANDROSTERONE | . | 0.8 | 1.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0046 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.91375 | 0.12848 | 0.91375 | 0.18169 | 0.13469
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-05-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.93773 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 3.3698 | CIS-ANDROSTERONE | . | 0.8 | 3.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93773 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.82855 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.7018 | CIS-ANDROSTERONE | . | 0.8 | 1.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82855 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.8547 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.819 | CIS-ANDROSTERONE | E | 0.8 | 0.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8547 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-08-19 | 2007-04-30 | 2010-09-30 | ng/L | 1.3843 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.6831 | CIS-ANDROSTERONE | . | 0.8 | 2.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3843 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-10-19 | 2010-10-01 | 2012-05-30 | ng/L | 1.0081 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 3.3133 | CIS-ANDROSTERONE | . | 0.8 | 3.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0081 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2010-11-15 | 2010-10-01 | 2012-05-30 | ng/L | 0.9262 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.7275 | CIS-ANDROSTERONE | . | 0.8 | 1.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9262 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.98992 | 0.20346 | 0.93196 | 0.15335 | 0.11368
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-07-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.43047 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43047 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 |  | 1 | 0.43047 |  | 0.43047 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2014-01-23 | 2012-05-31 | 2050-09-30 | ng/L | 0.52943 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52943 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.52943 |  | 0.52943 | 0 | 0
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-06-04 | 2012-05-31 | 2050-09-30 | ng/L | 0.67786 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67786 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.6457 | 0.045483 | 0.6457 | 0.064323 | 0.047682
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2013-12-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.61354 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 2.0211 | CIS-ANDROSTERONE | . | 0.8 | 1.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61354 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.6457 | 0.045483 | 0.6457 | 0.064323 | 0.047682
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.73438 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 2.1515 | CIS-ANDROSTERONE | E | 0.8 | 1.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73438 | Ultra CE-2887 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.74505 | 0.19369 | 0.73438 | 0.12382 | 0.091788
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 1.0399 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 2.1155 | CIS-ANDROSTERONE | E | 0.8 | 2.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0399 | Ultra CE-2887 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.74505 | 0.19369 | 0.73438 | 0.12382 | 0.091788
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-06-15 | 2007-04-30 | 2010-09-30 | ng/L | 0.65719 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 2.0846 | CIS-ANDROSTERONE | . | 0.8 | 1.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65719 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74505 | 0.19369 | 0.73438 | 0.12382 | 0.091788
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-08-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.51272 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 2.0479 | CIS-ANDROSTERONE | . | 0.8 | 1.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51272 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74505 | 0.19369 | 0.73438 | 0.12382 | 0.091788
CIS-ANDROSTERONE | 4434 | 64535GM005 | 2009-09-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.78101 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 2.0614 | CIS-ANDROSTERONE | . | 0.8 | 1.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78101 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.74505 | 0.19369 | 0.73438 | 0.12382 | 0.091788