## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-02-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.63018 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 4.0147 | EPITESTOSTERONE | . | 2 | 2.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63018 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.64886 | 0.026419 | 0.64886 | 0.037362 | 0.027696
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.66754 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 4.0147 | EPITESTOSTERONE | . | 2 | 2.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66754 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.64886 | 0.026419 | 0.64886 | 0.037362 | 0.027696
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-08-24 | 2012-05-31 | 2050-09-30 | ng/L | 0.71725 | Abs | 051512 | Abs 051512: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 7.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71725 | Abs 051512 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.71725 |  | 0.71725 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-02-23 | 2010-10-01 | 2011-09-30 | ng/L | 0.93329 | Abs | 081810 | Abs 081810: 25 µl | 5.2609 | EPITESTOSTERONE | . | 4 | 4.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93329 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-03-30 | 2010-10-01 | 2011-09-30 | ng/L | 0.86729 | Abs | 081810 | Abs 081810: 25 µl | 5.1771 | EPITESTOSTERONE | . | 4 | 4.49 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86729 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-05-09 | 2010-10-01 | 2011-09-30 | ng/L | 0.98238 | Abs | 081810 | Abs 081810: 100 µl | 21.173 | EPITESTOSTERONE | . | 4 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98238 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-06-13 | 2010-10-01 | 2011-09-30 | ng/L | 0.84096 | Abs | 081810 | Abs 081810: 25 µl | 5.1846 | EPITESTOSTERONE | . | 4 | 4.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84096 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-10-03 | 2011-10-01 | 2012-05-30 | ng/L | 0.89775 | Abs | 081810 | Abs 081810: 100 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89775 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2011-10-12 | 2011-10-01 | 2012-05-30 | ng/L | 0.988 | Abs | 081810 | Abs 081810: 25 µl | 5.2632 | EPITESTOSTERONE | . | 2 | 5.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.988 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-01-27 | 2011-10-01 | 2012-05-30 | ng/L | 0.6441 | Abs | 081810 | Abs 081810: 25 µl | 5.2632 | EPITESTOSTERONE | . | 2 | 3.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6441 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-03-27 | 2011-10-01 | 2012-05-30 | ng/L | 0.9063 | Abs | 081810 | Abs 081810: 25 µl | 5.2632 | EPITESTOSTERONE | . | 2 | 4.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9063 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-04-17 | 2011-10-01 | 2012-05-30 | ng/L | 1.0308 | Abs | 081810 | Abs 081810: 100 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 21.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-07-02 | 2012-05-31 | 2050-09-30 | ng/L | 1.0308 | Abs | 081810 | Abs 081810: 100 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 21.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | Abs 081810 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91216 | 0.11472 | 0.9198 | 0.12071 | 0.089482
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-03-05 | 2012-05-31 | 2050-09-30 | ng/L | 0.72134 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 10.0368 | EPITESTOSTERONE | . | 2 | 7.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72134 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72134 |  | 0.72134 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-09-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.865 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 3.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.865 |  | 0.865 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-11-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.68 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.68 |  | 0.68 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-08-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.505 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 10 | EPITESTOSTERONE | . | 2 | 5.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.505 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.505 |  | 0.505 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 0.75905 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 7.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75905 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.75905 |  | 0.75905 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-11-07 | 2012-05-31 | 2050-09-30 | ng/L | 0.76281 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 21.3684 | EPITESTOSTERONE | . | 2 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76281 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76281 |  | 0.76281 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.78375 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78375 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75525 | 0.040305 | 0.75525 | 0.057 | 0.042254
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.72675 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72675 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75525 | 0.040305 | 0.75525 | 0.057 | 0.042254
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-08-31 | 2012-05-31 | 2050-09-30 | ng/L | 0.73077 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 21.2105 | EPITESTOSTERONE | . | 2 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73077 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7013 | 0.041672 | 0.7013 | 0.058933 | 0.043686
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-12-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.67184 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 42.4211 | EPITESTOSTERONE | . | 2 | 28.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67184 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7013 | 0.041672 | 0.7013 | 0.058933 | 0.043686
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-10 | 2012-05-31 | 2050-09-30 | ng/L | 0.73379 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 10.6842 | EPITESTOSTERONE | . | 2 | 7.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73379 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73379 |  | 0.73379 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.73435 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 7.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73435 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6783 | 0.079266 | 0.6783 | 0.1121 | 0.083098
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.62225 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62225 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6783 | 0.079266 | 0.6783 | 0.1121 | 0.083098
EPITESTOSTERONE | 4434 | 64537GM005 | 2008-10-24 | 2007-04-30 | 2010-09-30 | ng/L | 1.1635 | Restek | A055510 | Restek A055510: 50 µl | 5.604 | EPITESTOSTERONE | . | 4 | 6.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1635 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0883 | 0.12849 | 1.1468 | 0.14038 | 0.10406
EPITESTOSTERONE | 4434 | 64537GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 1.1401 | Restek | A055510 | Restek A055510: 50 µl | 5.4119 | EPITESTOSTERONE | . | 4 | 6.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1401 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0883 | 0.12849 | 1.1468 | 0.14038 | 0.10406
EPITESTOSTERONE | 4434 | 64537GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 0.89605 | Restek | A055510 | Restek A055510: 50 µl | 5.3903 | EPITESTOSTERONE | . | 4 | 4.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89605 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0883 | 0.12849 | 1.1468 | 0.14038 | 0.10406
EPITESTOSTERONE | 4434 | 64537GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 1.1534 | Restek | A055510 | Restek A055510: 50 µl | 5.3753 | EPITESTOSTERONE | . | 4 | 6.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1534 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0883 | 0.12849 | 1.1468 | 0.14038 | 0.10406
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-02-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.71646 | Restek | A070624 | Restek A070624: 20 µl | 5.4155 | EPITESTOSTERONE | E | 4 | 3.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71646 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9295 | 0.48468 | 0.72652 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.73659 | Restek | A070624 | Restek A070624: 20 µl | 5.3897 | EPITESTOSTERONE | E | 4 | 3.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73659 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9295 | 0.48468 | 0.72652 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.81007 | Restek | A070624 | Restek A070624: 40 µl | 10.9497 | EPITESTOSTERONE | . | 4 | 8.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81007 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9295 | 0.48468 | 0.72652 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-08-19 | 2007-04-30 | 2010-09-30 | ng/L | 0.70732 | Restek | A070624 | Restek A070624: 20 µl | 5.4714 | EPITESTOSTERONE | . | 4 | 3.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70732 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9295 | 0.48468 | 0.72652 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-10-25 | 2010-10-01 | 2011-09-30 | ng/L | 1.9152 | Restek | A070624 | Restek A070624: 20 µl | 5.4302 | EPITESTOSTERONE | . | 4 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9152 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9295 | 0.48468 | 0.72652 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-11-15 | 2010-10-01 | 2011-09-30 | ng/L | 0.69135 | Restek | A070624 | Restek A070624: 40 µl | 10.8628 | EPITESTOSTERONE | . | 4 | 7.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69135 | Restek A070624 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9295 | 0.48468 | 0.72652 | 0.10275 | 0.07617
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.6289 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 10.5263 | EPITESTOSTERONE | . | 2 | 6.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6289 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.6289 |  | 0.6289 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.73379 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 10.6842 | EPITESTOSTERONE | . | 2 | 7.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73379 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73379 |  | 0.73379 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.74575 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 21.0526 | EPITESTOSTERONE | . | 2 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74575 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74575 |  | 0.74575 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2013-07-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.5875 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5875 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 |  | 1 | 0.5875 |  | 0.5875 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2014-01-23 | 2012-05-31 | 2050-09-30 | ng/L | 0.59 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 4 | EPITESTOSTERONE | . | 2 | 2.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.59 |  | 0.59 | 0 | 0
EPITESTOSTERONE | 4434 | 64537GM005 | 2009-03-16 | 2007-04-30 | 2010-09-30 | ng/L | 0.47894 | Supelco | LB60732 | Supelco LB60732: 25 µl | 2.1088 | EPITESTOSTERONE | E | 4 | 1.01 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.47894 | Supelco LB60732 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.57885 | 0.18053 | 0.52218 | 0.060898 | 0.045143
EPITESTOSTERONE | 4434 | 64537GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.45696 | Supelco | LB60732 | Supelco LB60732: 25 µl | 2.1008 | EPITESTOSTERONE | E | 4 | 0.96 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.45696 | Supelco LB60732 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.57885 | 0.18053 | 0.52218 | 0.060898 | 0.045143
EPITESTOSTERONE | 4434 | 64537GM005 | 2009-06-15 | 2007-04-30 | 2010-09-30 | ng/L | 0.52218 | Supelco | LB60732 | Supelco LB60732: 25 µl | 2.0683 | EPITESTOSTERONE | E | 4 | 1.08 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.52218 | Supelco LB60732 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.57885 | 0.18053 | 0.52218 | 0.060898 | 0.045143
EPITESTOSTERONE | 4434 | 64537GM005 | 2009-08-11 | 2007-04-30 | 2010-09-30 | ng/L | 0.89632 | Supelco | LB60732 | Supelco LB60732: 25 µl | 2.064 | EPITESTOSTERONE | E | 4 | 1.85 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.89632 | Supelco LB60732 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.57885 | 0.18053 | 0.52218 | 0.060898 | 0.045143
EPITESTOSTERONE | 4434 | 64537GM005 | 2009-10-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.53984 | Supelco | LB60732 | Supelco LB60732: 25 µl | 2.0747 | EPITESTOSTERONE | E | 4 | 1.12 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.53984 | Supelco LB60732 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.57885 | 0.18053 | 0.52218 | 0.060898 | 0.045143
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-05-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.93737 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.5368 | EPITESTOSTERONE | . | 4 | 5.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93737 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.63667 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.4188 | EPITESTOSTERONE | E | 4 | 3.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63667 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-07-07 | 2007-04-30 | 2010-09-30 | ng/L | 0.82299 | Supelco | LB69645 | Supelco LB69645: 40 µl | 11.0572 | EPITESTOSTERONE | . | 4 | 9.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82299 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ng/L | 0.73864 | Supelco | LB69645 | Supelco LB69645: 20 µl | 5.4289 | EPITESTOSTERONE | . | 4 | 4.01 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73864 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534
EPITESTOSTERONE | 4434 | 64537GM005 | 2010-11-17 | 2010-10-01 | 2011-09-30 | ng/L | 0.76013 | Supelco | LB69645 | Supelco LB69645: 40 µl | 11.1822 | EPITESTOSTERONE | . | 4 | 8.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76013 | Supelco LB69645 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.77916 | 0.11097 | 0.76013 | 0.084358 | 0.062534