## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NORETHINDRONE | 4434 | 64531GM005 | 2009-03-17 | 2007-04-30 | 2010-09-30 | ng/L | 1.3447 | Abs | 081908H | Abs 081908H: 25 µl | 1.1006 | NORETHINDRONE | E | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3447 | Abs 081908H | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.056 | 0.25233 | 0.94578 | 0.46715 | 0.3463
NORETHINDRONE | 4434 | 64531GM005 | 2009-06-24 | 2007-04-30 | 2010-09-30 | ng/L | 0.94578 | Abs | 081908H | Abs 081908H: 25 µl | 1.0785 | NORETHINDRONE | . | 0.8 | 1.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94578 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.056 | 0.25233 | 0.94578 | 0.46715 | 0.3463
NORETHINDRONE | 4434 | 64531GM005 | 2009-08-11 | 2007-04-30 | 2010-09-30 | ng/L | 0.87753 | Abs | 081908H | Abs 081908H: 25 µl | 1.094 | NORETHINDRONE | . | 0.8 | 0.96 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87753 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.056 | 0.25233 | 0.94578 | 0.46715 | 0.3463
NORETHINDRONE | 4434 | 64531GM005 | 2009-12-03 | 2007-04-30 | 2010-09-30 | ng/L | 0.60853 | Abs | 083109H | Abs 083109H: 20 µl | 0.85452 | NORETHINDRONE | E | 0.8 | 0.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60853 | Abs 083109H | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.88774 | 0.20222 | 0.9477 | 0.27009 | 0.20021
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 1.0257 | Abs | 083109H | Abs 083109H: 20 µl | 0.82867 | NORETHINDRONE | . | 0.8 | 0.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0257 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88774 | 0.20222 | 0.9477 | 0.27009 | 0.20021
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.75565 | Abs | 083109H | Abs 083109H: 40 µl | 1.6807 | NORETHINDRONE | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75565 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88774 | 0.20222 | 0.9477 | 0.27009 | 0.20021
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-12 | 2007-04-30 | 2010-09-30 | ng/L | 1.1011 | Abs | 083109H | Abs 083109H: 20 µl | 0.82645 | NORETHINDRONE | . | 0.8 | 0.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1011 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88774 | 0.20222 | 0.9477 | 0.27009 | 0.20021
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-01 | 2010-10-01 | 2012-05-30 | ng/L | 0.9477 | Abs | 083109H | Abs 083109H: 20 µl | 0.8547 | NORETHINDRONE | . | 0.8 | 0.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9477 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.88774 | 0.20222 | 0.9477 | 0.27009 | 0.20021
NORETHINDRONE | 4434 | 64531GM005 | 2011-02-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.82295 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5554 | NORETHINDRONE | . | 0.8 | 1.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82295 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-10 | 2010-10-01 | 2012-05-30 | ng/L | 0.64802 | Crescent | 162776 | Crescent 162776: 100 µl | 6.2189 | NORETHINDRONE | . | 0.8 | 4.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64802 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-09 | 2010-10-01 | 2012-05-30 | ng/L | 0.6435 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5385 | NORETHINDRONE | . | 0.8 | 0.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6435 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-23 | 2010-10-01 | 2012-05-30 | ng/L | 0.66727 | Crescent | 162776 | Crescent 162776: 100 µl | 6.1894 | NORETHINDRONE | . | 0.8 | 4.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66727 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-07-25 | 2010-10-01 | 2012-05-30 | ng/L | 0.55733 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55733 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2011-11-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.74733 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74733 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2012-03-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.8455 | Crescent | 162776 | Crescent 162776: 100 µl | 6.3158 | NORETHINDRONE | . | 0.8 | 5.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8455 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-06 | 2010-10-01 | 2012-05-30 | ng/L | 0.741 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.741 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.70911 | 0.097734 | 0.70414 | 0.13938 | 0.10332
NORETHINDRONE | 4434 | 64531GM005 | 2014-02-25 | 2012-05-31 | 2050-09-30 | ng/L | 0.5825 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 2.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5825 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.5825 |  | 0.5825 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-03-05 | 2012-05-31 | 2050-09-30 | ng/L | 0.685 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 4 | NORETHINDRONE | . | 0.8 | 2.74 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.685 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.685 |  | 0.685 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-09-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.725 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.725 |  | 0.725 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-06-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.79375 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79375 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79375 |  | 0.79375 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 0.63379 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 7.3684 | NORETHINDRONE | . | 0.8 | 4.67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63379 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.63379 |  | 0.63379 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-11-07 | 2012-05-31 | 2050-09-30 | ng/L | 0.73286 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 14.7368 | NORETHINDRONE | . | 0.8 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73286 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73286 |  | 0.73286 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.66025 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.7368 | NORETHINDRONE | . | 0.8 | 9.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66025 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68977 | 0.041745 | 0.68977 | 0.059036 | 0.043763
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.71929 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 14.7368 | NORETHINDRONE | . | 0.8 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71929 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68977 | 0.041745 | 0.68977 | 0.059036 | 0.043763
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-08 | 2012-05-31 | 2050-09-30 | ng/L | 0.69757 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 7.3684 | NORETHINDRONE | . | 0.8 | 5.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69757 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69757 |  | 0.69757 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2008-10-24 | 2007-04-30 | 2010-09-30 | ng/L | 1.3619 | Restek | A055510 | Restek A055510: 50 µl | 3.1133 | NORETHINDRONE | . | 0.8 | 4.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3619 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0826 | 0.3464 | 1.172 | 0.53622 | 0.3975
NORETHINDRONE | 4434 | 64531GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 1.0045 | Restek | A055510 | Restek A055510: 50 µl | 3.0066 | NORETHINDRONE | . | 0.8 | 3.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0045 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0826 | 0.3464 | 1.172 | 0.53622 | 0.3975
NORETHINDRONE | 4434 | 64531GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 0.62446 | Restek | A055510 | Restek A055510: 50 µl | 2.9946 | NORETHINDRONE | . | 0.8 | 1.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62446 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0826 | 0.3464 | 1.172 | 0.53622 | 0.3975
NORETHINDRONE | 4434 | 64531GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 1.3395 | Restek | A055510 | Restek A055510: 50 µl | 2.9863 | NORETHINDRONE | . | 0.8 | 4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3395 | Restek A055510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0826 | 0.3464 | 1.172 | 0.53622 | 0.3975
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.61957 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 7.2632 | NORETHINDRONE | . | 0.8 | 4.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61957 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.61957 |  | 0.61957 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.7779 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 7.2632 | NORETHINDRONE | . | 0.8 | 5.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7779 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7779 |  | 0.7779 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.70217 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 14.5263 | NORETHINDRONE | . | 0.8 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70217 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70217 |  | 0.70217 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.69529 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 14.5263 | NORETHINDRONE | . | 0.8 | 10.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69529 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.69529 |  | 0.69529 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2010-05-25 | 2007-04-30 | 2010-09-30 | ng/L | 1.0208 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 1.6849 | NORETHINDRONE | . | 0.8 | 1.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0208 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.89319 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.85088 | NORETHINDRONE | E | 0.8 | 0.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89319 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 1.0501 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.4095 | NORETHINDRONE | E | 0.8 | 0.43 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.0501 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-08-19 | 2007-04-30 | 2010-09-30 | ng/L | 1.0338 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.84157 | NORETHINDRONE | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0338 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-10-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.95373 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 1.6567 | NORETHINDRONE | . | 0.8 | 1.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95373 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2010-11-15 | 2010-10-01 | 2012-05-30 | ng/L | 0.84516 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.86374 | NORETHINDRONE | . | 0.8 | 0.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84516 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96612 | 0.08333 | 0.98727 | 0.14059 | 0.10422
NORETHINDRONE | 4434 | 64531GM005 | 2012-08-29 | 2012-05-31 | 2050-09-30 | ng/L | 0.82609 | Spex Organics | T1120525010 | Spex Organics T1120525010: 25 µl | 7.2632 | NORETHINDRONE | . | 0.8 | 6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82609 | Spex Organics T1120525010 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.82609 |  | 0.82609 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-07-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.66875 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66875 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 |  | 1 | 0.66875 |  | 0.66875 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2014-01-23 | 2012-05-31 | 2050-09-30 | ng/L | 0.675 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 1.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.675 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.675 |  | 0.675 | 0 | 0
NORETHINDRONE | 4434 | 64531GM005 | 2013-06-04 | 2012-05-31 | 2050-09-30 | ng/L | 0.5125 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5125 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.51875 | 0.0088388 | 0.51875 | 0.0125 | 0.0092661
NORETHINDRONE | 4434 | 64531GM005 | 2013-12-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.525 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 1.6 | NORETHINDRONE | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.525 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 2 | 0.51875 | 0.0088388 | 0.51875 | 0.0125 | 0.0092661
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-04 | 2010-10-01 | 2012-05-30 | ng/L | 0.98638 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.541 | NORETHINDRONE | . | 0.8 | 1.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98638 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-03-31 | 2010-10-01 | 2012-05-30 | ng/L | 0.63295 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5483 | NORETHINDRONE | . | 0.8 | 0.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63295 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-05-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.94957 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5586 | NORETHINDRONE | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94957 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-06-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.76543 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.2318 | NORETHINDRONE | . | 0.8 | 4.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76543 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2011-10-13 | 2010-10-01 | 2012-05-30 | ng/L | 0.76317 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | NORETHINDRONE | . | 0.8 | 4.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76317 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-01-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.67767 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | NORETHINDRONE | . | 0.8 | 4.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67767 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-04 | 2010-10-01 | 2012-05-30 | ng/L | 0.93733 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93733 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-04-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.817 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.817 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2012-07-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.65867 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | NORETHINDRONE | . | 0.8 | 1.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65867 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79868 | 0.13306 | 0.76543 | 0.25967 | 0.19249
NORETHINDRONE | 4434 | 64531GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.91101 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.0757 | NORETHINDRONE | E | 0.8 | 0.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91101 | Ultra CE-2887 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87126 | 0.1157 | 0.91101 | 0.13992 | 0.10372
NORETHINDRONE | 4434 | 64531GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.91704 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.0578 | NORETHINDRONE | E | 0.8 | 0.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91704 | Ultra CE-2887 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87126 | 0.1157 | 0.91101 | 0.13992 | 0.10372
NORETHINDRONE | 4434 | 64531GM005 | 2009-06-15 | 2007-04-30 | 2010-09-30 | ng/L | 0.77711 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.0423 | NORETHINDRONE | . | 0.8 | 0.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77711 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87126 | 0.1157 | 0.91101 | 0.13992 | 0.10372
NORETHINDRONE | 4434 | 64531GM005 | 2009-08-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.73245 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.024 | NORETHINDRONE | E | 0.8 | 0.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73245 | Ultra CE-2887 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87126 | 0.1157 | 0.91101 | 0.13992 | 0.10372
NORETHINDRONE | 4434 | 64531GM005 | 2009-09-17 | 2007-04-30 | 2010-09-30 | ng/L | 1.0187 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.0307 | NORETHINDRONE | . | 0.8 | 1.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0187 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87126 | 0.1157 | 0.91101 | 0.13992 | 0.10372