## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROGESTERONE | 4434 | 64543GM005 | 2014-02-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.26506 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 11.0539 | PROGESTERONE | E | 8 | 2.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.26507 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.28949 | 0.034543 | 0.28949 | 0.048852 | 0.036213
PROGESTERONE | 4434 | 64543GM005 | 2014-03-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.31392 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 11.0539 | PROGESTERONE | E | 8 | 3.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31392 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.28949 | 0.034543 | 0.28949 | 0.048852 | 0.036213
PROGESTERONE | 4434 | 64543GM005 | 2012-08-24 | 2012-05-31 | 2050-09-30 | ng/L | 0.48371 | Abs | 051512 | Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 6.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48371 | Abs 051512 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.48371 |  | 0.48371 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2011-02-23 | 2010-10-01 | 2012-05-30 | ng/L | 0.58186 | Abs | 081810 | Abs 081810: 25 µl | 9.4697 | PROGESTERONE | E | 8 | 5.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58186 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-03-30 | 2010-10-01 | 2012-05-30 | ng/L | 0.76513 | Abs | 081810 | Abs 081810: 25 µl | 9.3187 | PROGESTERONE | E | 8 | 7.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76513 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-05-09 | 2010-10-01 | 2012-05-30 | ng/L | 0.50116 | Abs | 081810 | Abs 081810: 100 µl | 38.1114 | PROGESTERONE | E | 8 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50116 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-06-13 | 2010-10-01 | 2012-05-30 | ng/L | 0.5765 | Abs | 081810 | Abs 081810: 25 µl | 9.3322 | PROGESTERONE | E | 8 | 5.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5765 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-10-03 | 2010-10-01 | 2012-05-30 | ng/L | 0.51194 | Abs | 081810 | Abs 081810: 100 µl | 37.8947 | PROGESTERONE | E | 8 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51194 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2011-10-12 | 2010-10-01 | 2012-05-30 | ng/L | 0.42433 | Abs | 081810 | Abs 081810: 25 µl | 9.4737 | PROGESTERONE | E | 8 | 4.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42433 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2012-03-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.70511 | Abs | 081810 | Abs 081810: 25 µl | 9.4737 | PROGESTERONE | E | 8 | 6.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70511 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2012-04-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.84972 | Abs | 081810 | Abs 081810: 100 µl | 37.8947 | PROGESTERONE | E | 8 | 32.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84972 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2012-07-02 | 2012-05-31 | 2050-09-30 | ng/L | 0.93417 | Abs | 081810 | Abs 081810: 100 µl | 37.8947 | PROGESTERONE | E | 8 | 35.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93417 | Abs 081810 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.64999 | 0.17289 | 0.58186 | 0.25318 | 0.18768
PROGESTERONE | 4434 | 64543GM005 | 2008-08-20 | 2007-04-30 | 2010-09-30 | ng/L | 0.93705 | Abs | 083107H | Abs 083107H: 50 µl | 5.7734 | PROGESTERONE | E | 8 | 5.41 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.93705 | Abs 083107H | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0142 | 0.13886 | 0.93705 | 0.24344 | 0.18046
PROGESTERONE | 4434 | 64543GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 0.93108 | Abs | 083107H | Abs 083107H: 50 µl | 5.746 | PROGESTERONE | E | 8 | 5.35 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.93108 | Abs 083107H | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0142 | 0.13886 | 0.93705 | 0.24344 | 0.18046
PROGESTERONE | 4434 | 64543GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 1.1745 | Abs | 083107H | Abs 083107H: 50 µl | 5.7896 | PROGESTERONE | E | 8 | 6.8 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.1745 | Abs 083107H | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0142 | 0.13886 | 0.93705 | 0.24344 | 0.18046
PROGESTERONE | 4434 | 64543GM005 | 2014-02-25 | 2012-05-31 | 2050-09-30 | ng/L | 0.28334 | ERA, Abs | 0415-13-01.1A, 050813 | ERA 0415-13-01.1A: 50 µl & Abs 050813: 50 µl | 27.6347 | PROGESTERONE | E | 8 | 7.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.28334 | ER0411.1A, Ab050813 | ER | Ab | Ab | 0411.1A | 050813 | 050813 | 0411.1A |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.28334 |  | 0.28334 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-06-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.22749 | ERA, Spex Organics | 0415-13-01.1A, T1130423008 | ERA 0415-13-01.1A: 20 µl & Spex Organics T1130423008: 20 µl | 10.9895 | PROGESTERONE | E | 8 | 2.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22749 | ER0411.1A, SpT113008 | ER | Sp | Sp | 0411.1A | T113008 | T113008 | 0411.1A | T113008 | T113008 | Y | Estimated Values | Y | 2 |  | 1 | 0.22749 |  | 0.22749 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-11-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.38267 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 11.0539 | PROGESTERONE | E | 8 | 4.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38267 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.38267 |  | 0.38267 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-08-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.37126 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 27.4737 | PROGESTERONE | E | 8 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.37126 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Estimated Values | Y | 2 |  | 1 | 0.37126 |  | 0.37126 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2012-11-01 | 2012-05-31 | 2050-09-30 | ng/L | 0.67133 | ERA, Abs | 0507-12-04.1, 051512 | ERA 0507-12-04.1: 25 µl & Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 8.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67133 | ER05004.1, Ab051512 | ER | Ab | Ab | 05004.1 | 051512 | 051512 | 05004.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.67133 |  | 0.67133 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2013-02-08 | 2012-05-31 | 2050-09-30 | ng/L | 0.4788 | ERA, Supelco | 0507-12-04.1, LB92781 | ERA 0507-12-04.1: 25 µl & Supelco LB92781: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 5.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4788 | ER05004.1, SuLB92781 | ER | Su | Su | 05004.1 | LB92781 | LB92781 | 05004.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.4788 |  | 0.4788 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2012-08-31 | 2012-05-31 | 2050-09-30 | ng/L | 0.50508 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 6.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50508 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.45837 | 0.066056 | 0.45837 | 0.093417 | 0.069249
PROGESTERONE | 4434 | 64543GM005 | 2012-12-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.41167 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 25.2632 | PROGESTERONE | E | 8 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41167 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.45837 | 0.066056 | 0.45837 | 0.093417 | 0.069249
PROGESTERONE | 4434 | 64543GM005 | 2013-04-10 | 2012-05-31 | 2050-09-30 | ng/L | 0.73245 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73245 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.73245 |  | 0.73245 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2009-03-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.48171 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 7.0997 | PROGESTERONE | E | 8 | 3.42 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.48171 | ERA 0813-08-07H | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.47675 | 0.075971 | 0.49626 | 0.10221 | 0.075768
PROGESTERONE | 4434 | 64543GM005 | 2009-05-21 | 2007-04-30 | 2010-09-30 | ng/L | 0.54489 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 7.3042 | PROGESTERONE | E | 8 | 3.98 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.54489 | ERA 0813-08-07H | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.47675 | 0.075971 | 0.49626 | 0.10221 | 0.075768
PROGESTERONE | 4434 | 64543GM005 | 2009-07-16 | 2007-04-30 | 2010-09-30 | ng/L | 0.51082 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 7.2042 | PROGESTERONE | E | 8 | 3.68 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.51082 | ERA 0813-08-07H | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.47675 | 0.075971 | 0.49626 | 0.10221 | 0.075768
PROGESTERONE | 4434 | 64543GM005 | 2009-09-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.36958 | ERA | 0813-08-07H | ERA 0813-08-07H: 25 µl | 7.3868 | PROGESTERONE | E | 8 | 2.73 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.36958 | ERA 0813-08-07H | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.47675 | 0.075971 | 0.49626 | 0.10221 | 0.075768
PROGESTERONE | 4434 | 64543GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.38285 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 4.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.38285 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.43605 | 0.075236 | 0.43605 | 0.1064 | 0.078873
PROGESTERONE | 4434 | 64543GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.48925 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 21.0526 | PROGESTERONE | E | 8 | 10.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48925 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.43605 | 0.075236 | 0.43605 | 0.1064 | 0.078873
PROGESTERONE | 4434 | 64543GM005 | 2010-02-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.50738 | Restek | A070624 | Restek A070624: 20 µl | 9.1648 | PROGESTERONE | E | 8 | 4.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50738 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69434 | 0.55098 | 0.48074 | 0.050827 | 0.037677
PROGESTERONE | 4434 | 64543GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.46157 | Restek | A070624 | Restek A070624: 20 µl | 9.1211 | PROGESTERONE | E | 8 | 4.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46157 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69434 | 0.55098 | 0.48074 | 0.050827 | 0.037677
PROGESTERONE | 4434 | 64543GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.45655 | Restek | A070624 | Restek A070624: 40 µl | 18.5302 | PROGESTERONE | E | 8 | 8.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45655 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69434 | 0.55098 | 0.48074 | 0.050827 | 0.037677
PROGESTERONE | 4434 | 64543GM005 | 2010-08-19 | 2007-04-30 | 2010-09-30 | ng/L | 0.42336 | Restek | A070624 | Restek A070624: 20 µl | 9.2593 | PROGESTERONE | E | 8 | 3.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42336 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69434 | 0.55098 | 0.48074 | 0.050827 | 0.037677
PROGESTERONE | 4434 | 64543GM005 | 2010-10-25 | 2010-10-01 | 2012-05-30 | ng/L | 1.8173 | Restek | A070624 | Restek A070624: 20 µl | 9.1896 | PROGESTERONE | E | 8 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8173 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69434 | 0.55098 | 0.48074 | 0.050827 | 0.037677
PROGESTERONE | 4434 | 64543GM005 | 2010-11-15 | 2010-10-01 | 2012-05-30 | ng/L | 0.49992 | Restek | A070624 | Restek A070624: 40 µl | 18.3831 | PROGESTERONE | E | 8 | 9.19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49992 | Restek A070624 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.69434 | 0.55098 | 0.48074 | 0.050827 | 0.037677
PROGESTERONE | 4434 | 64543GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.42275 | Spex Organics, Abs | T1120525010, 051512 | Spex Organics T1120525010: 25 µl & Abs 051512: 25 µl | 12.6316 | PROGESTERONE | E | 8 | 5.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42275 | SpT115010, Ab051512 | Sp | Ab | Ab | T115010 | 051512 | 051512 | T115010 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.42275 |  | 0.42275 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.4427 | Spex Organics, Supelco | T1120525010, LB92781 | Spex Organics T1120525010: 50 µl & Supelco LB92781: 50 µl | 21.0526 | PROGESTERONE | E | 8 | 9.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4427 | SpT115010, SuLB92781 | Sp | Su | Su | T115010 | LB92781 | LB92781 | T115010 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.4427 |  | 0.4427 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2011-03-10 | 2010-10-01 | 2012-05-30 | ng/L | 0.5766 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.4406 | PROGESTERONE | E | 8 | 6.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5766 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-03-31 | 2010-10-01 | 2012-05-30 | ng/L | 0.42293 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 42.0875 | PROGESTERONE | E | 8 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42293 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-05-26 | 2010-10-01 | 2012-05-30 | ng/L | 0.44396 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.609 | PROGESTERONE | E | 8 | 4.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44396 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-07-11 | 2010-10-01 | 2012-05-30 | ng/L | 0.51371 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.3756 | PROGESTERONE | E | 8 | 5.33 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51371 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-09-29 | 2010-10-01 | 2012-05-30 | ng/L | 0.59612 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 42.1053 | PROGESTERONE | E | 8 | 25.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59612 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-10-13 | 2010-10-01 | 2012-05-30 | ng/L | 0.3192 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 3.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3192 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2011-11-28 | 2010-10-01 | 2012-05-30 | ng/L | 0.3477 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 3.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3477 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2012-02-01 | 2010-10-01 | 2012-05-30 | ng/L | 0.361 | Spex Organics | T1100629008 | Spex Organics T1100629008: 100 µl | 42.1053 | PROGESTERONE | E | 8 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.361 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2012-08-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.6061 | Spex Organics | T1100629008 | Spex Organics T1100629008: 25 µl | 10.5263 | PROGESTERONE | E | 8 | 6.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6061 | Spex Organics T1100629008 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.46526 | 0.11179 | 0.44396 | 0.2156 | 0.15982
PROGESTERONE | 4434 | 64543GM005 | 2013-06-04 | 2012-05-31 | 2050-09-30 | ng/L | 0.45225 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 10.9895 | PROGESTERONE | E | 8 | 4.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45225 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Estimated Values | Y | 2 |  | 2 | 0.37536 | 0.10874 | 0.37536 | 0.15378 | 0.114
PROGESTERONE | 4434 | 64543GM005 | 2013-12-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.29847 | Supelco, Spex Organics | LB99393, T1130423008 | Supelco LB99393: 20 µl & Spex Organics T1130423008: 20 µl | 10.9895 | PROGESTERONE | E | 8 | 3.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.29847 | SuLB99393, SpT113008 | Su | Sp | Sp | LB99393 | T113008 | T113008 |  | T113008 | T113008 | Y | Estimated Values | Y | 2 |  | 2 | 0.37536 | 0.10874 | 0.37536 | 0.15378 | 0.114
PROGESTERONE | 4434 | 64543GM005 | 2008-08-20 | 2007-04-30 | 2010-09-30 | ng/L | 0.81491 | Supelco | LB51755 | Supelco LB51755: 50 µl | 5.5344 | PROGESTERONE | E | 8 | 4.51 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.81491 | Supelco LB51755 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.93973 | 0.23683 | 0.8409 | 0.27882 | 0.20669
PROGESTERONE | 4434 | 64543GM005 | 2008-11-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.78572 | Supelco | LB51755 | Supelco LB51755: 50 µl | 6.0454 | PROGESTERONE | E | 8 | 4.75 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.78572 | Supelco LB51755 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.93973 | 0.23683 | 0.8409 | 0.27882 | 0.20669
PROGESTERONE | 4434 | 64543GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 1.2914 | Supelco | LB51755 | Supelco LB51755: 50 µl | 5.8 | PROGESTERONE | E | 8 | 7.49 | NANOGRAMS PER LITER |  |  | < Reporting Level | 1.2914 | Supelco LB51755 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.93973 | 0.23683 | 0.8409 | 0.27882 | 0.20669
PROGESTERONE | 4434 | 64543GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.8669 | Supelco | LB51755 | Supelco LB51755: 50 µl | 5.7677 | PROGESTERONE | E | 8 | 5 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.8669 | Supelco LB51755 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.93973 | 0.23683 | 0.8409 | 0.27882 | 0.20669
PROGESTERONE | 4434 | 64543GM005 | 2009-10-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.12853 | Supelco | LB60732 | Supelco LB60732: 25 µl | 7.3133 | PROGESTERONE | E | 8 | 0.94 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.12853 | Supelco LB60732 | [9 empty] | Y | Estimated Values | Y | 1 |  | 1 | 0.12853 |  | 0.12853 | 0 | 0
PROGESTERONE | 4434 | 64543GM005 | 2010-05-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.55493 | Supelco | LB69645 | Supelco LB69645: 20 µl | 9.2984 | PROGESTERONE | E | 8 | 5.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55493 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.46812 | Supelco | LB69645 | Supelco LB69645: 20 µl | 9.1003 | PROGESTERONE | E | 8 | 4.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46812 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-07-07 | 2007-04-30 | 2010-09-30 | ng/L | 0.39797 | Supelco | LB69645 | Supelco LB69645: 40 µl | 18.5693 | PROGESTERONE | E | 8 | 7.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39797 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-10-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.895 | Supelco | LB69645 | Supelco LB69645: 20 µl | 9.1173 | PROGESTERONE | E | 8 | 8.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358
PROGESTERONE | 4434 | 64543GM005 | 2010-11-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.5325 | Supelco | LB69645 | Supelco LB69645: 40 µl | 18.7793 | PROGESTERONE | E | 8 | 10 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5325 | Supelco LB69645 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5697 | 0.19186 | 0.5325 | 0.086819 | 0.064358