## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2014-02-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.61679 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 1.4105 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61679 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68414 | 0.095248 | 0.68414 | 0.1347 | 0.099853
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2014-03-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.75149 | Abs, Abs | 050813, 071513 | Abs 050813: 20 µl & Abs 071513: 20 µl | 1.4105 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75149 | Ab050813, Ab071513 | Ab | Ab | Ab | 050813 | 071513 | 071513 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68414 | 0.095248 | 0.68414 | 0.1347 | 0.099853
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.7177 | Abs | 081908H | Abs 081908H: 25 µl | 1.5605 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7177 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71074 | 0.088413 | 0.7177 | 0.051107 | 0.037885
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-03-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.83316 | Abs | 081908H | Abs 081908H: 25 µl | 1.5723 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83316 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71074 | 0.088413 | 0.7177 | 0.051107 | 0.037885
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.73263 | Abs | 081908H | Abs 081908H: 25 µl | 1.5697 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73263 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71074 | 0.088413 | 0.7177 | 0.051107 | 0.037885
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-06-24 | 2007-04-30 | 2010-09-30 | ng/L | 0.68152 | Abs | 081908H | Abs 081908H: 25 µl | 1.5407 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68152 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71074 | 0.088413 | 0.7177 | 0.051107 | 0.037885
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-08-11 | 2007-04-30 | 2010-09-30 | ng/L | 0.58868 | Abs | 081908H | Abs 081908H: 25 µl | 1.5628 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58868 | Abs 081908H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71074 | 0.088413 | 0.7177 | 0.051107 | 0.037885
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2008-08-20 | 2007-04-30 | 2010-09-30 | ng/L | 0.46881 | Abs | 083107H | Abs 083107H: 50 µl | 1.4931 | TRANS-DIETHYLSTILBESTROL | E | 0.8 | 0.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46881 | Abs 083107H | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.80652 | 0.31147 | 0.86823 | 0.6137 | 0.45493
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 1.0825 | Abs | 083107H | Abs 083107H: 50 µl | 1.5242 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0825 | Abs 083107H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80652 | 0.31147 | 0.86823 | 0.6137 | 0.45493
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.86823 | Abs | 083107H | Abs 083107H: 50 µl | 1.4973 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86823 | Abs 083107H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80652 | 0.31147 | 0.86823 | 0.6137 | 0.45493
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-12-03 | 2007-04-30 | 2010-09-30 | ng/L | 0.63974 | Abs | 083109H | Abs 083109H: 20 µl | 1.2818 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63974 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8561 | 0.12217 | 0.87603 | 0.092063 | 0.068246
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.91713 | Abs | 083109H | Abs 083109H: 20 µl | 1.243 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91713 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8561 | 0.12217 | 0.87603 | 0.092063 | 0.068246
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.82507 | Abs | 083109H | Abs 083109H: 40 µl | 2.521 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82507 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8561 | 0.12217 | 0.87603 | 0.092063 | 0.068246
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-07-12 | 2007-04-30 | 2010-09-30 | ng/L | 0.85507 | Abs | 083109H | Abs 083109H: 20 µl | 1.2397 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85507 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8561 | 0.12217 | 0.87603 | 0.092063 | 0.068246
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-10-25 | 2010-10-01 | 2012-05-30 | ng/L | 1.0026 | Abs | 083109H | Abs 083109H: 40 µl | 2.5435 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.55 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0026 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8561 | 0.12217 | 0.87603 | 0.092063 | 0.068246
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-11-01 | 2010-10-01 | 2012-05-30 | ng/L | 0.897 | Abs | 083109H | Abs 083109H: 20 µl | 1.2821 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.897 | Abs 083109H | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8561 | 0.12217 | 0.87603 | 0.092063 | 0.068246
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-02-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.59397 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5657 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59397 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-03-10 | 2010-10-01 | 2012-05-30 | ng/L | 0.67248 | Crescent | 162776 | Crescent 162776: 100 µl | 6.2604 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 4.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67248 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-05-09 | 2010-10-01 | 2012-05-30 | ng/L | 0.59404 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5487 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59404 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-06-23 | 2010-10-01 | 2012-05-30 | ng/L | 0.66125 | Crescent | 162776 | Crescent 162776: 100 µl | 6.2307 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 4.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66125 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-07-25 | 2010-10-01 | 2012-05-30 | ng/L | 0.5096 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5895 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5096 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-10-12 | 2010-10-01 | 2012-05-30 | ng/L | 0.55364 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5895 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55364 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-11-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.5851 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5895 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5851 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-03-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.58982 | Crescent | 162776 | Crescent 162776: 100 µl | 6.3579 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58982 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-04-06 | 2010-10-01 | 2012-05-30 | ng/L | 0.79901 | Crescent | 162776 | Crescent 162776: 25 µl | 1.5895 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79901 | Crescent 162776 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.61766 | 0.084055 | 0.59397 | 0.076147 | 0.056447
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2014-03-05 | 2012-05-31 | 2050-09-30 | ng/L | 0.76 | ERA, Abs, Abs | 0415-13-01.1A, 060413, 071513 | ERA 0415-13-01.1A: 50 µl & Abs 060413: 50 µl & Abs 071513: 50 µl | 3.5263 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | ER0411.1A, Ab060413, Ab071513 | ER | Ab | Ab | 0411.1A | 060413 | 071513 | 0411.1A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-09-16 | 2012-05-31 | 2050-09-30 | ng/L | 0.54917 | ERA, ERA, Abs | 0415-13-01.1A, 0415-13-01.2A, 0604 | ERA 0415-13-01.1A: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.4021 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54917 | ER0411.1A, ER0411.2A, Ab0604 | ER | ER | Ab | 0411.1A | 0411.2A | 0604 | 0411.1A | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.54917 |  | 0.54917 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-11-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.5991 | ERA, Abs | 0415-13-01.2A, 050813 | ERA 0415-13-01.2A: 20 µl & Abs 050813: 20 µl | 1.4021 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5991 | ER0411.2A, Ab050813 | ER | Ab | Ab | 0411.2A | 050813 | 050813 | 0411.2A |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.5991 |  | 0.5991 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-08-09 | 2012-05-31 | 2050-09-30 | ng/L | 0.69039 | ERA, Spex Organics | 0415-13-01.2A, T1130423008 | ERA 0415-13-01.2A: 50 µl & Spex Organics T1130423008: 50 µl | 3.5053 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69039 | ER0411.2A, SpT113008 | ER | Sp | Sp | 0411.2A | T113008 | T113008 | 0411.2A | T113008 | T113008 | Y | Recoverable Result | Y | 2 |  | 1 | 0.69039 |  | 0.69039 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-11-07 | 2012-05-31 | 2050-09-30 | ng/L | 0.50887 | ERA, ERA | 0507-12-04.1, 0511-12-02 | ERA 0507-12-04.1: 50 µl & ERA 0511-12-02: 50 µl | 6.3474 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50887 | ER05004.1, ER0512-02 | ER | ER | ER | 05004.1 | 0512-02 | 0512-02 | 05004.1 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.50887 |  | 0.50887 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.57792 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 6.3158 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57792 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.59058 | 0.017913 | 0.59058 | 0.025333 | 0.018779
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-04-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.60325 | ERA, Restek | 0507-12-04.1, A089631 | ERA 0507-12-04.1: 50 µl & Restek A089631: 50 µl | 6.3158 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60325 | ER05004.1, ReA089631 | ER | Re | Re | 05004.1 | A089631 | A089631 | 05004.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.59058 | 0.017913 | 0.59058 | 0.025333 | 0.018779
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-08-31 | 2012-05-31 | 2050-09-30 | ng/L | 0.70896 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 25 µl & Abs 051512: 25 µl | 3.1737 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70896 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63648 | 0.10249 | 0.63648 | 0.14494 | 0.10744
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-12-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.56401 | ERA, Abs | 0511-12-02, 051512 | ERA 0511-12-02: 50 µl & Abs 051512: 50 µl | 6.3474 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.58 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56401 | ER0512-02, Ab051512 | ER | Ab | Ab | 0512-02 | 051512 | 051512 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63648 | 0.10249 | 0.63648 | 0.14494 | 0.10744
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-04-10 | 2012-05-31 | 2050-09-30 | ng/L | 0.6869 | ERA, Supelco | 0511-12-02, LB92781 | ERA 0511-12-02: 25 µl & Supelco LB92781: 25 µl | 3.1737 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6869 | ER0512-02, SuLB92781 | ER | Su | Su | 0512-02 | LB92781 | LB92781 | 0512-02 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.6869 |  | 0.6869 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-12-18 | 2012-05-31 | 2050-09-30 | ng/L | 0.53517 | Restek, Supelco | A089631, LB92781 | Restek A089631: 25 µl & Supelco LB92781: 25 µl | 3.1579 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53517 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63333 | 0.13883 | 0.63333 | 0.19633 | 0.14554
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.7315 | Restek, Supelco | A089631, LB92781 | Restek A089631: 50 µl & Supelco LB92781: 50 µl | 6.3158 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 4.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7315 | ReA089631, SuLB92781 | Re | Su | Su | A089631 | LB92781 | LB92781 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63333 | 0.13883 | 0.63333 | 0.19633 | 0.14554
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-02-22 | 2012-05-31 | 2050-09-30 | ng/L | 0.74362 | Spex Organics, ERA | T1120525010, 0511-12-02 | Spex Organics T1120525010: 25 µl & ERA 0511-12-02: 25 µl | 3.1737 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74362 | SpT115010, ER0512-02 | Sp | ER | ER | T115010 | 0512-02 | 0512-02 | T115010 | 0512-02 | 0512-02 | Y | Recoverable Result | Y | 2 |  | 1 | 0.74362 |  | 0.74362 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-04-03 | 2012-05-31 | 2050-09-30 | ng/L | 0.78058 | Spex Organics, Restek | T1120525010, A089631 | Spex Organics T1120525010: 50 µl & Restek A089631: 50 µl | 6.3158 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 4.93 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78058 | SpT115010, ReA089631 | Sp | Re | Re | T115010 | A089631 | A089631 | T115010 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78058 |  | 0.78058 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-05-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.44315 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 2.5274 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44315 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78258 | 0.19774 | 0.81335 | 0.26789 | 0.19858
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-06-30 | 2007-04-30 | 2010-09-30 | ng/L | 0.97937 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.2763 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97938 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78258 | 0.19774 | 0.81335 | 0.26789 | 0.19858
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-07-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.79772 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 0.61425 | TRANS-DIETHYLSTILBESTROL | E | 0.8 | 0.49 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.79772 | Spex Organics T1090904002 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.78258 | 0.19774 | 0.81335 | 0.26789 | 0.19858
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-08-19 | 2007-04-30 | 2010-09-30 | ng/L | 0.68919 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.2624 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68918 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78258 | 0.19774 | 0.81335 | 0.26789 | 0.19858
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-10-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.82898 | Spex Organics | T1090904002 | Spex Organics T1090904002: 40 µl | 2.485 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 2.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82898 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78258 | 0.19774 | 0.81335 | 0.26789 | 0.19858
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2010-11-15 | 2010-10-01 | 2012-05-30 | ng/L | 0.95707 | Spex Organics | T1090904002 | Spex Organics T1090904002: 20 µl | 1.2956 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95707 | Spex Organics T1090904002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78258 | 0.19774 | 0.81335 | 0.26789 | 0.19858
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2013-07-19 | 2012-05-31 | 2050-09-30 | ng/L | 0.54917 | Supelco, ERA | LB99393, 0415-13-01.2A | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl | 1.4021 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54917 | SuLB99393, ER0411.2A | Su | ER | ER | LB99393 | 0411.2A | 0411.2A |  | 0411.2A | 0411.2A | Y | Recoverable Result | Y | 2 |  | 1 | 0.54917 |  | 0.54917 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2014-01-23 | 2012-05-31 | 2050-09-30 | ng/L | 0.58483 | Supelco, ERA, Abs | LB99393, 0415-13-01.2A, 060413 | Supelco LB99393: 20 µl & ERA 0415-13-01.2A: 20 µl & Abs 060413: 20 µl | 1.4021 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.82 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58483 | SuLB99393, ER0411.2A, Ab060413 | Su | ER | Ab | LB99393 | 0411.2A | 060413 |  | 0411.2A |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.58483 |  | 0.58483 | 0 | 0
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2008-11-10 | 2007-04-30 | 2010-09-30 | ng/L | 1.0553 | Supelco | LB51755 | Supelco LB51755: 50 µl | 1.5635 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | Supelco LB51755 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0376 | 0.15798 | 1.0553 | 0.31447 | 0.23311
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2008-12-02 | 2007-04-30 | 2010-09-30 | ng/L | 1.186 | Supelco | LB51755 | Supelco LB51755: 50 µl | 1.6358 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.186 | Supelco LB51755 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0376 | 0.15798 | 1.0553 | 0.31447 | 0.23311
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-03-25 | 2007-04-30 | 2010-09-30 | ng/L | 0.87152 | Supelco | LB51755 | Supelco LB51755: 50 µl | 1.4916 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87152 | Supelco LB51755 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0376 | 0.15798 | 1.0553 | 0.31447 | 0.23311
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-03-04 | 2010-10-01 | 2012-05-30 | ng/L | 0.62947 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.541 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62947 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-03-31 | 2010-10-01 | 2012-05-30 | ng/L | 0.64587 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5483 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64587 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-05-19 | 2010-10-01 | 2012-05-30 | ng/L | 0.63518 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5586 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63518 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-06-07 | 2010-10-01 | 2012-05-30 | ng/L | 0.57768 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.2318 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57768 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-09-29 | 2010-10-01 | 2012-05-30 | ng/L | 0.57 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2011-10-13 | 2010-10-01 | 2012-05-30 | ng/L | 0.49717 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49717 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-01-27 | 2010-10-01 | 2012-05-30 | ng/L | 0.58267 | Supelco | LB77167 | Supelco LB77167: 100 µl | 6.3158 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 3.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58267 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-04-04 | 2010-10-01 | 2012-05-30 | ng/L | 0.52567 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52567 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-04-17 | 2010-10-01 | 2012-05-30 | ng/L | 0.57 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2012-07-27 | 2012-05-31 | 2050-09-30 | ng/L | 0.475 | Supelco | LB77167 | Supelco LB77167: 25 µl | 1.5789 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.475 | Supelco LB77167 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.57087 | 0.057781 | 0.57384 | 0.1038 | 0.076945
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-03-10 | 2007-04-30 | 2010-09-30 | ng/L | 0.79326 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.6136 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79326 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76102 | 0.10194 | 0.79326 | 0.10081 | 0.074731
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-05-01 | 2007-04-30 | 2010-09-30 | ng/L | 0.87607 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5866 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87607 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76102 | 0.10194 | 0.79326 | 0.10081 | 0.074731
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-06-15 | 2007-04-30 | 2010-09-30 | ng/L | 0.81229 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5635 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81229 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76102 | 0.10194 | 0.79326 | 0.10081 | 0.074731
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-08-05 | 2007-04-30 | 2010-09-30 | ng/L | 0.612 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5359 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 0.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.612 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76102 | 0.10194 | 0.79326 | 0.10081 | 0.074731
TRANS-DIETHYLSTILBESTROL | 4434 | 64536GM005 | 2009-09-17 | 2007-04-30 | 2010-09-30 | ng/L | 0.71148 | Ultra | CE-2887 | Ultra CE-2887: 25 µl | 1.5461 | TRANS-DIETHYLSTILBESTROL | . | 0.8 | 1.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71148 | Ultra CE-2887 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.76102 | 0.10194 | 0.79326 | 0.10081 | 0.074731