## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-11-16 | ug/L |  | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-03-15 | ug/L |  | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-05-11 | ug/L |  | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-05-25 | ug/L |  | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-07-13 | ug/L |  | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-09-15 | ug/L |  | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-10-22 | ug/L |  | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-01-07 | ug/L |  | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-04-28 | ug/L |  | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-14 | ug/L |  | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-08-05 | ug/L |  | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-11-15 | ug/L | 0.99002 | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl | 0.23838 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.236 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-01-04 | ug/L | 1.0877 | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl | 0.24179 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.263 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-04-26 | ug/L | 1.2008 | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl | 0.23817 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.286 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-06-15 | ug/L | 0.98007 | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl | 0.38671 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.379 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-08-26 | ug/L | 0.88281 | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl | 0.384 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.339 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-09-16 | ug/L | 1.0792 | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl | 0.24 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.259 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-04-13 | ug/L | 0.84174 | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl | 0.31245 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.263 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-04-13 | ug/L | 0.87397 | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl | 0.1968 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.172 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-08-28 | ug/L | 0.70498 | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl | 0.19149 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.135 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-05-28 | ug/L | 1.0857 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.218 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y | False Negatives | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-06-25 | ug/L | 1.3315 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.264 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-07-27 | ug/L | 1.3774 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.271 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-08-19 | ug/L | 2.03 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.12 | 0.507 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-04-08 | ug/L | 1.1919 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.152 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-02 | ug/L | 0.86729 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.109 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-23 | ug/L | 1.7979 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.23 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-07-21 | ug/L | 0.99049 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.123 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-10 | ug/L | 1.9188 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.245 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-03-25 | ug/L |  | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | Protocol T1080910002 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-06-22 | ug/L |  | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | Protocol T1080910002 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-02-23 | ug/L |  | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-03-10 | ug/L |  | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-07-01 | ug/L |  | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-09-17 | ug/L |  | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-11-12 | ug/L | 0.85443 | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl | 0.2727 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.1 | 0.233 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-02-08 | ug/L | 1.1028 | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl | 0.27205 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.3 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-05-06 | ug/L | 1.1577 | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl | 0.28074 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.325 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-15 | ug/L | 1.4459 | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl | 0.56021 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.81 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-08-17 | ug/L | 0.79621 | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl | 0.5589 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.445 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-24 | ug/L | 0.9198 | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl | 0.28376 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.261 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-12-14 | ug/L | 1.0228 | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.27669 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.1 | 0.283 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-04-08 | ug/L | 1.1938 | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.27309 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.326 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-05-25 | ug/L | 1.5711 | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.27688 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.435 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-07-20 | ug/L | 1.1674 | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.55338 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.646 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-08 | ug/L | 1.2257 | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.5458 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.669 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-24 | ug/L | 0.78846 | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.28156 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.222 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-10-25 | ug/L |  | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-12-14 | ug/L |  | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-04-07 | ug/L |  | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-06-23 | ug/L |  | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.014 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | N |  | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-08-03 | ug/L |  | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-09-21 | ug/L |  | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-03-02 | ug/L | 0.73404 | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.20843 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.153 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-04-29 | ug/L | 0.77667 | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.19571 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.152 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-07-15 | ug/L | 1.2278 | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.20117 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.12 | 0.247 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-09-25 | ug/L | 0.74446 | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl | 0.31298 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.233 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-11-30 | ug/L |  | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-03-09 | ug/L |  | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-05-13 | ug/L |  | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-07-14 | ug/L |  | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-08-17 | ug/L |  | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-24 | ug/L |  | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-12-14 | ug/L | 1.1436 | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.39263 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.449 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-03-23 | ug/L | 0.91983 | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.24679 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.227 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-04-13 | ug/L | 1.269 | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.2498 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.317 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-05-12 | ug/L | 1.2422 | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.39446 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.49 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-07-05 | ug/L | 0.90065 | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.2476 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.223 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-08-03 | ug/L | 1.1157 | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.39616 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.442 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-05-17 | ng/L | 0.90268 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.17504 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 158 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-06-11 | ng/L | 1.0055 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 0.35007 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 87.7 | 352 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-06-28 | ng/L |  | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.17504 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | False Negatives | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-09-12 | ng/L | 1.0741 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 0.17504 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 188 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-10-25 | ng/L | 1.1855 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 0.35007 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 415 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-05-21 | ng/L |  | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-07-12 | ng/L |  | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-10-10 | ng/L |  | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-11-04 | ng/L |  | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-12-06 | ng/L |  | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2015-01-16 | ng/L |  | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-05-30 | ng/L | 0.92553 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.17504 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 162 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-06-22 | ng/L | 1.0141 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 0.35007 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 87.7 | 355 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-07-13 | ng/L | 0.96552 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.17504 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 169 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-10-10 | ng/L | 1.0043 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 0.17625 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 177 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-11-04 | ng/L | 1.3511 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 0.188 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 254 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-07-20 | ng/L | 0.70922 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 0.17625 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 125 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-08-21 | ng/L | 0.71773 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 0.3525 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 253 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-10-11 | ng/L | 1.061 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 0.3525 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 374 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-12-06 | ng/L | 1.2 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 0.3525 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 423 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-12-07 | ng/L | 1.3457 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 0.188 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 253 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-08-30 | ng/L | 1.2085 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 0.17625 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 213 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-10-11 | ng/L |  | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-07-13 | ng/L |  | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-08-16 | ng/L |  | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-08-28 | ng/L |  | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-10-24 | ng/L | 1.2426 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 0.1867 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 232 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-12-07 | ng/L | 1.2826 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 0.35007 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 449 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2440 | 67446LCM56 | 2014-04-23 | ng/L | 0.82286 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 0.175 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 144 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-03-27 | ng/L |  | 2013-03-14 08:00 | 20130740022 | Abs, Abs | 053112, 060112 | Abs 053112: 20 µl & Abs 060112: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab053112, Ab060112 | Ab | Ab | Ab | 053112 | 060112 | 060112 |  |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-10-25 | ng/L |  | 2012-09-27 07:30 | 20122720046 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 20 µl & ERA 0507-12-06.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-01-24 | ng/L |  | 2012-12-20 07:30 | 20123560094 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-08-15 | ng/L |  | 2012-08-09 07:30 | 20122230019 | Abs, ERA | 060112, 0507-12-06.1 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab060112, ER05006.1 | Ab | ER | ER | 060112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-10-25 | ng/L | 1.04 | 2012-10-18 08:30 | 20122930153 | Abs, Spex Organics | 060112, T1120802015 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl | 0.0875 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 91 | NANOGRAMS PER LITER |  |  |  | Ab060112, SpT112015 | Ab | Sp | Sp | 060112 | T112015 | T112015 |  | T112015 | T112015 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-12-05 | ng/L |  | 2013-11-26 08:00 | 20133310033 | Abs, Abs | 071112, 053112 | Abs 071112: 20 µl & Abs 053112: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab053112 | Ab | Ab | Ab | 071112 | 053112 | 053112 |  |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-04-10 | ng/L |  | 2014-03-27 07:30 | 20140860101 | Abs, Abs | 071112, 060112 | Abs 071112: 20 µl & Abs 060112: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab060112 | Ab | Ab | Ab | 071112 | 060112 | 060112 |  |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-11-20 | ng/L |  | 2012-11-08 08:00 | 20123140091 | Abs, ERA | 071112, 0507-12-06.1 | Abs 071112: 40 µl & ERA 0507-12-06.1: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.1 | Ab | ER | ER | 071112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-12-14 | ng/L |  | 2012-12-06 08:30 | 20123420072 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 10 µl & ERA 0507-12-06.2: 10 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-04-26 | ng/L |  | 2013-04-18 07:00 | 20131090003 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-01-16 | ng/L |  | 2014-01-02 06:45 | 20140030015 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 11:00 | 20131210060 | Abs | 053112 | Abs 053112: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Abs 053112 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:30 | 20131210056 | Abs | 060112 | Abs 060112: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Abs 060112 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:45 | 20131210057 | Abs | 071112 | Abs 071112: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | Abs 071112 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-08-18 | ng/L |  | 2013-08-08 08:30 | 20132210043 | ERA, Abs | 0507-12-06.1, 060112 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER05006.1, Ab060112 | ER | Ab | Ab | 05006.1 | 060112 | 060112 | 05006.1 |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-03-27 | ng/L |  | 2013-02-28 08:00 | 20130590062 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-03-21 | ng/L |  | 2014-02-20 07:30 | 20140510045 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-02-19 | ng/L | 0.54981 | 2014-01-16 08:30 | 20140160086 | ERA, Abs | 0823-11-05.1, 053112 | ERA 0823-11-05.1: 15 µl & Abs 053112: 15 µl | 0.1335 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 73.4 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab053112 | ER | Ab | Ab | 08205.1 | 053112 | 053112 | 08205.1 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-01-24 | ng/L | 0.98315 | 2013-01-10 08:30 | 20130100071 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl | 0.356 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 350 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-01-16 | ng/L | 0.73333 | 2013-12-12 07:30 | 20133470009 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl | 0.1335 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 97.9 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-11-20 | ng/L | 0.65318 | 2013-11-07 08:00 | 20133110111 | ERA, Abs | 0823-11-05.1, 071112 | ERA 0823-11-05.1: 15 µl & Abs 071112: 15 µl | 0.1335 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 87.2 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab071112 | ER | Ab | Ab | 08205.1 | 071112 | 071112 | 08205.1 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-03-21 | ng/L | 0.6236 | 2014-03-19 08:00 | 20140780046 | ERA, ERA | 0823-11-05.1, 0507-12-06.1 | ERA 0823-11-05.1: 20 µl & ERA 0507-12-06.1: 20 µl | 0.178 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 87.7 | 111 | NANOGRAMS PER LITER |  |  |  | ER08205.1, ER05006.1 | ER | ER | ER | 08205.1 | 05006.1 | 05006.1 | 08205.1 | 05006.1 | 05006.1 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-02-28 | ng/L |  | 2013-01-31 08:00 | 20130320040 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 10 µl & Abs 053112: 10 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-02-20 | ng/L |  | 2014-02-06 08:00 | 20140370080 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 20 µl & Abs 053112: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-10-29 | ng/L |  | 2013-09-19 07:30 | 20132630004 | ERA, Abs | 0823-11-05.2, 060112 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab060112 | ER | Ab | Ab | 08205.2 | 060112 | 060112 | 08205.2 |  |  | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-08-02 | ng/L |  | 2013-07-25 08:00 | 20132070033 | ERA, ERA | 0823-11-05.2, 0507-12-06.1 | ERA 0823-11-05.2: 15 µl & ERA 0507-12-06.1: 15 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ER08205.2, ER05006.1 | ER | ER | ER | 08205.2 | 05006.1 | 05006.1 | 08205.2 | 05006.1 | 05006.1 | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:15 | 20131210054 | ERA | 0507-12-06.1 | ERA 0507-12-06.1: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.1 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:45 | 20131210055 | ERA | 0507-12-06.2 | ERA 0507-12-06.2: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.2 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-04-10 | ng/L |  | 2012-04-05 07:00 | 20120960120 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl | 0.178 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 152 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y | False Negatives | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-05-01 | ng/L | 2.118 | 2012-04-26 06:00 | 20121180065 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl | 0.356 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 754 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-06-15 | ng/L | 1.0517 | 2012-05-24 06:00 | 20121460094 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 10 µl | 0.089 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 93.6 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-07-26 | ng/L | 2.0056 | 2012-06-28 08:00 | 20121810009 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl | 0.178 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 357 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-02 | ng/L | 0.80056 | 2013-04-30 10:00 | 20131210053 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl | 0.356 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 285 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-05-01 | ng/L |  | 2012-04-12 06:00 | 20121040015 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 200 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-06-15 | ng/L |  | 2012-06-07 06:00 | 20121600153 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 10 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-06-15 | ng/L |  | 2012-05-17 06:00 | 20121390010 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-07-26 | ng/L |  | 2012-07-19 06:00 | 20122020003 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:30 | 20131210059 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 87.7 | 87.7 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-09-27 | ng/L | 1.1029 | 2012-09-06 07:30 | 20122500212 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.175 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 193 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-02-28 | ng/L | 0.96 | 2013-02-07 08:30 | 20130390106 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.175 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 168 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2014-02-20 | ng/L | 0.68 | 2014-01-30 08:30 | 20140300038 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.175 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 119 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2012-12-14 | ng/L | 1.0114 | 2012-11-29 07:30 | 20123350006 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 40 µl & ERA 0507-12-06.1: 40 µl | 0.35 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 354 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-08-29 | ng/L | 0.77143 | 2013-08-21 08:30 | 20132340083 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.1: 20 µl | 0.175 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 135 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | Y
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-07-11 07:30 | ng/L |  | 2013-07-11 07:30 | 20131920151 | Spex Organics, ERA | T1120802015, 0823-11-05.2 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl | 0.175 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | R | 87.7 |  | NANOGRAMS PER LITER |  |  |  | SpT112015, ER08205.2 | Sp | ER | ER | T112015 | 08205.2 | 08205.2 | T112015 | 08205.2 | 08205.2 | Y | Deleted Values | N
1,7-DIMETHYLXANTHINE (P-XANTHINE) | LC9017 | 67446LCM56 | 2013-05-03 | ng/L | 0.92571 | 2013-04-30 10:15 | 20131210058 | Spex Organics | T1120802015 | Spex Organics T1120802015: 40 µl | 0.35 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 87.7 | 324 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1120802015 | [9 empty] | Y