## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
CAMPHOR | 1433 | 62070GCM37 | 2013-08-21 | ug/L |  | 2013-08-08 07:00 | 20132210040 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2014-05-09 | ug/L |  | 2014-03-06 08:30 | 20140650078 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 100 µl & Accu 213041004: 100 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2014-02-12 | ug/L |  | 2013-12-12 06:00 | 20133470006 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-12-05 | ug/L |  | 2012-10-18 06:00 | 20122930149 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl |  | CAMPHOR | . | 0.044 | 0.063 | MICROGRAMS PER LITER |  |  |  | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | N |  | N
CAMPHOR | 1433 | 62070GCM37 | 2013-05-15 | ug/L | 0.86 | 2013-04-11 06:00 | 20131020083 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 1 | CAMPHOR | . | 0.044 | 0.86 | MICROGRAMS PER LITER |  |  |  | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-08-07 | ug/L |  | 2012-06-14 06:00 | 20121670020 | Abs | 051112 | Abs 051112: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Abs 051112 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-01-29 | ug/L | 0.90283 | 2009-01-15 08:30 | 20090160002 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.885 | CAMPHOR | . | 0.06 | 0.799 | MICROGRAMS PER LITER |  |  |  | Abs 080508WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-03-21 | ug/L | 0.85277 | 2009-02-19 07:15 | 20090500129 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.759 | CAMPHOR | . | 0.06 | 1.5 | MICROGRAMS PER LITER |  |  |  | Abs 080508WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-05-28 | ug/L | 0.87908 | 2009-04-30 07:30 | 20091210001 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.83041 | CAMPHOR | . | 0.06 | 0.73 | MICROGRAMS PER LITER |  |  |  | Abs 080508WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-08-06 | ug/L | 0.77604 | 2009-07-02 09:00 | 20091830166 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.6752 | CAMPHOR | . | 0.06 | 1.3 | MICROGRAMS PER LITER |  |  |  | Abs 080508WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-10-09 | ug/L | 0.79114 | 2009-08-20 08:00 | 20092330003 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.83423 | CAMPHOR | . | 0.044 | 0.66 | MICROGRAMS PER LITER |  |  |  | Abs 080508WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-01-20 | ug/L |  | 2009-11-05 07:00 | 20093100004 | Accu | 209081217 | Accu 209081217: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-06-10 | ug/L |  | 2010-04-01 07:30 | 20100920049 | Accu | 209081217 | Accu 209081217: 40 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-08-04 | ug/L |  | 2010-05-27 08:00 | 20101480009 | Accu | 209081217 | Accu 209081217: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-09-15 | ug/L |  | 2010-07-13 08:00 | 20101950139 | Accu | 209081217 | Accu 209081217: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-12-09 | ug/L | 0.73805 | 2010-11-04 06:00 | 20103080117 | Accu | 210091144 | Accu 210091144: 50 µl | 0.24389 | CAMPHOR | . | 0.044 | 0.18 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-12-15 | ug/L | 0.73007 | 2010-10-07 06:00 | 20102810021 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09999 | CAMPHOR | E | 0.044 | 0.073 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-03-03 | ug/L | 0.86108 | 2011-01-20 06:30 | 20110210097 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39485 | CAMPHOR | . | 0.044 | 0.34 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-05-24 | ug/L | 0.94083 | 2011-04-22 05:55 | 20111170110 | Accu | 210091144 | Accu 210091144: 20 µl | 0.097786 | CAMPHOR | . | 0.044 | 0.092 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-06-17 | ug/L | 0.80461 | 2011-05-26 06:00 | 20111470063 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39771 | CAMPHOR | . | 0.044 | 0.32 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-07-22 | ug/L | 0.82895 | 2011-06-23 06:00 | 20111750005 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.082 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-08-09 | ug/L | 0.88961 | 2011-07-14 06:30 | 20111960040 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2473 | CAMPHOR | . | 0.044 | 0.22 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-01-10 | ug/L | 0.8795 | 2011-10-27 06:00 | 20113010044 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.087 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-02-15 | ug/L | 1.0109 | 2011-11-29 06:30 | 20113340045 | Accu | 210091144 | Accu 210091144: 50 µl | 0.2473 | CAMPHOR | . | 0.044 | 0.25 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-03-08 | ug/L | 0.98059 | 2012-01-12 06:00 | 20120120070 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.097 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-03-09 | ug/L | 1.0109 | 2012-02-09 06:00 | 20120400057 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39568 | CAMPHOR | . | 0.044 | 0.4 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-04-19 | ug/L | 1.0008 | 2012-03-15 06:30 | 20120760114 | Accu | 210091144 | Accu 210091144: 20 µl | 0.09892 | CAMPHOR | . | 0.044 | 0.099 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-06-13 | ug/L | 0.96037 | 2012-05-03 06:00 | 20121250042 | Accu | 210091144 | Accu 210091144: 80 µl | 0.39568 | CAMPHOR | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  |  | Accu 210091144 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-01-27 | ug/L |  | 2009-01-08 08:00 | 20090080049 | ChemService | 406-104C | ChemService 406-104C: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | ChemService 406-104C | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-03-05 | ug/L |  | 2009-02-12 07:30 | 20090430170 | ChemService | 406-104C | ChemService 406-104C: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | ChemService 406-104C | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-05-12 | ug/L |  | 2009-04-23 08:30 | 20091130128 | ChemService | 406-104C | ChemService 406-104C: 40 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | ChemService 406-104C | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-08-05 | ug/L |  | 2009-06-18 09:00 | 20091700146 | ChemService | 406-104C | ChemService 406-104C: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | ChemService 406-104C | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-10-07 | ug/L |  | 2009-08-13 08:30 | 20092260011 | ChemService | 406-104C | ChemService 406-104C: 20 µl |  | CAMPHOR | < | 0.044 | 0.06 | MICROGRAMS PER LITER |  |  |  | ChemService 406-104C | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-01-21 | ug/L |  | 2009-11-12 09:00 | 20093170003 | ChemService | 480-95B | ChemService 480-95B: 40 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-02-23 | ug/L |  | 2009-12-17 08:00 | 20093520065 | ChemService | 480-95B | ChemService 480-95B: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-06-03 | ug/L |  | 2010-04-15 07:00 | 20101060001 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-10-14 | ug/L |  | 2010-08-03 08:00 | 20102160003 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2013-06-19 | ug/L | 0.93583 | 2013-06-06 07:00 | 20131580039 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.14 | MICROGRAMS PER LITER |  |  |  | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y
CAMPHOR | 1433 | 62070GCM37 | 2014-02-12 | ug/L | 0.90909 | 2014-01-16 07:00 | 20140160087 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 100 µl & Abs 040913WWF: 100 µl | 0.748 | CAMPHOR | . | 0.044 | 0.68 | MICROGRAMS PER LITER |  |  |  | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-08-20 | ug/L | 0.86898 | 2013-07-18 06:00 | 20132000020 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.13 | MICROGRAMS PER LITER |  |  |  | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y
CAMPHOR | 1433 | 62070GCM37 | 2014-05-09 | ug/L | 0.73529 | 2014-02-27 07:00 | 20140590010 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.11 | MICROGRAMS PER LITER |  |  |  | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | ug/L | 0.9893 | 2013-10-31 06:00 | 20133050051 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.374 | CAMPHOR | . | 0.044 | 0.37 | MICROGRAMS PER LITER |  |  |  | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-06-18 | ug/L | 1.0027 | 2013-05-23 06:30 | 20131440105 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.1496 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  |  | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-08-08 | ug/L | 0.96 | 2012-07-12 06:30 | 20121950065 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.48 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-02-27 | ug/L | 0.76 | 2013-01-17 06:00 | 20130180028 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 1.9 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-04-16 | ug/L | 1.08 | 2013-02-28 06:30 | 20130590065 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.54 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-10-11 | ug/L | 0.8 | 2012-09-19 06:00 | 20122640133 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 2 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-01-23 | ug/L | 0.84 | 2012-12-13 06:30 | 20123490152 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.42 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-05-15 | ug/L | 0.84 | 2013-04-25 06:00 | 20131160078 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 2.1 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-12-06 | ug/L | 0.96 | 2012-10-04 06:00 | 20122790025 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 5 | CAMPHOR | . | 0.044 | 4.8 | MICROGRAMS PER LITER |  |  |  | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-03-21 | ug/L |  | 2009-02-26 06:00 | 20090580005 | Crescent | 08HH017 | Crescent 08HH017: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH017 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-03-24 | ug/L |  | 2009-03-05 07:30 | 20090640122 | Crescent | 08HH017 | Crescent 08HH017: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH017 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-06-03 | ug/L |  | 2009-05-06 08:30 | 20091320006 | Crescent | 08HH017 | Crescent 08HH017: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH017 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-08-26 | ug/L |  | 2009-07-07 08:30 | 20091880137 | Crescent | 08HH017 | Crescent 08HH017: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH017 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-10-21 | ug/L |  | 2009-08-27 08:30 | 20092400049 | Crescent | 08HH017 | Crescent 08HH017: 40 µl |  | CAMPHOR | < | 0.044 | 0.06 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH017 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-01-20 | ug/L |  | 2009-10-22 07:00 | 20092960004 | Crescent | 08LL076 | Crescent 08LL076: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-02-05 | ug/L |  | 2009-12-03 07:00 | 20093380006 | Crescent | 08LL076 | Crescent 08LL076: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-08-04 | ug/L |  | 2010-05-20 07:30 | 20101410008 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-11-04 | ug/L |  | 2010-08-26 07:30 | 20102390089 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-10-12 | ug/L |  | 2012-09-06 06:30 | 20122500215 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | ERA 0507-12-05.2 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-04-23 | ug/L | 0.84643 | 2009-04-02 07:00 | 20090920065 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.85063 | CAMPHOR | . | 0.06 | 0.72 | MICROGRAMS PER LITER |  |  |  | ERA 0804-08-02WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-07-02 | ug/L | 0.86219 | 2009-05-28 05:50 | 20091490002 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.83508 | CAMPHOR | . | 0.06 | 0.72 | MICROGRAMS PER LITER |  |  |  | ERA 0804-08-02WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-09-29 | ug/L | 0.84929 | 2009-07-30 08:30 | 20092110207 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.6484 | CAMPHOR | . | 0.06 | 1.4 | MICROGRAMS PER LITER |  |  |  | ERA 0804-08-02WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-10-22 | ug/L | 0.78179 | 2009-09-10 08:00 | 20092530079 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.83143 | CAMPHOR | . | 0.044 | 0.65 | MICROGRAMS PER LITER |  |  |  | ERA 0804-08-02WW | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-11-04 | ug/L |  | 2009-10-08 07:00 | 20092820006 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-02-03 | ug/L |  | 2009-11-25 06:30 | 20093340133 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-03-25 | ug/L |  | 2010-02-18 07:00 | 20100500004 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-03-25 | ug/L |  | 2010-02-11 07:00 | 20100420054 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-06-29 | ug/L |  | 2010-06-03 08:00 | 20101550005 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-04-02 | ug/L | 0.89152 | 2009-03-12 08:30 | 20090710011 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | CAMPHOR | . | 0.06 | 0.56 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP053B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-05-06 | ug/L | 0.86025 | 2009-04-16 08:30 | 20091060130 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | CAMPHOR | . | 0.06 | 0.52 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP053B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-07-30 | ug/L | 0.83417 | 2009-07-16 08:30 | 20091970071 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | CAMPHOR | . | 0.06 | 0.5 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP053B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-03-06 | ug/L | 0.77192 | 2009-02-05 09:30 | 20090370006 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | CAMPHOR | . | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP071C | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-06-04 | ug/L | 0.77207 | 2010-04-22 09:30 | 20101130052 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | CAMPHOR | . | 0.044 | 0.37 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-08-31 | ug/L | 0.67127 | 2010-06-24 10:00 | 20101760004 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | CAMPHOR | E | 0.044 | 0.32 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-06-08 | ug/L | 0.93525 | 2011-05-19 06:30 | 20111390176 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-08-02 | ug/L | 0.875 | 2011-06-29 06:30 | 20111810002 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAMPHOR | . | 0.044 | 0.56 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-08-26 | ug/L | 1.1 | 2011-08-10 06:30 | 20112220131 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | CAMPHOR | . | 0.044 | 0.44 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-11-08 | ug/L | 1.025 | 2011-10-07 07:00 | 20112840029 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | CAMPHOR | . | 0.044 | 0.41 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2009-01-29 | ug/L |  | 2009-01-21 08:00 | 20090210032 | Protocol | D1080815007 | Protocol D1080815007: 40 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Protocol D1080815007 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-04-02 | ug/L |  | 2009-03-19 08:30 | 20090780143 | Protocol | D1080815007 | Protocol D1080815007: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Protocol D1080815007 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-07-22 | ug/L |  | 2009-05-20 08:30 | 20091410002 | Protocol | D1080815007 | Protocol D1080815007: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Protocol D1080815007 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-08-27 | ug/L |  | 2009-07-23 08:30 | 20092040204 | Protocol | D1080815007 | Protocol D1080815007: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Protocol D1080815007 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-10-22 | ug/L |  | 2009-09-03 07:30 | 20092460252 | Protocol | D1080815007 | Protocol D1080815007: 40 µl |  | CAMPHOR | < | 0.044 | 0.06 | MICROGRAMS PER LITER |  |  |  | Protocol D1080815007 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-01-20 | ug/L | 0.76263 | 2009-11-02 06:30 | 20093060174 | Restek | A070024 | Restek A070024: 20 µl | 0.11014 | CAMPHOR | . | 0.044 | 0.084 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-02-23 | ug/L | 0.98141 | 2009-12-10 06:30 | 20093450030 | Restek | A070024 | Restek A070024: 10 µl | 0.054004 | CAMPHOR | . | 0.044 | 0.053 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-06-16 | ug/L | 0.86431 | 2010-05-06 08:00 | 20101270034 | Restek | A070024 | Restek A070024: 80 µl | 0.43966 | CAMPHOR | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-10-14 | ug/L | 0.91833 | 2010-08-12 08:00 | 20102250101 | Restek | A070024 | Restek A070024: 40 µl | 0.21779 | CAMPHOR | . | 0.044 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-12-15 | ug/L | 0.79079 | 2010-10-21 06:00 | 20102950074 | Restek | A075799 | Restek A075799: 50 µl | 0.25291 | CAMPHOR | . | 0.044 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-01-29 | ug/L | 0.85214 | 2010-11-18 06:00 | 20103230119 | Restek | A075799 | Restek A075799: 20 µl | 0.098576 | CAMPHOR | . | 0.044 | 0.084 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-03-10 | ug/L | 0.55895 | 2011-02-24 06:30 | 20110560003 | Restek | A075799 | Restek A075799: 80 µl | 0.3936 | CAMPHOR | . | 0.044 | 0.22 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-04-27 | ug/L | 0.9987 | 2011-04-07 06:00 | 20110980032 | Restek | A075799 | Restek A075799: 20 µl | 0.099129 | CAMPHOR | . | 0.044 | 0.099 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-06-08 | ug/L | 0.91675 | 2011-05-12 06:00 | 20111330147 | Restek | A075799 | Restek A075799: 50 µl | 0.25089 | CAMPHOR | . | 0.044 | 0.23 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-06-30 | ug/L | 0.83713 | 2011-06-07 06:00 | 20111590003 | Restek | A075799 | Restek A075799: 20 µl | 0.099149 | CAMPHOR | . | 0.044 | 0.083 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-08-25 | ug/L | 1.1113 | 2011-07-28 06:00 | 20112100006 | Restek | A075799 | Restek A075799: 20 µl | 0.09898 | CAMPHOR | . | 0.044 | 0.11 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2011-10-26 | ug/L | 0.85876 | 2011-09-01 06:00 | 20112450025 | Restek | A075799 | Restek A075799: 80 µl | 0.39592 | CAMPHOR | . | 0.044 | 0.34 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-01-19 | ug/L | 1.2629 | 2011-11-17 09:00 | 20113220200 | Restek | A075799 | Restek A075799: 80 µl | 0.39592 | CAMPHOR | E | 0.044 | 0.5 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-03-09 | ug/L | 1.1315 | 2012-02-02 11:40 | 20120370004 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | CAMPHOR | . | 0.044 | 0.28 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-04-18 | ug/L | 0.92948 | 2012-03-08 06:00 | 20120690029 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | CAMPHOR | . | 0.044 | 0.23 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-04-18 | ug/L | 0.92948 | 2012-02-23 06:30 | 20120540034 | Restek | A075799 | Restek A075799: 20 µl | 0.09898 | CAMPHOR | . | 0.044 | 0.092 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-06-15 | ug/L | 0.92948 | 2012-05-31 06:00 | 20121520249 | Restek | A075799 | Restek A075799: 50 µl | 0.24745 | CAMPHOR | . | 0.044 | 0.23 | MICROGRAMS PER LITER |  |  |  | Restek A075799 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | ug/L | 1.0667 | 2013-11-14 07:00 | 20133190011 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.375 | CAMPHOR | . | 0.044 | 0.4 | MICROGRAMS PER LITER |  |  |  | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y
CAMPHOR | 1433 | 62070GCM37 | 2014-02-12 | ug/L | 1 | 2014-01-02 06:00 | 20140030012 | Spex Organics, Accu | T1130531001, 213041004 | Spex Organics T1130531001: 20 µl & Accu 213041004: 20 µl | 0.15 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  |  | SpT111001, Ac2131004 | Sp | Ac | Ac | T111001 | 2131004 | 2131004 | T111001 | 2131004 | 2131004 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-09-24 | ug/L | 1 | 2013-08-29 06:00 | 20132420002 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.15 | CAMPHOR | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  |  | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y
CAMPHOR | 1433 | 62070GCM37 | 2014-05-09 | ug/L | 0.8 | 2014-04-03 06:30 | 20140930051 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.15 | CAMPHOR | . | 0.044 | 0.12 | MICROGRAMS PER LITER |  |  |  | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | ug/L | 1.0667 | 2013-09-19 06:00 | 20132630003 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.15 | CAMPHOR | . | 0.044 | 0.16 | MICROGRAMS PER LITER |  |  |  | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2014-05-09 | ug/L | 0.8 | 2014-03-13 06:30 | 20140730137 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.15 | CAMPHOR | E | 0.044 | 0.12 | MICROGRAMS PER LITER |  |  |  | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-12-05 | ug/L | 0.92 | 2012-11-15 06:30 | 20123200135 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.46 | MICROGRAMS PER LITER |  |  |  | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-10-11 | ug/L | 0.88 | 2012-08-23 06:00 | 20122370104 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1 | CAMPHOR | . | 0.044 | 0.88 | MICROGRAMS PER LITER |  |  |  | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-08-30 | ug/L | 0.9 | 2012-08-09 06:30 | 20122230022 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | CAMPHOR | . | 0.044 | 0.45 | MICROGRAMS PER LITER |  |  |  | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-12-07 | ug/L | 0.96 | 2012-11-01 06:00 | 20123070010 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5 | CAMPHOR | . | 0.044 | 4.8 | MICROGRAMS PER LITER |  |  |  | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y
CAMPHOR | 1433 | 62070GCM37 | 2013-02-28 | ug/L | 0.72 | 2013-02-14 06:30 | 20130460004 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | CAMPHOR | . | 0.044 | 1.8 | MICROGRAMS PER LITER |  |  |  | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y
CAMPHOR | 1433 | 62070GCM37 | 2012-08-08 | ug/L | 1 | 2012-06-28 06:30 | 20121810018 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 1 | CAMPHOR | . | 0.044 | 1 | MICROGRAMS PER LITER |  |  |  | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-12-08 | ug/L |  | 2010-10-14 06:30 | 20102880004 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-01-28 | ug/L |  | 2010-11-10 06:30 | 20103140134 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-03-09 | ug/L |  | 2011-02-10 06:30 | 20110410062 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-04-28 | ug/L |  | 2011-04-14 06:00 | 20111050152 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-07-22 | ug/L |  | 2011-06-16 06:30 | 20111680032 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl |  | CAMPHOR | . | 0.044 | 0.009 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N |  | N
CAMPHOR | 1433 | 62070GCM37 | 2011-08-25 | ug/L |  | 2011-07-21 06:30 | 20112030054 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-11-04 | ug/L |  | 2011-09-15 06:00 | 20112590003 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl |  | CAMPHOR | . | 0.044 | 0.02 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N |  | N
CAMPHOR | 1433 | 62070GCM37 | 2012-01-18 | ug/L |  | 2011-11-03 06:30 | 20113080003 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-02-16 | ug/L |  | 2011-12-13 06:00 | 20113490055 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-03-09 | ug/L |  | 2012-01-26 06:00 | 20120260059 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-05-08 | ug/L |  | 2012-03-29 06:30 | 20120930006 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-05-09 | ug/L |  | 2012-04-19 06:00 | 20121110021 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100706008 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-08-30 | ug/L |  | 2012-07-26 06:00 | 20122090058 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2013-01-23 | ug/L |  | 2012-11-29 06:30 | 20123350008 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2013-04-16 | ug/L |  | 2013-03-14 06:30 | 20130740020 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2013-02-28 | ug/L |  | 2013-01-31 06:30 | 20130320041 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl |  | CAMPHOR | . | 0.044 | 0.0075 | MICROGRAMS PER LITER |  |  |  | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | N |  | N
CAMPHOR | 1433 | 62070GCM37 | 2013-12-05 | ug/L |  | 2013-10-17 06:00 | 20132910009 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2013-07-11 | ug/L |  | 2013-06-20 07:00 | 20131720020 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2014-05-09 | ug/L |  | 2014-02-06 06:00 | 20140370078 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 20 µl & ERA 0318-13-01.3: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-03-05 | ug/L |  | 2009-01-29 07:00 | 20090300002 | Supelco | LB60966 | Supelco LB60966: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Supelco LB60966 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-04-30 | ug/L |  | 2009-04-09 09:30 | 20090990158 | Supelco | LB60966 | Supelco LB60966: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Supelco LB60966 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-07-30 | ug/L |  | 2009-06-04 08:30 | 20091550183 | Supelco | LB60966 | Supelco LB60966: 40 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Supelco LB60966 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-09-30 | ug/L |  | 2009-08-06 08:00 | 20092180179 | Supelco | LB60966 | Supelco LB60966: 20 µl |  | CAMPHOR | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  | Supelco LB60966 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2009-12-01 | ug/L |  | 2009-09-17 08:00 | 20092610018 | Supelco | LB60966 | Supelco LB60966: 20 µl |  | CAMPHOR | < | 0.044 | 0.06 | MICROGRAMS PER LITER |  |  |  | Supelco LB60966 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-01-15 | ug/L | 1.108 | 2009-10-15 06:30 | 20092890007 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.21661 | CAMPHOR | . | 0.044 | 0.24 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-01-27 | ug/L | 0.7964 | 2009-11-19 06:30 | 20093240042 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.10799 | CAMPHOR | . | 0.044 | 0.086 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-03-25 | ug/L | 0.92468 | 2010-03-11 07:00 | 20100710177 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.21629 | CAMPHOR | . | 0.044 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-04-20 | ug/L | 0.91636 | 2010-03-25 07:00 | 20100880031 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.10694 | CAMPHOR | . | 0.044 | 0.098 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-09-03 | ug/L | 0.82307 | 2010-06-17 07:30 | 20101720148 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.46168 | CAMPHOR | . | 0.044 | 0.38 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 1433 | 62070GCM37 | 2010-12-09 | ug/L |  | 2010-11-24 06:00 | 20103330009 | Ultra | CG-2301 | Ultra CG-2301: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2010-12-16 | ug/L |  | 2010-10-28 06:30 | 20103020151 | Ultra | CG-2301 | Ultra CG-2301: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-04-06 | ug/L |  | 2011-03-17 06:30 | 20110770002 | Ultra | CG-2301 | Ultra CG-2301: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-06-08 | ug/L |  | 2011-05-05 06:00 | 20111260155 | Ultra | CG-2301 | Ultra CG-2301: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-06-29 | ug/L |  | 2011-06-02 06:30 | 20111540003 | Ultra | CG-2301 | Ultra CG-2301: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-08-26 | ug/L |  | 2011-08-04 06:30 | 20112170171 | Ultra | CG-2301 | Ultra CG-2301: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-10-26 | ug/L |  | 2011-08-25 07:00 | 20112380051 | Ultra | CG-2301 | Ultra CG-2301: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-10-27 | ug/L |  | 2011-09-08 06:30 | 20112520206 | Ultra | CG-2301 | Ultra CG-2301: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2011-11-08 | ug/L |  | 2011-10-13 06:00 | 20112870076 | Ultra | CG-2301 | Ultra CG-2301: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-02-08 | ug/L |  | 2011-11-22 06:00 | 20113260109 | Ultra | CG-2301 | Ultra CG-2301: 50 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-02-16 | ug/L |  | 2011-12-15 06:30 | 20113500020 | Ultra | CG-2301 | Ultra CG-2301: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-04-11 | ug/L |  | 2012-03-01 06:30 | 20120620014 | Ultra | CG-2301 | Ultra CG-2301: 20 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 1433 | 62070GCM37 | 2012-06-14 | ug/L |  | 2012-05-17 06:30 | 20121390008 | Ultra | CG-2301 | Ultra CG-2301: 80 µl |  | CAMPHOR | < | 0.044 | 0.044 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2301 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-08-20 | ug/L |  | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-10-20 | ug/L |  | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-12-03 | ug/L |  | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-02-17 | ug/L | 0.8529 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25443 | CAMPHOR | . | 0.08 | 0.217 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-04-15 | ug/L | 0.95238 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62475 | CAMPHOR | . | 0.08 | 0.595 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-05-03 | ug/L | 0.87149 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.24556 | CAMPHOR | . | 0.08 | 0.214 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-07-07 | ug/L | 0.82079 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.62745 | CAMPHOR | . | 0.08 | 0.515 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-08-16 | ug/L | 0.852 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25 | CAMPHOR | . | 0.08 | 0.213 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-11-22 | ug/L | 0.92 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1 | CAMPHOR | . | 0.08 | 0.92 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-12-08 | ug/L | 0.772 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25 | CAMPHOR | . | 0.08 | 0.193 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-03-07 | ug/L | 1.0368 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.625 | CAMPHOR | . | 0.08 | 0.648 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-04-10 | ug/L | 1.036 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.25 | CAMPHOR | . | 0.08 | 0.259 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-05-04 | ug/L | 0.8384 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 0.625 | CAMPHOR | . | 0.08 | 0.524 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2009-12-18 | ug/L |  | 2009-11-05 07:30 | 20093100005 | Accu | 209081217 | Accu 209081217: 20 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-05-12 | ug/L |  | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-08-21 | ug/L |  | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-08-06 | ug/L | 0.80645 | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl | 1.302 | CAMPHOR | . | 0.08 | 1.05 | MICROGRAMS PER LITER |  |  |  | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-10-22 | ug/L | 0.76538 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.199 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-04-23 | ug/L | 0.78846 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.205 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-06-05 | ug/L | 0.82557 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.133 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-09-23 | ug/L | 0.99317 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 0.3222 | CAMPHOR | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-08-20 | ug/L | 0.95593 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 0.3222 | CAMPHOR | . | 0.08 | 0.308 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-02-06 | ug/L | 0.82902 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 0.6176 | CAMPHOR | . | 0.08 | 0.512 | MICROGRAMS PER LITER |  |  |  | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-05-30 | ug/L | 0.94883 | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl | 0.3088 | CAMPHOR | . | 0.08 | 0.293 | MICROGRAMS PER LITER |  |  |  | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-12-15 | ug/L | 0.82478 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2437 | CAMPHOR | . | 0.08 | 0.201 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-02-18 | ug/L | 0.86059 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.24169 | CAMPHOR | . | 0.08 | 0.208 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-06-28 | ug/L | 0.89341 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.98052 | CAMPHOR | . | 0.08 | 0.876 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-08-06 | ug/L | 0.7056 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6165 | CAMPHOR | . | 0.08 | 0.435 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-08-17 | ug/L | 0.91241 | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2466 | CAMPHOR | . | 0.08 | 0.225 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-02-01 | ug/L | 0.55799 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6165 | CAMPHOR | E | 0.08 | 0.344 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-03-06 | ug/L | 0.92762 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9864 | CAMPHOR | . | 0.08 | 0.915 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-03-07 | ug/L | 0.94079 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.2466 | CAMPHOR | . | 0.08 | 0.232 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-05-04 | ug/L | 0.90024 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 0.6165 | CAMPHOR | . | 0.08 | 0.555 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-05-22 | ug/L | 0.84753 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 0.9864 | CAMPHOR | . | 0.08 | 0.836 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2009-12-18 | ug/L |  | 2009-11-12 09:30 | 20093170005 | ChemService | 480-95B | ChemService 480-95B: 40 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-02-18 | ug/L |  | 2009-12-17 08:30 | 20093520063 | ChemService | 480-95B | ChemService 480-95B: 80 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-05-19 | ug/L |  | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-09-17 | ug/L |  | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-07-16 | ug/L |  | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-12-04 | ug/L | 0.93942 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.245 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-04-23 | ug/L | 0.76687 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-08-15 | ug/L |  | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-08-24 | ug/L | 0.88 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.15 | CAMPHOR | . | 0.08 | 0.132 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-12-18 | ug/L | 0.95333 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.15 | CAMPHOR | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-07-29 | ug/L |  | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB045 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-12-15 | ug/L |  | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-04-14 | ug/L |  | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-07-07 | ug/L |  | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-08-17 | ug/L |  | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-11-22 | ug/L |  | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-01-16 | ug/L |  | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-03-06 | ug/L |  | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-03-07 | ug/L |  | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-04-10 | ug/L |  | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-07-27 | ug/L |  | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2009-12-04 | ug/L |  | 2009-10-22 07:30 | 20092960005 | Crescent | 08LL076 | Crescent 08LL076: 80 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-02-09 | ug/L |  | 2009-12-03 07:30 | 20093380010 | Crescent | 08LL076 | Crescent 08LL076: 20 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-08-18 | ug/L |  | 2010-05-20 08:00 | 20101410010 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-09-29 | ug/L |  | 2010-08-26 08:00 | 20102390261 | Crescent | 08LL076 | Crescent 08LL076: 40 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL076 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-07-17 | ug/L | 0.8442 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-12-04 | ug/L | 0.99628 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 0.3222 | CAMPHOR | . | 0.08 | 0.321 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-08-21 | ug/L | 0.95597 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.152 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-09-23 | ug/L | 1.022 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.325 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-09-26 | ug/L | 0.89724 | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.234 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-06-12 | ug/L | 0.84923 | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl | 0.65 | CAMPHOR | . | 0.08 | 0.552 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-02-05 | ug/L | 0.76538 | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.199 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-11-14 | ug/L |  | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-04-23 | ug/L |  | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-06-14 | ug/L |  | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-12-12 | ug/L | 0.84197 | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl | 0.3088 | CAMPHOR | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-05-29 | ug/L |  | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-12-20 | ug/L | 0.88667 | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl | 0.3 | CAMPHOR | . | 0.08 | 0.266 | MICROGRAMS PER LITER |  |  |  | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-09-18 | ug/L |  | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2009-12-02 | ug/L |  | 2009-10-08 07:30 | 20092820005 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-02-17 | ug/L |  | 2009-11-25 07:00 | 20093340131 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-03-11 | ug/L |  | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-07-23 | ug/L |  | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl |  | CAMPHOR | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2010-07-15 | ug/L | 0.71592 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47771 | CAMPHOR | . | 0.2 | 0.342 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-08-20 | ug/L | 0.81402 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.48771 | CAMPHOR | . | 0.2 | 0.397 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-05-19 | ug/L | 1.1318 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4029 | CAMPHOR | . | 0.08 | 0.456 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-10-18 | ug/L | 0.96719 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | CAMPHOR | . | 0.08 | 0.619 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2009-12-17 | ug/L | 0.77544 | 2009-11-02 07:00 | 20093060175 | Restek | A070024 | Restek A070024: 20 µl | 0.10833 | CAMPHOR | E | 0.2 | 0.084 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-02-11 | ug/L | 0.70964 | 2009-12-10 07:00 | 20093450031 | Restek | A070024 | Restek A070024: 40 µl | 0.22265 | CAMPHOR | E | 0.2 | 0.158 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-07-20 | ug/L | 0.64672 | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl | 0.4345 | CAMPHOR | E | 0.2 | 0.281 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-08-20 | ug/L | 0.76531 | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl | 0.11107 | CAMPHOR | E | 0.2 | 0.085 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-08-20 | ug/L | 0.77666 | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl | 0.21631 | CAMPHOR | E | 0.2 | 0.168 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-07-08 | ug/L | 0.73899 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.235 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-09-11 | ug/L | 0.92453 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.147 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-11-05 | ug/L | 0.9088 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.289 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2015-01-27 | ug/L | 0.91824 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.159 | CAMPHOR | . | 0.08 | 0.146 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-07-31 | ug/L | 0.96503 | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1544 | CAMPHOR | . | 0.08 | 0.149 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-03-27 | ug/L | 0.7772 | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl | 0.1544 | CAMPHOR | . | 0.08 | 0.12 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2012-12-19 | ug/L |  | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-02-07 | ug/L |  | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-08-01 | ug/L | 0.82822 | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl | 1.304 | CAMPHOR | . | 0.08 | 1.08 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-04-22 | ug/L | 0.65184 | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl | 0.2608 | CAMPHOR | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | Y
CAMPHOR | 4433 | 62817GCM99 | 2013-11-14 | ug/L | 0.91154 | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl | 0.26 | CAMPHOR | . | 0.08 | 0.237 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-02-05 | ug/L |  | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-08-08 08:00 | ug/L |  | 2013-08-08 08:00 | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | CAMPHOR | R | 0.08 |  | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | Deleted Values | N
CAMPHOR | 4433 | 62817GCM99 | 2014-04-24 | ug/L |  | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2013-03-28 | ug/L | 0.785 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 0.6 | CAMPHOR | . | 0.08 | 0.471 | MICROGRAMS PER LITER |  |  |  | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-05-22 | ug/L |  | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl |  | CAMPHOR | . | 0.08 | 0.014 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | N |  | N
CAMPHOR | 4433 | 62817GCM99 | 2014-07-09 | ug/L | 0.78833 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.1611 | CAMPHOR | . | 0.08 | 0.127 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-04-24 | ug/L |  | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2014-06-04 | ug/L | 0.66352 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.318 | CAMPHOR | E | 0.08 | 0.211 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
CAMPHOR | 4433 | 62817GCM99 | 2014-10-21 | ug/L | 0.79874 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 0.318 | CAMPHOR | . | 0.08 | 0.254 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
CAMPHOR | 4433 | 62817GCM99 | 2011-02-03 | ug/L |  | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-04-26 | ug/L |  | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-06-29 | ug/L |  | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-08-07 | ug/L |  | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-10-04 | ug/L |  | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2011-11-22 | ug/L |  | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-03-01 | ug/L |  | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-07-26 | ug/L |  | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2012-07-28 | ug/L |  | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl |  | CAMPHOR | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  | Supelco LB92782 | [9 empty] | N | < Reporting Level | N
CAMPHOR | 4433 | 62817GCM99 | 2009-12-04 | ug/L | 1.0541 | 2009-10-15 07:00 | 20092890006 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.22008 | CAMPHOR | . | 0.2 | 0.232 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-02-16 | ug/L | 0.71951 | 2009-11-19 07:00 | 20093240041 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.10702 | CAMPHOR | E | 0.2 | 0.077 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-05-13 | ug/L | 0.61811 | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.22326 | CAMPHOR | E | 0.2 | 0.138 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y
CAMPHOR | 4433 | 62817GCM99 | 2010-08-18 | ug/L | 0.73798 | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.46072 | CAMPHOR | . | 0.2 | 0.34 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | Y