## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-08-06 | ug/L | 0.81711 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.017 | DIETHYL_PHTHALATE | . | 0.62 | 0.831 | MICROGRAMS PER LITER |  |  |  | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-04-15 | ug/L | 0.93314 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.017 | DIETHYL_PHTHALATE | . | 0.62 | 0.949 | MICROGRAMS PER LITER |  |  |  | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-12-06 | ug/L | 0.81836 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.505 | DIETHYL_PHTHALATE | . | 0.62 | 2.05 | MICROGRAMS PER LITER |  |  |  | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-04-07 | ug/L | 1.1102 | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.83772 | DIETHYL_PHTHALATE | . | 0.61 | 0.93 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-07-07 | ug/L | 0.53358 | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.77777 | DIETHYL_PHTHALATE | E | 0.61 | 0.415 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-01 | ug/L | 0.81423 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.77496 | DIETHYL_PHTHALATE | . | 0.61 | 0.631 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-10-27 | ug/L | 0.89491 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.2515 | DIETHYL_PHTHALATE | . | 0.61 | 1.12 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-08-06 | ug/L | 0.93215 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.5425 | DIETHYL_PHTHALATE | . | 0.62 | 2.37 | MICROGRAMS PER LITER |  |  |  | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-04-15 | ug/L | 0.79646 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 5.085 | DIETHYL_PHTHALATE | . | 0.62 | 4.05 | MICROGRAMS PER LITER |  |  |  | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-11-26 | ug/L | 1.1209 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.017 | DIETHYL_PHTHALATE | . | 0.62 | 1.14 | MICROGRAMS PER LITER |  |  |  | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-03-10 | ug/L |  | 2009-02-12 06:00 | 20090430169 | Accu | B8090087 | Accu B8090087: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-04-28 | ug/L |  | 2009-03-26 07:00 | 20090860040 | Accu | B8090087 | Accu B8090087: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-07-14 | ug/L |  | 2009-06-04 07:00 | 20091550182 | Accu | B8090087 | Accu B8090087: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-15 | ug/L |  | 2009-07-16 06:30 | 20091970070 | Accu | B8090087 | Accu B8090087: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | ug/L | 0.67881 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.02 | DIETHYL_PHTHALATE | . | 0.62 | 2.05 | MICROGRAMS PER LITER |  |  |  | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-04-03 | ug/L |  | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.02 | DIETHYL_PHTHALATE | < | 0.62 | 1.5 | MICROGRAMS PER LITER |  |  |  | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | False Negatives | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-03-10 | ug/L | 0.64037 | 2009-02-19 06:15 | 20090500128 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.85732 | DIETHYL_PHTHALATE | E | 0.61 | 0.549 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-04-28 | ug/L | 0.98661 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.267 | DIETHYL_PHTHALATE | . | 0.61 | 1.25 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-08-25 | ug/L | 1.4891 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.79241 | DIETHYL_PHTHALATE | E | 0.61 | 1.18 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-21 | ug/L | 0.90518 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.77664 | DIETHYL_PHTHALATE | . | 0.61 | 0.703 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-07-25 | ug/L |  | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-09-10 | ug/L |  | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-03-19 | ug/L |  | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-12-02 | ug/L |  | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-01-25 | ug/L |  | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-04-19 | ug/L |  | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-05-16 | ug/L |  | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-07-14 | ug/L |  | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-09-16 | ug/L |  | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-10 | ug/L |  | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-28 | ug/L |  | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-04-17 | ug/L |  | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-07-12 | ug/L |  | 2012-05-10 06:00 | 20121310030 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-01-28 | ug/L |  | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-06-14 | ug/L |  | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-09-23 | ug/L |  | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-26 | ug/L |  | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.61 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-06-18 | ug/L | 0.81836 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.002 | DIETHYL_PHTHALATE | . | 0.62 | 0.82 | MICROGRAMS PER LITER |  |  |  | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-10-31 | ug/L |  | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.002 | DIETHYL_PHTHALATE | < | 0.62 | 0.68 | MICROGRAMS PER LITER |  |  |  | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | False Negatives | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-01-30 | ug/L | 0.87924 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.002 | DIETHYL_PHTHALATE | . | 0.62 | 0.881 | MICROGRAMS PER LITER |  |  |  | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-10-26 | ug/L | 0.87682 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 7.55 | DIETHYL_PHTHALATE | . | 0.62 | 6.62 | MICROGRAMS PER LITER |  |  |  | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-01-08 | ug/L | 0.76821 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 15.1 | DIETHYL_PHTHALATE | . | 0.62 | 11.6 | MICROGRAMS PER LITER |  |  |  | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-08-10 | ug/L | 0.88 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 3 | DIETHYL_PHTHALATE | . | 0.62 | 2.64 | MICROGRAMS PER LITER |  |  |  | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-01-25 | ug/L |  | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-03-17 | ug/L |  | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-06-07 | ug/L |  | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-07-14 06:00 | ug/L |  | 2011-07-14 06:00 | 20111960038 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | DIETHYL_PHTHALATE | R | 0.62 |  | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | Deleted Values | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-09-15 | ug/L |  | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-10-12 | ug/L |  | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-10 | ug/L |  | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-08 | ug/L |  | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-20 | ug/L |  | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-04-18 | ug/L |  | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-07-12 | ug/L |  | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-01-26 | ug/L |  | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-06-10 | ug/L |  | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-07-15 | ug/L |  | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-19 | ug/L |  | 2010-08-12 09:30 | 20102250099 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.61 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-03-04 | ug/L |  | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-04-07 | ug/L |  | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-07-07 | ug/L |  | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-01 | ug/L |  | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-01-25 | ug/L | 0.87052 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2292 | DIETHYL_PHTHALATE | . | 0.61 | 1.07 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-06-29 | ug/L | 0.87394 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2015 | DIETHYL_PHTHALATE | . | 0.61 | 1.05 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-07-28 | ug/L | 0.8286 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 2.4379 | DIETHYL_PHTHALATE | . | 0.61 | 2.02 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-20 | ug/L | 0.84936 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2244 | DIETHYL_PHTHALATE | . | 0.62 | 1.04 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-09-18 | ug/L |  | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-08-18 | ug/L | 0.73841 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 3.02 | DIETHYL_PHTHALATE | . | 0.62 | 2.23 | MICROGRAMS PER LITER |  |  |  | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | ug/L | 0.77467 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 7.5 | DIETHYL_PHTHALATE | . | 0.62 | 5.81 | MICROGRAMS PER LITER |  |  |  | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-03-05 | ug/L | 0.78667 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 15 | DIETHYL_PHTHALATE | . | 0.62 | 11.8 | MICROGRAMS PER LITER |  |  |  | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-03-13 | ug/L |  | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-08-04 | ug/L |  | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-08-25 | ug/L |  | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-09-22 | ug/L |  | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-07-24 | ug/L |  | 2012-06-07 07:00 | 20121600152 | Restek | A088363 | Restek A088363: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | Restek A088363 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-07-27 | ug/L |  | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | ug/L |  | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | ug/L |  | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-03-06 | ug/L |  | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-04-03 | ug/L |  | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 7.55 | DIETHYL_PHTHALATE | < | 0.62 | 3.73 | MICROGRAMS PER LITER |  |  |  | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | False Negatives | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-12-19 | ug/L | 0.84667 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 3 | DIETHYL_PHTHALATE | . | 0.62 | 2.54 | MICROGRAMS PER LITER |  |  |  | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-01-30 | ug/L |  | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-11-25 | ug/L |  | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-04-15 | ug/L |  | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.62 | MICROGRAMS PER LITER |  |  |  | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-12-15 | ug/L |  | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-05-18 | ug/L |  | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-07-28 | ug/L |  | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-21 | ug/L |  | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.61 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-12-07 | ug/L | 0.98236 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3742 | DIETHYL_PHTHALATE | . | 0.62 | 1.35 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-01-25 | ug/L | 0.91914 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.4271 | DIETHYL_PHTHALATE | . | 0.62 | 3.15 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-03-17 | ug/L | 0.7496 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.84979 | DIETHYL_PHTHALATE | . | 0.62 | 0.637 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-06-23 | ug/L | 0.74377 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3714 | DIETHYL_PHTHALATE | . | 0.62 | 1.02 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-07-15 | ug/L | 0.82659 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.46 | DIETHYL_PHTHALATE | . | 0.62 | 2.86 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-09-16 | ug/L | 0.87746 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | DIETHYL_PHTHALATE | . | 0.62 | 0.759 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-12-29 | ug/L | 0.73873 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | DIETHYL_PHTHALATE | . | 0.62 | 0.639 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-10 | ug/L | 0.37934 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.384 | DIETHYL_PHTHALATE | E | 0.62 | 0.525 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-20 | ug/L | 0.95145 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | DIETHYL_PHTHALATE | . | 0.62 | 0.823 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-05-10 | ug/L | 0.96667 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 7.5 | DIETHYL_PHTHALATE | E | 0.62 | 7.25 | MICROGRAMS PER LITER |  |  |  | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-06-17 | ug/L | 0.85742 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.5425 | DIETHYL_PHTHALATE | . | 0.62 | 2.18 | MICROGRAMS PER LITER |  |  |  | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2013-09-24 | ug/L | 0.85828 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.002 | DIETHYL_PHTHALATE | . | 0.62 | 0.86 | MICROGRAMS PER LITER |  |  |  | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2014-02-08 | ug/L | 0.85828 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 5.01 | DIETHYL_PHTHALATE | . | 0.62 | 4.3 | MICROGRAMS PER LITER |  |  |  | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-03-02 | ug/L | 0.83159 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.393 | DIETHYL_PHTHALATE | . | 0.61 | 1.99 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-06-15 | ug/L | 1.07 | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.2336 | DIETHYL_PHTHALATE | . | 0.61 | 1.32 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-09-28 | ug/L | 1.2013 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.2403 | DIETHYL_PHTHALATE | . | 0.61 | 1.49 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-26 | ug/L | 0.86464 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.3941 | DIETHYL_PHTHALATE | . | 0.62 | 2.07 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-12-08 | ug/L | 0.92009 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.84666 | DIETHYL_PHTHALATE | . | 0.62 | 0.779 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-02-01 | ug/L | 0.94031 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3719 | DIETHYL_PHTHALATE | . | 0.62 | 1.29 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-04-19 | ug/L |  | 2011-03-31 06:00 | 20110910081 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3845 | DIETHYL_PHTHALATE | R | 0.62 |  | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y | Deleted Values | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-05-17 | ug/L | 0.65817 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.4641 | DIETHYL_PHTHALATE | . | 0.62 | 2.28 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-08-11 | ug/L | 0.83778 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.863 | DIETHYL_PHTHALATE | . | 0.62 | 0.723 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2011-10-05 | ug/L | 0.92468 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.863 | DIETHYL_PHTHALATE | . | 0.62 | 0.798 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-01-10 | ug/L | 0.64021 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.452 | DIETHYL_PHTHALATE | . | 0.62 | 2.21 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-14 | ug/L | 0.67425 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3808 | DIETHYL_PHTHALATE | . | 0.62 | 0.931 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2012-03-20 | ug/L | 0.94322 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.863 | DIETHYL_PHTHALATE | . | 0.62 | 0.814 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-03-13 | ug/L |  | 2009-03-05 06:00 | 20090640120 | Ultra | CE-2870 | Ultra CE-2870: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-07-14 | ug/L |  | 2009-06-25 07:00 | 20091770123 | Ultra | CE-2870 | Ultra CE-2870: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-08-04 | ug/L |  | 2009-05-14 08:00 | 20091340059 | Ultra | CE-2870 | Ultra CE-2870: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2009-10-06 | ug/L |  | 2009-08-13 06:30 | 20092260007 | Ultra | CE-2870 | Ultra CE-2870: 25 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-01-21 | ug/L |  | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-05-13 | ug/L |  | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-07-15 | ug/L |  | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl |  | DIETHYL_PHTHALATE | < | 0.61 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 1383 | 34336GCM57 | 2010-10-19 | ug/L |  | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl |  | DIETHYL_PHTHALATE | < | 0.62 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-08-20 | ug/L |  | 2014-07-17 06:00 | 20141990081 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-10-20 | ug/L |  | 2014-09-25 06:30 | 20142720001 | Abs, ERA | 032814, 0227-14-07.1 | Abs 032814: 30 µl & ERA 0227-14-07.1: 30 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Ab032814, ER02207.1 | Ab | ER | ER | 032814 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-12-03 | ug/L |  | 2014-11-13 07:00 | 20143180046 | Abs, Supelco | 032814, LC06436 | Abs 032814: 60 µl & Supelco LC06436: 60 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Ab032814, SuLC06436 | Ab | Su | Su | 032814 | LC06436 | LC06436 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-02-17 | ug/L | 0.70307 | 2010-11-18 08:00 | 20103230118 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.46937 | DIETHYL_PHTHALATE | . | 0.4 | 0.33 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-04-15 | ug/L | 1.0151 | 2011-03-24 07:30 | 20110840109 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1525 | DIETHYL_PHTHALATE | . | 0.4 | 1.17 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-05-03 | ug/L | 0.99338 | 2011-04-14 08:30 | 20111050151 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.453 | DIETHYL_PHTHALATE | . | 0.4 | 0.45 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-07-07 | ug/L | 0.89848 | 2011-06-16 09:30 | 20111680036 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.1575 | DIETHYL_PHTHALATE | . | 0.4 | 1.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-08-16 | ug/L | 0.88899 | 2011-07-28 08:30 | 20112100004 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4612 | DIETHYL_PHTHALATE | E | 0.4 | 0.41 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-11-22 | ug/L | 0.94319 | 2011-09-08 09:30 | 20112520211 | Abs | 090910WW | Abs 090910WW: 80 µl | 1.8448 | DIETHYL_PHTHALATE | . | 0.4 | 1.74 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-12-08 | ug/L | 0.8673 | 2011-10-20 07:30 | 20112930084 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4612 | DIETHYL_PHTHALATE | . | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-03-07 | ug/L | 0.97138 | 2012-01-26 08:00 | 20120260060 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.153 | DIETHYL_PHTHALATE | . | 0.4 | 1.12 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-04-10 | ug/L | 1.0408 | 2012-03-01 08:30 | 20120620013 | Abs | 090910WW | Abs 090910WW: 20 µl | 0.4612 | DIETHYL_PHTHALATE | . | 0.4 | 0.48 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-05-04 | ug/L | 0.84996 | 2012-04-05 06:30 | 20120960124 | Abs | 090910WW | Abs 090910WW: 50 µl | 1.153 | DIETHYL_PHTHALATE | . | 0.4 | 0.98 | MICROGRAMS PER LITER |  |  |  | Abs 090910WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2009-12-18 | ug/L |  | 2009-11-05 07:30 | 20093100005 | Accu | 209081217 | Accu 209081217: 20 µl |  | DIETHYL_PHTHALATE | E | 0.2 | 0.07 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N |  | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-05-12 | ug/L |  | 2010-04-01 08:00 | 20100920047 | Accu | 209081217 | Accu 209081217: 40 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-08-21 | ug/L |  | 2010-07-13 08:30 | 20101950138 | Accu | 209081217 | Accu 209081217: 80 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Accu 209081217 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-08-06 | ug/L |  | 2013-06-13 07:30 | 20131650075 | ChemService, Abs | 1466200, 050613WWUF | ChemService 1466200: 50 µl & Abs 050613WWUF: 50 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Ch1466200, Ab050WWUF | Ch | Ab | Ab | 1466200 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-10-22 | ug/L | 0.70785 | 2013-09-25 07:30 | 20132690008 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.6216 | DIETHYL_PHTHALATE | . | 0.4 | 0.44 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-04-23 | ug/L | 0.83655 | 2014-01-30 08:00 | 20140300033 | ChemService, Supelco | 1466200, LC00152 | ChemService 1466200: 20 µl & Supelco LC00152: 20 µl | 0.6216 | DIETHYL_PHTHALATE | . | 0.4 | 0.52 | MICROGRAMS PER LITER |  |  |  | Ch1466200, SuLC00152 | Ch | Su | Su | 1466200 | LC00152 | LC00152 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-06-05 | ug/L | 0.75956 | 2014-05-08 07:30 | 20141290007 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 30 µl & Abs 032814: 30 µl | 0.8031 | DIETHYL_PHTHALATE | . | 0.4 | 0.61 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-09-23 | ug/L | 0.89653 | 2014-09-04 07:00 | 20142480001 | ChemService, Abs | 2616300, 032814 | ChemService 2616300: 60 µl & Abs 032814: 60 µl | 1.6062 | DIETHYL_PHTHALATE | . | 0.4 | 1.44 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Ab032814 | Ch | Ab | Ab | 2616300 | 032814 | 032814 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-08-20 | ug/L | 0.93388 | 2014-07-10 06:30 | 20141910242 | ChemService, Crescent | 2616300, 03DD005 | ChemService 2616300: 60 µl & Crescent 03DD005: 60 µl | 1.6062 | DIETHYL_PHTHALATE | . | 0.4 | 1.5 | MICROGRAMS PER LITER |  |  |  | Ch2616300, Cr03DD005 | Ch | Cr | Cr | 2616300 | 03DD005 | 03DD005 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-02-06 | ug/L | 1.185 | 2013-01-10 07:00 | 20130100068 | ChemService, Crescent | 426100, 05BB045 | ChemService 426100: 80 µl & Crescent 05BB045: 80 µl | 2 | DIETHYL_PHTHALATE | . | 0.4 | 2.37 | MICROGRAMS PER LITER |  |  |  | Ch426100, Cr05BB045 | Ch | Cr | Cr | 426100 | 05BB045 | 05BB045 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-05-30 | ug/L |  | 2013-04-11 07:00 | 20131020082 | ChemService, Spex Organics | 426100, T1120521007 | ChemService 426100: 40 µl & Spex Organics T1120521007: 40 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Ch426100, SpT111007 | Ch | Sp | Sp | 426100 | T111007 | T111007 |  | T111007 | T111007 | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-12-15 | ug/L | 0.81676 | 2010-10-14 09:00 | 20102880003 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.45301 | DIETHYL_PHTHALATE | . | 0.4 | 0.37 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-02-18 | ug/L | 1.0016 | 2011-02-02 07:30 | 20110340009 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.44928 | DIETHYL_PHTHALATE | . | 0.4 | 0.45 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-06-28 | ug/L | 0.83943 | 2011-05-19 08:30 | 20111390173 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.8227 | DIETHYL_PHTHALATE | . | 0.4 | 1.53 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-08-06 | ug/L | 0.9075 | 2011-07-07 08:30 | 20111890007 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.146 | DIETHYL_PHTHALATE | . | 0.4 | 1.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-08-17 | ug/L |  | 2011-08-10 09:30 | 20112220129 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4584 | DIETHYL_PHTHALATE | < | 0.4 | 0.48 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y | False Negatives | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-02-01 | ug/L | 0.54101 | 2011-11-29 07:30 | 20113340047 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.146 | DIETHYL_PHTHALATE | E | 0.4 | 0.62 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-03-06 | ug/L | 0.85624 | 2012-01-12 08:00 | 20120120069 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.8336 | DIETHYL_PHTHALATE | . | 0.4 | 1.57 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-03-07 | ug/L | 0.89442 | 2012-02-09 07:30 | 20120400055 | ChemService | 448-12A | ChemService 448-12A: 20 µl | 0.4584 | DIETHYL_PHTHALATE | . | 0.4 | 0.41 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-05-04 | ug/L | 0.98604 | 2012-03-22 07:30 | 20120830078 | ChemService | 448-12A | ChemService 448-12A: 50 µl | 1.146 | DIETHYL_PHTHALATE | . | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-05-22 | ug/L | 0.91078 | 2012-04-19 07:00 | 20121110020 | ChemService | 448-12A | ChemService 448-12A: 80 µl | 1.8336 | DIETHYL_PHTHALATE | . | 0.4 | 1.67 | MICROGRAMS PER LITER |  |  |  | ChemService 448-12A | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2009-12-18 | ug/L | 0.62005 | 2009-11-12 09:30 | 20093170005 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.48383 | DIETHYL_PHTHALATE | . | 0.2 | 0.3 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-02-18 | ug/L | 0.86291 | 2009-12-17 08:30 | 20093520063 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.97345 | DIETHYL_PHTHALATE | . | 0.2 | 0.84 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-05-19 | ug/L | 1.0429 | 2010-04-15 07:30 | 20101060002 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.2493 | DIETHYL_PHTHALATE | . | 0.2 | 0.26 | MICROGRAMS PER LITER |  |  |  | ChemService 480-95B | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-09-17 | ug/L |  | 2014-08-18 06:45 | 20142340162 | Crescent, ERA | 03DD005, 0227-14-07.1 | Crescent 03DD005: 30 µl & ERA 0227-14-07.1: 30 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, ER02207.1 | Cr | ER | ER | 03DD005 | 02207.1 | 02207.1 |  | 02207.1 | 02207.1 | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-07-16 | ug/L |  | 2014-06-19 07:00 | 20141710103 | Crescent, Supelco | 03DD005, LC06436 | Crescent 03DD005: 60 µl & Supelco LC06436: 60 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Cr03DD005, SuLC06436 | Cr | Su | Su | 03DD005 | LC06436 | LC06436 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-12-04 | ug/L | 0.81967 | 2013-11-21 07:00 | 20133260003 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.61 | DIETHYL_PHTHALATE | . | 0.4 | 0.5 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-04-23 | ug/L | 0.72131 | 2014-03-27 07:00 | 20140860103 | Crescent, Abs | 04CC095, 050613WWUF | Crescent 04CC095: 20 µl & Abs 050613WWUF: 20 µl | 0.61 | DIETHYL_PHTHALATE | . | 0.4 | 0.44 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, Ab050WWUF | Cr | Ab | Ab | 04CC095 | 050WWUF | 050WWUF |  | 050WWUF | 050WWUF | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-08-15 | ug/L | 0.65606 | 2013-07-25 07:30 | 20132070037 | Crescent, Supelco | 04CC095, LC00152 | Crescent 04CC095: 100 µl & Supelco LC00152: 100 µl | 6.158 | DIETHYL_PHTHALATE | E | 0.4 | 4.04 | MICROGRAMS PER LITER |  |  |  | Cr04CC095, SuLC00152 | Cr | Su | Su | 04CC095 | LC00152 | LC00152 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-08-24 | ug/L | 0.96 | 2012-08-07 07:00 | 20122210008 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | DIETHYL_PHTHALATE | . | 0.4 | 0.48 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-12-18 | ug/L | 1.18 | 2012-10-30 08:00 | 20123040158 | Crescent, Restek | 05BB045, A088824 | Crescent 05BB045: 20 µl & Restek A088824: 20 µl | 0.5 | DIETHYL_PHTHALATE | . | 0.4 | 0.59 | MICROGRAMS PER LITER |  |  |  | Cr05BB045, ReA088824 | Cr | Re | Re | 05BB045 | A088824 | A088824 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-07-29 | ug/L | 1.28 | 2012-06-21 07:00 | 20121730124 | Crescent | 05BB045 | Crescent 05BB045: 40 µl | 1 | DIETHYL_PHTHALATE | . | 0.4 | 1.28 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB045 | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-12-15 | ug/L |  | 2010-10-28 09:00 | 20103020152 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-04-14 | ug/L |  | 2011-03-10 07:30 | 20110690080 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-07-07 | ug/L |  | 2011-06-23 08:30 | 20111750002 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-08-17 | ug/L |  | 2011-08-04 09:30 | 20112170170 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-11-22 | ug/L |  | 2011-09-01 09:00 | 20112450021 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-01-16 | ug/L |  | 2011-11-03 07:30 | 20113080004 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-03-06 | ug/L |  | 2012-01-19 08:00 | 20120200071 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-03-07 | ug/L |  | 2012-02-16 09:00 | 20120470077 | Crescent | 06MM136 | Crescent 06MM136: 20 µl |  | DIETHYL_PHTHALATE | . | 0.4 | 0.12 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N |  | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-04-10 | ug/L |  | 2012-03-08 07:30 | 20120690028 | Crescent | 06MM136 | Crescent 06MM136: 50 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-07-27 | ug/L |  | 2012-05-17 07:30 | 20121390007 | Crescent | 06MM136 | Crescent 06MM136: 80 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM136 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-07-17 | ug/L | 0.75956 | 2014-06-26 06:30 | 20141770150 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 30 µl & ChemService 2616300: 30 µl | 0.8031 | DIETHYL_PHTHALATE | . | 0.4 | 0.61 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-12-04 | ug/L | 0.90275 | 2014-11-26 07:00 | 20143300047 | ERA, ChemService | 0227-14-07.1, 2616300 | ERA 0227-14-07.1: 60 µl & ChemService 2616300: 60 µl | 1.6062 | DIETHYL_PHTHALATE | . | 0.4 | 1.45 | MICROGRAMS PER LITER |  |  |  | ER02207.1, Ch2616300 | ER | Ch | Ch | 02207.1 | 2616300 | 2616300 | 02207.1 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-08-21 | ug/L | 0.91358 | 2014-07-31 06:00 | 20142130131 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 30 µl & Spex Organics E1140402006: 30 µl | 0.81 | DIETHYL_PHTHALATE | . | 0.4 | 0.74 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-09-23 | ug/L | 0.83951 | 2014-09-03 06:30 | 20142470040 | ERA, Spex Organics | 0227-14-07.1, E1140402006 | ERA 0227-14-07.1: 60 µl & Spex Organics E1140402006: 60 µl | 1.62 | DIETHYL_PHTHALATE | . | 0.4 | 1.36 | MICROGRAMS PER LITER |  |  |  | ER02207.1, SpE112006 | ER | Sp | Sp | 02207.1 | E112006 | E112006 | 02207.1 | E112006 | E112006 | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-09-26 | ug/L |  | 2013-09-12 08:00 | 20132560002 | NSI, Abs | 042213WWUF, 050613WWUF | NSI 042213WWUF: 20 µl & Abs 050613WWUF: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ab050WWUF | NS | Ab | Ab | 042WWUF | 050WWUF | 050WWUF | 042WWUF | 050WWUF | 050WWUF | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-06-12 | ug/L |  | 2013-05-09 07:30 | 20131290118 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 50 µl & ChemService 1466200: 50 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-02-05 | ug/L |  | 2014-01-16 08:00 | 20140160088 | NSI, ChemService | 042213WWUF, 1466200 | NSI 042213WWUF: 20 µl & ChemService 1466200: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Ch1466200 | NS | Ch | Ch | 042WWUF | 1466200 | 1466200 | 042WWUF |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-11-14 | ug/L | 0.72131 | 2013-10-17 07:30 | 20132910006 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.61 | DIETHYL_PHTHALATE | . | 0.4 | 0.44 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-04-23 | ug/L | 0.70492 | 2014-02-06 07:30 | 20140370076 | NSI, Crescent | 042213WWUF, 04CC095 | NSI 042213WWUF: 20 µl & Crescent 04CC095: 20 µl | 0.61 | DIETHYL_PHTHALATE | . | 0.4 | 0.43 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, Cr04CC095 | NS | Cr | Cr | 042WWUF | 04CC095 | 04CC095 | 042WWUF |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-06-14 | ug/L | 0.96525 | 2013-05-23 07:30 | 20131440104 | NSI, Supelco | 042213WWUF, LC00152 | NSI 042213WWUF: 50 µl & Supelco LC00152: 50 µl | 1.554 | DIETHYL_PHTHALATE | . | 0.4 | 1.5 | MICROGRAMS PER LITER |  |  |  | NS042WWUF, SuLC00152 | NS | Su | Su | 042WWUF | LC00152 | LC00152 | 042WWUF |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-12-12 | ug/L |  | 2012-09-27 06:30 | 20122720049 | NSI, ChemService | 061412-01, 426100 | NSI 061412-01: 40 µl & ChemService 426100: 40 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Ch426100 | NS | Ch | Ch | 0612-01 | 426100 | 426100 | 0612-01 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-05-29 | ug/L | 0.96 | 2013-03-27 07:00 | 20130870086 | NSI, Crescent | 061412-01, 05BB045 | NSI 061412-01: 20 µl & Crescent 05BB045: 20 µl | 0.5 | DIETHYL_PHTHALATE | . | 0.4 | 0.48 | MICROGRAMS PER LITER |  |  |  | NS0612-01, Cr05BB045 | NS | Cr | Cr | 0612-01 | 05BB045 | 05BB045 | 0612-01 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-12-20 | ug/L |  | 2012-12-06 07:00 | 20123420075 | NSI, Restek | 061412-01, A088824 | NSI 061412-01: 40 µl & Restek A088824: 40 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NS0612-01, ReA088824 | NS | Re | Re | 0612-01 | A088824 | A088824 | 0612-01 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-09-18 | ug/L | 0.98 | 2012-08-23 07:30 | 20122370103 | NSI, Supelco | 061412-01, LB92782 | NSI 061412-01: 20 µl & Supelco LB92782: 20 µl | 0.5 | DIETHYL_PHTHALATE | . | 0.4 | 0.49 | MICROGRAMS PER LITER |  |  |  | NS0612-01, SuLB92782 | NS | Su | Su | 0612-01 | LB92782 | LB92782 | 0612-01 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2009-12-02 | ug/L | 0.76712 | 2009-10-08 07:30 | 20092820005 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.24768 | DIETHYL_PHTHALATE | E | 0.2 | 0.19 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-02-17 | ug/L | 0.74025 | 2009-11-25 07:00 | 20093340131 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.48632 | DIETHYL_PHTHALATE | . | 0.2 | 0.36 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-03-11 | ug/L | 0.55139 | 2010-02-11 07:30 | 20100420053 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.99749 | DIETHYL_PHTHALATE | . | 0.2 | 0.55 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-07-23 | ug/L | 0.57754 | 2010-06-03 08:30 | 20101550010 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.50213 | DIETHYL_PHTHALATE | . | 0.2 | 0.29 | MICROGRAMS PER LITER |  |  |  | NSI 083109-01WW | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-07-15 | ug/L | 0.7536 | 2010-05-13 10:30 | 20101340153 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23885 | DIETHYL_PHTHALATE | E | 0.2 | 0.18 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-08-20 | ug/L | 0.94319 | 2010-07-08 10:30 | 20101900001 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.24385 | DIETHYL_PHTHALATE | . | 0.2 | 0.23 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP094D | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-05-19 | ug/L | 1.2906 | 2011-05-05 08:30 | 20111260151 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.20145 | DIETHYL_PHTHALATE | . | 0.4 | 0.26 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-10-18 | ug/L | 1.3125 | 2011-08-25 11:10 | 20112380056 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | DIETHYL_PHTHALATE | . | 0.4 | 0.42 | MICROGRAMS PER LITER |  |  |  | NWQL BNA2SP124B | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2009-12-17 | ug/L |  | 2009-11-02 07:00 | 20093060175 | Restek | A070024 | Restek A070024: 20 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-02-11 | ug/L |  | 2009-12-10 07:00 | 20093450031 | Restek | A070024 | Restek A070024: 40 µl |  | DIETHYL_PHTHALATE | E | 0.2 | 0.05 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N |  | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-07-20 | ug/L |  | 2010-05-06 08:30 | 20101270037 | Restek | A070024 | Restek A070024: 80 µl |  | DIETHYL_PHTHALATE | E | 0.2 | 0.02 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N |  | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 11:30 | 20102250100 | Restek | A070024 | Restek A070024: 20 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-08-20 | ug/L |  | 2010-08-12 08:30 | 20102250097 | Restek | A070024 | Restek A070024: 40 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Restek A070024 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-07-08 | ug/L | 0.71605 | 2014-05-29 06:30 | 20141490201 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 60 µl & Abs 032814: 60 µl | 1.62 | DIETHYL_PHTHALATE | . | 0.4 | 1.16 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-09-11 | ug/L | 0.93827 | 2014-08-14 06:30 | 20142270002 | Spex Organics, Abs | E1140402006, 032814 | Spex Organics E1140402006: 30 µl & Abs 032814: 30 µl | 0.81 | DIETHYL_PHTHALATE | . | 0.4 | 0.76 | MICROGRAMS PER LITER |  |  |  | SpE112006, Ab032814 | Sp | Ab | Ab | E112006 | 032814 | 032814 | E112006 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-11-05 | ug/L | 0.88272 | 2014-10-23 06:30 | 20142960087 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 60 µl & Crescent 03DD005: 60 µl | 1.62 | DIETHYL_PHTHALATE | . | 0.4 | 1.43 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2015-01-27 | ug/L | 0.79012 | 2014-12-18 06:00 | 20143520107 | Spex Organics, Crescent | E1140402006, 03DD005 | Spex Organics E1140402006: 30 µl & Crescent 03DD005: 30 µl | 0.81 | DIETHYL_PHTHALATE | . | 0.4 | 0.64 | MICROGRAMS PER LITER |  |  |  | SpE112006, Cr03DD005 | Sp | Cr | Cr | E112006 | 03DD005 | 03DD005 | E112006 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-07-31 | ug/L |  | 2012-07-12 08:00 | 20121950066 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-03-27 | ug/L |  | 2013-02-14 08:00 | 20130460007 | Spex Organics, ChemService | T1120521007, 426100 | Spex Organics T1120521007: 20 µl & ChemService 426100: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SpT111007, Ch426100 | Sp | Ch | Ch | T111007 | 426100 | 426100 | T111007 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-12-19 | ug/L | 0.82 | 2012-11-08 07:30 | 20123140092 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 80 µl & Supelco LB92782: 80 µl | 2 | DIETHYL_PHTHALATE | . | 0.4 | 1.64 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-02-07 | ug/L | 0.72 | 2013-01-24 06:30 | 20130250062 | Spex Organics, Supelco | T1120521007, LB92782 | Spex Organics T1120521007: 40 µl & Supelco LB92782: 40 µl | 1 | DIETHYL_PHTHALATE | E | 0.4 | 0.72 | MICROGRAMS PER LITER |  |  |  | SpT111007, SuLB92782 | Sp | Su | Su | T111007 | LB92782 | LB92782 | T111007 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-08-01 | ug/L |  | 2013-07-11 07:00 | 20131920148 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 100 µl & Abs 050613WWUF: 100 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-04-22 | ug/L |  | 2014-03-06 08:00 | 20140650080 | Spex Organics, Abs | T1130419010, 050613WWUF | Spex Organics T1130419010: 20 µl & Abs 050613WWUF: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ab050WWUF | Sp | Ab | Ab | T119010 | 050WWUF | 050WWUF | T119010 | 050WWUF | 050WWUF | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-11-14 | ug/L |  | 2013-11-07 07:30 | 20133110109 | Spex Organics, ChemService | T1130419010, 1466200 | Spex Organics T1130419010: 20 µl & ChemService 1466200: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SpT119010, Ch1466200 | Sp | Ch | Ch | T119010 | 1466200 | 1466200 | T119010 |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-02-05 | ug/L | 0.81311 | 2014-01-02 06:15 | 20140030013 | Spex Organics, Crescent | T1130419010, 04CC095 | Spex Organics T1130419010: 50 µl & Crescent 04CC095: 50 µl | 1.525 | DIETHYL_PHTHALATE | . | 0.4 | 1.24 | MICROGRAMS PER LITER |  |  |  | SpT119010, Cr04CC095 | Sp | Cr | Cr | T119010 | 04CC095 | 04CC095 | T119010 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-08-08 08:00 | ug/L |  | 2013-08-08 08:00 | 20132210039 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.6216 | DIETHYL_PHTHALATE | R | 0.4 |  | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y | Deleted Values | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-04-24 | ug/L | 0.67568 | 2014-04-03 08:00 | 20140930054 | Spex Organics, Supelco | T1130419010, LC00152 | Spex Organics T1130419010: 20 µl & Supelco LC00152: 20 µl | 0.6216 | DIETHYL_PHTHALATE | . | 0.4 | 0.42 | MICROGRAMS PER LITER |  |  |  | SpT119010, SuLC00152 | Sp | Su | Su | T119010 | LC00152 | LC00152 | T119010 |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2013-03-28 | ug/L | 0.77 | 2013-02-28 07:30 | 20130590064 | Supelco, Restek | LB92782, A088824 | Supelco LB92782: 80 µl & Restek A088824: 80 µl | 2 | DIETHYL_PHTHALATE | . | 0.4 | 1.54 | MICROGRAMS PER LITER |  |  |  | SuLB92782, ReA088824 | Su | Re | Re | LB92782 | A088824 | A088824 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-05-22 | ug/L |  | 2014-05-01 06:30 | 20141220026 | Supelco, Abs | LC06436, 032814 | Supelco LC06436: 30 µl & Abs 032814: 30 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ab032814 | Su | Ab | Ab | LC06436 | 032814 | 032814 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-07-09 | ug/L | 0.73465 | 2014-06-12 06:30 | 20141640077 | Supelco, ChemService | LC06436, 2616300 | Supelco LC06436: 30 µl & ChemService 2616300: 30 µl | 0.8031 | DIETHYL_PHTHALATE | . | 0.4 | 0.59 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Ch2616300 | Su | Ch | Ch | LC06436 | 2616300 | 2616300 |  |  |  | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-04-24 | ug/L |  | 2014-04-10 06:00 | 20141010007 | Supelco, Crescent | LC06436, 03DD005 | Supelco LC06436: 30 µl & Crescent 03DD005: 30 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | SuLC06436, Cr03DD005 | Su | Cr | Cr | LC06436 | 03DD005 | 03DD005 |  |  |  | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-06-04 | ug/L | 0.61111 | 2014-05-16 06:30 | 20141360095 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.62 | DIETHYL_PHTHALATE | E | 0.4 | 0.99 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2014-10-21 | ug/L | 0.7716 | 2014-10-02 07:00 | 20142760025 | Supelco, Spex Organics | LC06436, E1140402006 | Supelco LC06436: 60 µl & Spex Organics E1140402006: 60 µl | 1.62 | DIETHYL_PHTHALATE | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  |  | SuLC06436, SpE112006 | Su | Sp | Sp | LC06436 | E112006 | E112006 |  | E112006 | E112006 | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-02-03 | ug/L |  | 2010-11-30 08:30 | 20103350004 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-04-26 | ug/L |  | 2011-03-31 08:30 | 20110910083 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-06-29 | ug/L |  | 2011-06-02 09:00 | 20111540005 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-08-07 | ug/L |  | 2011-07-14 09:30 | 20111960036 | Supelco | LB77171 | Supelco LB77171: 80 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-10-04 | ug/L |  | 2011-08-18 08:50 | 20112310029 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2011-11-22 | ug/L |  | 2011-09-15 08:30 | 20112590002 | Supelco | LB77171 | Supelco LB77171: 50 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-03-01 | ug/L |  | 2011-12-15 08:30 | 20113500022 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-07-26 | ug/L |  | 2012-05-03 07:00 | 20121250043 | Supelco | LB77171 | Supelco LB77171: 20 µl |  | DIETHYL_PHTHALATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Supelco LB77171 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2012-07-28 | ug/L | 1.04 | 2012-06-07 08:00 | 20121600155 | Supelco | LB92782 | Supelco LB92782: 20 µl | 0.5 | DIETHYL_PHTHALATE | . | 0.4 | 0.52 | MICROGRAMS PER LITER |  |  |  | Supelco LB92782 | [9 empty] | Y
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2009-12-04 | ug/L |  | 2009-10-15 07:00 | 20092890006 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-02-16 | ug/L |  | 2009-11-19 07:00 | 20093240041 | Ultra | CF-3634 | Ultra CF-3634: 20 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-05-13 | ug/L |  | 2010-03-11 07:30 | 20100710176 | Ultra | CF-3634 | Ultra CF-3634: 40 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N
DIETHYL PHTHALATE | 4433 | 34336GCM99 | 2010-08-18 | ug/L |  | 2010-06-17 08:00 | 20101720151 | Ultra | CF-3634 | Ultra CF-3634: 80 µl |  | DIETHYL_PHTHALATE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3634 | [9 empty] | N | < Reporting Level | N