## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-11-16 | ug/L | 0.754 | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.064589 | DIPHENHYDRAMINE | . | 0.058 | 0.0487 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-03-15 | ug/L | 0.68212 | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl | 0.10775 | DIPHENHYDRAMINE | . | 0.058 | 0.0735 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-05-11 | ug/L | 0.58165 | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.064128 | DIPHENHYDRAMINE | . | 0.058 | 0.0373 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-05-25 | ug/L | 0.61068 | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.065337 | DIPHENHYDRAMINE | . | 0.058 | 0.0399 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-07-13 | ug/L | 0.42443 | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.0655 | DIPHENHYDRAMINE | . | 0.058 | 0.0278 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-09-15 | ug/L | 0.63645 | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl | 0.1048 | DIPHENHYDRAMINE | . | 0.058 | 0.0667 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-10-22 | ug/L |  | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-01-07 | ug/L |  | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-04-28 | ug/L |  | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-06-14 | ug/L |  | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-08-05 | ug/L |  | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-11-15 | ug/L |  | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-01-04 | ug/L |  | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-04-26 | ug/L |  | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-06-15 | ug/L |  | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-08-26 | ug/L |  | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-09-16 | ug/L |  | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-04-13 | ug/L |  | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-04-13 | ug/L |  | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-08-28 | ug/L |  | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-05-28 | ug/L | 0.78692 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | DIPHENHYDRAMINE | . | 0.04 | 0.158 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y | False Negatives | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-06-25 | ug/L | 0.80696 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | DIPHENHYDRAMINE | . | 0.04 | 0.16 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-07-27 | ug/L | 0.68105 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | DIPHENHYDRAMINE | . | 0.04 | 0.134 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-08-19 | ug/L | 0.70871 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | DIPHENHYDRAMINE | . | 0.04 | 0.177 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-04-08 | ug/L | 0.66183 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | DIPHENHYDRAMINE | . | 0.036 | 0.0844 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-06-02 | ug/L | 0.80364 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | DIPHENHYDRAMINE | . | 0.036 | 0.101 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-06-23 | ug/L | 0.86766 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | DIPHENHYDRAMINE | . | 0.036 | 0.111 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-07-21 | ug/L | 0.8697 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | DIPHENHYDRAMINE | . | 0.036 | 0.108 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-09-10 | ug/L | 1.1121 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | DIPHENHYDRAMINE | . | 0.036 | 0.142 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-03-25 | ug/L | 0.57084 | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl | 0.06832 | DIPHENHYDRAMINE | E | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  |  | Protocol T1080910002 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-06-22 | ug/L | 0.6698 | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl | 0.10152 | DIPHENHYDRAMINE | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  |  | Protocol T1080910002 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-02-23 | ug/L | 0.50974 | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl | 0.068663 | DIPHENHYDRAMINE | E | 0.04 | 0.035 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-03-10 | ug/L | 0.53239 | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl | 0.069498 | DIPHENHYDRAMINE | E | 0.04 | 0.037 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-07-01 | ug/L | 0.18635 | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl | 0.064396 | DIPHENHYDRAMINE | E | 0.04 | 0.012 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-09-17 | ug/L | 0.53207 | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl | 0.10337 | DIPHENHYDRAMINE | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-11-12 | ug/L |  | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-02-08 | ug/L |  | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-05-06 | ug/L |  | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-06-15 | ug/L |  | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-08-17 | ug/L |  | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-09-24 | ug/L |  | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-12-14 | ug/L |  | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-04-08 | ug/L |  | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-05-25 | ug/L |  | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-07-20 | ug/L |  | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-09-08 | ug/L |  | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-09-24 | ug/L |  | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | DIPHENHYDRAMINE | < | 0.036 | 0.036 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-10-25 | ug/L | 0.6334 | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl | 0.064414 | DIPHENHYDRAMINE | . | 0.058 | 0.0408 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-12-14 | ug/L | 0.64774 | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl | 0.06515 | DIPHENHYDRAMINE | . | 0.058 | 0.0422 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-04-07 | ug/L | 0.46486 | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl | 0.10326 | DIPHENHYDRAMINE | . | 0.058 | 0.048 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-06-23 | ug/L | 0.49891 | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl | 0.10503 | DIPHENHYDRAMINE | . | 0.058 | 0.0524 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-08-03 | ug/L | 0.29538 | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl | 0.065 | DIPHENHYDRAMINE | . | 0.058 | 0.0192 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-09-21 | ug/L | 0.5125 | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl | 0.104 | DIPHENHYDRAMINE | . | 0.058 | 0.0533 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-03-02 | ug/L |  | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-04-29 | ug/L |  | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-07-15 | ug/L |  | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-09-25 | ug/L |  | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl |  | DIPHENHYDRAMINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2009-11-30 | ug/L | 0.60858 | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.047159 | DIPHENHYDRAMINE | E | 0.036 | 0.0287 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-03-09 | ug/L | 0.58615 | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.046917 | DIPHENHYDRAMINE | E | 0.036 | 0.0275 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-05-13 | ug/L | 0.61615 | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.048203 | DIPHENHYDRAMINE | E | 0.036 | 0.0297 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-07-14 | ug/L | 0.6388 | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl | 0.094553 | DIPHENHYDRAMINE | . | 0.036 | 0.0604 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-08-17 | ug/L | 0.61688 | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.047173 | DIPHENHYDRAMINE | E | 0.036 | 0.0291 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-09-24 | ug/L | 0.50572 | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl | 0.096298 | DIPHENHYDRAMINE | . | 0.036 | 0.0487 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
DIPHENHYDRAMINE | 2080 | 6279600021 | 2010-12-14 | ug/L |  | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-03-23 | ug/L |  | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-04-13 | ug/L |  | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-05-12 | ug/L |  | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-07-05 | ug/L |  | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2080 | 6279600021 | 2011-08-03 | ug/L |  | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | DIPHENHYDRAMINE | < | 0.058 | 0.058 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-05-17 | ng/L | 0.65559 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.011288 | DIPHENHYDRAMINE | . | 5.79 | 7.4 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-06-11 | ng/L | 0.64673 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 0.022575 | DIPHENHYDRAMINE | . | 5.79 | 14.6 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-06-28 | ng/L | 0.53422 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.011288 | DIPHENHYDRAMINE | . | 5.79 | 6.03 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-09-12 | ng/L | 0.54641 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 0.011475 | DIPHENHYDRAMINE | . | 5.79 | 6.27 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-25 | ng/L | 0.77124 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 0.02295 | DIPHENHYDRAMINE | . | 5.79 | 17.7 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-05-21 | ng/L | 0.66888 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 0.022575 | DIPHENHYDRAMINE | . | 5.79 | 15.1 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-12 | ng/L | 0.66888 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 0.022575 | DIPHENHYDRAMINE | . | 5.79 | 15.1 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-10 | ng/L | 0.68837 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 0.011288 | DIPHENHYDRAMINE | . | 5.79 | 7.77 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-11-04 | ng/L | 0.63455 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 0.01204 | DIPHENHYDRAMINE | E | 5.79 | 7.64 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-06 | ng/L | 0.67331 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.022575 | DIPHENHYDRAMINE | . | 5.79 | 15.2 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2015-01-16 | ng/L | 0.74419 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.022575 | DIPHENHYDRAMINE | . | 5.79 | 16.8 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-05-30 | ng/L |  | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-06-22 | ng/L |  | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-13 | ng/L |  | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-10 | ng/L |  | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-11-04 | ng/L |  | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-20 | ng/L | 0.54662 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 0.011288 | DIPHENHYDRAMINE | . | 5.79 | 6.17 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-21 | ng/L | 0.58472 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 0.022575 | DIPHENHYDRAMINE | . | 5.79 | 13.2 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-11 | ng/L | 0.64924 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 0.02295 | DIPHENHYDRAMINE | . | 5.79 | 14.9 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-06 | ng/L | 0.70588 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 0.02295 | DIPHENHYDRAMINE | . | 5.79 | 16.2 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-07 | ng/L | 0.77696 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 0.01224 | DIPHENHYDRAMINE | . | 5.79 | 9.51 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-30 | ng/L |  | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-11 | ng/L | 0.6348 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 0.01224 | DIPHENHYDRAMINE | . | 5.79 | 7.77 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-07-13 | ng/L | 0.54031 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 0.011475 | DIPHENHYDRAMINE | . | 5.79 | 6.2 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-16 | ng/L | 0.60741 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 0.011475 | DIPHENHYDRAMINE | . | 5.79 | 6.97 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-08-28 | ng/L | 0.58388 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 0.02295 | DIPHENHYDRAMINE | . | 5.79 | 13.4 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-10-24 | ng/L |  | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-12-07 | ng/L |  | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | 2440 | 67447LCM56 | 2014-04-23 | ng/L |  | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-03-27 | ng/L | 0.52435 | 2013-03-14 08:00 | 20130740022 | Abs, Abs | 053112, 060112 | Abs 053112: 20 µl & Abs 060112: 20 µl | 0.0115 | DIPHENHYDRAMINE | . | 5.79 | 6.03 | NANOGRAMS PER LITER |  |  |  | Ab053112, Ab060112 | Ab | Ab | Ab | 053112 | 060112 | 060112 |  |  |  | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-10-25 | ng/L | 0.52522 | 2012-09-27 07:30 | 20122720046 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 20 µl & ERA 0507-12-06.2: 20 µl | 0.0115 | DIPHENHYDRAMINE | . | 5.79 | 6.04 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-01-24 | ng/L |  | 2012-12-20 07:30 | 20123560094 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl | 0.023 | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | Y | False Negatives | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-08-15 | ng/L | 0.66352 | 2012-08-09 07:30 | 20122230019 | Abs, ERA | 060112, 0507-12-06.1 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl | 0.01165 | DIPHENHYDRAMINE | . | 5.79 | 7.73 | NANOGRAMS PER LITER |  |  |  | Ab060112, ER05006.1 | Ab | ER | ER | 060112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-10-25 | ng/L |  | 2012-10-18 08:30 | 20122930153 | Abs, Spex Organics | 060112, T1120802015 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab060112, SpT112015 | Ab | Sp | Sp | 060112 | T112015 | T112015 |  | T112015 | T112015 | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-12-05 | ng/L |  | 2013-11-26 08:00 | 20133310033 | Abs, Abs | 071112, 053112 | Abs 071112: 20 µl & Abs 053112: 20 µl | 0.0115 | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab053112 | Ab | Ab | Ab | 071112 | 053112 | 053112 |  |  |  | Y | False Negatives | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-04-10 | ng/L |  | 2014-03-27 07:30 | 20140860101 | Abs, Abs | 071112, 060112 | Abs 071112: 20 µl & Abs 060112: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab060112 | Ab | Ab | Ab | 071112 | 060112 | 060112 |  |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-11-20 | ng/L | 0.75966 | 2012-11-08 08:00 | 20123140091 | Abs, ERA | 071112, 0507-12-06.1 | Abs 071112: 40 µl & ERA 0507-12-06.1: 40 µl | 0.0233 | DIPHENHYDRAMINE | . | 5.79 | 17.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.1 | Ab | ER | ER | 071112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-12-14 | ng/L |  | 2012-12-06 08:30 | 20123420072 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 10 µl & ERA 0507-12-06.2: 10 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-04-26 | ng/L |  | 2013-04-18 07:00 | 20131090003 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-01-16 | ng/L |  | 2014-01-02 06:45 | 20140030015 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-03 | ng/L | 0.80435 | 2013-04-30 11:00 | 20131210060 | Abs | 053112 | Abs 053112: 40 µl | 0.023 | DIPHENHYDRAMINE | . | 5.79 | 18.5 | NANOGRAMS PER LITER |  |  |  | Abs 053112 | [9 empty] | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:30 | 20131210056 | Abs | 060112 | Abs 060112: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Abs 060112 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:45 | 20131210057 | Abs | 071112 | Abs 071112: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Abs 071112 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-08-18 | ng/L | 0.64549 | 2013-08-08 08:30 | 20132210043 | ERA, Abs | 0507-12-06.1, 060112 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl | 0.0087375 | DIPHENHYDRAMINE | . | 5.79 | 5.64 | NANOGRAMS PER LITER |  |  |  | ER05006.1, Ab060112 | ER | Ab | Ab | 05006.1 | 060112 | 060112 | 05006.1 |  |  | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-03-27 | ng/L | 0.70043 | 2013-02-28 08:00 | 20130590062 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl | 0.01165 | DIPHENHYDRAMINE | . | 5.79 | 8.16 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-03-21 | ng/L | 0.74592 | 2014-02-20 07:30 | 20140510045 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl | 0.01165 | DIPHENHYDRAMINE | . | 5.79 | 8.69 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-02-19 | ng/L | 0.67246 | 2014-01-16 08:30 | 20140160086 | ERA, Abs | 0823-11-05.1, 053112 | ERA 0823-11-05.1: 15 µl & Abs 053112: 15 µl | 0.008625 | DIPHENHYDRAMINE | . | 5.79 | 5.8 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab053112 | ER | Ab | Ab | 08205.1 | 053112 | 053112 | 08205.1 |  |  | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-01-24 | ng/L |  | 2013-01-10 08:30 | 20130100071 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-01-16 | ng/L |  | 2013-12-12 07:30 | 20133470009 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-11-20 | ng/L |  | 2013-11-07 08:00 | 20133110111 | ERA, Abs | 0823-11-05.1, 071112 | ERA 0823-11-05.1: 15 µl & Abs 071112: 15 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab071112 | ER | Ab | Ab | 08205.1 | 071112 | 071112 | 08205.1 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-03-21 | ng/L | 0.90129 | 2014-03-19 08:00 | 20140780046 | ERA, ERA | 0823-11-05.1, 0507-12-06.1 | ERA 0823-11-05.1: 20 µl & ERA 0507-12-06.1: 20 µl | 0.01165 | DIPHENHYDRAMINE | . | 5.79 | 10.5 | NANOGRAMS PER LITER |  |  |  | ER08205.1, ER05006.1 | ER | ER | ER | 08205.1 | 05006.1 | 05006.1 | 08205.1 | 05006.1 | 05006.1 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-02-28 | ng/L | 0.55304 | 2013-01-31 08:00 | 20130320040 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 10 µl & Abs 053112: 10 µl | 0.00575 | DIPHENHYDRAMINE | . | 5.79 | 3.18 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-02-20 | ng/L | 0.70609 | 2014-02-06 08:00 | 20140370080 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 20 µl & Abs 053112: 20 µl | 0.0115 | DIPHENHYDRAMINE | . | 5.79 | 8.12 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-10-29 | ng/L |  | 2013-09-19 07:30 | 20132630004 | ERA, Abs | 0823-11-05.2, 060112 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab060112 | ER | Ab | Ab | 08205.2 | 060112 | 060112 | 08205.2 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-08-02 | ng/L | 0.63634 | 2013-07-25 08:00 | 20132070033 | ERA, ERA | 0823-11-05.2, 0507-12-06.1 | ERA 0823-11-05.2: 15 µl & ERA 0507-12-06.1: 15 µl | 0.0087375 | DIPHENHYDRAMINE | . | 5.79 | 5.56 | NANOGRAMS PER LITER |  |  |  | ER08205.2, ER05006.1 | ER | ER | ER | 08205.2 | 05006.1 | 05006.1 | 08205.2 | 05006.1 | 05006.1 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-02 | ng/L | 0.60515 | 2013-04-30 11:15 | 20131210054 | ERA | 0507-12-06.1 | ERA 0507-12-06.1: 40 µl | 0.0233 | DIPHENHYDRAMINE | . | 5.79 | 14.1 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.1 | [9 empty] | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:45 | 20131210055 | ERA | 0507-12-06.2 | ERA 0507-12-06.2: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.2 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-04-10 | ng/L |  | 2012-04-05 07:00 | 20120960120 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-05-01 | ng/L |  | 2012-04-26 06:00 | 20121180065 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-06-15 | ng/L |  | 2012-05-24 06:00 | 20121460094 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 10 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-07-26 | ng/L |  | 2012-06-28 08:00 | 20121810009 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 10:00 | 20131210053 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-05-01 | ng/L |  | 2012-04-12 06:00 | 20121040015 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-06-15 | ng/L |  | 2012-06-07 06:00 | 20121600153 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 10 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-06-15 | ng/L |  | 2012-05-17 06:00 | 20121390010 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-07-26 | ng/L |  | 2012-07-19 06:00 | 20122020003 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:30 | 20131210059 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-09-27 | ng/L |  | 2012-09-06 07:30 | 20122500212 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-02-28 | ng/L |  | 2013-02-07 08:30 | 20130390106 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2014-02-20 | ng/L |  | 2014-01-30 08:30 | 20140300038 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | N | < Reporting Level | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2012-12-14 | ng/L | 0.85837 | 2012-11-29 07:30 | 20123350006 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 40 µl & ERA 0507-12-06.1: 40 µl | 0.0233 | DIPHENHYDRAMINE | . | 5.79 | 20 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-08-29 | ng/L | 0.80172 | 2013-08-21 08:30 | 20132340083 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.1: 20 µl | 0.01165 | DIPHENHYDRAMINE | . | 5.79 | 9.34 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | Y
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-07-11 07:30 | ng/L |  | 2013-07-11 07:30 | 20131920151 | Spex Organics, ERA | T1120802015, 0823-11-05.2 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl |  | DIPHENHYDRAMINE | R | 5.79 |  | NANOGRAMS PER LITER |  |  |  | SpT112015, ER08205.2 | Sp | ER | ER | T112015 | 08205.2 | 08205.2 | T112015 | 08205.2 | 08205.2 | N | Deleted Values | N
DIPHENHYDRAMINE | LC9017 | 67447LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:15 | 20131210058 | Spex Organics | T1120802015 | Spex Organics T1120802015: 40 µl |  | DIPHENHYDRAMINE | < | 5.79 | 5.79 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1120802015 | [9 empty] | N | < Reporting Level | N