## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
FENOFIBRATE | 2440 | 67489LCM56 | 2014-05-17 | ng/L |  | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.012045 | FENOFIBRATE | < | 6.28 | 11.3 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-06-11 | ng/L | 0.63927 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 0.02409 | FENOFIBRATE | . | 6.28 | 15.4 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-06-28 | ng/L |  | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.012045 | FENOFIBRATE | < | 6.28 | 80 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-09-12 | ng/L |  | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 0.0126 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-25 | ng/L | 0.24048 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 0.0252 | FENOFIBRATE | . | 6.28 | 6.06 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-05-21 | ng/L | 0.48983 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 0.02409 | FENOFIBRATE | E | 6.28 | 11.8 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-07-12 | ng/L | 0.45662 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 0.02409 | FENOFIBRATE | . | 6.28 | 11 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-10 | ng/L | 0.33956 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 0.012045 | FENOFIBRATE | . | 6.28 | 4.09 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-11-04 | ng/L |  | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 0.012848 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-06 | ng/L | 0.42756 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.02409 | FENOFIBRATE | . | 6.28 | 10.3 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2015-01-16 | ng/L | 0.59776 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 0.02409 | FENOFIBRATE | . | 6.28 | 14.4 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-05-30 | ng/L |  | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-06-22 | ng/L |  | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-07-13 | ng/L |  | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-10 | ng/L |  | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-11-04 | ng/L |  | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-07-20 | ng/L |  | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 0.012045 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-08-21 | ng/L | 0.39809 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 0.02409 | FENOFIBRATE | . | 6.28 | 9.59 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-11 | ng/L | 0.31746 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 0.0252 | FENOFIBRATE | . | 6.28 | 8 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-06 | ng/L | 0.3377 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 0.0252 | FENOFIBRATE | . | 6.28 | 8.51 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-07 | ng/L | 0.36161 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 0.01344 | FENOFIBRATE | . | 6.28 | 4.86 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-08-30 | ng/L |  | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-11 | ng/L | 0.14658 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 0.01344 | FENOFIBRATE | . | 6.28 | 1.97 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y
FENOFIBRATE | 2440 | 67489LCM56 | 2014-07-12 | ng/L |  | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 0.0126 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-08-16 | ng/L |  | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 0.0126 | FENOFIBRATE | < | 6.28 | 10 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-08-28 | ng/L |  | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 0.0252 | FENOFIBRATE | < | 6.28 | 21.1 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | False Negatives | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-10-24 | ng/L |  | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-12-07 | ng/L |  | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | N | < Reporting Level | N
FENOFIBRATE | 2440 | 67489LCM56 | 2014-04-23 | ng/L |  | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 0.015 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | False Negatives | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-03-27 | ng/L |  | 2013-03-14 08:00 | 20130740022 | Abs, Abs | 053112, 060112 | Abs 053112: 20 µl & Abs 060112: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab053112, Ab060112 | Ab | Ab | Ab | 053112 | 060112 | 060112 |  |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-10-25 | ng/L |  | 2012-09-27 07:30 | 20122720046 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 20 µl & ERA 0507-12-06.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-01-24 | ng/L |  | 2012-12-20 07:30 | 20123560094 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-08-15 | ng/L |  | 2012-08-09 07:30 | 20122230019 | Abs, ERA | 060112, 0507-12-06.1 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab060112, ER05006.1 | Ab | ER | ER | 060112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-10-25 | ng/L |  | 2012-10-18 08:30 | 20122930153 | Abs, Spex Organics | 060112, T1120802015 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl | 0.0075 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab060112, SpT112015 | Ab | Sp | Sp | 060112 | T112015 | T112015 |  | T112015 | T112015 | Y | False Negatives | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-12-05 | ng/L |  | 2013-11-26 08:00 | 20133310033 | Abs, Abs | 071112, 053112 | Abs 071112: 20 µl & Abs 053112: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab053112 | Ab | Ab | Ab | 071112 | 053112 | 053112 |  |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-04-10 | ng/L |  | 2014-03-27 07:30 | 20140860101 | Abs, Abs | 071112, 060112 | Abs 071112: 20 µl & Abs 060112: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab060112 | Ab | Ab | Ab | 071112 | 060112 | 060112 |  |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-11-20 | ng/L |  | 2012-11-08 08:00 | 20123140091 | Abs, ERA | 071112, 0507-12-06.1 | Abs 071112: 40 µl & ERA 0507-12-06.1: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.1 | Ab | ER | ER | 071112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-12-14 | ng/L |  | 2012-12-06 08:30 | 20123420072 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 10 µl & ERA 0507-12-06.2: 10 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-04-26 | ng/L |  | 2013-04-18 07:00 | 20131090003 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-01-16 | ng/L |  | 2014-01-02 06:45 | 20140030015 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 11:00 | 20131210060 | Abs | 053112 | Abs 053112: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Abs 053112 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:30 | 20131210056 | Abs | 060112 | Abs 060112: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Abs 060112 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:45 | 20131210057 | Abs | 071112 | Abs 071112: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | Abs 071112 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-08-18 | ng/L |  | 2013-08-08 08:30 | 20132210043 | ERA, Abs | 0507-12-06.1, 060112 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER05006.1, Ab060112 | ER | Ab | Ab | 05006.1 | 060112 | 060112 | 05006.1 |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-03-27 | ng/L |  | 2013-02-28 08:00 | 20130590062 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-03-21 | ng/L |  | 2014-02-20 07:30 | 20140510045 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-02-19 | ng/L | 0.30954 | 2014-01-16 08:30 | 20140160086 | ERA, Abs | 0823-11-05.1, 053112 | ERA 0823-11-05.1: 15 µl & Abs 053112: 15 µl | 0.0095625 | FENOFIBRATE | . | 6.28 | 2.96 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab053112 | ER | Ab | Ab | 08205.1 | 053112 | 053112 | 08205.1 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-01-24 | ng/L | 0.63529 | 2013-01-10 08:30 | 20130100071 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl | 0.0255 | FENOFIBRATE | . | 6.28 | 16.2 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-01-16 | ng/L | 0.33778 | 2013-12-12 07:30 | 20133470009 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl | 0.0095625 | FENOFIBRATE | . | 6.28 | 3.23 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-11-20 | ng/L | 0.14327 | 2013-11-07 08:00 | 20133110111 | ERA, Abs | 0823-11-05.1, 071112 | ERA 0823-11-05.1: 15 µl & Abs 071112: 15 µl | 0.0095625 | FENOFIBRATE | . | 6.28 | 1.37 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab071112 | ER | Ab | Ab | 08205.1 | 071112 | 071112 | 08205.1 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-03-21 | ng/L |  | 2014-03-19 08:00 | 20140780046 | ERA, ERA | 0823-11-05.1, 0507-12-06.1 | ERA 0823-11-05.1: 20 µl & ERA 0507-12-06.1: 20 µl | 0.01275 | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER08205.1, ER05006.1 | ER | ER | ER | 08205.1 | 05006.1 | 05006.1 | 08205.1 | 05006.1 | 05006.1 | Y | False Negatives | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-02-28 | ng/L |  | 2013-01-31 08:00 | 20130320040 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 10 µl & Abs 053112: 10 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-02-20 | ng/L |  | 2014-02-06 08:00 | 20140370080 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 20 µl & Abs 053112: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-10-29 | ng/L |  | 2013-09-19 07:30 | 20132630004 | ERA, Abs | 0823-11-05.2, 060112 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab060112 | ER | Ab | Ab | 08205.2 | 060112 | 060112 | 08205.2 |  |  | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-08-02 | ng/L |  | 2013-07-25 08:00 | 20132070033 | ERA, ERA | 0823-11-05.2, 0507-12-06.1 | ERA 0823-11-05.2: 15 µl & ERA 0507-12-06.1: 15 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ER08205.2, ER05006.1 | ER | ER | ER | 08205.2 | 05006.1 | 05006.1 | 08205.2 | 05006.1 | 05006.1 | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:15 | 20131210054 | ERA | 0507-12-06.1 | ERA 0507-12-06.1: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.1 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:45 | 20131210055 | ERA | 0507-12-06.2 | ERA 0507-12-06.2: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.2 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-04-10 | ng/L | 0.45804 | 2012-04-05 07:00 | 20120960120 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl | 0.01275 | FENOFIBRATE | . | 6.28 | 5.84 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-05-01 | ng/L | 1.2157 | 2012-04-26 06:00 | 20121180065 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl | 0.0255 | FENOFIBRATE | . | 6.28 | 31 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-06-15 | ng/L | 0.36863 | 2012-05-24 06:00 | 20121460094 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 10 µl | 0.006375 | FENOFIBRATE | E | 6.28 | 2.35 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-07-26 | ng/L | 1.4902 | 2012-06-28 08:00 | 20121810009 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl | 0.01275 | FENOFIBRATE | E | 6.28 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-02 | ng/L | 0.23725 | 2013-04-30 10:00 | 20131210053 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl | 0.0255 | FENOFIBRATE | . | 6.28 | 6.05 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-05-01 | ng/L |  | 2012-04-12 06:00 | 20121040015 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-06-15 | ng/L |  | 2012-06-07 06:00 | 20121600153 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 10 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-06-15 | ng/L |  | 2012-05-17 06:00 | 20121390010 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-07-26 | ng/L |  | 2012-07-19 06:00 | 20122020003 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:30 | 20131210059 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl |  | FENOFIBRATE | < | 6.28 | 6.28 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | N | < Reporting Level | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-09-27 | ng/L | 0.69333 | 2012-09-06 07:30 | 20122500212 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.015 | FENOFIBRATE | . | 6.28 | 10.4 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-02-28 | ng/L | 0.47533 | 2013-02-07 08:30 | 20130390106 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.015 | FENOFIBRATE | E | 6.28 | 7.13 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2014-02-20 | ng/L | 0.42133 | 2014-01-30 08:30 | 20140300038 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.015 | FENOFIBRATE | . | 6.28 | 6.32 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2012-12-14 | ng/L | 0.60667 | 2012-11-29 07:30 | 20123350006 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 40 µl & ERA 0507-12-06.1: 40 µl | 0.03 | FENOFIBRATE | E | 6.28 | 18.2 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-08-29 | ng/L | 0.23733 | 2013-08-21 08:30 | 20132340083 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.1: 20 µl | 0.015 | FENOFIBRATE | . | 6.28 | 3.56 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | Y
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-07-11 07:30 | ng/L |  | 2013-07-11 07:30 | 20131920151 | Spex Organics, ERA | T1120802015, 0823-11-05.2 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl | 0.015 | FENOFIBRATE | R | 6.28 |  | NANOGRAMS PER LITER |  |  |  | SpT112015, ER08205.2 | Sp | ER | ER | T112015 | 08205.2 | 08205.2 | T112015 | 08205.2 | 08205.2 | Y | Deleted Values | N
FENOFIBRATE | LC9017 | 67489LCM56 | 2013-05-03 | ng/L | 0.49 | 2013-04-30 10:15 | 20131210058 | Spex Organics | T1120802015 | Spex Organics T1120802015: 40 µl | 0.03 | FENOFIBRATE | . | 6.28 | 14.7 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1120802015 | [9 empty] | Y