## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
FLUOMETURON | 2060 | 38811LCM29 | 2013-11-07 | ug/L | 0.96626 | 2013-09-25 06:30 | 20132690009 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.0652 | FLUOMETURON | . | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  |  | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-07-19 | ug/L | 1.0307 | 2013-06-27 07:00 | 20131790008 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.163 | FLUOMETURON | . | 0.04 | 0.168 | MICROGRAMS PER LITER |  |  |  | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2014-03-03 | ug/L | 0.79755 | 2014-02-06 07:00 | 20140370075 | Abs, ChemService, Supelco | 042513, 1448600, LC00372 | Abs 042513: 20 µl & ChemService 1448600: 20 µl & Supelco LC00372: 20 µl | 0.0652 | FLUOMETURON | E | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  |  | Ab042513, Ch1448600, SuLC00372 | Ab | Ch | Su | 042513 | 1448600 | LC00372 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-11-07 | ug/L | 0.9816 | 2013-10-17 07:00 | 20132910007 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.0652 | FLUOMETURON | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  |  | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-06-26 | ug/L | 1.0429 | 2013-06-13 07:00 | 20131650074 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.163 | FLUOMETURON | . | 0.04 | 0.17 | MICROGRAMS PER LITER |  |  |  | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2014-01-16 | ug/L | 0.9816 | 2013-12-23 07:00 | 20133580037 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0652 | FLUOMETURON | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  |  | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-11-13 | ug/L | 1.022 | 2012-10-30 07:30 | 20123040156 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl | 0.5 | FLUOMETURON | . | 0.04 | 0.511 | MICROGRAMS PER LITER |  |  |  | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-03-12 | ug/L | 1.08 | 2013-02-14 07:30 | 20130460008 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl | 1 | FLUOMETURON | E | 0.04 | 1.08 | MICROGRAMS PER LITER |  |  |  | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-12-05 | ug/L | 1.02 | 2012-11-08 07:00 | 20123140094 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.2 | FLUOMETURON | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  |  | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-08-22 | ug/L | 1.175 | 2012-08-07 06:30 | 20122210007 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl | 0.2 | FLUOMETURON | . | 0.04 | 0.235 | MICROGRAMS PER LITER |  |  |  | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-03-12 | ug/L | 1.06 | 2013-03-05 06:30 | 20130650004 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.5 | FLUOMETURON | . | 0.04 | 0.53 | MICROGRAMS PER LITER |  |  |  | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-05-02 | ug/L | 1.104 | 2013-04-18 06:30 | 20131090032 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.5 | FLUOMETURON | . | 0.04 | 0.552 | MICROGRAMS PER LITER |  |  |  | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-04-30 | ug/L |  | 2009-04-16 09:00 | 20091060131 | Abs | 081508Polar | Abs 081508Polar: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 081508Polar | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-07-28 | ug/L |  | 2009-07-02 09:30 | 20091830170 | Abs | 081508Polar | Abs 081508Polar: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 081508Polar | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-09-01 | ug/L |  | 2009-08-20 08:30 | 20092330005 | Abs | 081508Polar | Abs 081508Polar: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 081508Polar | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-02-02 | ug/L |  | 2011-01-13 07:00 | 20110130055 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-02-25 | ug/L |  | 2011-02-10 07:30 | 20110410063 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-04-12 | ug/L |  | 2011-03-17 08:30 | 20110770004 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-06-10 | ug/L |  | 2011-05-26 08:00 | 20111470064 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-07-19 | ug/L |  | 2011-06-29 07:30 | 20111810003 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-09-12 | ug/L |  | 2011-08-18 08:48 | 20112310031 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-11-28 | ug/L |  | 2011-10-27 08:00 | 20113010045 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-02-13 | ug/L |  | 2012-02-02 12:20 | 20120370003 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-04-10 | ug/L |  | 2012-03-22 07:00 | 20120830076 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-05-03 | ug/L |  | 2012-04-19 06:30 | 20121110019 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2013-09-27 | ug/L |  | 2013-08-08 07:30 | 20132210038 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-10-20 | ug/L | 1.115 | 2009-10-08 09:00 | 20092820001 | Accu | 209081166 | Accu 209081166: 40 µl | 0.082512 | FLUOMETURON | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-02-18 | ug/L | 0.9093 | 2010-02-04 07:00 | 20100360001 | Accu | 209081166 | Accu 209081166: 40 µl | 0.083581 | FLUOMETURON | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-06-10 | ug/L | 1.1232 | 2010-05-13 07:00 | 20101340151 | Accu | 209081166 | Accu 209081166: 80 µl | 0.16381 | FLUOMETURON | . | 0.04 | 0.184 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-07-27 | ug/L | 1.0977 | 2010-07-08 07:00 | 20101900003 | Accu | 209081166 | Accu 209081166: 40 µl | 0.083815 | FLUOMETURON | . | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-11-26 | ug/L |  | 2013-11-07 07:00 | 20133110110 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-03-03 | ug/L |  | 2009-02-05 10:00 | 20090370003 | ChemService | 406-113B | ChemService 406-113B: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-06-17 | ug/L |  | 2009-05-20 09:00 | 20091410005 | ChemService | 406-113B | ChemService 406-113B: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-08-13 | ug/L |  | 2009-07-30 09:00 | 20092110206 | ChemService | 406-113B | ChemService 406-113B: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-09-23 | ug/L |  | 2009-09-10 08:30 | 20092530081 | ChemService | 406-113B | ChemService 406-113B: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-12-02 | ug/L | 1.0406 | 2009-11-19 08:30 | 20093240039 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.084567 | FLUOMETURON | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-05-04 | ug/L | 1.1163 | 2010-04-22 07:30 | 20101130051 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.085995 | FLUOMETURON | . | 0.04 | 0.096 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-06-30 | ug/L | 1.1799 | 2010-06-10 07:30 | 20101650030 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.085601 | FLUOMETURON | . | 0.04 | 0.101 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-08-31 | ug/L | 1.0885 | 2010-08-05 07:30 | 20102180094 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.16995 | FLUOMETURON | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-10-27 | ug/L | 1.0599 | 2010-09-09 05:42 | 20102530004 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.16983 | FLUOMETURON | . | 0.04 | 0.18 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-01-04 | ug/L |  | 2010-12-09 06:30 | 20103430088 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-03-07 | ug/L |  | 2011-02-17 06:30 | 20110490034 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-05-05 | ug/L |  | 2011-04-07 07:00 | 20110980031 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-06-28 | ug/L |  | 2011-06-07 07:30 | 20111590002 | ChemService | 448-45B | ChemService 448-45B: 100 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-08-11 | ug/L |  | 2011-07-21 08:00 | 20112030058 | ChemService | 448-45B | ChemService 448-45B: 100 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-10-04 | ug/L |  | 2011-09-08 08:00 | 20112520208 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-11-29 | ug/L |  | 2011-11-22 08:00 | 20113260108 | ChemService | 448-45B | ChemService 448-45B: 100 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-02-02 | ug/L |  | 2012-01-19 07:30 | 20120200070 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-03-26 | ug/L |  | 2012-03-08 07:00 | 20120690030 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-11-19 | ug/L |  | 2009-10-22 09:00 | 20092960006 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-03-17 | ug/L |  | 2010-03-03 07:00 | 20100630038 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-06-15 | ug/L |  | 2010-05-27 07:00 | 20101480008 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-07-26 | ug/L |  | 2010-07-13 07:30 | 20101950136 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-10-28 | ug/L |  | 2010-09-16 06:45 | 20102630167 | Crescent | 08LL073 | Crescent 08LL073: 80 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-11-29 | ug/L | 0.95261 | 2010-10-28 08:00 | 20103020153 | Crescent | 163162 | Crescent 163162: 40 µl | 0.087129 | FLUOMETURON | . | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-02-24 | ug/L | 1.0431 | 2011-02-02 07:00 | 20110340008 | Crescent | 163162 | Crescent 163162: 40 µl | 0.086283 | FLUOMETURON | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-04-13 | ug/L | 1.0102 | 2011-03-31 08:00 | 20110910082 | Crescent | 163162 | Crescent 163162: 100 µl | 0.21976 | FLUOMETURON | . | 0.04 | 0.222 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-05-20 | ug/L | 0.90787 | 2011-05-12 07:30 | 20111330149 | Crescent | 163162 | Crescent 163162: 40 µl | 0.087017 | FLUOMETURON | . | 0.04 | 0.079 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-07-18 | ug/L | 0.98636 | 2011-07-14 08:30 | 20111960035 | Crescent | 163162 | Crescent 163162: 100 µl | 0.22 | FLUOMETURON | . | 0.04 | 0.217 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-07-19 | ug/L | 0.70455 | 2011-06-23 07:30 | 20111750004 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | FLUOMETURON | . | 0.04 | 0.062 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-10-31 | ug/L | 0.93182 | 2011-10-13 08:00 | 20112870074 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | FLUOMETURON | . | 0.04 | 0.082 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-01-05 | ug/L | 1.0318 | 2011-12-15 08:00 | 20113500019 | Crescent | 163162 | Crescent 163162: 100 µl | 0.22 | FLUOMETURON | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-03-06 | ug/L | 1.0227 | 2012-02-16 08:00 | 20120470081 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | FLUOMETURON | . | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-06-20 | ug/L | 0.97727 | 2012-05-24 07:30 | 20121460002 | Crescent | 163162 | Crescent 163162: 40 µl | 0.088 | FLUOMETURON | . | 0.04 | 0.086 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-05-28 | ug/L |  | 2009-05-06 09:00 | 20091320004 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ERA 0813-08-07Polar | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-08-06 | ug/L |  | 2009-07-23 09:00 | 20092040200 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ERA 0813-08-07Polar | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-09-22 | ug/L |  | 2009-09-03 08:00 | 20092460256 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ERA 0813-08-07Polar | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2013-09-27 | ug/L |  | 2013-09-06 06:40 | 20132490343 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2013-06-04 | ug/L |  | 2013-05-23 07:00 | 20131440103 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2014-02-12 | ug/L |  | 2014-01-30 07:30 | 20140300032 | NSI, ChemService, Supelco | 042213HPLC, 1448600, LC00372 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & Supelco LC00372: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS042HPLC, Ch1448600, SuLC0037 | NS | Ch | Su | 042HPLC | 1448600 | LC00372 | 042HPLC |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-08-07 | ug/L |  | 2012-07-19 07:00 | 20122020005 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-09-28 | ug/L |  | 2012-09-13 06:30 | 20122570123 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-04-09 | ug/L | 0.96198 | 2009-03-26 08:30 | 20090860041 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.060292 | FLUOMETURON | . | 0.04 | 0.058 | MICROGRAMS PER LITER |  |  |  | NSI 081208-01Polar | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-06-17 | ug/L | 0.92564 | 2009-06-04 09:00 | 20091550186 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.061579 | FLUOMETURON | . | 0.04 | 0.057 | MICROGRAMS PER LITER |  |  |  | NSI 081208-01Polar | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-08-31 | ug/L | 0.94163 | 2009-08-06 08:30 | 20092180178 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.10089 | FLUOMETURON | . | 0.04 | 0.095 | MICROGRAMS PER LITER |  |  |  | NSI 081208-01Polar | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-12-29 | ug/L |  | 2009-12-03 09:00 | 20093380008 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-05-20 | ug/L |  | 2010-04-29 06:30 | 20101190090 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-07-01 | ug/L |  | 2010-06-17 07:00 | 20101720152 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-09-01 | ug/L |  | 2010-08-12 07:30 | 20102250103 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-05-03 | ug/L | 1.2531 | 2010-04-15 09:00 | 20101060003 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | FLUOMETURON | . | 0.04 | 0.158 | MICROGRAMS PER LITER |  |  |  | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-07-27 | ug/L | 1.2352 | 2010-07-01 11:00 | 20101830111 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | FLUOMETURON | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  |  | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2010-09-21 | ug/L | 1.3214 | 2010-09-02 10:00 | 20102500047 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | FLUOMETURON | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  |  | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-03-26 | ug/L | 1.0333 | 2009-03-05 08:00 | 20090640121 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | FLUOMETURON | . | 0.04 | 0.204 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-05-06 | ug/L | 1.1439 | 2009-04-23 09:00 | 20091130129 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | FLUOMETURON | . | 0.04 | 0.215 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-06-17 | ug/L | 1.0213 | 2009-05-28 06:00 | 20091490005 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | FLUOMETURON | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-07-28 | ug/L | 1.1154 | 2009-07-07 09:00 | 20091880136 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | FLUOMETURON | . | 0.04 | 0.209 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-04-10 | ug/L |  | 2009-04-02 07:15 | 20090920066 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-07-11 | ug/L |  | 2009-06-18 09:30 | 20091700138 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-09-01 | ug/L |  | 2009-08-13 09:00 | 20092260010 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2013-06-04 | ug/L |  | 2013-05-02 06:30 | 20131230083 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-11-20 | ug/L |  | 2009-11-05 09:00 | 20093100008 | Restek | A069890 | Restek A069890: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-04-14 | ug/L |  | 2010-04-01 07:00 | 20100920050 | Restek | A069890 | Restek A069890: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-06-16 | ug/L |  | 2010-06-03 07:00 | 20101550008 | Restek | A069890 | Restek A069890: 80 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-07-14 | ug/L |  | 2010-06-24 07:00 | 20101760005 | Restek | A069890 | Restek A069890: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2011-01-04 | ug/L | 1.0445 | 2010-12-16 07:00 | 20103510059 | Restek | A075600 | Restek A075600: 40 µl | 0.089039 | FLUOMETURON | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-03-23 | ug/L | 1.0519 | 2011-03-03 07:30 | 20110620084 | Restek | A075600 | Restek A075600: 40 µl | 0.089359 | FLUOMETURON | . | 0.04 | 0.094 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-05-20 | ug/L | 1.0038 | 2011-04-28 07:30 | 20111190183 | Restek | A075600 | Restek A075600: 100 µl | 0.22615 | FLUOMETURON | . | 0.04 | 0.227 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-06-10 | ug/L | 0.98646 | 2011-06-02 08:00 | 20111540006 | Restek | A075600 | Restek A075600: 40 µl | 0.089207 | FLUOMETURON | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-09-02 | ug/L | 0.94866 | 2011-08-04 08:30 | 20112170175 | Restek | A075600 | Restek A075600: 40 µl | 0.0896 | FLUOMETURON | . | 0.04 | 0.085 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-09-13 | ug/L | 1.0804 | 2011-09-01 08:00 | 20112450024 | Restek | A075600 | Restek A075600: 100 µl | 0.224 | FLUOMETURON | . | 0.04 | 0.242 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2011-11-29 | ug/L | 1.3504 | 2011-11-09 07:30 | 20113130087 | Restek | A075600 | Restek A075600: 40 µl | 0.0896 | FLUOMETURON | E | 0.04 | 0.121 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-02-13 | ug/L | 0.99554 | 2012-01-26 07:30 | 20120260062 | Restek | A075600 | Restek A075600: 100 µl | 0.224 | FLUOMETURON | . | 0.04 | 0.223 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-03-26 | ug/L | 0.98214 | 2012-03-15 08:30 | 20120760112 | Restek | A075600 | Restek A075600: 40 µl | 0.0896 | FLUOMETURON | . | 0.04 | 0.088 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-05-02 | ug/L | 0.90402 | 2012-04-05 06:00 | 20120960123 | Restek | A075600 | Restek A075600: 40 µl | 0.0896 | FLUOMETURON | . | 0.04 | 0.081 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-05-22 | ug/L | 0.95536 | 2012-05-10 07:00 | 20121310031 | Restek | A075600 | Restek A075600: 100 µl | 0.224 | FLUOMETURON | . | 0.04 | 0.214 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2014-04-24 | ug/L | 0.82812 | 2014-04-03 07:30 | 20140930050 | Spex Organics, Accu | T1130601011, 213041030 | Spex Organics T1130601011: 20 µl & Accu 213041030: 20 µl | 0.064 | FLUOMETURON | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  |  | SpT111011, Ac2131030 | Sp | Ac | Ac | T111011 | 2131030 | 2131030 | T111011 | 2131030 | 2131030 | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-09-27 | ug/L | 1.1562 | 2013-08-21 07:30 | 20132340087 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.16 | FLUOMETURON | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  |  | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2014-01-16 | ug/L | 1.0156 | 2013-12-12 07:00 | 20133470007 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.064 | FLUOMETURON | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  |  | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-08-17 | ug/L | 0.99375 | 2013-08-01 06:30 | 20132140001 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.16 | FLUOMETURON | . | 0.04 | 0.159 | MICROGRAMS PER LITER |  |  |  | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2014-03-04 | ug/L | 0.78125 | 2014-02-20 07:00 | 20140510042 | Spex Organics, Supelco, Supe | T1130601011, LC01386, LC00372 | Spex Organics T1130601011: 20 µl & Supelco LC01386: 20 µl & Supelco LC00372: 20 | 0.064 | FLUOMETURON | E | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  |  | SpT111011, SuLC01386, SuLC0037 | Sp | Su | Su | T111011 | LC01386 | LC00372 | T111011 |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-09-13 | ug/L | 0.69277 | 2012-08-16 07:00 | 20122300023 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1992 | FLUOMETURON | . | 0.04 | 0.138 | MICROGRAMS PER LITER |  |  |  | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-01-18 | ug/L | 0.74498 | 2013-01-10 06:30 | 20130100067 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.996 | FLUOMETURON | . | 0.04 | 0.742 | MICROGRAMS PER LITER |  |  |  | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-12-21 | ug/L | 0.71486 | 2012-12-13 07:00 | 20123490150 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.498 | FLUOMETURON | . | 0.04 | 0.356 | MICROGRAMS PER LITER |  |  |  | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2013-04-10 | ug/L | 0.64659 | 2013-03-27 06:30 | 20130870085 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl | 0.498 | FLUOMETURON | . | 0.04 | 0.322 | MICROGRAMS PER LITER |  |  |  | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-07-18 | ug/L | 0.70281 | 2012-06-28 07:30 | 20121810017 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.498 | FLUOMETURON | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  |  | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-12-30 | ug/L |  | 2009-12-17 07:30 | 20093520062 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-05-26 | ug/L |  | 2010-05-06 07:00 | 20101270033 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-06-11 | ug/L |  | 2010-05-20 07:00 | 20101410004 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-08-31 | ug/L |  | 2010-08-03 07:00 | 20102160005 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2010-09-02 | ug/L |  | 2010-08-19 07:00 | 20102320018 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2012-12-05 | ug/L |  | 2012-11-20 07:00 | 20123260035 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2013-02-13 | ug/L |  | 2013-01-31 07:30 | 20130320044 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2014-04-01 | ug/L |  | 2014-03-13 07:30 | 20140730140 | Supelco, Accu | LC01386, 213041030 | Supelco LC01386: 20 µl & Accu 213041030: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | SuLC01386, Ac2131030 | Su | Ac | Ac | LC01386 | 2131030 | 2131030 |  | 2131030 | 2131030 | N | < Reporting Level | N
FLUOMETURON | 2060 | 38811LCM29 | 2009-05-27 | ug/L | 1.0011 | 2009-04-30 08:00 | 20091210003 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.060931 | FLUOMETURON | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  |  | Supelco LB60726 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-08-05 | ug/L | 0.90508 | 2009-07-16 09:00 | 20091970069 | Supelco | LB60726 | Supelco LB60726: 50 µl | 0.10275 | FLUOMETURON | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  |  | Supelco LB60726 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2009-09-22 | ug/L | 1.1051 | 2009-08-27 09:00 | 20092400046 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.059721 | FLUOMETURON | . | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  |  | Supelco LB60726 | [9 empty] | Y
FLUOMETURON | 2060 | 38811LCM29 | 2012-07-09 | ug/L |  | 2012-06-14 07:30 | 20121670022 | Supelco | LB92941 | Supelco LB92941: 20 µl |  | FLUOMETURON | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Supelco LB92941 | [9 empty] | N | < Reporting Level | N
FLUOMETURON | 2437 | 68608LCM60 | 2014-07-24 | ng/L | 0.83003 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 0.00606 | FLUOMETURON | . | 3 | 5.03 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
FLUOMETURON | 2437 | 68608LCM60 | 2014-07-02 | ng/L |  | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl |  | FLUOMETURON | < | 3 | 3 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N