## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-08-06 | ug/L | 0.45547 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.988 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.45 | MICROGRAMS PER LITER |  |  |  | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-04-15 | ug/L | 0.75304 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.988 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.744 | MICROGRAMS PER LITER |  |  |  | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-12-06 | ug/L | 0.76305 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.49 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.9 | MICROGRAMS PER LITER |  |  |  | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-04-07 | ug/L |  | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-07-07 | ug/L |  | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-09-01 | ug/L |  | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-10-27 | ug/L |  | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.4 | MICROGRAMS PER LITER |  |  |  | Abs 080508BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-08-06 | ug/L | 0.54251 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.47 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 1.34 | MICROGRAMS PER LITER |  |  |  | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-04-15 | ug/L | 0.68421 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 4.94 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 3.38 | MICROGRAMS PER LITER |  |  |  | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-11-26 | ug/L | 0.80668 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.988 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.797 | MICROGRAMS PER LITER |  |  |  | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-10 | ug/L | 0.025917 | 2009-02-12 06:00 | 20090430169 | Accu | B8090087 | Accu B8090087: 40 µl | 4.3215 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 0.112 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-04-28 | ug/L | 0.46776 | 2009-03-26 07:00 | 20090860040 | Accu | B8090087 | Accu B8090087: 25 µl | 2.5654 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-07-14 | ug/L | 0.38389 | 2009-06-04 07:00 | 20091550182 | Accu | B8090087 | Accu B8090087: 25 µl | 2.657 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.02 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-09-15 | ug/L | 0.59109 | 2009-07-16 06:30 | 20091970070 | Accu | B8090087 | Accu B8090087: 25 µl | 2.5884 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 1.53 | MICROGRAMS PER LITER |  |  |  | Accu B8090087 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | ug/L | 0.523 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.523 | MICROGRAMS PER LITER |  |  |  | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-04-03 | ug/L | 0.399 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.399 | MICROGRAMS PER LITER |  |  |  | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-10 | ug/L |  | 2009-02-19 06:15 | 20090500128 | ChemService | 406-96B | ChemService 406-96B: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-04-28 | ug/L |  | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-08-25 | ug/L |  | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-09-21 | ug/L |  | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | ChemService 406-96B | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-07-25 | ug/L |  | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-09-10 | ug/L |  | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-03-19 | ug/L |  | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-12-02 | ug/L |  | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-01-25 | ug/L |  | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-04-19 | ug/L |  | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-05-16 | ug/L |  | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-07-14 | ug/L |  | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-09-16 | ug/L |  | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-10 | ug/L |  | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-28 | ug/L |  | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-04-17 | ug/L |  | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-07-12 | ug/L |  | 2012-05-10 06:00 | 20121310030 | Crescent | 06MM151 | Crescent 06MM151: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Crescent 06MM151 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-01-28 | ug/L | 0.46424 | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.7927 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.368 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-06-14 | ug/L | 0.42225 | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.646 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.695 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-09-23 | ug/L | 0.79596 | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.80406 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.64 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-26 | ug/L | 0.26977 | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.6162 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.436 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL068 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-06-18 | ug/L | 0.59137 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.589 | MICROGRAMS PER LITER |  |  |  | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-10-31 | ug/L | 0.73795 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.735 | MICROGRAMS PER LITER |  |  |  | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-01-30 | ug/L | 1.0743 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.07 | MICROGRAMS PER LITER |  |  |  | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-10-26 | ug/L | 0.556 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.39 | MICROGRAMS PER LITER |  |  |  | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-01-08 | ug/L | 0.45 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 2.25 | MICROGRAMS PER LITER |  |  |  | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-08-10 | ug/L | 0.569 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.569 | MICROGRAMS PER LITER |  |  |  | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-01-25 | ug/L |  | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-03-17 | ug/L |  | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-06-07 | ug/L |  | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-07-14 06:00 | ug/L |  | 2011-07-14 06:00 | 20111960038 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | R | 0.5 |  | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | Deleted Values | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-09-15 | ug/L |  | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-10-12 | ug/L |  | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-10 | ug/L |  | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-08 | ug/L |  | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-20 | ug/L |  | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-04-18 | ug/L |  | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-07-12 | ug/L |  | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS1383#1 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-01-26 | ug/L | 0.047198 | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 1.6738 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.079 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-06-10 | ug/L | 0.5667 | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.8223 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.466 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-07-15 | ug/L | 0.46731 | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.81959 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.383 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-19 | ug/L | 0.62102 | 2010-08-12 09:30 | 20102250099 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.83088 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.516 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02BNA | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-04 | ug/L |  | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-04-07 | ug/L |  | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-07-07 | ug/L |  | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-09-01 | ug/L |  | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | NSI 080508-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-01-25 | ug/L |  | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-06-29 | ug/L |  | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-07-28 | ug/L |  | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-20 | ug/L |  | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | NSI 082409-01BNA | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-09-18 | ug/L |  | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-08-18 | ug/L | 0.568 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.568 | MICROGRAMS PER LITER |  |  |  | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | ug/L | 0.672 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.68 | MICROGRAMS PER LITER |  |  |  | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-03-05 | ug/L | 0.576 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 2.88 | MICROGRAMS PER LITER |  |  |  | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-13 | ug/L |  | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-08-04 | ug/L |  | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-08-25 | ug/L |  | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-09-22 | ug/L |  | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Restek A062189 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-07-24 | ug/L |  | 2012-06-07 07:00 | 20121600152 | Restek | A088363 | Restek A088363: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Restek A088363 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-07-27 | ug/L |  | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | ug/L |  | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | ug/L |  | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-03-06 | ug/L |  | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-04-03 | ug/L | 0.3808 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.952 | MICROGRAMS PER LITER |  |  |  | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-12-19 | ug/L | 0.732 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.732 | MICROGRAMS PER LITER |  |  |  | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-01-30 | ug/L |  | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-11-25 | ug/L |  | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-04-15 | ug/L |  | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-12-15 | ug/L |  | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-05-18 | ug/L |  | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-07-28 | ug/L |  | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-21 | ug/L |  | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090824002 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-12-07 | ug/L | 0.66893 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2154 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.813 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-01-25 | ug/L | 0.60708 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.0309 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.84 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-03-17 | ug/L | 0.51095 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.75155 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.384 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-06-23 | ug/L | 0.59942 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.2128 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.727 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-07-15 | ug/L | 0.70588 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.06 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 2.16 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-09-16 | ug/L | 0.60392 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.765 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.462 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-12-29 | ug/L | 0.31242 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.765 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.239 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-10 | ug/L | 0.23448 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.224 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.287 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-20 | ug/L | 0.6915 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.765 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.529 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100701002 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-05-10 | ug/L | 0.56 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.5 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.4 | MICROGRAMS PER LITER |  |  |  | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-06-17 | ug/L | 0.42105 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.47 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.04 | MICROGRAMS PER LITER |  |  |  | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2013-09-24 | ug/L | 0.83835 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.996 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 0.835 | MICROGRAMS PER LITER |  |  |  | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2014-02-08 | ug/L | 0.61245 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 4.98 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 3.05 | MICROGRAMS PER LITER |  |  |  | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-03-02 | ug/L |  | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-06-15 | ug/L |  | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-09-28 | ug/L |  | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-26 | ug/L |  | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Supelco LB69646 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-12-08 | ug/L | 0.66626 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.75346 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.502 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-02-01 | ug/L | 0.70442 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2209 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.86 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-04-19 | ug/L |  | 2011-03-31 06:00 | 20110910081 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2321 | HEXACHLOROCYCLOPENTADIENE | R | 0.5 |  | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y | Deleted Values | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-05-17 | ug/L | 0.50928 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.0828 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.57 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-08-11 | ug/L | 0.5026 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.768 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.386 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2011-10-05 | ug/L | 0.66797 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.768 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.513 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-01-10 | ug/L | 0.4362 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.072 | HEXACHLOROCYCLOPENTADIENE | E | 0.5 | 1.34 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-14 | ug/L | 0.67139 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.2288 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.825 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2012-03-20 | ug/L | 0.71484 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.768 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 0.549 | MICROGRAMS PER LITER |  |  |  | Supelco LB77169 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-03-13 | ug/L | 0.49633 | 2009-03-05 06:00 | 20090640120 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.7401 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.36 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-07-14 | ug/L | 0.40628 | 2009-06-25 07:00 | 20091770123 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 4.1105 | HEXACHLOROCYCLOPENTADIENE | . | 0.4 | 1.67 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-08-04 | ug/L | 0.27492 | 2009-05-14 08:00 | 20091340059 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.5498 | HEXACHLOROCYCLOPENTADIENE | E | 0.4 | 0.701 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2009-10-06 | ug/L | 0.53131 | 2009-08-13 06:30 | 20092260007 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.5786 | HEXACHLOROCYCLOPENTADIENE | . | 0.5 | 1.37 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2870 | [9 empty] | Y
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-01-21 | ug/L |  | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-05-13 | ug/L |  | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-07-15 | ug/L |  | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 1383 | 34386GCM57 | 2010-10-19 | ug/L |  | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 0.5 | 0.5 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3574 | [9 empty] | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-03 | ug/L | 0.77056 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.91 | MICROGRAMS PER LITER |  |  |  | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-04-30 | ug/L |  | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl |  | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 3.15 | MICROGRAMS PER LITER |  |  |  | Abs 032014 | [9 empty] | N |  | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-23 | ug/L |  | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-09-11 | ug/L |  | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-12-13 | ug/L |  | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-05-20 | ug/L | 0.70621 | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl | 3.186 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.25 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-15 | ug/L | 0.86943 | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 5.54 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-06-07 | ug/L | 0.77997 | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.97 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-11-22 | ug/L | 0.63402 | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl | 3.186 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.02 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-11-13 | ug/L | 0.80189 | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.55 | MICROGRAMS PER LITER |  |  |  | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-08-13 | ug/L | 0.75629 | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl | 6.36 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.81 | MICROGRAMS PER LITER |  |  |  | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-09-06 | ug/L | 1.0723 | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 3.41 | MICROGRAMS PER LITER |  |  |  | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-05-07 | ug/L |  | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-06-06 | ug/L | 0.67326 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 6.372 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 4.29 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-07-30 | ug/L | 0.72191 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 3.186 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.3 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-09-06 | ug/L | 0.91195 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 3.18 | HEXACHLOROCYCLOPENTADIENE | E | 1.6 | 2.9 | MICROGRAMS PER LITER |  |  |  | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-06-17 | ug/L |  | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | N | < Reporting Level | N
HEXACHLOROCYCLOPENTADIENE | 4437 | 34386GM016 | 2014-08-20 | ug/L |  | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl |  | HEXACHLOROCYCLOPENTADIENE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | N | < Reporting Level | N