## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
METHYL ACETATE | 4024 | 77032GCM60 | 2009-11-13 | ug/L | 0.9375 | 2009-11-05 09:30 | 20093100002 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 0.56 | METHYL_ACETATE | . | 0.46 | 0.525 | MICROGRAMS PER LITER |  |  |  | Abs 083109VOA | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-04-06 | ug/L | 0.94643 | 2010-03-25 06:30 | 20100880029 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 0.56 | METHYL_ACETATE | . | 0.46 | 0.53 | MICROGRAMS PER LITER |  |  |  | Abs 083109VOA | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-06-24 | ug/L | 0.80179 | 2010-06-10 07:00 | 20101650038 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 0.56 | METHYL_ACETATE | E | 0.46 | 0.449 | MICROGRAMS PER LITER |  |  |  | Abs 083109VOA | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-07-30 | ug/L | 0.86429 | 2010-07-21 07:00 | 20102030001 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 0.56 | METHYL_ACETATE | . | 0.46 | 0.484 | MICROGRAMS PER LITER |  |  |  | Abs 083109VOA | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-08-27 | ug/L | 1.0268 | 2010-08-26 07:00 | 20102390263 | Abs | 083109VOA | Abs 083109VOA: 40 µl | 1.12 | METHYL_ACETATE | . | 0.46 | 1.15 | MICROGRAMS PER LITER |  |  |  | Abs 083109VOA | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-06-30 | ug/L |  | 2012-06-21 06:30 | 20121730103 | Accu | 212051187 | Accu 212051187: 25 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Accu 212051187 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-07-11 | ug/L |  | 2012-07-03 07:30 | 20121870002 | Accu | 212051187 | Accu 212051187: 10 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Accu 212051187 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-10-22 | ug/L |  | 2012-10-10 07:30 | 20122850004 | Accu | 212051187 | Accu 212051187: 10 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Accu 212051187 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2013-01-03 | ug/L |  | 2012-12-20 07:00 | 20123560095 | Accu | 212051187 | Accu 212051187: 20 µl |  | METHYL_ACETATE | . | 0.46 | 0.148 | MICROGRAMS PER LITER |  |  |  | Accu 212051187 | [9 empty] | N |  | N
METHYL ACETATE | 4024 | 77032GCM60 | 2013-05-09 07:00 | ug/L |  | 2013-05-09 07:00 | 20131290121 | Accu | 213041015 | Accu 213041015: 20 µl |  | METHYL_ACETATE | I | 0.46 |  | MICROGRAMS PER LITER |  |  |  | Accu 213041015 | [9 empty] | N | Deleted Values | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-03-09 | ug/L |  | 2009-03-05 09:00 | 20090640128 | Accu | B8080231 | Accu B8080231: 20 µl |  | METHYL_ACETATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Accu B8080231 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-07-01 | ug/L |  | 2009-06-25 10:00 | 20091770125 | Accu | B8080231 | Accu B8080231: 40 µl |  | METHYL_ACETATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Accu B8080231 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-08-25 | ug/L |  | 2009-08-20 10:00 | 20092330008 | Accu | B8080231 | Accu B8080231: 20 µl |  | METHYL_ACETATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Accu B8080231 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2013-06-07 | ug/L |  | 2013-06-06 08:00 | 20131580022 | ChemService | 1448500 | ChemService 1448500: 10 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ChemService 1448500 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-09-08 | ug/L |  | 2012-08-23 07:00 | 20122370106 | ChemService | 426000 | ChemService 426000: 10 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ChemService 426000 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-11-27 | ug/L |  | 2012-11-15 08:00 | 20123200132 | ChemService | 426000 | ChemService 426000: 10 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ChemService 426000 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2013-02-19 | ug/L |  | 2013-02-07 07:00 | 20130390108 | ChemService | 426000 | ChemService 426000: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ChemService 426000 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2013-03-26 | ug/L |  | 2013-03-14 07:30 | 20130740021 | ChemService | 426000 | ChemService 426000: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ChemService 426000 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-03-15 | ug/L | 0.8741 | 2010-03-03 06:30 | 20100630039 | ChemService | 430-41B | ChemService 430-41B: 20 µl | 0.556 | METHYL_ACETATE | . | 0.46 | 0.486 | MICROGRAMS PER LITER |  |  |  | ChemService 430-41B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-04-22 | ug/L | 0.9964 | 2010-04-15 06:30 | 20101060008 | ChemService | 430-41B | ChemService 430-41B: 20 µl | 0.556 | METHYL_ACETATE | . | 0.46 | 0.554 | MICROGRAMS PER LITER |  |  |  | ChemService 430-41B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-07-03 | ug/L | 1.1061 | 2010-07-01 07:00 | 20101830135 | ChemService | 430-41B | ChemService 430-41B: 40 µl | 1.112 | METHYL_ACETATE | . | 0.46 | 1.23 | MICROGRAMS PER LITER |  |  |  | ChemService 430-41B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-08-18 | ug/L | 1.0342 | 2010-08-12 07:00 | 20102250094 | ChemService | 430-41B | ChemService 430-41B: 40 µl | 1.112 | METHYL_ACETATE | . | 0.46 | 1.15 | MICROGRAMS PER LITER |  |  |  | ChemService 430-41B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-10-16 | ug/L | 1.0017 | 2010-10-14 08:30 | 20102880006 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.601 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-12-22 | ug/L | 1 | 2010-12-16 08:00 | 20103510064 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.2 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-07-06 | ug/L | 0.94833 | 2011-06-29 08:00 | 20111810009 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.569 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-08-02 | ug/L | 1.0617 | 2011-07-28 08:00 | 20112100002 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.637 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-08-25 | ug/L | 0.95 | 2011-08-18 08:49 | 20112310025 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.14 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-11-01 | ug/L | 1.0517 | 2011-10-27 08:30 | 20113010042 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.631 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-12-21 | ug/L | 1.075 | 2011-12-13 08:00 | 20113490068 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.29 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-05-19 | ug/L | 1.0083 | 2012-05-17 07:00 | 20121390009 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.21 | MICROGRAMS PER LITER |  |  |  | ChemService 443-149B | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2013-06-26 | ug/L | 0.80333 | 2013-06-20 08:00 | 20131720018 | Crescent | 04CC143 | Crescent 04CC143: 20 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 0.964 | MICROGRAMS PER LITER |  |  |  | Crescent 04CC143 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-08-02 | ug/L | 0.836 | 2012-07-26 07:30 | 20122090061 | Crescent | 05BB024 | Crescent 05BB024: 10 µl | 0.5 | METHYL_ACETATE | . | 0.46 | 0.418 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB024 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-11-02 | ug/L | 0.964 | 2012-11-01 07:00 | 20123070014 | Crescent | 05BB024 | Crescent 05BB024: 10 µl | 0.5 | METHYL_ACETATE | . | 0.46 | 0.482 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB024 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2013-01-31 | ug/L | 0.803 | 2013-01-17 07:30 | 20130180024 | Crescent | 05BB024 | Crescent 05BB024: 20 µl | 1 | METHYL_ACETATE | . | 0.46 | 0.803 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB024 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2013-03-26 | ug/L | 0.824 | 2013-03-21 07:00 | 20130810109 | Crescent | 05BB024 | Crescent 05BB024: 20 µl | 1 | METHYL_ACETATE | . | 0.46 | 0.824 | MICROGRAMS PER LITER |  |  |  | Crescent 05BB024 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2009-02-21 | ug/L |  | 2009-02-12 09:30 | 20090430173 | Crescent | 08HH020 | Crescent 08HH020: 20 µl |  | METHYL_ACETATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH020 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-04-07 | ug/L |  | 2009-04-02 07:45 | 20090920064 | Crescent | 08HH020 | Crescent 08HH020: 20 µl |  | METHYL_ACETATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH020 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-07-25 | ug/L |  | 2009-07-23 10:30 | 20092040198 | Crescent | 08HH020 | Crescent 08HH020: 40 µl |  | METHYL_ACETATE | < | 0.4 | 0.4 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH020 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-11-26 | ug/L | 1.095 | 2010-11-18 07:30 | 20103230115 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.657 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-07-19 | ug/L | 1.0917 | 2011-07-14 09:00 | 20111950193 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.655 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-08-18 | ug/L | 1.075 | 2011-08-04 09:00 | 20112170150 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.29 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-09-12 | ug/L | 1.1583 | 2011-09-01 08:30 | 20112450029 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.39 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2011-11-30 | ug/L | 1.1167 | 2011-11-22 08:30 | 20113260107 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.67 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-01-25 | ug/L | 1.37 | 2012-01-12 07:30 | 20120120073 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.822 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-02-27 | ug/L | 1.2417 | 2012-02-16 08:30 | 20120470075 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 40 µl | 1.2 | METHYL_ACETATE | . | 0.46 | 1.49 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-04-05 | ug/L | 0.99 | 2012-03-29 08:30 | 20120930002 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.594 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-05-02 | ug/L | 0.83667 | 2012-04-26 07:30 | 20121180064 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.502 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS4024 #2 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-02-09 | ug/L |  | 2010-02-04 06:30 | 20100360003 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02VOA | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-04-22 | ug/L |  | 2010-04-08 07:00 | 20100990028 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02VOA | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-06-24 | ug/L |  | 2010-06-17 06:30 | 20101720157 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02VOA | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-08-17 | ug/L |  | 2010-08-05 07:00 | 20102180087 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02VOA | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-08-27 | ug/L |  | 2010-08-19 06:30 | 20102320013 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | ERA 0817-09-02VOA | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2013-07-23 | ug/L | 0.83 | 2013-07-18 07:30 | 20132000018 | NSI | 042313VOA | NSI 042313VOA: 10 µl | 0.6 | METHYL_ACETATE | . | 0.46 | 0.498 | MICROGRAMS PER LITER |  |  |  | NSI 042313VOA | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-09-21 | ug/L | 0.916 | 2012-09-19 07:00 | 20122640136 | NSI | 060412-01 | NSI 060412-01: 10 µl | 0.5 | METHYL_ACETATE | . | 0.46 | 0.458 | MICROGRAMS PER LITER |  |  |  | NSI 060412-01 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2012-12-03 | ug/L | 1.08 | 2012-11-29 07:00 | 20123350007 | NSI | 060412-01 | NSI 060412-01: 20 µl | 1 | METHYL_ACETATE | . | 0.46 | 1.08 | MICROGRAMS PER LITER |  |  |  | NSI 060412-01 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2013-02-28 | ug/L | 0.809 | 2013-02-19 07:00 | 20130510052 | NSI | 060412-01 | NSI 060412-01: 20 µl | 1 | METHYL_ACETATE | . | 0.46 | 0.809 | MICROGRAMS PER LITER |  |  |  | NSI 060412-01 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-11-09 | ug/L |  | 2010-11-04 08:00 | 20103080122 | NSI | 062210-01 | NSI 062210-01: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-12-10 | ug/L |  | 2010-11-30 08:00 | 20103350006 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-07-19 | ug/L |  | 2011-07-07 08:00 | 20111890010 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-08-02 | ug/L |  | 2011-07-21 09:00 | 20112030059 | NSI | 062210-01 | NSI 062210-01: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-08-26 | ug/L |  | 2011-08-25 11:05 | 20112380059 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-11-15 | ug/L |  | 2011-11-09 08:00 | 20113130088 | NSI | 062210-01 | NSI 062210-01: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-06-07 | ug/L |  | 2012-05-31 07:00 | 20121520252 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | NSI 062210-01 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-03-03 | ug/L | 1.1357 | 2009-02-26 09:30 | 20090580001 | Restek | A062148 | Restek A062148: 40 µl | 1.312 | METHYL_ACETATE | . | 0.4 | 1.49 | MICROGRAMS PER LITER |  |  |  | Restek A062148 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2009-06-06 | ug/L | 1.1128 | 2009-06-04 10:00 | 20091550188 | Restek | A062148 | Restek A062148: 20 µl | 0.656 | METHYL_ACETATE | . | 0.4 | 0.73 | MICROGRAMS PER LITER |  |  |  | Restek A062148 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2009-07-09 | ug/L | 1.1585 | 2009-07-07 10:30 | 20091880142 | Restek | A062148 | Restek A062148: 20 µl | 0.656 | METHYL_ACETATE | . | 0.4 | 0.76 | MICROGRAMS PER LITER |  |  |  | Restek A062148 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2009-09-10 | ug/L | 1.0595 | 2009-09-10 09:30 | 20092530077 | Restek | A062148 | Restek A062148: 40 µl | 1.312 | METHYL_ACETATE | . | 0.4 | 1.39 | MICROGRAMS PER LITER |  |  |  | Restek A062148 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2010-10-09 | ug/L |  | 2010-10-07 09:00 | 20102810026 | Restek | A075544 | Restek A075544: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-06-21 | ug/L |  | 2011-06-16 09:00 | 20111680039 | Restek | A075544 | Restek A075544: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-08-18 | ug/L |  | 2011-08-10 09:00 | 20112220125 | Restek | A075544 | Restek A075544: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-09-13 | ug/L |  | 2011-09-08 09:00 | 20112520204 | Restek | A075544 | Restek A075544: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2011-10-15 | ug/L |  | 2011-10-13 08:30 | 20112870071 | Restek | A075544 | Restek A075544: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-02-10 | ug/L |  | 2012-02-02 12:30 | 20120370006 | Restek | A075544 | Restek A075544: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2012-03-10 | ug/L |  | 2012-03-01 08:00 | 20120620011 | Restek | A075544 | Restek A075544: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Restek A075544 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2009-03-23 | ug/L | 1.4531 | 2009-03-19 09:30 | 20090780139 | Ultra | CE-2889 | Ultra CE-2889: 20 µl | 0.64 | METHYL_ACETATE | . | 0.4 | 0.93 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2889 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2009-08-07 | ug/L | 1.25 | 2009-08-06 10:00 | 20092180175 | Ultra | CE-2889 | Ultra CE-2889: 20 µl | 0.64 | METHYL_ACETATE | . | 0.4 | 0.8 | MICROGRAMS PER LITER |  |  |  | Ultra CE-2889 | [9 empty] | Y
METHYL ACETATE | 4024 | 77032GCM60 | 2009-10-26 | ug/L |  | 2009-10-15 08:30 | 20092890011 | Ultra | CF-3592 | Ultra CF-3592: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3592 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-03-26 | ug/L |  | 2010-03-19 06:30 | 20100810065 | Ultra | CF-3592 | Ultra CF-3592: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3592 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-05-06 | ug/L |  | 2010-04-22 07:00 | 20101130059 | Ultra | CF-3592 | Ultra CF-3592: 20 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3592 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4024 | 77032GCM60 | 2010-07-19 | ug/L |  | 2010-07-13 07:00 | 20101950134 | Ultra | CF-3592 | Ultra CF-3592: 40 µl |  | METHYL_ACETATE | < | 0.46 | 0.46 | MICROGRAMS PER LITER |  |  |  | Ultra CF-3592 | [9 empty] | N | < Reporting Level | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-07-03 | ug/L | 0.50179 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.56 | METHYL_ACETATE | . | 0.14 | 0.281 | MICROGRAMS PER LITER |  |  |  | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-04-30 | ug/L | 0.41429 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.28 | METHYL_ACETATE | . | 0.14 | 0.116 | MICROGRAMS PER LITER |  |  |  | Abs 032014 | [9 empty] | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-07-23 | ug/L | 0.38929 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.56 | METHYL_ACETATE | . | 0.14 | 0.218 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-09-11 | ug/L | 0.45357 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.28 | METHYL_ACETATE | E | 0.14 | 0.127 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-12-13 | ug/L | 0.37143 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.28 | METHYL_ACETATE | E | 0.14 | 0.104 | MICROGRAMS PER LITER |  |  |  | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-05-20 | ug/L |  | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl |  | METHYL_ACETATE | . | 0.14 | 0.046 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | N |  | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-07-11 | ug/L |  | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl |  | METHYL_ACETATE | . | 0.14 | 0.061 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | N |  | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-06-07 | ug/L |  | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl |  | METHYL_ACETATE | E | 0.14 | 0.098 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | N |  | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-11-22 | ug/L |  | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl |  | METHYL_ACETATE | E | 0.14 | 0.037 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | N |  | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-10-21 | ug/L |  | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl |  | METHYL_ACETATE | < | 0.14 | 0.14 | MICROGRAMS PER LITER |  |  |  | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | N | < Reporting Level | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-08-13 | ug/L |  | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl |  | METHYL_ACETATE | < | 0.14 | 0.14 | MICROGRAMS PER LITER |  |  |  | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | N | < Reporting Level | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-09-06 | ug/L |  | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl |  | METHYL_ACETATE | < | 0.14 | 0.14 | MICROGRAMS PER LITER |  |  |  | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | N | < Reporting Level | N
METHYL ACETATE | 4437 | 77032GM016 | 2014-05-07 | ug/L | 0.47143 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.56 | METHYL_ACETATE | . | 0.14 | 0.264 | MICROGRAMS PER LITER |  |  |  | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-06-06 | ug/L | 0.61607 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.56 | METHYL_ACETATE | E | 0.14 | 0.345 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-07-30 | ug/L | 0.45357 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.28 | METHYL_ACETATE | E | 0.14 | 0.127 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-09-06 | ug/L | 0.41786 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.28 | METHYL_ACETATE | E | 0.14 | 0.117 | MICROGRAMS PER LITER |  |  |  | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-06-17 | ug/L | 0.39643 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.28 | METHYL_ACETATE | E | 0.14 | 0.111 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y
METHYL ACETATE | 4437 | 77032GM016 | 2014-08-20 | ug/L | 0.4125 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.56 | METHYL_ACETATE | E | 0.14 | 0.231 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y