## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
TERBACIL | 2060 | 04032LCM29 | 2013-11-07 | ug/L | 1.0782 | 2013-09-25 06:30 | 20132690009 | Abs, Accu, NSI | 042513, 213041030, 050613 | Abs 042513: 20 µl & Accu 213041030: 20 µl & NSI 050613: 20 µl | 0.0844 | TERBACIL | . | 0.046 | 0.091 | MICROGRAMS PER LITER |  |  |  | Ab042513, Ac2131030, NS050613 | Ab | Ac | NS | 042513 | 2131030 | 050613 |  | 2131030 |  | Y
TERBACIL | 2060 | 04032LCM29 | 2013-07-19 | ug/L | 1.1517 | 2013-06-27 07:00 | 20131790008 | Abs, ChemService | 042513, 1448600 | Abs 042513: 50 µl & ChemService 1448600: 50 µl | 0.211 | TERBACIL | . | 0.046 | 0.243 | MICROGRAMS PER LITER |  |  |  | Ab042513, Ch1448600 | Ab | Ch | Ch | 042513 | 1448600 | 1448600 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2014-03-03 | ug/L | 0.82938 | 2014-02-06 07:00 | 20140370075 | Abs, ChemService, Supelco | 042513, 1448600, LC00372 | Abs 042513: 20 µl & ChemService 1448600: 20 µl & Supelco LC00372: 20 µl | 0.0844 | TERBACIL | E | 0.046 | 0.07 | MICROGRAMS PER LITER |  |  |  | Ab042513, Ch1448600, SuLC00372 | Ab | Ch | Su | 042513 | 1448600 | LC00372 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2013-11-07 | ug/L | 1.0782 | 2013-10-17 07:00 | 20132910007 | Abs, NSI | 042513, 042213HPLC | Abs 042513: 20 µl & NSI 042213HPLC: 20 µl | 0.0844 | TERBACIL | . | 0.046 | 0.091 | MICROGRAMS PER LITER |  |  |  | Ab042513, NS042HPLC | Ab | NS | NS | 042513 | 042HPLC | 042HPLC |  | 042HPLC | 042HPLC | Y
TERBACIL | 2060 | 04032LCM29 | 2013-06-26 | ug/L | 1.1374 | 2013-06-13 07:00 | 20131650074 | Abs, NSI, NSI | 042513, 042213HPLC, 050613 | Abs 042513: 50 µl & NSI 042213HPLC: 50 µl & NSI 050613: 50 µl | 0.211 | TERBACIL | . | 0.046 | 0.24 | MICROGRAMS PER LITER |  |  |  | Ab042513, NS042HPLC, NS050613 | Ab | NS | NS | 042513 | 042HPLC | 050613 |  | 042HPLC |  | Y
TERBACIL | 2060 | 04032LCM29 | 2014-01-16 | ug/L | 1.0427 | 2013-12-23 07:00 | 20133580037 | Abs, Supelco, NSI | 042513, LC01386, 050613 | Abs 042513: 20 µl & Supelco LC01386: 20 µl & NSI 050613: 20 µl | 0.0844 | TERBACIL | . | 0.046 | 0.088 | MICROGRAMS PER LITER |  |  |  | Ab042513, SuLC01386, NS050613 | Ab | Su | NS | 042513 | LC01386 | 050613 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2012-11-13 | ug/L |  | 2012-10-30 07:30 | 20123040156 | Abs, ChemService | 052312, 396400 | Abs 052312: 50 µl & ChemService 396400: 50 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-03-12 | ug/L |  | 2013-02-14 07:30 | 20130460008 | Abs, ChemService | 052312, 396400 | Abs 052312: 100 µl & ChemService 396400: 100 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Ab052312, Ch396400 | Ab | Ch | Ch | 052312 | 396400 | 396400 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-12-05 | ug/L | 1.0542 | 2012-11-08 07:00 | 20123140094 | Abs, NSI, NSI | 052312, 062612-01, 718L-01-01 | Abs 052312: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1992 | TERBACIL | . | 0.046 | 0.21 | MICROGRAMS PER LITER |  |  |  | Ab052312, NS0622-01, NS7181-01 | Ab | NS | NS | 052312 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y
TERBACIL | 2060 | 04032LCM29 | 2012-08-22 | ug/L |  | 2012-08-07 06:30 | 20122210007 | Abs, Restek | 052312, A088383 | Abs 052312: 20 µl & Restek A088383: 20 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Ab052312, ReA088383 | Ab | Re | Re | 052312 | A088383 | A088383 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-03-12 | ug/L | 1.1078 | 2013-03-05 06:30 | 20130650004 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.501 | TERBACIL | . | 0.046 | 0.555 | MICROGRAMS PER LITER |  |  |  | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2013-05-02 | ug/L | 1.2056 | 2013-04-18 06:30 | 20131090032 | Abs, Supelco | 052312, LB92941 | Abs 052312: 50 µl & Supelco LB92941: 50 µl | 0.501 | TERBACIL | . | 0.046 | 0.604 | MICROGRAMS PER LITER |  |  |  | Ab052312, SuLB92941 | Ab | Su | Su | 052312 | LB92941 | LB92941 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2009-04-30 | ug/L |  | 2009-04-16 09:00 | 20091060131 | Abs | 081508Polar | Abs 081508Polar: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 081508Polar | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-07-28 | ug/L |  | 2009-07-02 09:30 | 20091830170 | Abs | 081508Polar | Abs 081508Polar: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 081508Polar | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-09-01 | ug/L |  | 2009-08-20 08:30 | 20092330005 | Abs | 081508Polar | Abs 081508Polar: 50 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 081508Polar | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-02-02 | ug/L |  | 2011-01-13 07:00 | 20110130055 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-02-25 | ug/L |  | 2011-02-10 07:30 | 20110410063 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-04-12 | ug/L |  | 2011-03-17 08:30 | 20110770004 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-06-10 | ug/L |  | 2011-05-26 08:00 | 20111470064 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-07-19 | ug/L |  | 2011-06-29 07:30 | 20111810003 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-09-12 | ug/L |  | 2011-08-18 08:48 | 20112310031 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-11-28 | ug/L |  | 2011-10-27 08:00 | 20113010045 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-02-13 | ug/L |  | 2012-02-02 12:20 | 20120370003 | Abs | 090910HPLC | Abs 090910HPLC: 100 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-04-10 | ug/L |  | 2012-03-22 07:00 | 20120830076 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-05-03 | ug/L |  | 2012-04-19 06:30 | 20121110019 | Abs | 090910HPLC | Abs 090910HPLC: 40 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Abs 090910HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-09-27 | ug/L |  | 2013-08-08 07:30 | 20132210038 | Accu, NSI, Supelco | 213041030, 050613, LC01386 | Accu 213041030: 20 µl & NSI 050613: 20 µl & Supelco LC01386: 20 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Ac2131030, NS050613, SuLC01386 | Ac | NS | Su | 2131030 | 050613 | LC01386 | 2131030 |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-10-20 | ug/L | 1.0294 | 2009-10-08 09:00 | 20092820001 | Accu | 209081166 | Accu 209081166: 40 µl | 0.063143 | TERBACIL | . | 0.04 | 0.065 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-02-18 | ug/L | 0.81299 | 2010-02-04 07:00 | 20100360001 | Accu | 209081166 | Accu 209081166: 40 µl | 0.063962 | TERBACIL | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-06-10 | ug/L | 1.2284 | 2010-05-13 07:00 | 20101340151 | Accu | 209081166 | Accu 209081166: 80 µl | 0.12536 | TERBACIL | . | 0.04 | 0.154 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-07-27 | ug/L | 1.2005 | 2010-07-08 07:00 | 20101900003 | Accu | 209081166 | Accu 209081166: 40 µl | 0.064141 | TERBACIL | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  |  | Accu 209081166 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2013-11-26 | ug/L |  | 2013-11-07 07:00 | 20133110110 | ChemService, NSI, Supelco | 1448600, 050613, LC01386 | ChemService 1448600: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | Ch1448600, NS050613, SuLC01386 | Ch | NS | Su | 1448600 | 050613 | LC01386 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-03-03 | ug/L |  | 2009-02-05 10:00 | 20090370003 | ChemService | 406-113B | ChemService 406-113B: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-06-17 | ug/L |  | 2009-05-20 09:00 | 20091410005 | ChemService | 406-113B | ChemService 406-113B: 50 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-08-13 | ug/L |  | 2009-07-30 09:00 | 20092110206 | ChemService | 406-113B | ChemService 406-113B: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-09-23 | ug/L |  | 2009-09-10 08:30 | 20092530081 | ChemService | 406-113B | ChemService 406-113B: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 406-113B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-12-02 | ug/L | 1.0334 | 2009-11-19 08:30 | 20093240039 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.064834 | TERBACIL | . | 0.04 | 0.067 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-05-04 | ug/L | 1.2589 | 2010-04-22 07:30 | 20101130051 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.06593 | TERBACIL | . | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-06-30 | ug/L | 1.1581 | 2010-06-10 07:30 | 20101650030 | ChemService | 430-40B | ChemService 430-40B: 40 µl | 0.065627 | TERBACIL | . | 0.04 | 0.076 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-08-31 | ug/L | 1.1205 | 2010-08-05 07:30 | 20102180094 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.1303 | TERBACIL | . | 0.04 | 0.146 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2010-10-27 | ug/L | 0.99074 | 2010-09-09 05:42 | 20102530004 | ChemService | 430-40B | ChemService 430-40B: 80 µl | 0.13021 | TERBACIL | . | 0.04 | 0.129 | MICROGRAMS PER LITER |  |  |  | ChemService 430-40B | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-01-04 | ug/L |  | 2010-12-09 06:30 | 20103430088 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-03-07 | ug/L |  | 2011-02-17 06:30 | 20110490034 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-05-05 | ug/L |  | 2011-04-07 07:00 | 20110980031 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-06-28 | ug/L |  | 2011-06-07 07:30 | 20111590002 | ChemService | 448-45B | ChemService 448-45B: 100 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-08-11 | ug/L |  | 2011-07-21 08:00 | 20112030058 | ChemService | 448-45B | ChemService 448-45B: 100 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-10-04 | ug/L |  | 2011-09-08 08:00 | 20112520208 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | TERBACIL | < | 0.046 | 0.04 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-11-29 | ug/L |  | 2011-11-22 08:00 | 20113260108 | ChemService | 448-45B | ChemService 448-45B: 100 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-02-02 | ug/L |  | 2012-01-19 07:30 | 20120200070 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | TERBACIL | . | 0.046 | 0.003 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N |  | N
TERBACIL | 2060 | 04032LCM29 | 2012-03-26 | ug/L |  | 2012-03-08 07:00 | 20120690030 | ChemService | 448-45B | ChemService 448-45B: 40 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | ChemService 448-45B | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-11-19 | ug/L |  | 2009-10-22 09:00 | 20092960006 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-03-17 | ug/L |  | 2010-03-03 07:00 | 20100630038 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-06-15 | ug/L |  | 2010-05-27 07:00 | 20101480008 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-07-26 | ug/L |  | 2010-07-13 07:30 | 20101950136 | Crescent | 08LL073 | Crescent 08LL073: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-10-28 | ug/L |  | 2010-09-16 06:45 | 20102630167 | Crescent | 08LL073 | Crescent 08LL073: 80 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08LL073 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-11-29 | ug/L | 1.0942 | 2010-10-28 08:00 | 20103020153 | Crescent | 163162 | Crescent 163162: 40 µl | 0.047525 | TERBACIL | . | 0.04 | 0.052 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-02-24 | ug/L | 1.2961 | 2011-02-02 07:00 | 20110340008 | Crescent | 163162 | Crescent 163162: 40 µl | 0.047063 | TERBACIL | . | 0.04 | 0.061 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-04-13 | ug/L | 1.2681 | 2011-03-31 08:00 | 20110910082 | Crescent | 163162 | Crescent 163162: 100 µl | 0.11987 | TERBACIL | . | 0.04 | 0.152 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-05-20 | ug/L | 1.0745 | 2011-05-12 07:30 | 20111330149 | Crescent | 163162 | Crescent 163162: 40 µl | 0.047464 | TERBACIL | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-07-18 | ug/L | 1.1833 | 2011-07-14 08:30 | 20111960035 | Crescent | 163162 | Crescent 163162: 100 µl | 0.12 | TERBACIL | . | 0.04 | 0.142 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-07-19 | ug/L | 0.8125 | 2011-06-23 07:30 | 20111750004 | Crescent | 163162 | Crescent 163162: 40 µl | 0.048 | TERBACIL | . | 0.04 | 0.039 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-10-31 | ug/L | 1.2292 | 2011-10-13 08:00 | 20112870074 | Crescent | 163162 | Crescent 163162: 40 µl | 0.048 | TERBACIL | . | 0.046 | 0.059 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-01-05 | ug/L | 1.325 | 2011-12-15 08:00 | 20113500019 | Crescent | 163162 | Crescent 163162: 100 µl | 0.12 | TERBACIL | . | 0.046 | 0.159 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-03-06 | ug/L | 1.2083 | 2012-02-16 08:00 | 20120470081 | Crescent | 163162 | Crescent 163162: 40 µl | 0.048 | TERBACIL | . | 0.046 | 0.058 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-06-20 | ug/L | 1.125 | 2012-05-24 07:30 | 20121460002 | Crescent | 163162 | Crescent 163162: 40 µl | 0.048 | TERBACIL | . | 0.046 | 0.054 | MICROGRAMS PER LITER |  |  |  | Crescent 163162 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2009-05-28 | ug/L |  | 2009-05-06 09:00 | 20091320004 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ERA 0813-08-07Polar | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-08-06 | ug/L |  | 2009-07-23 09:00 | 20092040200 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ERA 0813-08-07Polar | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-09-22 | ug/L |  | 2009-09-03 08:00 | 20092460256 | ERA | 0813-08-07Polar | ERA 0813-08-07Polar: 50 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ERA 0813-08-07Polar | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-09-27 | ug/L |  | 2013-09-06 06:40 | 20132490343 | NSI, Accu, Supelco | 042213HPLC, 213041030, LC00372 | NSI 042213HPLC: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | NS042HPLC, Ac2131030, SuLC0037 | NS | Ac | Su | 042HPLC | 2131030 | LC00372 | 042HPLC | 2131030 |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-06-04 | ug/L |  | 2013-05-23 07:00 | 20131440103 | NSI, ChemService, NSI | 042213HPLC, 1448600, 050613 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | NS042HPLC, Ch1448600, NS050613 | NS | Ch | NS | 042HPLC | 1448600 | 050613 | 042HPLC |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2014-02-12 | ug/L |  | 2014-01-30 07:30 | 20140300032 | NSI, ChemService, Supelco | 042213HPLC, 1448600, LC00372 | NSI 042213HPLC: 20 µl & ChemService 1448600: 20 µl & Supelco LC00372: 20 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | NS042HPLC, Ch1448600, SuLC0037 | NS | Ch | Su | 042HPLC | 1448600 | LC00372 | 042HPLC |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-08-07 | ug/L | 1.1446 | 2012-07-19 07:00 | 20122020005 | NSI, NSI, ChemService | 062612-01, 718L-01-01, 396400 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & ChemService 396400: 20 µl | 0.1992 | TERBACIL | . | 0.046 | 0.228 | MICROGRAMS PER LITER |  |  |  | NS0622-01, NS7181-01, Ch396400 | NS | NS | Ch | 0622-01 | 7181-01 | 396400 | 0622-01 | 7181-01 |  | Y
TERBACIL | 2060 | 04032LCM29 | 2012-09-28 | ug/L | 1.1396 | 2012-09-13 06:30 | 20122570123 | NSI, NSI, Restek | 062612-01, 718L-01-01, A088383 | NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl & Restek A088383: 20 µl | 0.1992 | TERBACIL | . | 0.046 | 0.227 | MICROGRAMS PER LITER |  |  |  | NS0622-01, NS7181-01, ReA08838 | NS | NS | Re | 0622-01 | 7181-01 | A088383 | 0622-01 | 7181-01 |  | Y
TERBACIL | 2060 | 04032LCM29 | 2009-04-09 | ug/L | 0.70872 | 2009-03-26 08:30 | 20090860041 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.077604 | TERBACIL | . | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  |  | NSI 081208-01Polar | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2009-06-17 | ug/L | 0.94625 | 2009-06-04 09:00 | 20091550186 | NSI | 081208-01Polar | NSI 081208-01Polar: 30 µl | 0.07926 | TERBACIL | . | 0.04 | 0.075 | MICROGRAMS PER LITER |  |  |  | NSI 081208-01Polar | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2009-08-31 | ug/L | 0.94719 | 2009-08-06 08:30 | 20092180178 | NSI | 081208-01Polar | NSI 081208-01Polar: 50 µl | 0.12986 | TERBACIL | . | 0.04 | 0.123 | MICROGRAMS PER LITER |  |  |  | NSI 081208-01Polar | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2009-12-29 | ug/L |  | 2009-12-03 09:00 | 20093380008 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-05-20 | ug/L |  | 2010-04-29 06:30 | 20101190090 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-07-01 | ug/L |  | 2010-06-17 07:00 | 20101720152 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 80 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-09-01 | ug/L |  | 2010-08-12 07:30 | 20102250103 | NSI | 090309-01HPLC | NSI 090309-01HPLC: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 090309-01HPLC | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-05-03 | ug/L | 1.3166 | 2010-04-15 09:00 | 20101060003 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12608 | TERBACIL | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  |  | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y
TERBACIL | 2060 | 04032LCM29 | 2010-07-27 | ug/L | 1.2272 | 2010-07-01 11:00 | 20101830111 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12468 | TERBACIL | . | 0.04 | 0.153 | MICROGRAMS PER LITER |  |  |  | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y
TERBACIL | 2060 | 04032LCM29 | 2010-09-21 | ug/L | 1.4169 | 2010-09-02 10:00 | 20102500047 | NWQL, NWQL | LCL11SP079A, LCL11SP079B | NWQL LCL11SP079A: 50 µl & NWQL LCL11SP079B: 50 µl | 0.12563 | TERBACIL | . | 0.04 | 0.178 | MICROGRAMS PER LITER |  |  |  | NWLCL079A, NWLCL079B | NW | NW | NW | LCL079A | LCL079B | LCL079B | LCL079A | LCL079B | LCL079B | Y
TERBACIL | 2060 | 04032LCM29 | 2009-03-26 | ug/L | 1.0687 | 2009-03-05 08:00 | 20090640121 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.19743 | TERBACIL | . | 0.04 | 0.211 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
TERBACIL | 2060 | 04032LCM29 | 2009-05-06 | ug/L | 1.0003 | 2009-04-23 09:00 | 20091130129 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18795 | TERBACIL | . | 0.04 | 0.188 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
TERBACIL | 2060 | 04032LCM29 | 2009-06-17 | ug/L | 1.0213 | 2009-05-28 06:00 | 20091490005 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18507 | TERBACIL | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
TERBACIL | 2060 | 04032LCM29 | 2009-07-28 | ug/L | 1.2062 | 2009-07-07 09:00 | 20091880136 | NWQL, NWQL | LCL10SP087A, LCL10SP087B | NWQL LCL10SP087A: 75 µl & NWQL LCL10SP087B: 75 µl | 0.18737 | TERBACIL | . | 0.04 | 0.226 | MICROGRAMS PER LITER |  |  |  | NWLCL087A, NWLCL087B | NW | NW | NW | LCL087A | LCL087B | LCL087B | LCL087A | LCL087B | LCL087B | Y
TERBACIL | 2060 | 04032LCM29 | 2009-04-10 | ug/L |  | 2009-04-02 07:15 | 20090920066 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-07-11 | ug/L |  | 2009-06-18 09:30 | 20091700138 | Restek, Restek | A063332, A062398 | Restek A063332: 30 µl & Restek A062398: 30 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-09-01 | ug/L |  | 2009-08-13 09:00 | 20092260010 | Restek, Restek | A063332, A062398 | Restek A063332: 50 µl & Restek A062398: 50 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | ReA063332, ReA062398 | Re | Re | Re | A063332 | A062398 | A062398 |  |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-06-04 | ug/L | 0.99799 | 2013-05-02 06:30 | 20131230083 | Restek, NSI, NSI | A088383, 062612-01, 718L-01-01 | Restek A088383: 50 µl & NSI 062612-01: 50 µl & NSI 718L-01-01: 50 µl | 0.498 | TERBACIL | . | 0.046 | 0.497 | MICROGRAMS PER LITER |  |  |  | ReA088383, NS0622-01, NS7181-0 | Re | NS | NS | A088383 | 0622-01 | 7181-01 |  | 0622-01 | 7181-01 | Y
TERBACIL | 2060 | 04032LCM29 | 2009-11-20 | ug/L |  | 2009-11-05 09:00 | 20093100008 | Restek | A069890 | Restek A069890: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-04-14 | ug/L |  | 2010-04-01 07:00 | 20100920050 | Restek | A069890 | Restek A069890: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-06-16 | ug/L |  | 2010-06-03 07:00 | 20101550008 | Restek | A069890 | Restek A069890: 80 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-07-14 | ug/L |  | 2010-06-24 07:00 | 20101760005 | Restek | A069890 | Restek A069890: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Restek A069890 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2011-01-04 | ug/L | 1.1271 | 2010-12-16 07:00 | 20103510059 | Restek | A075600 | Restek A075600: 40 µl | 0.049687 | TERBACIL | . | 0.04 | 0.056 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-03-23 | ug/L | 1.3637 | 2011-03-03 07:30 | 20110620084 | Restek | A075600 | Restek A075600: 40 µl | 0.049865 | TERBACIL | . | 0.04 | 0.068 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-05-20 | ug/L | 1.1807 | 2011-04-28 07:30 | 20111190183 | Restek | A075600 | Restek A075600: 100 µl | 0.1262 | TERBACIL | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-06-10 | ug/L | 1.2053 | 2011-06-02 08:00 | 20111540006 | Restek | A075600 | Restek A075600: 40 µl | 0.049781 | TERBACIL | . | 0.04 | 0.06 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-09-02 | ug/L | 1.28 | 2011-08-04 08:30 | 20112170175 | Restek | A075600 | Restek A075600: 40 µl | 0.05 | TERBACIL | . | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-09-13 | ug/L | 1.448 | 2011-09-01 08:00 | 20112450024 | Restek | A075600 | Restek A075600: 100 µl | 0.125 | TERBACIL | . | 0.04 | 0.181 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2011-11-29 | ug/L | 1.48 | 2011-11-09 07:30 | 20113130087 | Restek | A075600 | Restek A075600: 40 µl | 0.05 | TERBACIL | . | 0.046 | 0.074 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-02-13 | ug/L | 1.04 | 2012-01-26 07:30 | 20120260062 | Restek | A075600 | Restek A075600: 100 µl | 0.125 | TERBACIL | . | 0.046 | 0.13 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-03-26 | ug/L | 1.2 | 2012-03-15 08:30 | 20120760112 | Restek | A075600 | Restek A075600: 40 µl | 0.05 | TERBACIL | . | 0.046 | 0.06 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-05-02 | ug/L | 1.2 | 2012-04-05 06:00 | 20120960123 | Restek | A075600 | Restek A075600: 40 µl | 0.05 | TERBACIL | . | 0.046 | 0.06 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-05-22 | ug/L | 1.136 | 2012-05-10 07:00 | 20121310031 | Restek | A075600 | Restek A075600: 100 µl | 0.125 | TERBACIL | . | 0.046 | 0.142 | MICROGRAMS PER LITER |  |  |  | Restek A075600 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2014-04-24 | ug/L | 0.7381 | 2014-04-03 07:30 | 20140930050 | Spex Organics, Accu | T1130601011, 213041030 | Spex Organics T1130601011: 20 µl & Accu 213041030: 20 µl | 0.084 | TERBACIL | E | 0.046 | 0.062 | MICROGRAMS PER LITER |  |  |  | SpT111011, Ac2131030 | Sp | Ac | Ac | T111011 | 2131030 | 2131030 | T111011 | 2131030 | 2131030 | Y
TERBACIL | 2060 | 04032LCM29 | 2013-09-27 | ug/L | 1.0619 | 2013-08-21 07:30 | 20132340087 | Spex Organics, Accu, Supelco | T1130601011, 213041030, LC00372 | Spex Organics T1130601011: 50 µl & Accu 213041030: 50 µl & Supelco LC00372: 50 µ | 0.21 | TERBACIL | . | 0.046 | 0.223 | MICROGRAMS PER LITER |  |  |  | SpT111011, Ac2131030, SuLC0037 | Sp | Ac | Su | T111011 | 2131030 | LC00372 | T111011 | 2131030 |  | Y
TERBACIL | 2060 | 04032LCM29 | 2014-01-16 | ug/L | 1 | 2013-12-12 07:00 | 20133470007 | Spex Organics, ChemService, | T1130601011, 1448600, 050613 | Spex Organics T1130601011: 20 µl & ChemService 1448600: 20 µl & NSI 050613: 20 µ | 0.084 | TERBACIL | . | 0.046 | 0.084 | MICROGRAMS PER LITER |  |  |  | SpT111011, Ch1448600, 050613 | Sp | Ch |  | T111011 | 1448600 | 050613 | T111011 |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2013-08-17 | ug/L | 1.0333 | 2013-08-01 06:30 | 20132140001 | Spex Organics, NSI, Supelco | T1130601011, 050613, LC01386 | Spex Organics T1130601011: 50 µl & NSI 050613: 50 µl & Supelco LC01386: 50 µl | 0.21 | TERBACIL | . | 0.046 | 0.217 | MICROGRAMS PER LITER |  |  |  | SpT111011, NS050613, SuLC01386 | Sp | NS | Su | T111011 | 050613 | LC01386 | T111011 |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2014-03-04 | ug/L | 0.7619 | 2014-02-20 07:00 | 20140510042 | Spex Organics, Supelco, Supe | T1130601011, LC01386, LC00372 | Spex Organics T1130601011: 20 µl & Supelco LC01386: 20 µl & Supelco LC00372: 20 | 0.084 | TERBACIL | E | 0.046 | 0.064 | MICROGRAMS PER LITER |  |  |  | SpT111011, SuLC01386, SuLC0037 | Sp | Su | Su | T111011 | LC01386 | LC00372 | T111011 |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2012-09-13 | ug/L | 1.1044 | 2012-08-16 07:00 | 20122300023 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 20 µl & NSI 062612-01: 20 µl & NSI 718L-01-01: 20 µl | 0.1992 | TERBACIL | . | 0.046 | 0.22 | MICROGRAMS PER LITER |  |  |  | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y
TERBACIL | 2060 | 04032LCM29 | 2013-01-18 | ug/L | 1.1546 | 2013-01-10 06:30 | 20130100067 | Spex Organics, NSI, NSI | T1120525009, 062612-01, 718L-01-01 | Spex Organics T1120525009: 100 µl & NSI 062612-01: 100 µl & NSI 718L-01-01: 100 | 0.996 | TERBACIL | E | 0.046 | 1.15 | MICROGRAMS PER LITER |  |  |  | SpT115009, NS0622-01, NS7181-0 | Sp | NS | NS | T115009 | 0622-01 | 7181-01 | T115009 | 0622-01 | 7181-01 | Y
TERBACIL | 2060 | 04032LCM29 | 2012-12-21 | ug/L |  | 2012-12-13 07:00 | 20123490150 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2013-04-10 | ug/L |  | 2013-03-27 06:30 | 20130870085 | Spex Organics, Restek | T1120525009, A088383 | Spex Organics T1120525009: 50 µl & Restek A088383: 50 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | SpT115009, ReA088383 | Sp | Re | Re | T115009 | A088383 | A088383 | T115009 |  |  | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-07-18 | ug/L | 1.1796 | 2012-06-28 07:30 | 20121810017 | Spex Organics, Supelco | T1120525009, LB92941 | Spex Organics T1120525009: 50 µl & Supelco LB92941: 50 µl | 0.501 | TERBACIL | . | 0.046 | 0.591 | MICROGRAMS PER LITER |  |  |  | SpT115009, SuLB92941 | Sp | Su | Su | T115009 | LB92941 | LB92941 | T115009 |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2009-12-30 | ug/L |  | 2009-12-17 07:30 | 20093520062 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-05-26 | ug/L |  | 2010-05-06 07:00 | 20101270033 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-06-11 | ug/L |  | 2010-05-20 07:00 | 20101410004 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-08-31 | ug/L |  | 2010-08-03 07:00 | 20102160005 | Spex Organics | T1090828008 | Spex Organics T1090828008: 80 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2010-09-02 | ug/L |  | 2010-08-19 07:00 | 20102320018 | Spex Organics | T1090828008 | Spex Organics T1090828008: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090828008 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2012-12-05 | ug/L | 1.1826 | 2012-11-20 07:00 | 20123260035 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.2004 | TERBACIL | . | 0.046 | 0.237 | MICROGRAMS PER LITER |  |  |  | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2013-02-13 | ug/L | 0.96806 | 2013-01-31 07:30 | 20130320044 | Supelco, ChemService | LB92941, 396400 | Supelco LB92941: 20 µl & ChemService 396400: 20 µl | 0.2004 | TERBACIL | . | 0.046 | 0.194 | MICROGRAMS PER LITER |  |  |  | SuLB92941, Ch396400 | Su | Ch | Ch | LB92941 | 396400 | 396400 |  |  |  | Y
TERBACIL | 2060 | 04032LCM29 | 2014-04-01 | ug/L |  | 2014-03-13 07:30 | 20140730140 | Supelco, Accu | LC01386, 213041030 | Supelco LC01386: 20 µl & Accu 213041030: 20 µl |  | TERBACIL | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  | SuLC01386, Ac2131030 | Su | Ac | Ac | LC01386 | 2131030 | 2131030 |  | 2131030 | 2131030 | N | < Reporting Level | N
TERBACIL | 2060 | 04032LCM29 | 2009-05-27 | ug/L | 1.1779 | 2009-04-30 08:00 | 20091210003 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.078954 | TERBACIL | . | 0.04 | 0.093 | MICROGRAMS PER LITER |  |  |  | Supelco LB60726 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2009-08-05 | ug/L | 0.9989 | 2009-07-16 09:00 | 20091970069 | Supelco | LB60726 | Supelco LB60726: 50 µl | 0.13315 | TERBACIL | . | 0.04 | 0.133 | MICROGRAMS PER LITER |  |  |  | Supelco LB60726 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2009-09-22 | ug/L | 1.2535 | 2009-08-27 09:00 | 20092400046 | Supelco | LB60726 | Supelco LB60726: 30 µl | 0.077386 | TERBACIL | . | 0.04 | 0.097 | MICROGRAMS PER LITER |  |  |  | Supelco LB60726 | [9 empty] | Y
TERBACIL | 2060 | 04032LCM29 | 2012-07-09 | ug/L | 0.92814 | 2012-06-14 07:30 | 20121670022 | Supelco | LB92941 | Supelco LB92941: 20 µl | 0.2004 | TERBACIL | . | 0.046 | 0.186 | MICROGRAMS PER LITER |  |  |  | Supelco LB92941 | [9 empty] | Y
TERBACIL | 2437 | 68698LCM60 | 2014-07-24 | ng/L | 1.0747 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 0.04206 | TERBACIL | . | 21 | 45.2 | NANOGRAMS PER LITER |  |  |  | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y
TERBACIL | 2437 | 68698LCM60 | 2014-07-02 | ng/L |  | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl |  | TERBACIL | < | 21 | 21 | NANOGRAMS PER LITER |  |  |  | ERA 0912-13-03 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-12-17 | ug/L | 0.61714 | 2013-11-21 06:30 | 20133260005 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.175 | TERBACIL | E | 0.024 | 0.108 | MICROGRAMS PER LITER |  |  |  | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2013-08-17 | ug/L | 0.98 | 2013-07-18 06:30 | 20132000019 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.07 | TERBACIL | E | 0.024 | 0.0686 | MICROGRAMS PER LITER |  |  |  | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y
TERBACIL | 2001 | 82665GCM35 | 2014-04-01 | ug/L | 1.0671 | 2014-03-19 07:00 | 20140780045 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.07 | TERBACIL | E | 0.024 | 0.0747 | MICROGRAMS PER LITER |  |  |  | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y
TERBACIL | 2001 | 82665GCM35 | 2012-08-05 | ug/L | 0.545 | 2012-07-26 06:30 | 20122090059 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.04 | TERBACIL | E | 0.024 | 0.0218 | MICROGRAMS PER LITER |  |  |  | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2013-04-03 | ug/L | 0.6825 | 2013-03-14 07:00 | 20130740018 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.08 | TERBACIL | E | 0.024 | 0.0546 | MICROGRAMS PER LITER |  |  |  | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y
TERBACIL | 2001 | 82665GCM35 | 2012-06-22 | ug/L |  | 2012-06-14 08:00 | 20121670021 | Abs | 052212 | Abs 052212: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 052212 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2010-01-05 | ug/L |  | 2009-11-12 06:30 | 20093170006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 090409Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2010-06-18 | ug/L |  | 2010-03-25 07:30 | 20100880032 | Abs | 090409Pest | Abs 090409Pest: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 090409Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2010-07-20 | ug/L |  | 2010-06-24 08:00 | 20101760008 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 090409Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2010-07-21 | ug/L |  | 2010-05-27 08:30 | 20101480006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 090409Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2010-08-13 | ug/L |  | 2010-08-05 08:30 | 20102180091 | Abs | 090409Pest | Abs 090409Pest: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 090409Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2010-09-22 | ug/L |  | 2010-09-09 05:55 | 20102530006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Abs 090409Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-07-24 | ug/L |  | 2012-07-12 07:00 | 20121950064 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-11-27 | ug/L |  | 2012-10-30 06:30 | 20123040155 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-01-29 | ug/L |  | 2013-01-17 06:30 | 20130180027 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-03-19 | ug/L |  | 2013-02-19 06:00 | 20130510050 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-05-14 | ug/L |  | 2013-04-18 06:00 | 20131090033 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-09-01 | ug/L | 1.045 | 2012-08-16 06:00 | 20122300022 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.04 | TERBACIL | E | 0.024 | 0.0418 | MICROGRAMS PER LITER |  |  |  | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y
TERBACIL | 2001 | 82665GCM35 | 2013-10-21 | ug/L |  | 2013-09-19 07:00 | 20132630002 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2014-01-23 | ug/L |  | 2014-01-16 07:30 | 20140160089 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-05-22 | ug/L |  | 2013-05-09 06:30 | 20131290120 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-12-30 | ug/L | 0.99637 | 2009-11-02 07:30 | 20093060176 | Accu | 209081259 | Accu 209081259: 25 µl | 0.051788 | TERBACIL | E | 0.024 | 0.0516 | MICROGRAMS PER LITER |  |  |  | Accu 209081259 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-06-24 | ug/L | 1.1163 | 2010-04-08 08:00 | 20100990016 | Accu | 209081259 | Accu 209081259: 25 µl | 0.052496 | TERBACIL | E | 0.024 | 0.0586 | MICROGRAMS PER LITER |  |  |  | Accu 209081259 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-07-06 | ug/L | 0.93666 | 2010-06-03 09:00 | 20101550007 | Accu | 209081259 | Accu 209081259: 80 µl | 0.17189 | TERBACIL | E | 0.024 | 0.161 | MICROGRAMS PER LITER |  |  |  | Accu 209081259 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-10-27 | ug/L | 1.1849 | 2010-08-12 09:00 | 20102250102 | Accu | 209081259 | Accu 209081259: 25 µl | 0.051482 | TERBACIL | E | 0.024 | 0.061 | MICROGRAMS PER LITER |  |  |  | Accu 209081259 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-12-01 | ug/L | 0.97379 | 2010-09-02 07:30 | 20102500052 | Accu | 209081259 | Accu 209081259: 80 µl | 0.17047 | TERBACIL | E | 0.024 | 0.166 | MICROGRAMS PER LITER |  |  |  | Accu 209081259 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2012-07-16 | ug/L |  | 2012-06-21 07:30 | 20121730122 | Accu | 212051201 | Accu 212051201: 40 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Accu 212051201 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-07-17 | ug/L | 0.63429 | 2013-06-27 06:00 | 20131790010 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.175 | TERBACIL | E | 0.024 | 0.111 | MICROGRAMS PER LITER |  |  |  | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y
TERBACIL | 2001 | 82665GCM35 | 2014-03-13 | ug/L | 0.77286 | 2014-02-13 07:00 | 20140440052 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 20 µl & ERA 0318-13-02.1: 20 µl | 0.07 | TERBACIL | E | 0.024 | 0.0541 | MICROGRAMS PER LITER |  |  |  | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y
TERBACIL | 2001 | 82665GCM35 | 2013-06-13 | ug/L | 0.65714 | 2013-05-30 07:00 | 20131510025 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.175 | TERBACIL | E | 0.024 | 0.115 | MICROGRAMS PER LITER |  |  |  | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y
TERBACIL | 2001 | 82665GCM35 | 2010-01-07 | ug/L | 1.2814 | 2009-11-25 09:00 | 20093340130 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.052441 | TERBACIL | E | 0.024 | 0.0672 | MICROGRAMS PER LITER |  |  |  | ChemService 430-43B | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-06-25 | ug/L | 1.0863 | 2010-05-13 08:00 | 20101340150 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.054035 | TERBACIL | E | 0.024 | 0.0587 | MICROGRAMS PER LITER |  |  |  | ChemService 430-43B | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-07-19 | ug/L | 1.0692 | 2010-07-13 09:00 | 20101950140 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.054431 | TERBACIL | E | 0.024 | 0.0582 | MICROGRAMS PER LITER |  |  |  | ChemService 430-43B | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-07-22 | ug/L | 0.94257 | 2010-07-01 08:00 | 20101830108 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.17187 | TERBACIL | E | 0.024 | 0.162 | MICROGRAMS PER LITER |  |  |  | ChemService 430-43B | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-11-17 | ug/L | 1.2309 | 2010-08-26 08:30 | 20102390090 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.053942 | TERBACIL | E | 0.024 | 0.0664 | MICROGRAMS PER LITER |  |  |  | ChemService 430-43B | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-12-02 | ug/L | 1.209 | 2010-09-16 07:30 | 20102630168 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.17949 | TERBACIL | E | 0.024 | 0.217 | MICROGRAMS PER LITER |  |  |  | ChemService 430-43B | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-03-20 | ug/L |  | 2009-01-29 08:30 | 20090300001 | Crescent | 08HH018 | Crescent 08HH018: 25 µl |  | TERBACIL | E | 0.04 | 0.113 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH018 | [9 empty] | N |  | N
TERBACIL | 2001 | 82665GCM35 | 2009-06-10 | ug/L |  | 2009-06-04 09:30 | 20091550185 | Crescent | 08HH018 | Crescent 08HH018: 25 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH018 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-08-28 | ug/L |  | 2009-08-13 09:30 | 20092260008 | Crescent | 08HH018 | Crescent 08HH018: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | Crescent 08HH018 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-11-26 | ug/L |  | 2013-11-07 06:30 | 20133110108 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2013-08-01 | ug/L |  | 2013-07-03 07:00 | 20131840104 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2014-03-14 | ug/L |  | 2014-03-06 07:00 | 20140650079 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 20 µl & NSI 042313Pest: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-12-06 | ug/L | 0.5375 | 2012-11-20 06:00 | 20123260036 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.04 | TERBACIL | E | 0.024 | 0.0215 | MICROGRAMS PER LITER |  |  |  | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2013-05-07 | ug/L | 0.4575 | 2013-03-27 06:00 | 20130870087 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.04 | TERBACIL | E | 0.024 | 0.0183 | MICROGRAMS PER LITER |  |  |  | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2012-09-22 | ug/L |  | 2012-08-30 06:00 | 20122430226 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-11-08 | ug/L | 0.815 | 2012-10-10 06:30 | 20122850007 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.08 | TERBACIL | E | 0.024 | 0.0652 | MICROGRAMS PER LITER |  |  |  | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y
TERBACIL | 2001 | 82665GCM35 | 2013-03-19 | ug/L | 0.57125 | 2013-02-14 07:00 | 20130460006 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.16 | TERBACIL | E | 0.024 | 0.0914 | MICROGRAMS PER LITER |  |  |  | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y
TERBACIL | 2001 | 82665GCM35 | 2011-03-01 | ug/L | 0.76899 | 2010-11-18 06:30 | 20103230113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.076984 | TERBACIL | E | 0.024 | 0.0592 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-03-15 | ug/L | 1.1127 | 2011-03-03 06:00 | 20110620083 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.30736 | TERBACIL | E | 0.024 | 0.342 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-05-18 | ug/L | 0.87653 | 2011-04-22 06:05 | 20111170111 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.19851 | TERBACIL | E | 0.024 | 0.174 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-06-28 | ug/L | 0.94355 | 2011-06-07 06:30 | 20111590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.19607 | TERBACIL | E | 0.024 | 0.185 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-08-19 | ug/L | 0.77763 | 2011-08-10 07:00 | 20112220128 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.3112 | TERBACIL | E | 0.024 | 0.242 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-09-24 | ug/L | 0.8509 | 2011-09-15 06:30 | 20112590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0778 | TERBACIL | E | 0.024 | 0.0662 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-11-19 | ug/L | 0.93573 | 2011-11-09 06:00 | 20113130086 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0778 | TERBACIL | E | 0.024 | 0.0728 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2012-02-16 | ug/L | 0.94859 | 2012-01-26 06:30 | 20120260061 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0778 | TERBACIL | E | 0.024 | 0.0738 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2012-05-05 | ug/L | 0.60668 | 2012-03-15 07:00 | 20120760113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.1945 | TERBACIL | E | 0.024 | 0.118 | MICROGRAMS PER LITER |  |  |  | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2014-02-14 | ug/L | 0.97286 | 2014-01-30 07:00 | 20140300034 | NSI, ChemService | 042313Pest, 1466000 | NSI 042313Pest: 20 µl & ChemService 1466000: 20 µl | 0.07 | TERBACIL | E | 0.024 | 0.0681 | MICROGRAMS PER LITER |  |  |  | NS042Pest, Ch1466000 | NS | Ch | Ch | 042Pest | 1466000 | 1466000 | 042Pest |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2012-09-25 | ug/L | 0.44375 | 2012-09-19 06:30 | 20122640132 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.08 | TERBACIL | E | 0.024 | 0.0355 | MICROGRAMS PER LITER |  |  |  | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2013-03-19 | ug/L | 0.315 | 2013-01-31 07:00 | 20130320042 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.16 | TERBACIL | E | 0.024 | 0.0504 | MICROGRAMS PER LITER |  |  |  | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y
TERBACIL | 2001 | 82665GCM35 | 2012-11-28 | ug/L | 0.78 | 2012-11-15 07:00 | 20123200134 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.04 | TERBACIL | E | 0.024 | 0.0312 | MICROGRAMS PER LITER |  |  |  | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y
TERBACIL | 2001 | 82665GCM35 | 2011-02-10 | ug/L |  | 2010-10-07 06:30 | 20102810020 | NSI | 070810-01 | NSI 070810-01: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-03-15 | ug/L |  | 2011-02-24 07:00 | 20110560002 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-05-17 | ug/L |  | 2011-04-14 06:30 | 20111050154 | NSI | 070810-01 | NSI 070810-01: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-06-10 | ug/L |  | 2011-05-26 06:30 | 20111470066 | NSI | 070810-01 | NSI 070810-01: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-08-02 | ug/L |  | 2011-07-14 07:00 | 20111960037 | NSI | 070810-01 | NSI 070810-01: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-09-10 | ug/L |  | 2011-08-25 08:00 | 20112380052 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-11-17 | ug/L |  | 2011-10-27 06:30 | 20113010046 | NSI | 070810-01 | NSI 070810-01: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-01-21 | ug/L |  | 2012-01-12 06:30 | 20120120072 | NSI | 070810-01 | NSI 070810-01: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-05-05 | ug/L |  | 2012-03-01 07:00 | 20120620017 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-06-22 | ug/L |  | 2012-05-31 06:30 | 20121520248 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | NSI 070810-01 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-03-23 | ug/L |  | 2009-02-19 07:30 | 20090500126 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 081108-01Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-05-01 | ug/L |  | 2009-04-23 07:00 | 20091130127 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 081108-01Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-07-30 | ug/L |  | 2009-07-02 10:00 | 20091830168 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 081108-01Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-09-25 | ug/L |  | 2009-09-03 09:30 | 20092460253 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl |  | TERBACIL | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  | NSI 081108-01Pest | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2009-04-08 | ug/L | 1.2933 | 2009-03-19 09:00 | 20090780145 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | TERBACIL | E | 0.04 | 0.066 | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP140D | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-04-14 | ug/L | 1.2615 | 2009-04-02 07:30 | 20090920068 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | TERBACIL | E | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP140D | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-06-24 | ug/L | 1.1034 | 2009-05-20 09:30 | 20091410004 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | TERBACIL | E | 0.04 | 0.055 | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP140D | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-08-21 | ug/L | 1.0565 | 2009-07-30 09:30 | 20092110205 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | TERBACIL | E | 0.04 | 0.053 | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP140D | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-06-24 | ug/L |  | 2010-04-22 10:00 | 20101130054 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | TERBACIL | U | 0.024 |  | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP142A | [9 empty] | Y | Deleted Values | N
TERBACIL | 2001 | 82665GCM35 | 2010-07-14 | ug/L | 1.3211 | 2010-06-10 10:00 | 20101650032 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | TERBACIL | E | 0.024 | 0.0539 | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP142A | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2010-07-28 | ug/L | 0.82959 | 2010-07-21 11:00 | 20102030007 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | TERBACIL | E | 0.024 | 0.0332 | MICROGRAMS PER LITER |  |  |  | NWQL PSP3SP142A | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-03-23 | ug/L | 1.2806 | 2009-03-05 08:30 | 20090640124 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.089024 | TERBACIL | E | 0.04 | 0.114 | MICROGRAMS PER LITER |  |  |  | Protocol D1080911003 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-06-04 | ug/L | 1.4552 | 2009-05-06 09:30 | 20091320003 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.13469 | TERBACIL | E | 0.04 | 0.196 | MICROGRAMS PER LITER |  |  |  | Protocol D1080911003 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-07-22 | ug/L | 1.0604 | 2009-07-16 09:30 | 20091970074 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.083934 | TERBACIL | E | 0.04 | 0.089 | MICROGRAMS PER LITER |  |  |  | Protocol D1080911003 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-10-27 | ug/L | 1.1965 | 2009-09-10 09:00 | 20092530082 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.083579 | TERBACIL | E | 0.024 | 0.1 | MICROGRAMS PER LITER |  |  |  | Protocol D1080911003 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2013-08-28 | ug/L | 0.6 | 2013-08-21 07:00 | 20132340085 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.35 | TERBACIL | E | 0.024 | 0.21 | MICROGRAMS PER LITER |  |  |  | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y
TERBACIL | 2001 | 82665GCM35 | 2014-04-09 | ug/L | 0.96 | 2014-04-03 07:00 | 20140930053 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 20 µl & Accu 213041078: 20 µl | 0.07 | TERBACIL | E | 0.024 | 0.0672 | MICROGRAMS PER LITER |  |  |  | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y
TERBACIL | 2001 | 82665GCM35 | 2013-12-18 | ug/L | 1.1 | 2013-12-05 07:00 | 20133400001 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.07 | TERBACIL | E | 0.024 | 0.077 | MICROGRAMS PER LITER |  |  |  | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y
TERBACIL | 2001 | 82665GCM35 | 2009-03-24 | ug/L | 1.0802 | 2009-02-12 09:00 | 20090430171 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.14349 | TERBACIL | E | 0.04 | 0.155 | MICROGRAMS PER LITER |  |  |  | Supelco LB60730 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-04-23 | ug/L | 1.0745 | 2009-04-09 11:00 | 20090990157 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.085622 | TERBACIL | E | 0.04 | 0.092 | MICROGRAMS PER LITER |  |  |  | Supelco LB60730 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-07-31 | ug/L | 0.77466 | 2009-06-18 10:00 | 20091700145 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.13425 | TERBACIL | E | 0.04 | 0.104 | MICROGRAMS PER LITER |  |  |  | Supelco LB60730 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2009-09-10 | ug/L | 0.91108 | 2009-08-27 09:30 | 20092400047 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.085613 | TERBACIL | E | 0.04 | 0.078 | MICROGRAMS PER LITER |  |  |  | Supelco LB60730 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-02-25 | ug/L |  | 2010-11-04 06:30 | 20103080118 | Supelco | LB77170 | Supelco LB77170: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-03-23 | ug/L |  | 2011-03-17 07:00 | 20110770003 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-06-23 | ug/L |  | 2011-05-05 06:30 | 20111260153 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-07-12 | ug/L |  | 2011-06-16 07:00 | 20111680034 | Supelco | LB77170 | Supelco LB77170: 80 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-08-18 | ug/L |  | 2011-08-04 07:00 | 20112170172 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-09-17 | ug/L |  | 2011-09-08 07:00 | 20112520210 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-12-10 | ug/L |  | 2011-11-22 06:30 | 20113260110 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-02-23 | ug/L |  | 2012-02-09 06:30 | 20120400056 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2012-05-08 | ug/L |  | 2012-03-29 07:00 | 20120930004 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | TERBACIL | < | 0.024 | 0.024 | MICROGRAMS PER LITER |  |  |  | Supelco LB77170 | [9 empty] | N | < Reporting Level | N
TERBACIL | 2001 | 82665GCM35 | 2011-02-15 | ug/L | 0.89898 | 2010-10-21 06:30 | 20102950073 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.19244 | TERBACIL | E | 0.024 | 0.173 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-04-14 | ug/L | 0.79251 | 2011-03-31 06:30 | 20110910085 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.19432 | TERBACIL | E | 0.024 | 0.154 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-05-25 | ug/L | 1.1143 | 2011-05-19 07:00 | 20111390175 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.19384 | TERBACIL | E | 0.024 | 0.216 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-08-03 | ug/L | 1.0962 | 2011-07-07 06:00 | 20111890008 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.078 | TERBACIL | E | 0.024 | 0.0855 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-08-11 | ug/L | 1.2026 | 2011-07-28 06:30 | 20112100005 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.078 | TERBACIL | E | 0.024 | 0.0938 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-09-10 | ug/L | 0.87949 | 2011-09-01 06:30 | 20112450023 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.078 | TERBACIL | E | 0.024 | 0.0686 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-11-03 | ug/L | 0.7641 | 2011-10-13 06:30 | 20112870075 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.195 | TERBACIL | E | 0.024 | 0.149 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2011-12-17 | ug/L | 0.85256 | 2011-12-13 06:30 | 20113480013 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 0.312 | TERBACIL | E | 0.024 | 0.266 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y
TERBACIL | 2001 | 82665GCM35 | 2012-05-04 | ug/L | 0.83846 | 2012-02-16 06:30 | 20120470079 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.078 | TERBACIL | E | 0.024 | 0.0654 | MICROGRAMS PER LITER |  |  |  | Ultra CG-2391 | [9 empty] | Y