## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
TRIMETHOPRIM | 2080 | 6202300021 | 2010-11-16 | ug/L | 0.95797 | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.078395 | TRIMETHOPRIM | . | 0.034 | 0.0751 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-03-15 | ug/L | 0.97872 | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl | 0.13078 | TRIMETHOPRIM | . | 0.034 | 0.128 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-05-11 | ug/L | 0.86851 | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.077834 | TRIMETHOPRIM | . | 0.034 | 0.0676 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-05-25 | ug/L | 0.89153 | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.079302 | TRIMETHOPRIM | . | 0.034 | 0.0707 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-07-13 | ug/L | 0.9673 | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.0795 | TRIMETHOPRIM | . | 0.034 | 0.0769 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-09-15 | ug/L | 0.8805 | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl | 0.1272 | TRIMETHOPRIM | . | 0.034 | 0.112 | MICROGRAMS PER LITER |  |  |  | Abs 090910Pharm | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-10-22 | ug/L | 0.88705 | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl | 0.04205 | TRIMETHOPRIM | . | 0.034 | 0.0373 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-01-07 | ug/L | 0.89006 | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl | 0.083702 | TRIMETHOPRIM | . | 0.034 | 0.0745 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-04-28 | ug/L | 0.8576 | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl | 0.042444 | TRIMETHOPRIM | E | 0.034 | 0.0364 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-06-14 | ug/L | 0.89576 | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl | 0.086519 | TRIMETHOPRIM | . | 0.034 | 0.0775 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-08-05 | ug/L | 0.95323 | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl | 0.041962 | TRIMETHOPRIM | . | 0.034 | 0.04 | MICROGRAMS PER LITER |  |  |  | Accu 209081146 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-11-15 | ug/L |  | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-01-04 | ug/L |  | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-04-26 | ug/L |  | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-06-15 | ug/L |  | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-08-26 | ug/L |  | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-09-16 | ug/L |  | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Accu 210061380 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-04-13 | ug/L |  | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-04-13 | ug/L |  | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-08-28 | ug/L |  | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Accu B8080253 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-05-28 | ug/L | 0.99112 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | TRIMETHOPRIM | . | 0.02 | 0.199 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y | False Negatives | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-06-25 | ug/L | 0.90279 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | TRIMETHOPRIM | . | 0.02 | 0.179 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-07-27 | ug/L | 0.91993 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | TRIMETHOPRIM | . | 0.02 | 0.181 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-08-19 | ug/L | 0.98498 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | TRIMETHOPRIM | . | 0.02 | 0.246 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP078A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-04-08 | ug/L | 0.99588 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | TRIMETHOPRIM | E | 0.034 | 0.127 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-06-02 | ug/L | 0.87525 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | TRIMETHOPRIM | . | 0.034 | 0.11 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-06-23 | ug/L | 1.1334 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | TRIMETHOPRIM | . | 0.034 | 0.145 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-07-21 | ug/L | 1.071 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | TRIMETHOPRIM | . | 0.034 | 0.133 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-09-10 | ug/L | 1.4176 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | TRIMETHOPRIM | . | 0.034 | 0.181 | MICROGRAMS PER LITER |  |  |  | NWQL LCL11SP081A | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-03-25 | ug/L | 0.84385 | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl | 0.060437 | TRIMETHOPRIM | . | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  |  | Protocol T1080910002 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-06-22 | ug/L | 0.85738 | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl | 0.089809 | TRIMETHOPRIM | . | 0.02 | 0.077 | MICROGRAMS PER LITER |  |  |  | Protocol T1080910002 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-02-23 | ug/L | 0.79506 | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl | 0.061631 | TRIMETHOPRIM | . | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-03-10 | ug/L | 0.80154 | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl | 0.06238 | TRIMETHOPRIM | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-07-01 | ug/L | 0.84774 | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl | 0.057801 | TRIMETHOPRIM | . | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-09-17 | ug/L | 0.79756 | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl | 0.092784 | TRIMETHOPRIM | . | 0.02 | 0.074 | MICROGRAMS PER LITER |  |  |  | Restek A063896 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-11-12 | ug/L |  | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-02-08 | ug/L |  | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-05-06 | ug/L |  | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-06-15 | ug/L |  | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-08-17 | ug/L |  | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-09-24 | ug/L |  | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Restek A069729 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-12-14 | ug/L |  | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-04-08 | ug/L |  | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-05-25 | ug/L |  | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-07-20 | ug/L |  | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-09-08 | ug/L |  | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-09-24 | ug/L |  | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1090819006 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2010-10-25 | ug/L | 1.0444 | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl | 0.079279 | TRIMETHOPRIM | . | 0.034 | 0.0828 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-12-14 | ug/L | 1.1237 | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl | 0.080184 | TRIMETHOPRIM | . | 0.034 | 0.0901 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-04-07 | ug/L | 1.0701 | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl | 0.12709 | TRIMETHOPRIM | . | 0.034 | 0.136 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-06-23 | ug/L | 1.1294 | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl | 0.12927 | TRIMETHOPRIM | . | 0.034 | 0.146 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-08-03 | ug/L | 1.0175 | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl | 0.08 | TRIMETHOPRIM | . | 0.034 | 0.0814 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2011-09-21 | ug/L | 1.1484 | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl | 0.128 | TRIMETHOPRIM | . | 0.034 | 0.147 | MICROGRAMS PER LITER |  |  |  | Spex Organics T1100628001 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2009-03-02 | ug/L |  | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-04-29 | ug/L |  | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-07-15 | ug/L |  | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-09-25 | ug/L |  | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl |  | TRIMETHOPRIM | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  | Supelco LB60728 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2009-11-30 | ug/L | 0.8086 | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.043161 | TRIMETHOPRIM | . | 0.034 | 0.0349 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-03-09 | ug/L | 0.85004 | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.042939 | TRIMETHOPRIM | . | 0.034 | 0.0365 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-05-13 | ug/L | 0.80469 | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.044116 | TRIMETHOPRIM | E | 0.034 | 0.0355 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-07-14 | ug/L | 0.91753 | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl | 0.086537 | TRIMETHOPRIM | . | 0.034 | 0.0794 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-08-17 | ug/L | 0.70413 | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl | 0.043174 | TRIMETHOPRIM | E | 0.034 | 0.0304 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-09-24 | ug/L | 0.74319 | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl | 0.088134 | TRIMETHOPRIM | . | 0.034 | 0.0655 | MICROGRAMS PER LITER |  |  |  | Supelco LB69638 | [9 empty] | Y
TRIMETHOPRIM | 2080 | 6202300021 | 2010-12-14 | ug/L |  | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-03-23 | ug/L |  | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-04-13 | ug/L |  | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-05-12 | ug/L |  | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-07-05 | ug/L |  | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2080 | 6202300021 | 2011-08-03 | ug/L |  | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | TRIMETHOPRIM | < | 0.034 | 0.034 | MICROGRAMS PER LITER |  |  |  | Supelco LB77166 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-05-17 | ng/L | 1.2085 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.03765 | TRIMETHOPRIM | . | 19 | 45.5 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-06-11 | ng/L | 1.2722 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 0.0753 | TRIMETHOPRIM | E | 19 | 95.8 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-06-28 | ng/L | 0.94555 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 0.03765 | TRIMETHOPRIM | . | 19 | 35.6 | NANOGRAMS PER LITER |  |  |  | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-09-12 | ng/L | 0.60027 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 0.03765 | TRIMETHOPRIM | . | 19 | 22.6 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-25 | ng/L | 0.96149 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 0.0753 | TRIMETHOPRIM | . | 19 | 72.4 | NANOGRAMS PER LITER |  |  |  | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-05-21 | ng/L |  | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-07-12 | ng/L |  | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl |  | TRIMETHOPRIM | < | 19 | 80 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-10 | ng/L |  | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl |  | TRIMETHOPRIM | < | 19 | 20 | NANOGRAMS PER LITER |  |  |  | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-11-04 | ng/L |  | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-06 | ng/L |  | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2015-01-16 | ng/L |  | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-05-30 | ng/L | 0.93493 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.03765 | TRIMETHOPRIM | . | 19 | 35.2 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-06-22 | ng/L | 0.89641 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 0.0753 | TRIMETHOPRIM | . | 19 | 67.5 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-07-13 | ng/L | 0.63745 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 0.03765 | TRIMETHOPRIM | . | 19 | 24 | NANOGRAMS PER LITER |  |  |  | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-10 | ng/L | 1.0787 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 0.0381 | TRIMETHOPRIM | . | 19 | 41.1 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-11-04 | ng/L | 1.0728 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 0.04064 | TRIMETHOPRIM | E | 19 | 43.6 | NANOGRAMS PER LITER |  |  |  | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-07-20 | ng/L | 0.45144 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 0.0381 | TRIMETHOPRIM | . | 19 | 17.2 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-08-21 | ng/L | 0.99606 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 0.0762 | TRIMETHOPRIM | . | 19 | 75.9 | NANOGRAMS PER LITER |  |  |  | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-11 | ng/L | 0.98294 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 0.0762 | TRIMETHOPRIM | . | 19 | 74.9 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-06 | ng/L | 0.98294 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 0.0762 | TRIMETHOPRIM | . | 19 | 74.9 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-07 | ng/L | 1.0482 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 0.04064 | TRIMETHOPRIM | . | 19 | 42.6 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-08-30 | ng/L | 1.1129 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 0.0381 | TRIMETHOPRIM | . | 19 | 42.4 | NANOGRAMS PER LITER |  |  |  | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-11 | ng/L |  | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl |  | TRIMETHOPRIM | < | 19 | 20 | NANOGRAMS PER LITER |  |  |  | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-07-13 | ng/L |  | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl |  | TRIMETHOPRIM | < | 19 | 80 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-08-16 | ng/L |  | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl |  | TRIMETHOPRIM | < | 19 | 80 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-08-28 | ng/L |  | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl |  | TRIMETHOPRIM | < | 19 | 80 | NANOGRAMS PER LITER |  |  |  | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | N | < Reporting Level | N
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-10-24 | ng/L | 0.99353 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 0.04016 | TRIMETHOPRIM | . | 19 | 39.9 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-12-07 | ng/L | 0.93625 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 0.0753 | TRIMETHOPRIM | . | 19 | 70.5 | NANOGRAMS PER LITER |  |  |  | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y
TRIMETHOPRIM | 2440 | 67456LCM56 | 2014-04-23 | ng/L |  | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-03-27 | ng/L |  | 2013-03-14 08:00 | 20130740022 | Abs, Abs | 053112, 060112 | Abs 053112: 20 µl & Abs 060112: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab053112, Ab060112 | Ab | Ab | Ab | 053112 | 060112 | 060112 |  |  |  | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-10-25 | ng/L |  | 2012-09-27 07:30 | 20122720046 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 20 µl & ERA 0507-12-06.2: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-01-24 | ng/L |  | 2012-12-20 07:30 | 20123560094 | Abs, ERA | 053112, 0507-12-06.2 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab053112, ER05006.2 | Ab | ER | ER | 053112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-08-15 | ng/L |  | 2012-08-09 07:30 | 20122230019 | Abs, ERA | 060112, 0507-12-06.1 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab060112, ER05006.1 | Ab | ER | ER | 060112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-10-25 | ng/L |  | 2012-10-18 08:30 | 20122930153 | Abs, Spex Organics | 060112, T1120802015 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Ab060112, SpT112015 | Ab | Sp | Sp | 060112 | T112015 | T112015 |  | T112015 | T112015 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-12-05 | ng/L | 0.64156 | 2013-11-26 08:00 | 20133310033 | Abs, Abs | 071112, 053112 | Abs 071112: 20 µl & Abs 053112: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 24.7 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab053112 | Ab | Ab | Ab | 071112 | 053112 | 053112 |  |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-04-10 | ng/L | 0.43117 | 2014-03-27 07:30 | 20140860101 | Abs, Abs | 071112, 060112 | Abs 071112: 20 µl & Abs 060112: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 16.6 | NANOGRAMS PER LITER |  |  |  | Ab071112, Ab060112 | Ab | Ab | Ab | 071112 | 060112 | 060112 |  |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-11-20 | ng/L | 0.6026 | 2012-11-08 08:00 | 20123140091 | Abs, ERA | 071112, 0507-12-06.1 | Abs 071112: 40 µl & ERA 0507-12-06.1: 40 µl | 0.077 | TRIMETHOPRIM | . | 19 | 46.4 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.1 | Ab | ER | ER | 071112 | 05006.1 | 05006.1 |  | 05006.1 | 05006.1 | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-12-14 | ng/L | 0.57662 | 2012-12-06 08:30 | 20123420072 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 10 µl & ERA 0507-12-06.2: 10 µl | 0.01925 | TRIMETHOPRIM | . | 19 | 11.1 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-04-26 | ng/L | 0.65195 | 2013-04-18 07:00 | 20131090003 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 25.1 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-01-16 | ng/L | 0.6026 | 2014-01-02 06:45 | 20140030015 | Abs, ERA | 071112, 0507-12-06.2 | Abs 071112: 20 µl & ERA 0507-12-06.2: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 23.2 | NANOGRAMS PER LITER |  |  |  | Ab071112, ER05006.2 | Ab | ER | ER | 071112 | 05006.2 | 05006.2 |  | 05006.2 | 05006.2 | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 11:00 | 20131210060 | Abs | 053112 | Abs 053112: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Abs 053112 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:30 | 20131210056 | Abs | 060112 | Abs 060112: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Abs 060112 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-03 | ng/L | 0.48831 | 2013-04-30 10:45 | 20131210057 | Abs | 071112 | Abs 071112: 40 µl | 0.077 | TRIMETHOPRIM | . | 19 | 37.6 | NANOGRAMS PER LITER |  |  |  | Abs 071112 | [9 empty] | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-08-18 | ng/L |  | 2013-08-08 08:30 | 20132210043 | ERA, Abs | 0507-12-06.1, 060112 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ER05006.1, Ab060112 | ER | Ab | Ab | 05006.1 | 060112 | 060112 | 05006.1 |  |  | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-03-27 | ng/L |  | 2013-02-28 08:00 | 20130590062 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-03-21 | ng/L |  | 2014-02-20 07:30 | 20140510045 | ERA, ERA | 0507-12-06.1, 0507-12-06.2 | ERA 0507-12-06.1: 20 µl & ERA 0507-12-06.2: 20 µl |  | TRIMETHOPRIM | < | 19 | 20 | NANOGRAMS PER LITER |  |  |  | ER05006.1, ER05006.2 | ER | ER | ER | 05006.1 | 05006.2 | 05006.2 | 05006.1 | 05006.2 | 05006.2 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-02-19 | ng/L |  | 2014-01-16 08:30 | 20140160086 | ERA, Abs | 0823-11-05.1, 053112 | ERA 0823-11-05.1: 15 µl & Abs 053112: 15 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab053112 | ER | Ab | Ab | 08205.1 | 053112 | 053112 | 08205.1 |  |  | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-01-24 | ng/L |  | 2013-01-10 08:30 | 20130100071 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-01-16 | ng/L |  | 2013-12-12 07:30 | 20133470009 | ERA, Abs | 0823-11-05.1, 060112 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab060112 | ER | Ab | Ab | 08205.1 | 060112 | 060112 | 08205.1 |  |  | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-11-20 | ng/L | 0.87965 | 2013-11-07 08:00 | 20133110111 | ERA, Abs | 0823-11-05.1, 071112 | ERA 0823-11-05.1: 15 µl & Abs 071112: 15 µl | 0.028875 | TRIMETHOPRIM | . | 19 | 25.4 | NANOGRAMS PER LITER |  |  |  | ER08205.1, Ab071112 | ER | Ab | Ab | 08205.1 | 071112 | 071112 | 08205.1 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-03-21 | ng/L |  | 2014-03-19 08:00 | 20140780046 | ERA, ERA | 0823-11-05.1, 0507-12-06.1 | ERA 0823-11-05.1: 20 µl & ERA 0507-12-06.1: 20 µl |  | TRIMETHOPRIM | < | 19 | 20 | NANOGRAMS PER LITER |  |  |  | ER08205.1, ER05006.1 | ER | ER | ER | 08205.1 | 05006.1 | 05006.1 | 08205.1 | 05006.1 | 05006.1 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-02-28 | ng/L | 0.75862 | 2013-01-31 08:00 | 20130320040 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 10 µl & Abs 053112: 10 µl | 0.01885 | TRIMETHOPRIM | . | 19 | 14.3 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-02-20 | ng/L | 1.0186 | 2014-02-06 08:00 | 20140370080 | ERA, Abs | 0823-11-05.2, 053112 | ERA 0823-11-05.2: 20 µl & Abs 053112: 20 µl | 0.0377 | TRIMETHOPRIM | . | 19 | 38.4 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab053112 | ER | Ab | Ab | 08205.2 | 053112 | 053112 | 08205.2 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-10-29 | ng/L | 0.56233 | 2013-09-19 07:30 | 20132630004 | ERA, Abs | 0823-11-05.2, 060112 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl | 0.028275 | TRIMETHOPRIM | . | 19 | 15.9 | NANOGRAMS PER LITER |  |  |  | ER08205.2, Ab060112 | ER | Ab | Ab | 08205.2 | 060112 | 060112 | 08205.2 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-08-02 | ng/L | 0.80637 | 2013-07-25 08:00 | 20132070033 | ERA, ERA | 0823-11-05.2, 0507-12-06.1 | ERA 0823-11-05.2: 15 µl & ERA 0507-12-06.1: 15 µl | 0.028275 | TRIMETHOPRIM | . | 19 | 22.8 | NANOGRAMS PER LITER |  |  |  | ER08205.2, ER05006.1 | ER | ER | ER | 08205.2 | 05006.1 | 05006.1 | 08205.2 | 05006.1 | 05006.1 | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:15 | 20131210054 | ERA | 0507-12-06.1 | ERA 0507-12-06.1: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.1 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 11:45 | 20131210055 | ERA | 0507-12-06.2 | ERA 0507-12-06.2: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0507-12-06.2 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-04-10 | ng/L |  | 2012-04-05 07:00 | 20120960120 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-05-01 | ng/L |  | 2012-04-26 06:00 | 20121180065 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-06-15 | ng/L |  | 2012-05-24 06:00 | 20121460094 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 10 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-07-26 | ng/L |  | 2012-06-28 08:00 | 20121810009 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-02 | ng/L |  | 2013-04-30 10:00 | 20131210053 | ERA | 0823-11-05.1 | ERA 0823-11-05.1: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.1 | [9 empty] | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-05-01 | ng/L | 0.92573 | 2012-04-12 06:00 | 20121040015 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl | 0.0377 | TRIMETHOPRIM | . | 19 | 34.9 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-06-15 | ng/L | 0.77454 | 2012-06-07 06:00 | 20121600153 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 10 µl | 0.01885 | TRIMETHOPRIM | E | 19 | 14.6 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-06-15 | ng/L | 0.69098 | 2012-05-17 06:00 | 20121390010 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl | 0.0754 | TRIMETHOPRIM | E | 19 | 52.1 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-07-26 | ng/L | 0.85676 | 2012-07-19 06:00 | 20122020003 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 20 µl | 0.0377 | TRIMETHOPRIM | . | 19 | 32.3 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-03 | ng/L | 0.54244 | 2013-04-30 10:30 | 20131210059 | ERA | 0823-11-05.2 | ERA 0823-11-05.2: 40 µl | 0.0754 | TRIMETHOPRIM | . | 19 | 40.9 | NANOGRAMS PER LITER |  |  |  | ERA 0823-11-05.2 | [9 empty] | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-09-27 | ng/L | 0.63117 | 2012-09-06 07:30 | 20122500212 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 24.3 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-02-28 | ng/L | 0.57143 | 2013-02-07 08:30 | 20130390106 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 22 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2014-02-20 | ng/L | 0.92468 | 2014-01-30 08:30 | 20140300038 | Spex Organics, Abs | T1120802015, 071112 | Spex Organics T1120802015: 20 µl & Abs 071112: 20 µl | 0.0385 | TRIMETHOPRIM | . | 19 | 35.6 | NANOGRAMS PER LITER |  |  |  | SpT112015, Ab071112 | Sp | Ab | Ab | T112015 | 071112 | 071112 | T112015 |  |  | Y
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2012-12-14 | ng/L |  | 2012-11-29 07:30 | 20123350006 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 40 µl & ERA 0507-12-06.1: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-08-29 | ng/L |  | 2013-08-21 08:30 | 20132340083 | Spex Organics, ERA | T1120802015, 0507-12-06.1 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.1: 20 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | SpT112015, ER05006.1 | Sp | ER | ER | T112015 | 05006.1 | 05006.1 | T112015 | 05006.1 | 05006.1 | N | < Reporting Level | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-07-11 07:30 | ng/L |  | 2013-07-11 07:30 | 20131920151 | Spex Organics, ERA | T1120802015, 0823-11-05.2 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl | 0.0377 | TRIMETHOPRIM | R | 19 |  | NANOGRAMS PER LITER |  |  |  | SpT112015, ER08205.2 | Sp | ER | ER | T112015 | 08205.2 | 08205.2 | T112015 | 08205.2 | 08205.2 | Y | Deleted Values | N
TRIMETHOPRIM | LC9017 | 67456LCM56 | 2013-05-03 | ng/L |  | 2013-04-30 10:15 | 20131210058 | Spex Organics | T1120802015 | Spex Organics T1120802015: 40 µl |  | TRIMETHOPRIM | < | 19 | 19 | NANOGRAMS PER LITER |  |  |  | Spex Organics T1120802015 | [9 empty] | N | < Reporting Level | N