## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
BENFLURALIN | 2001 | 82673GCM35 | 2010-01-05 | ug/L |  | 2009-11-12 06:30 | 20093170006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 66 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-06-18 | ug/L |  | 2010-03-25 07:30 | 20100880032 | Abs | 090409Pest | Abs 090409Pest: 80 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-20 | ug/L |  | 2010-06-24 08:00 | 20101760008 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-21 | ug/L |  | 2010-05-27 08:30 | 20101480006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-08-13 | ug/L |  | 2010-08-05 08:30 | 20102180091 | Abs | 090409Pest | Abs 090409Pest: 80 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-09-22 | ug/L |  | 2010-09-09 05:55 | 20102530006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-07-16 | ug/L |  | 2012-06-21 07:30 | 20121730122 | Accu | 212051201 | Accu 212051201: 40 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-03-23 | ug/L |  | 2009-03-05 08:30 | 20090640124 | Protocol | D1080911003 | Protocol D1080911003: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-06-04 | ug/L |  | 2009-05-06 09:30 | 20091320003 | Protocol | D1080911003 | Protocol D1080911003: 40 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-07-22 | ug/L |  | 2009-07-16 09:30 | 20091970074 | Protocol | D1080911003 | Protocol D1080911003: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-10-27 | ug/L |  | 2009-09-10 09:00 | 20092530082 | Protocol | D1080911003 | Protocol D1080911003: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-03-24 | ug/L |  | 2009-02-12 09:00 | 20090430171 | Supelco | LB60730 | Supelco LB60730: 40 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-04-23 | ug/L |  | 2009-04-09 11:00 | 20090990157 | Supelco | LB60730 | Supelco LB60730: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-07-31 | ug/L |  | 2009-06-18 10:00 | 20091700145 | Supelco | LB60730 | Supelco LB60730: 40 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-09-10 | ug/L |  | 2009-08-27 09:30 | 20092400047 | Supelco | LB60730 | Supelco LB60730: 25 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-02-25 | ug/L |  | 2010-11-04 06:30 | 20103080118 | Supelco | LB77170 | Supelco LB77170: 80 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-03-23 | ug/L |  | 2011-03-17 07:00 | 20110770003 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-06-23 | ug/L |  | 2011-05-05 06:30 | 20111260153 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-07-12 | ug/L |  | 2011-06-16 07:00 | 20111680034 | Supelco | LB77170 | Supelco LB77170: 80 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-08-18 | ug/L |  | 2011-08-04 07:00 | 20112170172 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-09-17 | ug/L |  | 2011-09-08 07:00 | 20112520210 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-12-10 | ug/L |  | 2011-11-22 06:30 | 20113260110 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-02-23 | ug/L |  | 2012-02-09 06:30 | 20120400056 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-05-08 | ug/L |  | 2012-03-29 07:00 | 20120930004 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-08-28 | ug/L |  | 2013-08-21 07:00 | 20132340085 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2014-04-09 | ug/L |  | 2014-04-03 07:00 | 20140930053 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 20 µl & Accu 213041078: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-12-06 | ug/L |  | 2012-11-20 06:00 | 20123260036 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-05-07 | ug/L |  | 2013-03-27 06:00 | 20130870087 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-07-17 | ug/L |  | 2013-06-27 06:00 | 20131790010 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2014-03-13 | ug/L |  | 2014-02-13 07:00 | 20140440052 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 20 µl & ERA 0318-13-02.1: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-12-18 | ug/L |  | 2013-12-05 07:00 | 20133400001 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-09-01 | ug/L |  | 2012-08-16 06:00 | 20122300022 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-11-08 | ug/L |  | 2012-10-10 06:30 | 20122850007 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-03-19 | ug/L |  | 2013-02-14 07:00 | 20130460006 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl |  | BENFLURALIN | < | 0.014 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-01-07 | ug/L | 0.68838 | 2009-11-25 09:00 | 20093340130 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.02426 | BENFLURALIN | . | 0.014 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68838 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-10-27 | ug/L | 0.9552 | 2010-08-12 09:00 | 20102250102 | Accu | 209081259 | Accu 209081259: 25 µl | 0.024916 | BENFLURALIN | . | 0.014 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9552 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-11-17 | ug/L | 0.97777 | 2010-08-26 08:30 | 20102390090 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.024955 | BENFLURALIN | . | 0.014 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97778 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-06-25 | ug/L | 0.89209 | 2010-05-13 08:00 | 20101340150 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.024997 | BENFLURALIN | . | 0.014 | 0.0223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89209 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-12-30 | ug/L | 0.71815 | 2009-11-02 07:30 | 20093060176 | Accu | 209081259 | Accu 209081259: 25 µl | 0.025064 | BENFLURALIN | . | 0.014 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71815 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-19 | ug/L | 0.969 | 2010-07-13 09:00 | 20101950140 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.025181 | BENFLURALIN | . | 0.014 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.969 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-06-24 | ug/L | 0.86198 | 2010-04-08 08:00 | 20100990016 | Accu | 209081259 | Accu 209081259: 25 µl | 0.025407 | BENFLURALIN | . | 0.014 | 0.0219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86198 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-10-21 | ug/L | 0.78667 | 2013-09-19 07:00 | 20132630002 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2014-01-23 | ug/L | 1.03 | 2014-01-16 07:30 | 20140160089 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-11-26 | ug/L | 0.96 | 2013-11-07 06:30 | 20133110108 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2014-02-14 | ug/L | 1.2133 | 2014-01-30 07:00 | 20140300034 | NSI, ChemService | 042313Pest, 1466000 | NSI 042313Pest: 20 µl & ChemService 1466000: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2133 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2014-03-14 | ug/L | 1.1967 | 2014-03-06 07:00 | 20140650079 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 20 µl & NSI 042313Pest: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1967 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-08-17 | ug/L | 0.98333 | 2013-07-18 06:30 | 20132000019 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2014-04-01 | ug/L | 1.1767 | 2014-03-19 07:00 | 20140780045 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.03 | BENFLURALIN | . | 0.014 | 0.0353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1767 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-06-24 | ug/L | 1.1329 | 2010-04-22 10:00 | 20101130054 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | BENFLURALIN | . | 0.014 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1329 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-28 | ug/L | 0.73963 | 2010-07-21 11:00 | 20102030007 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | BENFLURALIN | . | 0.014 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73963 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-14 | ug/L | 1.0074 | 2010-06-10 10:00 | 20101650032 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | BENFLURALIN | . | 0.014 | 0.0411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0074 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-06-24 | ug/L | 0.68211 | 2009-05-20 09:30 | 20091410004 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | BENFLURALIN | . | 0.014 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68211 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-04-14 | ug/L | 1.0613 | 2009-04-02 07:30 | 20090920068 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | BENFLURALIN | . | 0.014 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0613 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-08-21 | ug/L | 0.77743 | 2009-07-30 09:30 | 20092110205 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | BENFLURALIN | . | 0.014 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77743 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-04-08 | ug/L | 0.84263 | 2009-03-19 09:00 | 20090780145 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | BENFLURALIN | . | 0.014 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84263 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-03-01 | ug/L | 0.61469 | 2010-11-18 06:30 | 20103230113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.05759 | BENFLURALIN | . | 0.014 | 0.0354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61469 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-08-03 | ug/L | 0.78793 | 2011-07-07 06:00 | 20111890008 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.058 | BENFLURALIN | . | 0.014 | 0.0457 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78793 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-08-11 | ug/L | 0.73966 | 2011-07-28 06:30 | 20112100005 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.058 | BENFLURALIN | E | 0.014 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73966 | Y | Estimated Values | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-09-10 | ug/L | 0.67241 | 2011-09-01 06:30 | 20112450023 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.058 | BENFLURALIN | . | 0.014 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67241 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-05-04 | ug/L | 0.76552 | 2012-02-16 06:30 | 20120470079 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.058 | BENFLURALIN | . | 0.014 | 0.0444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76552 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-09-24 | ug/L | 0.74227 | 2011-09-15 06:30 | 20112590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0582 | BENFLURALIN | . | 0.014 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74227 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-11-19 | ug/L | 0.73711 | 2011-11-09 06:00 | 20113130086 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0582 | BENFLURALIN | . | 0.014 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73711 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-02-16 | ug/L | 0.90722 | 2012-01-26 06:30 | 20120260061 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0582 | BENFLURALIN | . | 0.014 | 0.0528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90722 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-03-19 | ug/L | 0.80714 | 2013-02-19 06:00 | 20130510050 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.07 | BENFLURALIN | . | 0.014 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80714 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-09-22 | ug/L | 0.72 | 2012-08-30 06:00 | 20122430226 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.07 | BENFLURALIN | . | 0.014 | 0.0504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-11-28 | ug/L | 0.74286 | 2012-11-15 07:00 | 20123200134 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.07 | BENFLURALIN | . | 0.014 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74286 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-06-22 | ug/L | 0.74574 | 2012-06-14 08:00 | 20121670021 | Abs | 052212 | Abs 052212: 20 µl | 0.0704 | BENFLURALIN | . | 0.014 | 0.0525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74574 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-07-24 | ug/L | 0.6875 | 2012-07-12 07:00 | 20121950064 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.0704 | BENFLURALIN | . | 0.014 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-08-05 | ug/L | 0.77557 | 2012-07-26 06:30 | 20122090059 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.0704 | BENFLURALIN | . | 0.014 | 0.0546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77557 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-12-17 | ug/L | 0.836 | 2013-11-21 06:30 | 20133260005 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.075 | BENFLURALIN | . | 0.014 | 0.0627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-05-22 | ug/L | 0.82933 | 2013-05-09 06:30 | 20131290120 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.075 | BENFLURALIN | . | 0.014 | 0.0622 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82933 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-06-13 | ug/L | 0.856 | 2013-05-30 07:00 | 20131510025 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.075 | BENFLURALIN | . | 0.014 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-22 | ug/L | 0.63137 | 2010-07-01 08:00 | 20101830108 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.07951 | BENFLURALIN | . | 0.014 | 0.0502 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63137 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-12-01 | ug/L | 0.67998 | 2010-09-02 07:30 | 20102500052 | Accu | 209081259 | Accu 209081259: 80 µl | 0.082503 | BENFLURALIN | . | 0.014 | 0.0561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67998 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-12-02 | ug/L | 0.71896 | 2010-09-16 07:30 | 20102630168 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.083036 | BENFLURALIN | . | 0.014 | 0.0597 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71896 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2010-07-06 | ug/L | 0.65273 | 2010-06-03 09:00 | 20101550007 | Accu | 209081259 | Accu 209081259: 80 µl | 0.083189 | BENFLURALIN | . | 0.014 | 0.0543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65273 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-09-25 | ug/L | 0.68429 | 2012-09-19 06:30 | 20122640132 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.14 | BENFLURALIN | . | 0.014 | 0.0958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68429 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-05-14 | ug/L | 0.57 | 2013-04-18 06:00 | 20131090033 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.14 | BENFLURALIN | . | 0.014 | 0.0798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-11-27 | ug/L | 0.64489 | 2012-10-30 06:30 | 20123040155 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.1408 | BENFLURALIN | . | 0.014 | 0.0908 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64489 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-04-03 | ug/L | 0.71733 | 2013-03-14 07:00 | 20130740018 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.1408 | BENFLURALIN | . | 0.014 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71733 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-02-15 | ug/L | 0.79666 | 2010-10-21 06:30 | 20102950073 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.1431 | BENFLURALIN | . | 0.014 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79666 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-05-25 | ug/L | 0.75623 | 2011-05-19 07:00 | 20111390175 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.14414 | BENFLURALIN | . | 0.014 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75623 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-04-14 | ug/L | 0.62494 | 2011-03-31 06:30 | 20110910085 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.14449 | BENFLURALIN | . | 0.014 | 0.0903 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62494 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-11-03 | ug/L | 0.67655 | 2011-10-13 06:30 | 20112870075 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.145 | BENFLURALIN | . | 0.014 | 0.0981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67655 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2012-05-05 | ug/L | 0.54845 | 2012-03-15 07:00 | 20120760113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.1455 | BENFLURALIN | . | 0.014 | 0.0798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54845 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-06-28 | ug/L | 0.58497 | 2011-06-07 06:30 | 20111590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.14667 | BENFLURALIN | . | 0.014 | 0.0858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58497 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-05-18 | ug/L | 0.72727 | 2011-04-22 06:05 | 20111170111 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.1485 | BENFLURALIN | . | 0.014 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72727 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-08-01 | ug/L | 0.69333 | 2013-07-03 07:00 | 20131840104 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.15 | BENFLURALIN | . | 0.014 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69333 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-07-30 | ug/L | 0.60446 | 2009-07-02 10:00 | 20091830168 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.16544 | BENFLURALIN | . | 0.014 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60446 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-09-25 | ug/L | 0.46337 | 2009-09-03 09:30 | 20092460253 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.16617 | BENFLURALIN | . | 0.014 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46337 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-06-10 | ug/L | 0.62517 | 2009-06-04 09:30 | 20091550185 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.16795 | BENFLURALIN | . | 0.014 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62517 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-03-20 | ug/L | 1.0648 | 2009-01-29 08:30 | 20090300001 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.16904 | BENFLURALIN | . | 0.014 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0648 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-03-23 | ug/L | 0.90443 | 2009-02-19 07:30 | 20090500126 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.18465 | BENFLURALIN | . | 0.014 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90443 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-03-15 | ug/L | 0.76546 | 2011-03-03 06:00 | 20110620083 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.22993 | BENFLURALIN | . | 0.014 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76546 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-12-17 | ug/L | 0.73276 | 2011-12-13 06:30 | 20113480013 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 0.232 | BENFLURALIN | . | 0.014 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73276 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2011-08-19 | ug/L | 0.63574 | 2011-08-10 07:00 | 20112220128 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.2328 | BENFLURALIN | . | 0.014 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63574 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-08-28 | ug/L | 0.66004 | 2009-08-13 09:30 | 20092260008 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.26514 | BENFLURALIN | . | 0.014 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66004 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2009-05-01 | ug/L | 0.62484 | 2009-04-23 07:00 | 20091130127 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.26567 | BENFLURALIN | . | 0.014 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62484 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-03-19 | ug/L | 0.54643 | 2013-01-31 07:00 | 20130320042 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.28 | BENFLURALIN | . | 0.014 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54643 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096
BENFLURALIN | 2001 | 82673GCM35 | 2013-01-29 | ug/L | 0.60014 | 2013-01-17 06:30 | 20130180027 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.2816 | BENFLURALIN | . | 0.014 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60014 | Y | Recoverable Result | Y |  | 66 | 0.78114 | 0.16709 | 0.74096 | 0.18956 | 0.14052 | 0.74096