## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
PROPARGITE | 2001 | 82685GCM35 | 2012-06-22 | ug/L |  | 2012-06-14 08:00 | 20121670021 | Abs | 052212 | Abs 052212: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 64 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-01-05 | ug/L |  | 2009-11-12 06:30 | 20093170006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-06-18 | ug/L |  | 2010-03-25 07:30 | 20100880032 | Abs | 090409Pest | Abs 090409Pest: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-20 | ug/L |  | 2010-06-24 08:00 | 20101760008 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-21 | ug/L |  | 2010-05-27 08:30 | 20101480006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-08-13 | ug/L |  | 2010-08-05 08:30 | 20102180091 | Abs | 090409Pest | Abs 090409Pest: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-09-22 | ug/L |  | 2010-09-09 05:55 | 20102530006 | Abs | 090409Pest | Abs 090409Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-07-16 | ug/L |  | 2012-06-21 07:30 | 20121730122 | Accu | 212051201 | Accu 212051201: 40 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-03-20 | ug/L |  | 2009-01-29 08:30 | 20090300001 | Crescent | 08HH018 | Crescent 08HH018: 25 µl |  | PROPARGITE | . | 0.02 | 0.062 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-06-10 | ug/L |  | 2009-06-04 09:30 | 20091550185 | Crescent | 08HH018 | Crescent 08HH018: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-08-28 | ug/L |  | 2009-08-13 09:30 | 20092260008 | Crescent | 08HH018 | Crescent 08HH018: 40 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-02-10 | ug/L |  | 2010-10-07 06:30 | 20102810020 | NSI | 070810-01 | NSI 070810-01: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-03-15 | ug/L |  | 2011-02-24 07:00 | 20110560002 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-05-17 | ug/L |  | 2011-04-14 06:30 | 20111050154 | NSI | 070810-01 | NSI 070810-01: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-06-10 | ug/L |  | 2011-05-26 06:30 | 20111470066 | NSI | 070810-01 | NSI 070810-01: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-08-02 | ug/L |  | 2011-07-14 07:00 | 20111960037 | NSI | 070810-01 | NSI 070810-01: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-09-10 | ug/L |  | 2011-08-25 08:00 | 20112380052 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-11-17 | ug/L |  | 2011-10-27 06:30 | 20113010046 | NSI | 070810-01 | NSI 070810-01: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-01-21 | ug/L |  | 2012-01-12 06:30 | 20120120072 | NSI | 070810-01 | NSI 070810-01: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-05-05 | ug/L |  | 2012-03-01 07:00 | 20120620017 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-06-22 | ug/L |  | 2012-05-31 06:30 | 20121520248 | NSI | 070810-01 | NSI 070810-01: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-03-23 | ug/L |  | 2009-02-19 07:30 | 20090500126 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-05-01 | ug/L |  | 2009-04-23 07:00 | 20091130127 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-07-30 | ug/L |  | 2009-07-02 10:00 | 20091830168 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-09-25 | ug/L |  | 2009-09-03 09:30 | 20092460253 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-02-25 | ug/L |  | 2010-11-04 06:30 | 20103080118 | Supelco | LB77170 | Supelco LB77170: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-03-23 | ug/L |  | 2011-03-17 07:00 | 20110770003 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-06-23 | ug/L |  | 2011-05-05 06:30 | 20111260153 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-07-12 | ug/L |  | 2011-06-16 07:00 | 20111680034 | Supelco | LB77170 | Supelco LB77170: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-08-18 | ug/L |  | 2011-08-04 07:00 | 20112170172 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-09-17 | ug/L |  | 2011-09-08 07:00 | 20112520210 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-12-10 | ug/L |  | 2011-11-22 06:30 | 20113260110 | Supelco | LB77170 | Supelco LB77170: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-02-23 | ug/L |  | 2012-02-09 06:30 | 20120400056 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-05-08 | ug/L |  | 2012-03-29 07:00 | 20120930004 | Supelco | LB77170 | Supelco LB77170: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-10-21 | ug/L |  | 2013-09-19 07:00 | 20132630002 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2014-01-23 | ug/L |  | 2014-01-16 07:30 | 20140160089 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-11-26 | ug/L |  | 2013-11-07 06:30 | 20133110108 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-07-24 | ug/L |  | 2012-07-12 07:00 | 20121950064 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-11-27 | ug/L |  | 2012-10-30 06:30 | 20123040155 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-01-29 | ug/L |  | 2013-01-17 06:30 | 20130180027 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-05-22 | ug/L |  | 2013-05-09 06:30 | 20131290120 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-08-01 | ug/L |  | 2013-07-03 07:00 | 20131840104 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2014-03-14 | ug/L |  | 2014-03-06 07:00 | 20140650079 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 20 µl & NSI 042313Pest: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-03-19 | ug/L |  | 2013-02-19 06:00 | 20130510050 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-05-14 | ug/L |  | 2013-04-18 06:00 | 20131090033 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-09-22 | ug/L |  | 2012-08-30 06:00 | 20122430226 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl |  | PROPARGITE | < | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2014-04-09 | ug/L | 0.78333 | 2014-04-03 07:00 | 20140930053 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 20 µl & Accu 213041078: 20 µl | 0.03 | PROPARGITE | . | 0.02 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78333 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2014-02-14 | ug/L | 1.1367 | 2014-01-30 07:00 | 20140300034 | NSI, ChemService | 042313Pest, 1466000 | NSI 042313Pest: 20 µl & ChemService 1466000: 20 µl | 0.03 | PROPARGITE | . | 0.02 | 0.0341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1367 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2014-03-13 | ug/L | 0.78 | 2014-02-13 07:00 | 20140440052 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 20 µl & ERA 0318-13-02.1: 20 µl | 0.03 | PROPARGITE | . | 0.02 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-12-18 | ug/L | 0.89667 | 2013-12-05 07:00 | 20133400001 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.03 | PROPARGITE | . | 0.02 | 0.0269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89667 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-08-17 | ug/L | 0.85667 | 2013-07-18 06:30 | 20132000019 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.03 | PROPARGITE | E | 0.02 | 0.0257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85667 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2014-04-01 | ug/L | 0.97 | 2014-03-19 07:00 | 20140780045 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.03 | PROPARGITE | . | 0.02 | 0.0291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-06-24 | ug/L | 2.2859 | 2010-04-22 10:00 | 20101130054 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | PROPARGITE | . | 0.02 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-28 | ug/L | 0.88706 | 2010-07-21 11:00 | 20102030007 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | PROPARGITE | . | 0.02 | 0.0355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88706 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-14 | ug/L | 0.8603 | 2010-06-10 10:00 | 20101650032 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | PROPARGITE | . | 0.02 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8603 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-06-24 | ug/L | 0.88273 | 2009-05-20 09:30 | 20091410004 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | PROPARGITE | . | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88273 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-04-14 | ug/L | 0.94113 | 2009-04-02 07:30 | 20090920068 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | PROPARGITE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94113 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-08-21 | ug/L | 0.9967 | 2009-07-30 09:30 | 20092110205 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | PROPARGITE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9967 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-04-08 | ug/L | 0.88182 | 2009-03-19 09:00 | 20090780145 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | PROPARGITE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88182 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-01-07 | ug/L | 1.0401 | 2009-11-25 09:00 | 20093340130 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.067879 | PROPARGITE | . | 0.02 | 0.0706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0401 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-10-27 | ug/L | 1.6616 | 2010-08-12 09:00 | 20102250102 | Accu | 209081259 | Accu 209081259: 25 µl | 0.069209 | PROPARGITE | . | 0.02 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6616 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-12-30 | ug/L | 0.81441 | 2009-11-02 07:30 | 20093060176 | Accu | 209081259 | Accu 209081259: 25 µl | 0.069621 | PROPARGITE | . | 0.02 | 0.0567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81441 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-11-17 | ug/L | 1.7759 | 2010-08-26 08:30 | 20102390090 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.069822 | PROPARGITE | . | 0.02 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7759 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-06-25 | ug/L | 1.2725 | 2010-05-13 08:00 | 20101340150 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.069942 | PROPARGITE | . | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2725 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-19 | ug/L | 1.4165 | 2010-07-13 09:00 | 20101950140 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.070455 | PROPARGITE | . | 0.02 | 0.0998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4165 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-06-24 | ug/L | 1.2413 | 2010-04-08 08:00 | 20100990016 | Accu | 209081259 | Accu 209081259: 25 µl | 0.070571 | PROPARGITE | E | 0.02 | 0.0876 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2413 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-12-17 | ug/L | 0.83467 | 2013-11-21 06:30 | 20133260005 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.075 | PROPARGITE | . | 0.02 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-07-17 | ug/L | 0.83467 | 2013-06-27 06:00 | 20131790010 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.075 | PROPARGITE | . | 0.02 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-06-13 | ug/L | 0.79067 | 2013-05-30 07:00 | 20131510025 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.075 | PROPARGITE | . | 0.02 | 0.0593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79067 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-03-01 | ug/L | 1.6184 | 2010-11-18 06:30 | 20103230113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.08589 | PROPARGITE | . | 0.02 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6184 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-09-24 | ug/L | 1.9124 | 2011-09-15 06:30 | 20112590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0868 | PROPARGITE | . | 0.02 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9124 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-11-19 | ug/L | 1.3134 | 2011-11-09 06:00 | 20113130086 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0868 | PROPARGITE | . | 0.02 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3134 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-02-16 | ug/L | 1.8088 | 2012-01-26 06:30 | 20120260061 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0868 | PROPARGITE | . | 0.02 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8088 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-08-03 | ug/L | 1.7081 | 2011-07-07 06:00 | 20111890008 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.0884 | PROPARGITE | . | 0.02 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7081 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-08-11 | ug/L | 1.8439 | 2011-07-28 06:30 | 20112100005 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.0884 | PROPARGITE | . | 0.02 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8439 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-09-10 | ug/L | 1.5385 | 2011-09-01 06:30 | 20112450023 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.0884 | PROPARGITE | . | 0.02 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5385 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-05-04 | ug/L | 1.2104 | 2012-02-16 06:30 | 20120470079 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.0884 | PROPARGITE | . | 0.02 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2104 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-10-27 | ug/L | 0.8023 | 2009-09-10 09:00 | 20092530082 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.088496 | PROPARGITE | . | 0.02 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8023 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-07-22 | ug/L | 0.84392 | 2009-07-16 09:30 | 20091970074 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.088871 | PROPARGITE | . | 0.02 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84392 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-09-10 | ug/L | 0.74958 | 2009-08-27 09:30 | 20092400047 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.090717 | PROPARGITE | . | 0.02 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74958 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-04-23 | ug/L | 0.83769 | 2009-04-09 11:00 | 20090990157 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.090726 | PROPARGITE | . | 0.02 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83769 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-03-23 | ug/L | 0.91236 | 2009-03-05 08:30 | 20090640124 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.094261 | PROPARGITE | . | 0.02 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91236 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-08-05 | ug/L | 0.432 | 2012-07-26 06:30 | 20122090059 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.1 | PROPARGITE | . | 0.02 | 0.0432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.432 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-12-06 | ug/L | 0.329 | 2012-11-20 06:00 | 20123260036 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.1 | PROPARGITE | . | 0.02 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.329 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-05-07 | ug/L | 0.152 | 2013-03-27 06:00 | 20130870087 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.1 | PROPARGITE | . | 0.02 | 0.0152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.152 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-09-01 | ug/L | 1.21 | 2012-08-16 06:00 | 20122300022 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.1 | PROPARGITE | . | 0.02 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-11-28 | ug/L | 1.22 | 2012-11-15 07:00 | 20123200134 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.1 | PROPARGITE | . | 0.02 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.22 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-07-31 | ug/L | 0.78028 | 2009-06-18 10:00 | 20091700145 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.14226 | PROPARGITE | . | 0.02 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78028 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-06-04 | ug/L | 1.1569 | 2009-05-06 09:30 | 20091320003 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.14262 | PROPARGITE | E | 0.02 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1569 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-08-28 | ug/L | 0.60467 | 2013-08-21 07:00 | 20132340085 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.15 | PROPARGITE | . | 0.02 | 0.0907 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60467 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2009-03-24 | ug/L | 0.72348 | 2009-02-12 09:00 | 20090430171 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.15204 | PROPARGITE | . | 0.02 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72348 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-09-25 | ug/L | 0.322 | 2012-09-19 06:30 | 20122640132 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.2 | PROPARGITE | . | 0.02 | 0.0644 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.322 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-04-03 | ug/L | 0.56 | 2013-03-14 07:00 | 20130740018 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.2 | PROPARGITE | . | 0.02 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-11-08 | ug/L | 1.27 | 2012-10-10 06:30 | 20122850007 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.2 | PROPARGITE | . | 0.02 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.27 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2012-05-05 | ug/L | 1.3364 | 2012-03-15 07:00 | 20120760113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.217 | PROPARGITE | . | 0.02 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3364 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-02-15 | ug/L | 1.6323 | 2010-10-21 06:30 | 20102950073 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.2181 | PROPARGITE | . | 0.02 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6323 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-06-28 | ug/L | 1.664 | 2011-06-07 06:30 | 20111590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.21875 | PROPARGITE | . | 0.02 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.664 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-05-25 | ug/L | 2.4035 | 2011-05-19 07:00 | 20111390175 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.21968 | PROPARGITE | E | 0.02 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-04-14 | ug/L | 1.2623 | 2011-03-31 06:30 | 20110910085 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.22023 | PROPARGITE | . | 0.02 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2623 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-11-03 | ug/L | 1.5158 | 2011-10-13 06:30 | 20112870075 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.221 | PROPARGITE | . | 0.02 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5158 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-05-18 | ug/L | 1.77 | 2011-04-22 06:05 | 20111170111 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.22147 | PROPARGITE | E | 0.02 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.77 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-22 | ug/L | 1.6542 | 2010-07-01 08:00 | 20101830108 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.22247 | PROPARGITE | . | 0.02 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6542 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-12-01 | ug/L | 1.632 | 2010-09-02 07:30 | 20102500052 | Accu | 209081259 | Accu 209081259: 80 µl | 0.22917 | PROPARGITE | . | 0.02 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.632 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-07-06 | ug/L | 1.5753 | 2010-06-03 09:00 | 20101550007 | Accu | 209081259 | Accu 209081259: 80 µl | 0.23107 | PROPARGITE | . | 0.02 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5753 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2010-12-02 | ug/L | 1.7217 | 2010-09-16 07:30 | 20102630168 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.23233 | PROPARGITE | . | 0.02 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7217 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-03-15 | ug/L | 1.5106 | 2011-03-03 06:00 | 20110620083 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.34291 | PROPARGITE | E | 0.02 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5106 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-08-19 | ug/L | 1.2759 | 2011-08-10 07:00 | 20112220128 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.3472 | PROPARGITE | . | 0.02 | 0.443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2759 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2011-12-17 | ug/L | 1.4253 | 2011-12-13 06:30 | 20113480013 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 0.3536 | PROPARGITE | . | 0.02 | 0.504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4253 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-03-19 | ug/L | 0.15425 | 2013-01-31 07:00 | 20130320042 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.4 | PROPARGITE | E | 0.02 | 0.0617 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15425 | Y | Estimated Values | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468
PROPARGITE | 2001 | 82685GCM35 | 2013-03-19 | ug/L | 0.705 | 2013-02-14 07:00 | 20130460006 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.4 | PROPARGITE | . | 0.02 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.705 | Y | Recoverable Result | Y |  | 64 | 1.1445 | 0.46334 | 1.1468 | 0.73232 | 0.54286 | 1.1468