## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
TRI-ALLATE | 2001 | 82678GCM35 | 2012-06-22 | ug/L |  | 2012-06-14 08:00 | 20121670021 | Abs | 052212 | Abs 052212: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 62 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-12-30 | ug/L |  | 2009-11-02 07:30 | 20093060176 | Accu | 209081259 | Accu 209081259: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-06-24 | ug/L |  | 2010-04-08 08:00 | 20100990016 | Accu | 209081259 | Accu 209081259: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-06 | ug/L |  | 2010-06-03 09:00 | 20101550007 | Accu | 209081259 | Accu 209081259: 80 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-10-27 | ug/L |  | 2010-08-12 09:00 | 20102250102 | Accu | 209081259 | Accu 209081259: 25 µl |  | TRI-ALLATE | < | 0.0046 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-12-01 | ug/L |  | 2010-09-02 07:30 | 20102500052 | Accu | 209081259 | Accu 209081259: 80 µl |  | TRI-ALLATE | < | 0.0046 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-01-07 | ug/L |  | 2009-11-25 09:00 | 20093340130 | ChemService | 430-43B | ChemService 430-43B: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-06-25 | ug/L |  | 2010-05-13 08:00 | 20101340150 | ChemService | 430-43B | ChemService 430-43B: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-19 | ug/L |  | 2010-07-13 09:00 | 20101950140 | ChemService | 430-43B | ChemService 430-43B: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-22 | ug/L |  | 2010-07-01 08:00 | 20101830108 | ChemService | 430-43B | ChemService 430-43B: 80 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-11-17 | ug/L |  | 2010-08-26 08:30 | 20102390090 | ChemService | 430-43B | ChemService 430-43B: 25 µl |  | TRI-ALLATE | < | 0.0046 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-12-02 | ug/L |  | 2010-09-16 07:30 | 20102630168 | ChemService | 430-43B | ChemService 430-43B: 80 µl |  | TRI-ALLATE | < | 0.0046 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-03-01 | ug/L |  | 2010-11-18 06:30 | 20103230113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-03-15 | ug/L |  | 2011-03-03 06:00 | 20110620083 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-05-18 | ug/L |  | 2011-04-22 06:05 | 20111170111 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-06-28 | ug/L |  | 2011-06-07 06:30 | 20111590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-19 | ug/L |  | 2011-08-10 07:00 | 20112220128 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-09-24 | ug/L |  | 2011-09-15 06:30 | 20112590004 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-11-19 | ug/L |  | 2011-11-09 06:00 | 20113130086 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-02-16 | ug/L |  | 2012-01-26 06:30 | 20120260061 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-05-05 | ug/L |  | 2012-03-15 07:00 | 20120760113 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-03-23 | ug/L |  | 2009-03-05 08:30 | 20090640124 | Protocol | D1080911003 | Protocol D1080911003: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-06-04 | ug/L |  | 2009-05-06 09:30 | 20091320003 | Protocol | D1080911003 | Protocol D1080911003: 40 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-07-22 | ug/L |  | 2009-07-16 09:30 | 20091970074 | Protocol | D1080911003 | Protocol D1080911003: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-10-27 | ug/L |  | 2009-09-10 09:00 | 20092530082 | Protocol | D1080911003 | Protocol D1080911003: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-03-24 | ug/L |  | 2009-02-12 09:00 | 20090430171 | Supelco | LB60730 | Supelco LB60730: 40 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-04-23 | ug/L |  | 2009-04-09 11:00 | 20090990157 | Supelco | LB60730 | Supelco LB60730: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-07-31 | ug/L |  | 2009-06-18 10:00 | 20091700145 | Supelco | LB60730 | Supelco LB60730: 40 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-09-10 | ug/L |  | 2009-08-27 09:30 | 20092400047 | Supelco | LB60730 | Supelco LB60730: 25 µl |  | TRI-ALLATE | < | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-02-15 | ug/L |  | 2010-10-21 06:30 | 20102950073 | Ultra | CG-2391 | Ultra CG-2391: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-04-14 | ug/L |  | 2011-03-31 06:30 | 20110910085 | Ultra | CG-2391 | Ultra CG-2391: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-05-25 | ug/L |  | 2011-05-19 07:00 | 20111390175 | Ultra | CG-2391 | Ultra CG-2391: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-03 | ug/L |  | 2011-07-07 06:00 | 20111890008 | Ultra | CG-2391 | Ultra CG-2391: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-11 | ug/L |  | 2011-07-28 06:30 | 20112100005 | Ultra | CG-2391 | Ultra CG-2391: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-09-10 | ug/L |  | 2011-09-01 06:30 | 20112450023 | Ultra | CG-2391 | Ultra CG-2391: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-11-03 | ug/L |  | 2011-10-13 06:30 | 20112870075 | Ultra | CG-2391 | Ultra CG-2391: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-12-17 | ug/L |  | 2011-12-13 06:30 | 20113480013 | Ultra | CG-2391 | Ultra CG-2391: 80 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-05-04 | ug/L |  | 2012-02-16 06:30 | 20120470079 | Ultra | CG-2391 | Ultra CG-2391: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-12-17 | ug/L |  | 2013-11-21 06:30 | 20133260005 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2014-02-14 | ug/L |  | 2014-01-30 07:00 | 20140300034 | NSI, ChemService | 042313Pest, 1466000 | NSI 042313Pest: 20 µl & ChemService 1466000: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-08-05 | ug/L |  | 2012-07-26 06:30 | 20122090059 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-09-25 | ug/L |  | 2012-09-19 06:30 | 20122640132 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-03-19 | ug/L |  | 2013-01-31 07:00 | 20130320042 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-06-13 | ug/L |  | 2013-05-30 07:00 | 20131510025 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-04-03 | ug/L |  | 2013-03-14 07:00 | 20130740018 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-11-28 | ug/L |  | 2012-11-15 07:00 | 20123200134 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-08-17 | ug/L |  | 2013-07-18 06:30 | 20132000019 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2014-04-01 | ug/L |  | 2014-03-19 07:00 | 20140780045 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl |  | TRI-ALLATE | < | 0.0046 | 0.0046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-01-05 | ug/L | 1.3109 | 2009-11-12 06:30 | 20093170006 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0070182 | TRI-ALLATE | . | 0.006 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3109 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-09-22 | ug/L | 1.3107 | 2010-09-09 05:55 | 20102530006 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.007019 | TRI-ALLATE | . | 0.006 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3107 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-20 | ug/L | 1.3945 | 2010-06-24 08:00 | 20101760008 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0070274 | TRI-ALLATE | . | 0.006 | 0.0098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3945 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-21 | ug/L | 1.1527 | 2010-05-27 08:30 | 20101480006 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0071138 | TRI-ALLATE | . | 0.006 | 0.0082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1527 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-11-26 | ug/L | 1.3061 | 2013-11-07 06:30 | 20133110108 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.00758 | TRI-ALLATE | . | 0.0046 | 0.0099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3061 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2014-03-13 | ug/L | 1.2401 | 2014-02-13 07:00 | 20140440052 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 20 µl & ERA 0318-13-02.1: 20 µl | 0.00758 | TRI-ALLATE | . | 0.0046 | 0.0094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2401 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-12-18 | ug/L | 1.504 | 2013-12-05 07:00 | 20133400001 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.00758 | TRI-ALLATE | . | 0.0046 | 0.0114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.504 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2014-03-14 | ug/L | 1.6491 | 2014-03-06 07:00 | 20140650079 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 20 µl & NSI 042313Pest: 20 µl | 0.00758 | TRI-ALLATE | . | 0.0046 | 0.0125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6491 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-10-21 | ug/L | 1.2147 | 2013-09-19 07:00 | 20132630002 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.007656 | TRI-ALLATE | . | 0.0046 | 0.0093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2147 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2014-01-23 | ug/L | 1.4368 | 2014-01-16 07:30 | 20140160089 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.007656 | TRI-ALLATE | . | 0.0046 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4368 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2014-04-09 | ug/L | 1.3584 | 2014-04-03 07:00 | 20140930053 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 20 µl & Accu 213041078: 20 µl | 0.007656 | TRI-ALLATE | . | 0.0046 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3584 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-07-30 | ug/L | 1.2204 | 2009-07-02 10:00 | 20091830168 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0098328 | TRI-ALLATE | . | 0.006 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2204 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-09-25 | ug/L | 0.91125 | 2009-09-03 09:30 | 20092460253 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0098765 | TRI-ALLATE | . | 0.006 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91125 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-06-10 | ug/L | 1.4959 | 2009-06-04 09:30 | 20091550185 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.010027 | TRI-ALLATE | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4959 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-03-20 | ug/L | 10.8999 | 2009-01-29 08:30 | 20090300001 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.010092 | TRI-ALLATE | . | 0.006 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-03-23 | ug/L | 1.4579 | 2009-02-19 07:30 | 20090500126 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.010974 | TRI-ALLATE | . | 0.006 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4579 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-05-01 | ug/L | 1.33 | 2009-04-23 07:00 | 20091130127 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.01579 | TRI-ALLATE | . | 0.006 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.33 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-08-28 | ug/L | 1.1372 | 2009-08-13 09:30 | 20092260008 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.015829 | TRI-ALLATE | . | 0.006 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1372 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-02-10 | ug/L | 0.95589 | 2010-10-07 06:30 | 20102810020 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.018203 | TRI-ALLATE | . | 0.0046 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95589 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-06-10 | ug/L | 0.90273 | 2011-05-26 06:30 | 20111470066 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.01861 | TRI-ALLATE | . | 0.0046 | 0.0168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90273 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-11-17 | ug/L | 0.76596 | 2011-10-27 06:30 | 20113010046 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0188 | TRI-ALLATE | . | 0.0046 | 0.0144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76596 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-09-17 | ug/L | 0.80765 | 2011-09-08 07:00 | 20112520210 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01882 | TRI-ALLATE | . | 0.0046 | 0.0152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80765 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-02-23 | ug/L | 0.86079 | 2012-02-09 06:30 | 20120400056 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01882 | TRI-ALLATE | . | 0.0046 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86079 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-05-08 | ug/L | 0.93518 | 2012-03-29 07:00 | 20120930004 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01882 | TRI-ALLATE | . | 0.0046 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93518 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-03-23 | ug/L | 0.88167 | 2011-03-17 07:00 | 20110770003 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.018941 | TRI-ALLATE | . | 0.0046 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88168 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-07-17 | ug/L | 1.2559 | 2013-06-27 06:00 | 20131790010 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.01895 | TRI-ALLATE | . | 0.0046 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2559 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-05-22 | ug/L | 1.2382 | 2013-05-09 06:30 | 20131290120 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.01914 | TRI-ALLATE | . | 0.0046 | 0.0237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2382 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-06-18 | ug/L | 1.0332 | 2010-03-25 07:30 | 20100880032 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.021873 | TRI-ALLATE | . | 0.006 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0332 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-08-13 | ug/L | 1.0232 | 2010-08-05 08:30 | 20102180091 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.022185 | TRI-ALLATE | . | 0.006 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0232 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-07-24 | ug/L | 0.79508 | 2012-07-12 07:00 | 20121950064 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.03006 | TRI-ALLATE | . | 0.0046 | 0.0239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79508 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-03-19 | ug/L | 1.2409 | 2013-02-19 06:00 | 20130510050 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.03006 | TRI-ALLATE | . | 0.0046 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2409 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-09-01 | ug/L | 1.0279 | 2012-08-16 06:00 | 20122300022 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.03006 | TRI-ALLATE | . | 0.0046 | 0.0309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0279 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-12-06 | ug/L | 0.9281 | 2012-11-20 06:00 | 20123260036 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0306 | TRI-ALLATE | . | 0.0046 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9281 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-05-07 | ug/L | 0.98039 | 2013-03-27 06:00 | 20130870087 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0306 | TRI-ALLATE | . | 0.0046 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98039 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-09-22 | ug/L | 0.92157 | 2012-08-30 06:00 | 20122430226 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0306 | TRI-ALLATE | . | 0.0046 | 0.0282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92157 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-08-01 | ug/L | 1.1636 | 2013-07-03 07:00 | 20131840104 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0379 | TRI-ALLATE | . | 0.0046 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1636 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-08-28 | ug/L | 1.2226 | 2013-08-21 07:00 | 20132340085 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.03828 | TRI-ALLATE | . | 0.0046 | 0.0468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2226 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-06-24 | ug/L | 1.3942 | 2010-04-22 10:00 | 20101130054 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | TRI-ALLATE | . | 0.006 | 0.0555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3942 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-28 | ug/L | 0.89705 | 2010-07-21 11:00 | 20102030007 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | TRI-ALLATE | . | 0.006 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89705 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-14 | ug/L | 1.1985 | 2010-06-10 10:00 | 20101650032 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | TRI-ALLATE | . | 0.006 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1985 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-03-15 | ug/L | 0.83692 | 2011-02-24 07:00 | 20110560002 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.046002 | TRI-ALLATE | . | 0.0046 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83692 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-09-10 | ug/L | 0.79149 | 2011-08-25 08:00 | 20112380052 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.047 | TRI-ALLATE | . | 0.0046 | 0.0372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79149 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-05-05 | ug/L | 0.85957 | 2012-03-01 07:00 | 20120620017 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.047 | TRI-ALLATE | . | 0.0046 | 0.0404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85957 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-06-22 | ug/L | 0.84043 | 2012-05-31 06:30 | 20121520248 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.047 | TRI-ALLATE | . | 0.0046 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84043 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-18 | ug/L | 1.0244 | 2011-08-04 07:00 | 20112170172 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.04705 | TRI-ALLATE | . | 0.0046 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-12-10 | ug/L | 0.74814 | 2011-11-22 06:30 | 20113260110 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.04705 | TRI-ALLATE | . | 0.0046 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74814 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-06-23 | ug/L | 0.76809 | 2011-05-05 06:30 | 20111260153 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.047521 | TRI-ALLATE | . | 0.0046 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76809 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-06-24 | ug/L | 1.2639 | 2009-05-20 09:30 | 20091410004 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | TRI-ALLATE | . | 0.006 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2639 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-04-14 | ug/L | 1.3216 | 2009-04-02 07:30 | 20090920068 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | TRI-ALLATE | . | 0.006 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3216 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-08-21 | ug/L | 1.0166 | 2009-07-30 09:30 | 20092110205 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | TRI-ALLATE | . | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0166 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2009-04-08 | ug/L | 1.1366 | 2009-03-19 09:00 | 20090780145 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | TRI-ALLATE | . | 0.006 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1366 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-07-16 | ug/L | 0.7485 | 2012-06-21 07:30 | 20121730122 | Accu | 212051201 | Accu 212051201: 40 µl | 0.06012 | TRI-ALLATE | . | 0.0046 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7485 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-11-27 | ug/L | 0.90153 | 2012-10-30 06:30 | 20123040155 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.06012 | TRI-ALLATE | . | 0.0046 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90153 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-05-14 | ug/L | 0.9481 | 2013-04-18 06:00 | 20131090033 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.06012 | TRI-ALLATE | . | 0.0046 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9481 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-11-08 | ug/L | 0.89379 | 2012-10-10 06:30 | 20122850007 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0612 | TRI-ALLATE | . | 0.0046 | 0.0547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89379 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-02 | ug/L | 0.75798 | 2011-07-14 07:00 | 20111960037 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.0752 | TRI-ALLATE | . | 0.0046 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75798 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2012-01-21 | ug/L | 0.84043 | 2012-01-12 06:30 | 20120120072 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.0752 | TRI-ALLATE | . | 0.0046 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84043 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-05-17 | ug/L | 1.0858 | 2011-04-14 06:30 | 20111050154 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.075245 | TRI-ALLATE | . | 0.0046 | 0.0817 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0858 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-07-12 | ug/L | 1.0035 | 2011-06-16 07:00 | 20111680034 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.075734 | TRI-ALLATE | . | 0.0046 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0035 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2011-02-25 | ug/L | 0.86505 | 2010-11-04 06:30 | 20103080118 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.075834 | TRI-ALLATE | . | 0.0046 | 0.0656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86505 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-01-29 | ug/L | 0.77428 | 2013-01-17 06:30 | 20130180027 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.12024 | TRI-ALLATE | . | 0.0046 | 0.0931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77428 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262
TRI-ALLATE | 2001 | 82678GCM35 | 2013-03-19 | ug/L | 1.0376 | 2013-02-14 07:00 | 20130460006 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1224 | TRI-ALLATE | . | 0.0046 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0376 | Y | Recoverable Result | Y |  | 62 | 1.0859 | 0.2586 | 1.0262 | 0.37426 | 0.27744 | 1.0262