## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-11-16 | ug/L |  | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 40 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-03-15 | ug/L |  | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-05-11 | ug/L |  | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-05-25 | ug/L |  | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-07-13 | ug/L |  | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-09-15 | ug/L |  | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-10-22 | ug/L |  | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-01-07 | ug/L |  | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-04-28 | ug/L |  | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-14 | ug/L |  | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-08-05 | ug/L |  | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-03-25 | ug/L |  | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-06-22 | ug/L |  | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-02-23 | ug/L |  | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-03-10 | ug/L |  | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-07-01 | ug/L |  | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-09-17 | ug/L |  | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-10-25 | ug/L |  | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-12-14 | ug/L |  | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-04-07 | ug/L |  | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-06-23 | ug/L |  | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.014 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-08-03 | ug/L |  | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-09-21 | ug/L |  | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-11-30 | ug/L |  | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-03-09 | ug/L |  | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-05-13 | ug/L |  | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-07-14 | ug/L |  | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-08-17 | ug/L |  | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-24 | ug/L |  | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.1 | 0.1 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | Y | False Negatives | N |  | 0 | [5 empty] | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-07-21 | ug/L | 0.99049 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99049 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-02 | ug/L | 0.86729 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86729 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-04-08 | ug/L | 1.1919 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1919 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-10 | ug/L | 1.9188 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9188 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-23 | ug/L | 1.7979 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7979 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-08-28 | ug/L | 0.70498 | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl | 0.19149 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70498 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-04-29 | ug/L | 0.77667 | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.19571 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77667 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-07-27 | ug/L | 1.3774 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3774 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-04-13 | ug/L | 0.87397 | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl | 0.1968 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87397 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-06-25 | ug/L | 1.3315 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3315 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-05-28 | ug/L | 1.0857 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0857 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-07-15 | ug/L | 1.2278 | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.20117 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.12 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2278 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-03-02 | ug/L | 0.73404 | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.20843 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73404 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-04-26 | ug/L | 1.2008 | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl | 0.23817 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2008 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-11-15 | ug/L | 0.99002 | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl | 0.23838 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99002 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-09-16 | ug/L | 1.0792 | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl | 0.24 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0792 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-01-04 | ug/L | 1.0877 | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl | 0.24179 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0877 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-03-23 | ug/L | 0.91983 | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.24679 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91983 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-07-05 | ug/L | 0.90065 | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.2476 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90065 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-08-19 | ug/L | 2.03 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.12 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-04-13 | ug/L | 1.269 | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.2498 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.317 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.269 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-02-08 | ug/L | 1.1028 | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl | 0.27205 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1028 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-11-12 | ug/L | 0.85443 | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl | 0.2727 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.1 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85443 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-04-08 | ug/L | 1.1938 | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.27309 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1938 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-12-14 | ug/L | 1.0228 | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.27669 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.1 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0228 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-05-25 | ug/L | 1.5711 | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.27688 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5711 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-05-06 | ug/L | 1.1577 | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl | 0.28074 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1577 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-24 | ug/L | 0.78846 | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.28156 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78846 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-24 | ug/L | 0.9198 | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl | 0.28376 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9198 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-04-13 | ug/L | 0.84174 | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl | 0.31245 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.263 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84174 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2009-09-25 | ug/L | 0.74446 | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl | 0.31298 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | . | 0.12 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74446 | Y | Recoverable Result | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-08-26 | ug/L | 0.88281 | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl | 0.384 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88281 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-06-15 | ug/L | 0.98007 | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl | 0.38671 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98007 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-12-14 | ug/L | 1.1436 | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.39263 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.449 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1436 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-05-12 | ug/L | 1.2422 | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.39446 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2422 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2011-08-03 | ug/L | 1.1157 | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.39616 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1157 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-09-08 | ug/L | 1.2257 | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.5458 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2257 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-07-20 | ug/L | 1.1674 | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.55338 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1674 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-08-17 | ug/L | 0.79621 | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl | 0.5589 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79621 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867
1,7-DIMETHYLXANTHINE (P-XANTHINE) | 2080 | 6203000021 | 2010-06-15 | ug/L | 1.4459 | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl | 0.56021 | 1,7-DIMETHYLXANTHINE_(P-XANTHINE) | E | 0.1 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4459 | Y | Estimated Values | Y |  | 40 | 1.1131 | 0.30762 | 1.0867 | 0.34838 | 0.25825 | 1.0867