## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
ACETAMINOPHEN | 2080 | 6200000021 | 2010-11-16 | ug/L |  | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 40 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-03-15 | ug/L |  | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-05-11 | ug/L |  | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-05-25 | ug/L |  | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-07-13 | ug/L |  | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-09-15 | ug/L |  | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-10-22 | ug/L |  | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-01-07 | ug/L |  | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-04-28 | ug/L |  | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-06-14 | ug/L |  | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-08-05 | ug/L |  | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-03-25 | ug/L |  | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl |  | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-06-22 | ug/L |  | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl |  | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-02-23 | ug/L |  | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl |  | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-03-10 | ug/L |  | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl |  | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-07-01 | ug/L |  | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl |  | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-09-17 | ug/L |  | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl |  | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-10-25 | ug/L |  | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-12-14 | ug/L |  | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-04-07 | ug/L |  | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-06-23 | ug/L |  | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | ACETAMINOPHEN | E | 0.12 | 0.273 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-08-03 | ug/L |  | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-09-21 | ug/L |  | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-11-30 | ug/L |  | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-03-09 | ug/L |  | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-05-13 | ug/L |  | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-07-14 | ug/L |  | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-08-17 | ug/L |  | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-09-24 | ug/L |  | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | ACETAMINOPHEN | < | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | ACETAMINOPHEN | < | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  |  |  | Y | False Negatives | N |  | 0 | [5 empty] | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-07-21 | ug/L | 0.95828 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | ACETAMINOPHEN | E | 0.12 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95828 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-06-02 | ug/L | 0.73203 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | ACETAMINOPHEN | E | 0.12 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73203 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-04-08 | ug/L | 1.3095 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | ACETAMINOPHEN | . | 0.12 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3095 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-09-10 | ug/L | 1.4019 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | ACETAMINOPHEN | . | 0.12 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4019 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-06-23 | ug/L | 1.4617 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | ACETAMINOPHEN | . | 0.12 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4617 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-04-08 | ug/L | 1.3166 | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.16634 | ACETAMINOPHEN | . | 0.12 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3166 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-02-08 | ug/L | 0.82685 | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl | 0.1669 | ACETAMINOPHEN | . | 0.12 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82685 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-11-12 | ug/L | 0.57981 | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl | 0.1673 | ACETAMINOPHEN | E | 0.12 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57981 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-12-14 | ug/L | 0.87819 | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.16853 | ACETAMINOPHEN | . | 0.12 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87819 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-05-25 | ug/L | 1.5239 | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.16865 | ACETAMINOPHEN | E | 0.12 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5239 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-09-24 | ug/L | 0.81635 | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.1715 | ACETAMINOPHEN | . | 0.12 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81635 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-05-06 | ug/L | 1.2483 | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl | 0.17223 | ACETAMINOPHEN | . | 0.12 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2483 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-09-24 | ug/L | 1.0455 | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl | 0.17408 | ACETAMINOPHEN | . | 0.12 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-07-27 | ug/L | 1.0165 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | ACETAMINOPHEN | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-06-25 | ug/L | 1.276 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | ACETAMINOPHEN | . | 0.08 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.276 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-05-28 | ug/L | 1.1356 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | ACETAMINOPHEN | . | 0.08 | 0.228 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1356 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-04-26 | ug/L | 0.95685 | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl | 0.21633 | ACETAMINOPHEN | E | 0.12 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95685 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-11-15 | ug/L | 1.0945 | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl | 0.21653 | ACETAMINOPHEN | . | 0.12 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-03-23 | ug/L | 0.9079 | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.21698 | ACETAMINOPHEN | E | 0.12 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9079 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-07-05 | ug/L | 0.84061 | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.2177 | ACETAMINOPHEN | E | 0.12 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84061 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-09-16 | ug/L | 0.93119 | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl | 0.218 | ACETAMINOPHEN | E | 0.12 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93119 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-01-04 | ug/L | 1.1838 | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl | 0.21963 | ACETAMINOPHEN | . | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1838 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-04-13 | ug/L | 1.1747 | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.21963 | ACETAMINOPHEN | E | 0.12 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1747 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-08-19 | ug/L | 1.3053 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | ACETAMINOPHEN | . | 0.08 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3053 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-08-28 | ug/L | 0.78221 | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl | 0.25697 | ACETAMINOPHEN | . | 0.08 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78221 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-04-29 | ug/L | 0.91771 | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.26043 | ACETAMINOPHEN | . | 0.08 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91771 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-04-13 | ug/L | 0.94665 | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl | 0.26409 | ACETAMINOPHEN | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94665 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-07-15 | ug/L | 1.2252 | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.2677 | ACETAMINOPHEN | . | 0.08 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2252 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-03-02 | ug/L | 0.56604 | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.27737 | ACETAMINOPHEN | . | 0.08 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56604 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-09-08 | ug/L | 1.0829 | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.33244 | ACETAMINOPHEN | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0829 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-07-20 | ug/L | 1.5695 | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.33706 | ACETAMINOPHEN | E | 0.12 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5695 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-08-17 | ug/L | 0.79037 | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl | 0.34288 | ACETAMINOPHEN | . | 0.12 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79037 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-06-15 | ug/L | 1.2657 | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl | 0.34368 | ACETAMINOPHEN | . | 0.12 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2657 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2010-12-14 | ug/L | 0.97331 | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.34521 | ACETAMINOPHEN | . | 0.12 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97331 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-05-12 | ug/L | 1.1302 | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.34683 | ACETAMINOPHEN | E | 0.12 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1302 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-08-03 | ug/L | 1.0364 | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.34832 | ACETAMINOPHEN | E | 0.12 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0364 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-08-26 | ug/L | 0.77982 | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl | 0.3488 | ACETAMINOPHEN | E | 0.12 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77982 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2011-06-15 | ug/L | 0.88823 | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl | 0.35126 | ACETAMINOPHEN | E | 0.12 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88823 | Y | Estimated Values | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-09-25 | ug/L | 0.62427 | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl | 0.41648 | ACETAMINOPHEN | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62427 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491
ACETAMINOPHEN | 2080 | 6200000021 | 2009-04-13 | ug/L | 0.89678 | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl | 0.41928 | ACETAMINOPHEN | . | 0.08 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89678 | Y | Recoverable Result | Y |  | 40 | 1.0349 | 0.25137 | 0.99491 | 0.37739 | 0.27976 | 0.99491