## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
CAFFEINE | 2080 | 5030500021 | 2010-11-16 | ug/L |  | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 40 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-03-15 | ug/L |  | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-05-11 | ug/L |  | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-05-25 | ug/L |  | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-07-13 | ug/L |  | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-09-15 | ug/L |  | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-10-22 | ug/L |  | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-01-07 | ug/L |  | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-04-28 | ug/L |  | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-06-14 | ug/L |  | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-08-05 | ug/L |  | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-03-25 | ug/L |  | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl |  | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-06-22 | ug/L |  | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl |  | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-02-23 | ug/L |  | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl |  | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-03-10 | ug/L |  | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl |  | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-07-01 | ug/L |  | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl |  | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-09-17 | ug/L |  | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl |  | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-10-25 | ug/L |  | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-12-14 | ug/L |  | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-04-07 | ug/L |  | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-06-23 | ug/L |  | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | CAFFEINE | . | 0.06 | 0.091 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-08-03 | ug/L |  | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-09-21 | ug/L |  | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-11-30 | ug/L |  | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-03-09 | ug/L |  | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-05-13 | ug/L |  | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-07-14 | ug/L |  | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-08-17 | ug/L |  | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-09-24 | ug/L |  | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | CAFFEINE | < | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | CAFFEINE | < | 0.2 | 0.2 | MICROGRAMS PER LITER |  |  |  |  | Y | SACRALT | N |  | 0 | [5 empty] | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-04-29 | ug/L | 0.77852 | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.18882 | CAFFEINE | E | 0.2 | 0.147 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.77852 | Y | Estimated Values | Y |  | 6 | 0.96279 | 0.18714 | 0.95984 | 0.29829 | 0.22112 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-08-28 | ug/L | 0.75648 | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl | 0.18903 | CAFFEINE | E | 0.2 | 0.143 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75648 | Y | Estimated Values | Y |  | 6 | 0.96279 | 0.18714 | 0.95984 | 0.29829 | 0.22112 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-07-15 | ug/L | 1.0768 | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.19409 | CAFFEINE | . | 0.2 | 0.209 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0768 | Y | Recoverable Result | Y |  | 6 | 0.96279 | 0.18714 | 0.95984 | 0.29829 | 0.22112 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-04-13 | ug/L | 0.90594 | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl | 0.19427 | CAFFEINE | E | 0.2 | 0.176 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90594 | Y | Estimated Values | Y |  | 6 | 0.96279 | 0.18714 | 0.95984 | 0.29829 | 0.22112 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-07-27 | ug/L | 1.2452 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | CAFFEINE | . | 0.2 | 0.245 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2452 | Y | Recoverable Result | Y |  | 6 | 0.96279 | 0.18714 | 0.95984 | 0.29829 | 0.22112 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-06-25 | ug/L | 1.0137 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | CAFFEINE | . | 0.2 | 0.201 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0137 | Y | Recoverable Result | Y |  | 6 | 0.96279 | 0.18714 | 0.95984 | 0.29829 | 0.22112 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-07-21 | ug/L | 1.0388 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | CAFFEINE | . | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0388 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-06-02 | ug/L | 0.89912 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | CAFFEINE | E | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89912 | Y | Estimated Values | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-04-08 | ug/L | 0.9802 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | CAFFEINE | . | 0.06 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9802 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-09-10 | ug/L | 1.5742 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | CAFFEINE | . | 0.06 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5742 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-06-23 | ug/L | 1.4461 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | CAFFEINE | . | 0.06 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4461 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-05-28 | ug/L | 0.87657 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | CAFFEINE | E | 0.2 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87657 | Y | Estimated Values | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-03-02 | ug/L | 0.76082 | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl | 0.2011 | CAFFEINE | E | 0.2 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76082 | Y | Estimated Values | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-08-19 | ug/L | 1.3854 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | CAFFEINE | E | 0.2 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3854 | Y | Estimated Values | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-09-25 | ug/L | 1.0399 | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl | 0.30196 | CAFFEINE | . | 0.2 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0399 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-04-13 | ug/L | 0.94672 | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl | 0.30843 | CAFFEINE | . | 0.2 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94672 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-04-26 | ug/L | 1.0914 | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl | 0.33442 | CAFFEINE | . | 0.06 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0914 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-11-15 | ug/L | 0.99784 | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl | 0.33472 | CAFFEINE | . | 0.06 | 0.334 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99784 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-03-23 | ug/L | 0.91073 | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.33489 | CAFFEINE | . | 0.06 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91073 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-07-05 | ug/L | 1.003 | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.336 | CAFFEINE | . | 0.06 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.003 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-09-16 | ug/L | 1.089 | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl | 0.337 | CAFFEINE | . | 0.06 | 0.367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.089 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-04-13 | ug/L | 0.99415 | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl | 0.33898 | CAFFEINE | . | 0.06 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99415 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-01-04 | ug/L | 1.2489 | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl | 0.33951 | CAFFEINE | . | 0.06 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2488 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-02-08 | ug/L | 0.97528 | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl | 0.37323 | CAFFEINE | . | 0.06 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97528 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-11-12 | ug/L | 0.96494 | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl | 0.37412 | CAFFEINE | . | 0.06 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96494 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-04-08 | ug/L | 0.98966 | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.37488 | CAFFEINE | . | 0.06 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98966 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2009-12-14 | ug/L | 0.99785 | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.37982 | CAFFEINE | . | 0.06 | 0.379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99785 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-05-25 | ug/L | 1.0156 | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.38008 | CAFFEINE | . | 0.06 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-05-06 | ug/L | 0.89836 | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl | 0.38515 | CAFFEINE | . | 0.06 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89836 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-09-24 | ug/L | 0.72703 | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl | 0.38651 | CAFFEINE | . | 0.06 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72703 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-09-24 | ug/L | 0.78861 | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl | 0.38929 | CAFFEINE | . | 0.06 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78861 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-12-14 | ug/L | 0.85397 | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.5328 | CAFFEINE | . | 0.06 | 0.455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85397 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-05-12 | ug/L | 1.0424 | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.5353 | CAFFEINE | . | 0.06 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0424 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-08-03 | ug/L | 0.96912 | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl | 0.5376 | CAFFEINE | . | 0.06 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96912 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-08-25 | ug/L | 1.046 | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl | 0.5392 | CAFFEINE | E | 0.06 | 0.564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.046 | Y | Estimated Values | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2011-06-15 | ug/L | 0.79005 | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl | 0.543 | CAFFEINE | . | 0.06 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79005 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-09-08 | ug/L | 0.95832 | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.74923 | CAFFEINE | . | 0.06 | 0.718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95832 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-07-20 | ug/L | 0.90175 | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl | 0.75963 | CAFFEINE | . | 0.06 | 0.685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90175 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-08-17 | ug/L | 0.9664 | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl | 0.76676 | CAFFEINE | . | 0.06 | 0.741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9664 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774
CAFFEINE | 2080 | 5030500021 | 2010-06-15 | ug/L | 0.9251 | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl | 0.76856 | CAFFEINE | . | 0.06 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9251 | Y | Recoverable Result | Y |  | 34 | 1.0027 | 0.18026 | 0.97774 | 0.13812 | 0.10239 | 0.97774