## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
CODEINE | 2080 | 6200300021 | 2009-10-22 | ug/L |  | 2009-10-15 06:00 | 20092890009 | Accu | 209081146 | Accu 209081146: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 19 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-01-07 | ug/L |  | 2009-12-10 06:00 | 20093450032 | Accu | 209081146 | Accu 209081146: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-04-28 | ug/L |  | 2010-04-08 07:30 | 20100990017 | Accu | 209081146 | Accu 209081146: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-06-14 | ug/L |  | 2010-05-27 07:30 | 20101480007 | Accu | 209081146 | Accu 209081146: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-08-05 | ug/L |  | 2010-07-21 07:30 | 20102030003 | Accu | 209081146 | Accu 209081146: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-11-15 | ug/L |  | 2010-10-28 08:30 | 20103020150 | Accu | 210061380 | Accu 210061380: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-01-04 | ug/L |  | 2010-12-16 07:30 | 20103510062 | Accu | 210061380 | Accu 210061380: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-04-26 | ug/L |  | 2011-04-14 08:00 | 20111050153 | Accu | 210061380 | Accu 210061380: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-06-15 | ug/L |  | 2011-06-02 08:30 | 20111540004 | Accu | 210061380 | Accu 210061380: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-08-26 | ug/L |  | 2011-08-10 08:30 | 20112220127 | Accu | 210061380 | Accu 210061380: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-09-16 | ug/L |  | 2011-09-08 08:30 | 20112520207 | Accu | 210061380 | Accu 210061380: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-04-13 | ug/L |  | 2009-04-09 07:00 | 20090990154 | Accu | B8080253 | Accu B8080253: 40 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-04-13 | ug/L |  | 2009-03-26 06:00 | 20090860073 | Accu | B8080253 | Accu B8080253: 25 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-08-28 | ug/L |  | 2009-08-20 06:00 | 20092330004 | Accu | B8080253 | Accu B8080253: 25 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-03-25 | ug/L |  | 2009-03-12 06:00 | 20090710013 | Protocol | T1080910002 | Protocol T1080910002: 25 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-06-22 | ug/L |  | 2009-06-11 06:00 | 20091620171 | Protocol | T1080910002 | Protocol T1080910002: 40 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-11-12 | ug/L |  | 2009-11-02 06:00 | 20093060177 | Restek | A069729 | Restek A069729: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-02-08 | ug/L |  | 2010-01-28 07:00 | 20100280078 | Restek | A069729 | Restek A069729: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-05-06 | ug/L |  | 2010-04-29 07:00 | 20101190089 | Restek | A069729 | Restek A069729: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-06-15 | ug/L |  | 2010-06-03 07:30 | 20101550004 | Restek | A069729 | Restek A069729: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-08-17 | ug/L |  | 2010-08-03 07:30 | 20102160001 | Restek | A069729 | Restek A069729: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-09-24 | ug/L |  | 2010-09-02 07:00 | 20102500048 | Restek | A069729 | Restek A069729: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-12-14 | ug/L |  | 2009-11-25 06:00 | 20093340132 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-04-08 | ug/L |  | 2010-03-19 07:00 | 20100810067 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-05-25 | ug/L |  | 2010-05-13 07:30 | 20101340152 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-07-20 | ug/L |  | 2010-07-01 07:30 | 20101830107 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-09-08 | ug/L |  | 2010-08-19 07:30 | 20102320017 | Spex Organics | T1090819006 | Spex Organics T1090819006: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-09-24 | ug/L |  | 2010-09-16 07:00 | 20102630166 | Spex Organics | T1090819006 | Spex Organics T1090819006: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-10-25 | ug/L |  | 2010-10-14 08:00 | 20102880005 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-12-14 | ug/L |  | 2010-11-30 07:30 | 20103350001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-04-07 | ug/L |  | 2011-03-24 07:00 | 20110840107 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-06-23 | ug/L |  | 2011-06-16 08:30 | 20111680037 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | CODEINE | . | 0.046 | 0.077 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-08-03 | ug/L |  | 2011-07-28 07:30 | 20112100003 | Spex Organics | T1100628001 | Spex Organics T1100628001: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-09-21 | ug/L |  | 2011-09-15 08:00 | 20112590001 | Spex Organics | T1100628001 | Spex Organics T1100628001: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-03-02 | ug/L |  | 2009-02-19 06:00 | 20090500154 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-04-29 | ug/L |  | 2009-04-23 10:00 | 20091130131 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-07-15 | ug/L |  | 2009-07-07 06:00 | 20091880133 | Supelco | LB60728 | Supelco LB60728: 25 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-09-25 | ug/L |  | 2009-09-17 06:00 | 20092610021 | Supelco | LB60728 | Supelco LB60728: 40 µl |  | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-11-30 | ug/L |  | 2009-11-12 06:00 | 20093170004 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-03-09 | ug/L |  | 2010-02-25 07:00 | 20100570087 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-05-13 | ug/L |  | 2010-05-06 07:30 | 20101270036 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-07-14 | ug/L |  | 2010-06-24 07:30 | 20101760007 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-08-17 | ug/L |  | 2010-08-05 08:00 | 20102180089 | Supelco | LB69638 | Supelco LB69638: 25 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-09-24 | ug/L |  | 2010-09-09 05:46 | 20102530003 | Supelco | LB69638 | Supelco LB69638: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2010-12-14 | ug/L |  | 2010-11-24 07:30 | 20103330008 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-03-23 | ug/L |  | 2011-03-10 07:00 | 20110690079 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-04-13 | ug/L |  | 2011-04-07 07:30 | 20110980033 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-05-12 | ug/L |  | 2011-05-05 08:00 | 20111260152 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-07-05 | ug/L |  | 2011-06-23 08:00 | 20111750003 | Supelco | LB77166 | Supelco LB77166: 50 µl |  | CODEINE | . | 0.046 | 0.0042 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-08-03 | ug/L |  | 2011-07-21 08:30 | 20112030055 | Supelco | LB77166 | Supelco LB77166: 80 µl |  | CODEINE | < | 0.046 | 0.046 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2009-06-09 | ug/L |  | 2009-05-28 05:00 | 20091490006 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19846 | CODEINE | < | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  |  |  | Y | False Negatives | N |  | 0 | [5 empty] | 0.84316
CODEINE | 2080 | 6200300021 | 2011-05-11 | ug/L | 0.71047 | 2011-04-22 06:30 | 20111170109 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.066575 | CODEINE | . | 0.046 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71047 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2010-11-16 | ug/L | 1.0171 | 2010-11-10 08:00 | 20103140137 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.067055 | CODEINE | . | 0.046 | 0.0682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0171 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2011-05-25 | ug/L | 0.97007 | 2011-05-19 08:00 | 20111390177 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.06783 | CODEINE | E | 0.046 | 0.0658 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97007 | Y | Estimated Values | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2011-07-13 | ug/L | 0.54853 | 2011-07-07 07:30 | 20111890006 | Abs | 090910Pharm | Abs 090910Pharm: 50 µl | 0.068 | CODEINE | . | 0.046 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54853 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2011-09-15 | ug/L | 0.87592 | 2011-08-25 11:00 | 20112380054 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl | 0.1088 | CODEINE | . | 0.046 | 0.0953 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87592 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2011-03-15 | ug/L | 0.767 | 2011-02-24 08:30 | 20110560004 | Abs | 090910Pharm | Abs 090910Pharm: 80 µl | 0.11187 | CODEINE | . | 0.046 | 0.0858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.767 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2010-07-21 | ug/L | 0.84554 | 2010-07-08 11:00 | 20101900004 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12418 | CODEINE | . | 0.046 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84554 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2010-06-02 | ug/L | 0.64927 | 2010-05-20 10:30 | 20101410005 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12568 | CODEINE | . | 0.046 | 0.0816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64927 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2010-04-08 | ug/L | 0.80768 | 2010-04-01 09:00 | 20100920051 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12752 | CODEINE | . | 0.046 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80768 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2010-09-10 | ug/L | 1.2218 | 2010-08-26 10:30 | 20102390087 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12768 | CODEINE | . | 0.046 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2218 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2010-06-23 | ug/L | 1.0787 | 2010-06-10 09:30 | 20101650034 | NWQL | LCL11SP081A | NWQL LCL11SP081A: 50 µl | 0.12793 | CODEINE | . | 0.046 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0787 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-07-01 | ug/L | 0.77997 | 2009-06-25 06:00 | 20091770122 | Restek | A063896 | Restek A063896: 25 µl | 0.16155 | CODEINE | . | 0.04 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77997 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-02-23 | ug/L | 0.86502 | 2009-02-05 07:00 | 20090370007 | Restek | A063896 | Restek A063896: 25 µl | 0.17225 | CODEINE | . | 0.04 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86502 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-03-10 | ug/L | 0.84316 | 2009-02-26 06:30 | 20090580004 | Restek | A063896 | Restek A063896: 25 µl | 0.17434 | CODEINE | . | 0.04 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84316 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-07-27 | ug/L | 0.71155 | 2009-07-16 06:00 | 20091970073 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19675 | CODEINE | . | 0.04 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71155 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-06-25 | ug/L | 0.93305 | 2009-06-18 06:00 | 20091700143 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.19828 | CODEINE | . | 0.04 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93305 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-05-28 | ug/L | 0.87159 | 2009-05-14 07:00 | 20091340061 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 80 µl | 0.20078 | CODEINE | . | 0.04 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87159 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-08-19 | ug/L | 0.6967 | 2009-08-06 06:00 | 20092180177 | NWQL | LCL11SP078A | NWQL LCL11SP078A: 100 µl | 0.24975 | CODEINE | . | 0.04 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6967 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316
CODEINE | 2080 | 6200300021 | 2009-09-17 | ug/L | 0.68642 | 2009-09-10 06:00 | 20092530078 | Restek | A063896 | Restek A063896: 40 µl | 0.25932 | CODEINE | . | 0.04 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68642 | Y | Recoverable Result | Y |  | 19 | 0.83576 | 0.16176 | 0.84316 | 0.22257 | 0.16499 | 0.84316