## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | Spike Level | Pct Recovery | Sample Spiked | STATUS | PLOT | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | Median Pct Recovery | maxout
ACETONE | 4024 | 81552GCM60 | 2012-06-30 | ug/L |  | 2012-06-21 06:30 | 20121730103 | Accu | 212051187 | Accu 212051187: 25 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 41 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-07-11 | ug/L |  | 2012-07-03 07:30 | 20121870002 | Accu | 212051187 | Accu 212051187: 10 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-10-22 | ug/L |  | 2012-10-10 07:30 | 20122850004 | Accu | 212051187 | Accu 212051187: 10 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-01-03 | ug/L |  | 2012-12-20 07:00 | 20123560095 | Accu | 212051187 | Accu 212051187: 20 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-05-09 07:00 | ug/L |  | 2013-05-09 07:00 | 20131290121 | Accu | 213041015 | Accu 213041015: 20 µl |  | ACETONE | I | 1.6 |  | MICROGRAMS PER LITER |  |  |  |  | N | Deleted Values | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-03-09 | ug/L |  | 2009-03-05 09:00 | 20090640128 | Accu | B8080231 | Accu B8080231: 20 µl |  | ACETONE | < | 1.8 | 1.8 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-07-01 | ug/L |  | 2009-06-25 10:00 | 20091770125 | Accu | B8080231 | Accu B8080231: 40 µl |  | ACETONE | < | 1.8 | 1.8 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-08-25 | ug/L |  | 2009-08-20 10:00 | 20092330008 | Accu | B8080231 | Accu B8080231: 20 µl |  | ACETONE | < | 1.8 | 1.8 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-06-07 | ug/L |  | 2013-06-06 08:00 | 20131580022 | ChemService | 1448500 | ChemService 1448500: 10 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-09-08 | ug/L |  | 2012-08-23 07:00 | 20122370106 | ChemService | 426000 | ChemService 426000: 10 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-11-27 | ug/L |  | 2012-11-15 08:00 | 20123200132 | ChemService | 426000 | ChemService 426000: 10 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-02-19 | ug/L |  | 2013-02-07 07:00 | 20130390108 | ChemService | 426000 | ChemService 426000: 20 µl |  | ACETONE | . | 1.6 | 0.4 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-03-26 | ug/L |  | 2013-03-14 07:30 | 20130740021 | ChemService | 426000 | ChemService 426000: 20 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-02-21 | ug/L |  | 2009-02-12 09:30 | 20090430173 | Crescent | 08HH020 | Crescent 08HH020: 20 µl |  | ACETONE | < | 1.8 | 1.8 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-04-07 | ug/L |  | 2009-04-02 07:45 | 20090920064 | Crescent | 08HH020 | Crescent 08HH020: 20 µl |  | ACETONE | < | 1.8 | 1.8 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-07-25 | ug/L |  | 2009-07-23 10:30 | 20092040198 | Crescent | 08HH020 | Crescent 08HH020: 40 µl |  | ACETONE | < | 1.8 | 1.8 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-02-09 | ug/L |  | 2010-02-04 06:30 | 20100360003 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 20 µl |  | ACETONE | E | 1.2 | 0.44 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-04-22 | ug/L |  | 2010-04-08 07:00 | 20100990028 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-06-24 | ug/L |  | 2010-06-17 06:30 | 20101720157 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-08-17 | ug/L |  | 2010-08-05 07:00 | 20102180087 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 40 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-08-27 | ug/L |  | 2010-08-19 06:30 | 20102320013 | ERA | 0817-09-02VOA | ERA 0817-09-02VOA: 40 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-11-09 | ug/L |  | 2010-11-04 08:00 | 20103080122 | NSI | 062210-01 | NSI 062210-01: 40 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-12-10 | ug/L |  | 2010-11-30 08:00 | 20103350006 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-07-19 | ug/L |  | 2011-07-07 08:00 | 20111890010 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-08-02 | ug/L |  | 2011-07-21 09:00 | 20112030059 | NSI | 062210-01 | NSI 062210-01: 40 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-08-26 | ug/L |  | 2011-08-25 11:05 | 20112380059 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-11-15 | ug/L |  | 2011-11-09 08:00 | 20113130088 | NSI | 062210-01 | NSI 062210-01: 40 µl |  | ACETONE | . | 1.6 | 0.47 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-06-07 | ug/L |  | 2012-05-31 07:00 | 20121520252 | NSI | 062210-01 | NSI 062210-01: 20 µl |  | ACETONE | . | 1.6 | 0.26 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-10-09 | ug/L |  | 2010-10-07 09:00 | 20102810026 | Restek | A075544 | Restek A075544: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-06-21 | ug/L |  | 2011-06-16 09:00 | 20111680039 | Restek | A075544 | Restek A075544: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-08-18 | ug/L |  | 2011-08-10 09:00 | 20112220125 | Restek | A075544 | Restek A075544: 40 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-09-13 | ug/L |  | 2011-09-08 09:00 | 20112520204 | Restek | A075544 | Restek A075544: 40 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-10-15 | ug/L |  | 2011-10-13 08:30 | 20112870071 | Restek | A075544 | Restek A075544: 20 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-02-10 | ug/L |  | 2012-02-02 12:30 | 20120370006 | Restek | A075544 | Restek A075544: 20 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-03-10 | ug/L |  | 2012-03-01 08:00 | 20120620011 | Restek | A075544 | Restek A075544: 40 µl |  | ACETONE | < | 1.6 | 1.6 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-10-26 | ug/L |  | 2009-10-15 08:30 | 20092890011 | Ultra | CF-3592 | Ultra CF-3592: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-03-26 | ug/L |  | 2010-03-19 06:30 | 20100810065 | Ultra | CF-3592 | Ultra CF-3592: 20 µl |  | ACETONE | E | 1.2 | 0.42 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-05-06 | ug/L |  | 2010-04-22 07:00 | 20101130059 | Ultra | CF-3592 | Ultra CF-3592: 20 µl |  | ACETONE | < | 1.2 | 1.2 | MICROGRAMS PER LITER |  |  |  |  | N | < Reporting Level | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-07-19 | ug/L |  | 2010-07-13 07:00 | 20101950134 | Ultra | CF-3592 | Ultra CF-3592: 40 µl |  | ACETONE | E | 1.2 | 0.87 | MICROGRAMS PER LITER |  |  |  |  | N | False Positives | N |  | 0 | [5 empty] | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-07-23 | ug/L | 1.7125 | 2013-07-18 07:30 | 20132000018 | NSI | 042313VOA | NSI 042313VOA: 10 µl | 2.4 | ACETONE | . | 1.6 | 4.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7125 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-03-15 | ug/L | 1.2107 | 2010-03-03 06:30 | 20100630039 | ChemService | 430-41B | ChemService 430-41B: 20 µl | 2.8 | ACETONE | . | 1.2 | 3.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2107 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-04-22 | ug/L | 1.2679 | 2010-04-15 06:30 | 20101060008 | ChemService | 430-41B | ChemService 430-41B: 20 µl | 2.8 | ACETONE | . | 1.2 | 3.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2679 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-11-13 | ug/L | 1.015 | 2009-11-05 09:30 | 20093100002 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 2.808 | ACETONE | . | 1.2 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.015 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-04-06 | ug/L | 1.0577 | 2010-03-25 06:30 | 20100880029 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 2.808 | ACETONE | . | 1.2 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0577 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-06-24 | ug/L | 0.84758 | 2010-06-10 07:00 | 20101650038 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 2.808 | ACETONE | . | 1.2 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84758 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-07-30 | ug/L | 0.88319 | 2010-07-21 07:00 | 20102030001 | Abs | 083109VOA | Abs 083109VOA: 20 µl | 2.808 | ACETONE | . | 1.2 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88319 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-11-26 | ug/L | 1.0134 | 2010-11-18 07:30 | 20103230115 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 2.98 | ACETONE | . | 1.2 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0134 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-07-19 | ug/L | 1.1443 | 2011-07-14 09:00 | 20111950193 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 2.98 | ACETONE | . | 1.2 | 3.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1443 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-11-30 | ug/L | 1.1107 | 2011-11-22 08:30 | 20113260107 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 2.98 | ACETONE | . | 1.6 | 3.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1107 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-01-25 | ug/L | 1.1141 | 2012-01-12 07:30 | 20120120073 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 2.98 | ACETONE | . | 1.6 | 3.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1141 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-04-05 | ug/L | 1.0201 | 2012-03-29 08:30 | 20120930002 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 2.98 | ACETONE | . | 1.6 | 3.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0201 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-05-02 | ug/L | 1.3322 | 2012-04-26 07:30 | 20121180064 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 20 µl | 2.98 | ACETONE | . | 1.6 | 3.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3322 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-10-16 | ug/L | 1.4967 | 2010-10-14 08:30 | 20102880006 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 3 | ACETONE | . | 1.2 | 4.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4967 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-07-06 | ug/L | 1.3767 | 2011-06-29 08:00 | 20111810009 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 3 | ACETONE | . | 1.2 | 4.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3767 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-08-02 | ug/L | 1.4267 | 2011-07-28 08:00 | 20112100002 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 3 | ACETONE | . | 1.2 | 4.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4267 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-11-01 | ug/L | 1.6567 | 2011-10-27 08:30 | 20113010042 | ChemService | 443-149B | ChemService 443-149B: 20 µl | 3 | ACETONE | . | 1.6 | 4.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6567 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-08-02 | ug/L | 1.0257 | 2012-07-26 07:30 | 20122090061 | Crescent | 05BB024 | Crescent 05BB024: 10 µl | 3.5 | ACETONE | . | 1.6 | 3.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0257 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-11-02 | ug/L | 1.0543 | 2012-11-01 07:00 | 20123070014 | Crescent | 05BB024 | Crescent 05BB024: 10 µl | 3.5 | ACETONE | . | 1.6 | 3.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0543 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-09-21 | ug/L | 1.1657 | 2012-09-19 07:00 | 20122640136 | NSI | 060412-01 | NSI 060412-01: 10 µl | 3.5 | ACETONE | . | 1.6 | 4.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1657 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-06-06 | ug/L | 1.0776 | 2009-06-04 10:00 | 20091550188 | Restek | A062148 | Restek A062148: 20 µl | 3.712 | ACETONE | . | 1.8 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0776 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-07-09 | ug/L | 1.2392 | 2009-07-07 10:30 | 20091880142 | Restek | A062148 | Restek A062148: 20 µl | 3.712 | ACETONE | . | 1.8 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2392 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-03-23 | ug/L | 1.3919 | 2009-03-19 09:30 | 20090780139 | Ultra | CE-2889 | Ultra CE-2889: 20 µl | 3.736 | ACETONE | . | 1.8 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3919 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-08-07 | ug/L | 1.2313 | 2009-08-06 10:00 | 20092180175 | Ultra | CE-2889 | Ultra CE-2889: 20 µl | 3.736 | ACETONE | . | 1.8 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2313 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-06-26 | ug/L | 1.1104 | 2013-06-20 08:00 | 20131720018 | Crescent | 04CC143 | Crescent 04CC143: 20 µl | 4.8 | ACETONE | . | 1.6 | 5.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1104 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-07-03 | ug/L | 1.2696 | 2010-07-01 07:00 | 20101830135 | ChemService | 430-41B | ChemService 430-41B: 40 µl | 5.6 | ACETONE | . | 1.2 | 7.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2696 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-08-18 | ug/L | 1.1161 | 2010-08-12 07:00 | 20102250094 | ChemService | 430-41B | ChemService 430-41B: 40 µl | 5.6 | ACETONE | . | 1.2 | 6.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1161 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-08-27 | ug/L | 1.0256 | 2010-08-26 07:00 | 20102390263 | Abs | 083109VOA | Abs 083109VOA: 40 µl | 5.616 | ACETONE | . | 1.2 | 5.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0256 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-08-18 | ug/L | 1.1661 | 2011-08-04 09:00 | 20112170150 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 40 µl | 5.96 | ACETONE | . | 1.2 | 6.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1661 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-09-12 | ug/L | 1.1527 | 2011-09-01 08:30 | 20112450029 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 40 µl | 5.96 | ACETONE | . | 1.2 | 6.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1527 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-02-27 | ug/L | 1.1175 | 2012-02-16 08:30 | 20120470075 | ERA | 0618-10-02 LS4024 #2 | ERA 0618-10-02 LS4024 #2: 40 µl | 5.96 | ACETONE | . | 1.6 | 6.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1174 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2010-12-22 | ug/L | 1.3817 | 2010-12-16 08:00 | 20103510064 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 6 | ACETONE | . | 1.2 | 8.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3817 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-08-25 | ug/L | 1.295 | 2011-08-18 08:49 | 20112310025 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 6 | ACETONE | . | 1.2 | 7.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.295 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2011-12-21 | ug/L | 1.6667 | 2011-12-13 08:00 | 20113490068 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 6 | ACETONE | . | 1.6 | 10 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6667 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-05-19 | ug/L | 1.335 | 2012-05-17 07:00 | 20121390009 | ChemService | 443-149B | ChemService 443-149B: 40 µl | 6 | ACETONE | . | 1.6 | 8.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.335 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-01-31 | ug/L | 0.96429 | 2013-01-17 07:30 | 20130180024 | Crescent | 05BB024 | Crescent 05BB024: 20 µl | 7 | ACETONE | . | 1.6 | 6.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96429 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-03-26 | ug/L | 0.96857 | 2013-03-21 07:00 | 20130810109 | Crescent | 05BB024 | Crescent 05BB024: 20 µl | 7 | ACETONE | . | 1.6 | 6.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96857 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2012-12-03 | ug/L | 1.4857 | 2012-11-29 07:00 | 20123350007 | NSI | 060412-01 | NSI 060412-01: 20 µl | 7 | ACETONE | . | 1.6 | 10.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4857 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2013-02-28 | ug/L | 1.1043 | 2013-02-19 07:00 | 20130510052 | NSI | 060412-01 | NSI 060412-01: 20 µl | 7 | ACETONE | . | 1.6 | 7.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1043 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-03-03 | ug/L | 1.2258 | 2009-02-26 09:30 | 20090580001 | Restek | A062148 | Restek A062148: 40 µl | 7.424 | ACETONE | . | 1.8 | 9.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2258 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527
ACETONE | 4024 | 81552GCM60 | 2009-09-10 | ug/L | 1.118 | 2009-09-10 09:30 | 20092530077 | Restek | A062148 | Restek A062148: 40 µl | 7.424 | ACETONE | . | 1.8 | 8.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.118 | Y | Recoverable Result | Y |  | 41 | 1.2043 | 0.20499 | 1.1527 | 0.27452 | 0.2035 | 1.1527