## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | cens_val | UNITS | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-07-01 | ug/L | 0.96378 | 2014-06-26 08:00 | 20141770147 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.116 | MICROGRAMS PER LITER |  |  |  | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-01-13 | ug/L | 0.84081 | 2015-01-08 07:30 | 20150090093 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.06018 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0506 | MICROGRAMS PER LITER |  |  |  | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-04-09 | ug/L | 1.0469 | 2015-04-02 06:30 | 20150930003 | Accu, ERA | 214031115, 0227-14-06.1A | Accu 214031115: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.12036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.126 | MICROGRAMS PER LITER |  |  |  | Ac2141115, ER0226.1A | Ac | ER | ER | 2141115 | 0226.1A | 0226.1A | 2141115 | 0226.1A | 0226.1A | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-05-01 | ug/L | 0.91392 | 2014-04-24 07:00 | 20141150020 | Accu, NSI | 214031115, 032614 | Accu 214031115: 20 µl & NSI 032614: 20 µl | 0.12036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.11 | MICROGRAMS PER LITER |  |  |  | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-09-09 | ug/L | 1.0336 | 2014-09-03 07:15 | 20142470038 | Accu, NSI | 214031115, 032614 | Accu 214031115: 10 µl & NSI 032614: 10 µl | 0.06018 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0622 | MICROGRAMS PER LITER |  |  |  | Ac2141115, NS032614 | Ac | NS | NS | 2141115 | 032614 | 032614 | 2141115 |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-09-29 | ug/L | 0.91226 | 2015-09-17 08:00 | 20152610008 | Accu, ERA | 215041380, 0406-15-03 | Accu 215041380: 25 µl & ERA 0406-15-03: 25 µl | 0.1003 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0915 | MICROGRAMS PER LITER |  |  |  | Ac2151380, ER0405-03 | Ac | ER | ER | 2151380 | 0405-03 | 0405-03 | 2151380 | 0405-03 | 0405-03 | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-10-04 | ug/L | 0.99231 | 2014-09-25 07:30 | 20142720027 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 10 µl & ERA 0227-14-06.1A: 10 µl | 0.052 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0516 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-11-14 | ug/L | 0.9 | 2014-11-06 07:30 | 20143110111 | Crescent, ERA | 03DD004, 0227-14-06.1A | Crescent 03DD004: 20 µl & ERA 0227-14-06.1A: 20 µl | 0.104 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0936 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, ER0226.1A | Cr | ER | ER | 03DD004 | 0226.1A | 0226.1A |  | 0226.1A | 0226.1A | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-06-10 | ug/L | 0.99038 | 2014-05-29 08:00 | 20141490202 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 20 µl & NSI 032614: 20 µl | 0.104 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.103 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-07-29 | ug/L | 1.0519 | 2014-07-24 07:30 | 20142060045 | Crescent, NSI | 03DD004, 032614 | Crescent 03DD004: 10 µl & NSI 032614: 10 µl | 0.052 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0547 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, NS032614 | Cr | NS | NS | 03DD004 | 032614 | 032614 |  |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-05-03 | ug/L | 1.0308 | 2014-05-01 07:30 | 20141220028 | Crescent, Supelco | 03DD004, LC06438 | Crescent 03DD004: 10 µl & Supelco LC06438: 10 µl | 0.052 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0536 | MICROGRAMS PER LITER |  |  |  | Cr03DD004, SuLC06438 | Cr | Su | Su | 03DD004 | LC06438 | LC06438 |  |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-08-07 | ug/L | 0.985 | 2015-07-23 08:00 | 20152040181 | Crescent, ERA | 04EE008, 0406-15-03 | Crescent 04EE008: 10 µl & ERA 0406-15-03: 10 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0394 | MICROGRAMS PER LITER |  |  |  | Cr04EE008, ER0405-03 | Cr | ER | ER | 04EE008 | 0405-03 | 0405-03 |  | 0405-03 | 0405-03 | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-07-13 | ug/L | 1 | 2015-07-01 08:00 | 20151820110 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 25 µl & NSI 050515AVOC: 25 µl | 0.1 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.1 | MICROGRAMS PER LITER |  |  |  | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-10-17 | ug/L | 0.97 | 2015-10-15 09:00 | 20152890011 | Crescent, NSI | 04EE008, 050515AVOC | Crescent 04EE008: 15 µl & NSI 050515AVOC: 15 µl | 0.06 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0582 | MICROGRAMS PER LITER |  |  |  | Cr04EE008, NS050AVOC | Cr | NS | NS | 04EE008 | 050AVOC | 050AVOC |  | 050AVOC | 050AVOC | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-08-16 | ug/L |  | 2014-08-07 08:30 | 20142200168 | ERA, Spex Organics | 0227-14-06.1A, C1140417015 | ERA 0227-14-06.1A: 20 µl & Spex Organics C1140417015: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | ER0226.1A, SpC117015 | ER | Sp | Sp | 0226.1A | C117015 | C117015 | 0226.1A | C117015 | C117015 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-10-21 | ug/L |  | 2014-10-16 08:00 | 20142890080 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 10 µl & Supelco LC06438: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-03-06 | ug/L |  | 2015-02-19 07:30 | 20150510046 | ERA, Supelco | 0227-14-06.1A, LC06438 | ERA 0227-14-06.1A: 20 µl & Supelco LC06438: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | ER0226.1A, SuLC06438 | ER | Su | Su | 0226.1A | LC06438 | LC06438 | 0226.1A |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-10-16 | ug/L |  | 2015-10-08 09:00 | 20152810126 | ERA, Spex Organics | 0406-15-03, EN150428007 | ERA 0406-15-03: 15 µl & Spex Organics EN150428007: 15 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | ER0405-03, SpEN18007 | ER | Sp | Sp | 0405-03 | EN18007 | EN18007 | 0405-03 | EN18007 | EN18007 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-06-16 | ug/L |  | 2015-06-11 07:30 | 20151620184 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 25 µl & Supelco LC13545: 25 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-06-27 | ug/L |  | 2015-06-18 08:00 | 20151690197 | ERA, Supelco | 0406-15-03, LC13545 | ERA 0406-15-03: 10 µl & Supelco LC13545: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | ER0405-03, SuLC13545 | ER | Su | Su | 0405-03 | LC13545 | LC13545 | 0405-03 |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-09-09 | ug/L |  | 2014-09-04 08:00 | 20142480009 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 10 µl & Spex Organics C1140417015: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-11-22 | ug/L |  | 2014-11-19 07:30 | 20143240097 | NSI, Spex Organics | 032614, C1140417015 | NSI 032614: 20 µl & Spex Organics C1140417015: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | NS032614, SpC117015 | NS | Sp | Sp | 032614 | C117015 | C117015 |  | C117015 | C117015 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-05-30 | ug/L |  | 2014-05-16 07:30 | 20141360092 | NSI, Supelco | 032614, LC06438 | NSI 032614: 10 µl & Supelco LC06438: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-06-10 | ug/L |  | 2014-06-05 08:00 | 20141570084 | NSI, Supelco | 032614, LC06438 | NSI 032614: 20 µl & Supelco LC06438: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | NS032614, SuLC06438 | NS | Su | Su | 032614 | LC06438 | LC06438 |  |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-09-03 | ug/L |  | 2015-08-27 09:30 | 20152390224 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 10 µl & Spex Organics EN150428007: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-11-04 | ug/L |  | 2015-10-29 09:00 | 20153030066 | NSI, Spex Organics | 050515AVOC, EN150428007 | NSI 050515AVOC: 15 µl & Spex Organics EN150428007: 15 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | NS050AVOC, SpEN18007 | NS | Sp | Sp | 050AVOC | EN18007 | EN18007 | 050AVOC | EN18007 | EN18007 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-07-23 | ug/L | 0.98538 | 2014-07-17 07:00 | 20141990078 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 10 µl & Accu 214031115: 10 µl | 0.06018 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0593 | MICROGRAMS PER LITER |  |  |  | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-08-19 | ug/L | 0.9887 | 2014-08-14 07:30 | 20142270005 | Spex Organics, Accu | C1140417015, 214031115 | Spex Organics C1140417015: 20 µl & Accu 214031115: 20 µl | 0.12036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.119 | MICROGRAMS PER LITER |  |  |  | SpC117015, Ac2141115 | Sp | Ac | Ac | C117015 | 2141115 | 2141115 | C117015 | 2141115 | 2141115 | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-11-06 | ug/L | 0.88462 | 2014-10-30 07:30 | 20143030098 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 10 µl & Crescent 03DD004: 10 µl | 0.052 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.046 | MICROGRAMS PER LITER |  |  |  | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-03-19 | ug/L | 1.0962 | 2015-03-12 07:00 | 20150720068 | Spex Organics, Crescent | C1140417015, 03DD004 | Spex Organics C1140417015: 20 µl & Crescent 03DD004: 20 µl | 0.104 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.114 | MICROGRAMS PER LITER |  |  |  | SpC117015, Cr03DD004 | Sp | Cr | Cr | C117015 | 03DD004 | 03DD004 | C117015 |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-07-11 | ug/L |  | 2014-07-02 08:00 | 20141840101 | Spex Organics, ERA | C1140417015, 0227-14-06.1A | Spex Organics C1140417015: 10 µl & ERA 0227-14-06.1A: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | SpC117015, ER0226.1A | Sp | ER | ER | C117015 | 0226.1A | 0226.1A | C117015 | 0226.1A | 0226.1A | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-05-21 | ug/L | 0.99202 | 2015-05-14 07:00 | 20151380012 | Spex Organics, Accu | EN150428007, 215041380 | Spex Organics EN150428007: 10 µl & Accu 215041380: 10 µl | 0.04012 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0398 | MICROGRAMS PER LITER |  |  |  | SpEN18007, Ac2151380 | Sp | Ac | Ac | EN18007 | 2151380 | 2151380 | EN18007 | 2151380 | 2151380 | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-05-09 | ug/L | 1.0533 | 2015-05-07 07:30 | 20151270114 | Spex Organics, Crescent | EN150428007, 04EE008 | Spex Organics EN150428007: 15 µl & Crescent 04EE008: 15 µl | 0.06 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0632 | MICROGRAMS PER LITER |  |  |  | SpEN18007, Cr04EE008 | Sp | Cr | Cr | EN18007 | 04EE008 | 04EE008 | EN18007 |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-12-17 | ug/L | 0.97115 | 2014-12-08 07:30 | 20143420010 | Supelco, Crescent | LC06438, 03DD004 | Supelco LC06438: 20 µl & Crescent 03DD004: 20 µl | 0.104 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.101 | MICROGRAMS PER LITER |  |  |  | SuLC06438, Cr03DD004 | Su | Cr | Cr | LC06438 | 03DD004 | 03DD004 |  |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-05-09 | ug/L | 1.0625 | 2015-04-30 08:00 | 20151210035 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 10 µl & Crescent 04EE008: 10 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0425 | MICROGRAMS PER LITER |  |  |  | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2015-08-15 | ug/L | 1 | 2015-08-13 09:30 | 20152250274 | Supelco, Crescent | LC13545, 04EE008 | Supelco LC13545: 25 µl & Crescent 04EE008: 25 µl | 0.1 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.1 | MICROGRAMS PER LITER |  |  |  | SuLC13545, Cr04EE008 | Su | Cr | Cr | LC13545 | 04EE008 | 04EE008 |  |  |  | Y
1,2-DICHLOROPROPANE | 4440 | 34541GCM66 | 2014-09-21 | ug/L |  | 2014-09-10 07:30 | 20142530090 | Supelco | LC06438 | Supelco LC06438: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.026 | 0.026 | MICROGRAMS PER LITER |  |  |  | Supelco LC06438 | [9 empty] | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-03 | ug/L | 0.9875 | 2014-06-26 07:30 | 20141770148 | Abs, ChemService | 032014, 2615700 | Abs 032014: 20 µl & ChemService 2615700: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0158 | MICROGRAMS PER LITER |  |  |  | Ab032014, Ch2615700 | Ab | Ch | Ch | 032014 | 2615700 | 2615700 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-01-10 | ug/L | 0.95625 | 2015-01-08 07:00 | 20150090092 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 20 µl & ERA 0321-14-05A: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0153 | MICROGRAMS PER LITER |  |  |  | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-04-25 | ug/L | 1 | 2015-04-16 07:30 | 20151110020 | Abs, ERA | 032014, 0321-14-05A | Abs 032014: 10 µl & ERA 0321-14-05A: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.008 | MICROGRAMS PER LITER |  |  |  | Ab032014, ER032-05A | Ab | ER | ER | 032014 | 032-05A | 032-05A |  | 032-05A | 032-05A | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-08-14 | ug/L | 0.87248 | 2015-08-06 09:00 | 20152190008 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 10 µl & ERA 0601-15-05: 10 µl | 0.00596 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0052 | MICROGRAMS PER LITER |  |  |  | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-09-24 | ug/L | 1.0179 | 2015-09-17 07:30 | 20152610007 | Abs, ERA | 040315, 0601-15-05 | Abs 040315: 15 µl & ERA 0601-15-05: 15 µl | 0.00894 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0091 | MICROGRAMS PER LITER |  |  |  | Ab040315, ER0605-05 | Ab | ER | ER | 040315 | 0605-05 | 0605-05 |  | 0605-05 | 0605-05 | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-04-30 | ug/L | 1.0625 | 2014-04-17 07:00 | 20141080002 | Abs | 032014 | Abs 032014: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0085 | MICROGRAMS PER LITER |  |  |  | Abs 032014 | [9 empty] | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-23 | ug/L | 0.90625 | 2014-07-17 06:30 | 20141990077 | Accu, Abs | 214031128, 032014 | Accu 214031128: 20 µl & Abs 032014: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0145 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-09-11 | ug/L | 1.15 | 2014-09-10 07:00 | 20142530089 | Accu, Abs | 214031128, 032014 | Accu 214031128: 10 µl & Abs 032014: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0092 | MICROGRAMS PER LITER |  |  |  | Ac2141128, Ab032014 | Ac | Ab | Ab | 2141128 | 032014 | 032014 | 2141128 |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-12-13 | ug/L | 1.0875 | 2014-12-08 07:00 | 20143420011 | Accu, NSI | 214031128, 031814 | Accu 214031128: 10 µl & NSI 031814: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0087 | MICROGRAMS PER LITER |  |  |  | Ac2141128, NS031814 | Ac | NS | NS | 2141128 | 031814 | 031814 | 2141128 |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-05-20 | ug/L |  | 2014-05-16 07:00 | 20141360093 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 10 µl & Accu 214031128: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-11 | ug/L |  | 2014-07-02 07:30 | 20141840102 | ChemService, Accu | 2615700, 214031128 | ChemService 2615700: 20 µl & Accu 214031128: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | Ch2615700, Ac2141128 | Ch | Ac | Ac | 2615700 | 2141128 | 2141128 |  | 2141128 | 2141128 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-06-07 | ug/L |  | 2014-06-05 07:30 | 20141570087 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 20 µl & Supelco LC06437: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-11-22 | ug/L |  | 2014-11-19 07:00 | 20143240096 | ChemService, Supelco | 2615700, LC06437 | ChemService 2615700: 10 µl & Supelco LC06437: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | Ch2615700, SuLC06437 | Ch | Su | Su | 2615700 | LC06437 | LC06437 |  |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-05-20 | ug/L | 1.0667 | 2015-05-14 06:30 | 20151380011 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 10 µl & Accu 215041338: 10 µl | 0.006 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0064 | MICROGRAMS PER LITER |  |  |  | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-06-26 | ug/L | 1.0267 | 2015-06-25 07:00 | 20151760209 | ChemService, Accu | 3818700, 215041338 | ChemService 3818700: 25 µl & Accu 215041338: 25 µl | 0.015 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0154 | MICROGRAMS PER LITER |  |  |  | Ch3818700, Ac2151338 | Ch | Ac | Ac | 3818700 | 2151338 | 2151338 |  | 2151338 | 2151338 | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-06-16 | ug/L | 1.0111 | 2015-06-11 07:00 | 20151620183 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 15 µl & NSI 050515HVOC: 15 µl | 0.009 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0091 | MICROGRAMS PER LITER |  |  |  | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-06-25 | ug/L | 1.0333 | 2015-06-18 07:30 | 20151690196 | ChemService, NSI | 3818700, 050515HVOC | ChemService 3818700: 25 µl & NSI 050515HVOC: 25 µl | 0.015 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0155 | MICROGRAMS PER LITER |  |  |  | Ch3818700, NS050HVOC | Ch | NS | NS | 3818700 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-05-14 | ug/L | 1.0444 | 2015-05-07 08:00 | 20151270113 | ChemService, Supelco | 3818700, LC13544 | ChemService 3818700: 15 µl & Supelco LC13544: 15 µl | 0.009 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0094 | MICROGRAMS PER LITER |  |  |  | Ch3818700, SuLC13544 | Ch | Su | Su | 3818700 | LC13544 | LC13544 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-10-21 | ug/L |  | 2014-10-16 07:30 | 20142890079 | ERA, Accu | 0321-14-05A, 214031128 | ERA 0321-14-05A: 10 µl & Accu 214031128: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | ER032-05A, Ac2141128 | ER | Ac | Ac | 032-05A | 2141128 | 2141128 | 032-05A | 2141128 | 2141128 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-08-13 | ug/L |  | 2014-08-07 08:00 | 20142200169 | ERA, Accu | 0321-14-05, 214031128 | ERA 0321-14-05: 20 µl & Accu 214031128: 20 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | ER0324-05, Ac2141128 | ER | Ac | Ac | 0324-05 | 2141128 | 2141128 | 0324-05 | 2141128 | 2141128 | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-09-06 | ug/L |  | 2014-09-04 07:30 | 20142480010 | ERA, Supelco | 0321-14-05, LC06437 | ERA 0321-14-05: 10 µl & Supelco LC06437: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | ER0324-05, SuLC06437 | ER | Su | Su | 0324-05 | LC06437 | LC06437 | 0324-05 |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-08-24 | ug/L | 0.89485 | 2015-08-20 08:00 | 20152330040 | ERA, Supelco | 0601-15-05, LC13544 | ERA 0601-15-05: 15 µl & Supelco LC13544: 15 µl | 0.00894 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.008 | MICROGRAMS PER LITER |  |  |  | ER0605-05, SuLC13544 | ER | Su | Su | 0605-05 | LC13544 | LC13544 | 0605-05 |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-05-07 | ug/L | 1.0875 | 2014-05-01 07:00 | 20141220027 | NSI, Accu | 031814, 214031128 | NSI 031814: 20 µl & Accu 214031128: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0174 | MICROGRAMS PER LITER |  |  |  | NS031814, Ac2141128 | NS | Ac | Ac | 031814 | 2141128 | 2141128 |  | 2141128 | 2141128 | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-06-06 | ug/L | 1.1625 | 2014-05-29 07:30 | 20141490200 | NSI, ChemService | 031814, 2615700 | NSI 031814: 20 µl & ChemService 2615700: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0186 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-07-30 | ug/L | 1.0875 | 2014-07-24 07:00 | 20142060044 | NSI, ChemService | 031814, 2615700 | NSI 031814: 10 µl & ChemService 2615700: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0087 | MICROGRAMS PER LITER |  |  |  | NS031814, Ch2615700 | NS | Ch | Ch | 031814 | 2615700 | 2615700 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-09-06 | ug/L | 1.35 | 2014-09-03 07:00 | 20142470039 | NSI, ERA | 031814, 0321-14-05 | NSI 031814: 10 µl & ERA 0321-14-05: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0108 | MICROGRAMS PER LITER |  |  |  | NS031814, ER0324-05 | NS | ER | ER | 031814 | 0324-05 | 0324-05 |  | 0324-05 | 0324-05 | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-06-17 | ug/L | 0.9875 | 2014-06-12 07:30 | 20141640079 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 10 µl & Abs 032014: 10 µl | 0.008 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0079 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2014-08-20 | ug/L | 0.875 | 2014-08-14 07:00 | 20142270004 | Supelco, Abs | LC06437, 032014 | Supelco LC06437: 20 µl & Abs 032014: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.014 | MICROGRAMS PER LITER |  |  |  | SuLC06437, Ab032014 | Su | Ab | Ab | LC06437 | 032014 | 032014 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-03-19 | ug/L | 1.1062 | 2015-03-12 06:30 | 20150720067 | Supelco, NSI | LC06437, 031814 | Supelco LC06437: 20 µl & NSI 031814: 20 µl | 0.016 | 1,2-DICHLOROPROPANE | . | 0.004 | 0.0177 | MICROGRAMS PER LITER |  |  |  | SuLC06437, NS031814 | Su | NS | NS | LC06437 | 031814 | 031814 |  |  |  | Y
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-05-05 | ug/L |  | 2015-04-30 08:30 | 20151210034 | Supelco, Abs | LC13544, 040315 | Supelco LC13544: 10 µl & Abs 040315: 10 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | SuLC13544, Ab040315 | Su | Ab | Ab | LC13544 | 040315 | 040315 |  |  |  | N | < Reporting Level | N
1,2-DICHLOROPROPANE | 4437 | 34541GM016 | 2015-07-30 | ug/L |  | 2015-07-23 07:30 | 20152040180 | Supelco, NSI | LC13544, 050515HVOC | Supelco LC13544: 15 µl & NSI 050515HVOC: 15 µl |  | 1,2-DICHLOROPROPANE | < | 0.004 | 0.004 | MICROGRAMS PER LITER |  |  |  | SuLC13544, NS050HVOC | Su | NS | NS | LC13544 | 050HVOC | 050HVOC |  | 050HVOC | 050HVOC | N | < Reporting Level | N