## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ACETOCHLOR | 49260GCM33 | 2011-08-18 08:47 | 20112310030 | 0.01 | False Positive |  | . |  | ug/L |  | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-04-30 07:00 | 20151210037 | 0.01 | Estimated Values | 0.015 | E | 0.0148 | ug/L | 0.98667 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-10-22 06:00 | 20152950078 | 0.01 | Recoverable Result | 0.015 | . | 0.0101 | ug/L | 0.67333 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-06-25 06:00 | 20151760208 | 0.01 | Recoverable Result | 0.015 | . | 0.0203 | ug/L | 1.3533 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-07-23 06:00 | 20152040177 | 0.01 | Recoverable Result | 0.015 | . | 0.0157 | ug/L | 1.0467 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-11-10 06:00 | 20153160001 | 0.01 | Recoverable Result | 0.015 | . | 0.015 | ug/L | 1 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-04-17 06:00 | 20141080004 | 0.01 | Recoverable Result | 0.0198 | . | 0.016 | ug/L | 0.80808 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-05-22 07:00 | 20141420140 | 0.01 | Recoverable Result | 0.0198 | . | 0.0187 | ug/L | 0.94444 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-08-07 07:00 | 20142200164 | 0.01 | Recoverable Result | 0.0198 | . | 0.0156 | ug/L | 0.78788 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-06-12 06:00 | 20141640076 | 0.01 | Recoverable Result | 0.0198 | . | 0.0169 | ug/L | 0.85354 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-01-15 06:00 | 20150150115 | 0.01 | Estimated Values | 0.0201 | E | 0.0155 | ug/L | 0.77114 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-07-10 06:00 | 20141910243 | 0.01 | Recoverable Result | 0.0201 | . | 0.0156 | ug/L | 0.77612 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-07-02 07:00 | 20141840097 | 0.01 | Recoverable Result | 0.0201 | . | 0.0155 | ug/L | 0.77114 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-12-03 06:00 | 20143370094 | 0.01 | Recoverable Result | 0.0201 | . | 0.0135 | ug/L | 0.67164 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-02-11 06:30 | 20100420055 | 0.01 | Estimated Values | 0.024463 | E | 0.0272 | ug/L | 1.1119 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-01-28 06:30 | 20100280077 | 0.01 | Recoverable Result | 0.024628 | . | 0.0143 | ug/L | 0.58065 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-02-17 08:30 | 20110490035 | 0.01 | Recoverable Result | 0.02475 | . | 0.027 | ug/L | 1.0909 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-06-03 06:30 | 20101550006 | 0.01 | Recoverable Result | 0.025652 | . | 0.0272 | ug/L | 1.0604 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-07-09 07:00 | 20151900132 | 0.01 | Recoverable Result | 0.03 | . | 0.03 | ug/L | 1 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-08-20 06:00 | 20152330039 | 0.01 | Recoverable Result | 0.03 | . | 0.0223 | ug/L | 0.74333 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-05-07 07:00 | 20151270112 | 0.01 | Estimated Values | 0.03 | E | 0.0265 | ug/L | 0.88333 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-12-09 06:00 | 20153440001 | 0.01 | Recoverable Result | 0.03 | . | 0.0228 | ug/L | 0.76 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-04-29 10:30 | 20101190091 | 0.01 | Recoverable Result | 0.038782 | . | 0.0366 | ug/L | 0.94373 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-08-14 06:00 | 20142270001 | 0.01 | Recoverable Result | 0.0396 | . | 0.0251 | ug/L | 0.63384 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-03-12 06:00 | 20150720069 | 0.01 | Recoverable Result | 0.0396 | . | 0.033 | ug/L | 0.83333 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-10-23 06:00 | 20142960086 | 0.01 | Recoverable Result | 0.0396 | . | 0.0267 | ug/L | 0.67424 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-11-06 06:00 | 20143110108 | 0.01 | Recoverable Result | 0.0396 | . | 0.025 | ug/L | 0.63131 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-05-01 06:00 | 20141220025 | 0.01 | Recoverable Result | 0.0402 | . | 0.0408 | ug/L | 1.0149 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-09-25 06:00 | 20142720002 | 0.01 | Recoverable Result | 0.0402 | . | 0.0297 | ug/L | 0.73881 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-06-05 07:00 | 20141570088 | 0.01 | Recoverable Result | 0.0402 | . | 0.0357 | ug/L | 0.88806 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-09-10 06:00 | 20142530087 | 0.01 | Recoverable Result | 0.0402 | . | 0.0253 | ug/L | 0.62935 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-09-09 06:40 | 20102530008 | 0.01 | Recoverable Result | 0.040428 | . | 0.0437 | ug/L | 1.0809 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-06-17 10:30 | 20101720149 | 0.01 | Recoverable Result | 0.040547 | . | 0.046 | ug/L | 1.1345 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-01-06 07:00 | 20110070109 | 0.01 | Recoverable Result | 0.046699 | . | 0.0394 | ug/L | 0.84371 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-03-10 06:30 | 20110690078 | 0.01 | Recoverable Result | 0.047022 | . | 0.0522 | ug/L | 1.1101 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-07-14 08:00 | 20111960039 | 0.01 | Recoverable Result | 0.0476 | . | 0.0495 | ug/L | 1.0399 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-10-13 07:30 | 20112870073 | 0.01 | Recoverable Result | 0.0476 | . | 0.0443 | ug/L | 0.93067 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-02-16 07:30 | 20120470078 | 0.01 | Recoverable Result | 0.0476 | . | 0.045 | ug/L | 0.94538 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-04-26 07:00 | 20121180062 | 0.01 | Recoverable Result | 0.0476 | . | 0.0576 | ug/L | 1.2101 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-03-31 07:30 | 20110910084 | 0.01 | Recoverable Result | 0.047887 | . | 0.0336 | ug/L | 0.70165 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-11-30 07:00 | 20103350003 | 0.01 | Recoverable Result | 0.047899 | . | 0.0574 | ug/L | 1.1983 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-08-25 10:00 | 20112380055 | 0.01 | Recoverable Result | 0.048 | . | 0.0444 | ug/L | 0.925 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-11-03 07:00 | 20113080001 | 0.01 | Recoverable Result | 0.048 | . | 0.0473 | ug/L | 0.98542 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-03-22 06:30 | 20120830077 | 0.01 | Estimated Values | 0.048 | E | 0.0608 | ug/L | 1.2667 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-05-24 07:00 | 20121460001 | 0.01 | Recoverable Result | 0.048 | . | 0.0459 | ug/L | 0.95625 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-05-26 07:30 | 20111470065 | 0.01 | Recoverable Result | 0.04811 | . | 0.0422 | ug/L | 0.87716 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-05-06 06:30 | 20101270038 | 0.01 | Recoverable Result | 0.048168 | . | 0.0452 | ug/L | 0.93839 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-01-27 06:30 | 20110280004 | 0.01 | Recoverable Result | 0.048217 | . | 0.0383 | ug/L | 0.79433 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-05-05 07:30 | 20111260154 | 0.01 | Recoverable Result | 0.048529 | . | 0.0415 | ug/L | 0.85516 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-07-13 06:30 | 20101950137 | 0.01 | Recoverable Result | 0.04914 | . | 0.054 | ug/L | 1.0989 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-08-15 06:30 | 20132280016 | 0.01 | Recoverable Result | 0.05 | . | 0.0496 | ug/L | 0.992 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-10-31 06:30 | 20133050050 | 0.01 | Recoverable Result | 0.05 | . | 0.0532 | ug/L | 1.064 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-06-13 06:30 | 20131650073 | 0.01 | Recoverable Result | 0.0502 | . | 0.0564 | ug/L | 1.1235 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-06-27 06:30 | 20131790009 | 0.01 | Recoverable Result | 0.0502 | . | 0.059 | ug/L | 1.1753 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-12-12 06:30 | 20133470008 | 0.01 | Recoverable Result | 0.0502 | . | 0.0475 | ug/L | 0.94622 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-11-26 07:00 | 20133310030 | 0.01 | Recoverable Result | 0.0502 | . | 0.0507 | ug/L | 1.01 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-03-13 07:00 | 20140730138 | 0.01 | Recoverable Result | 0.0502 | . | 0.0419 | ug/L | 0.83466 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-07-11 06:30 | 20131920149 | 0.01 | Recoverable Result | 0.06 | . | 0.0515 | ug/L | 0.85833 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-09-13 06:00 | 20122570122 | 0.01 | Recoverable Result | 0.06 | . | 0.0443 | ug/L | 0.73833 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-03-05 06:00 | 20130650005 | 0.01 | Recoverable Result | 0.06 | . | 0.0345 | ug/L | 0.575 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-05-02 06:00 | 20131230084 | 0.01 | Recoverable Result | 0.06 | . | 0.0657 | ug/L | 1.095 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-08-07 06:00 | 20122210006 | 0.01 | Recoverable Result | 0.06 | . | 0.0474 | ug/L | 0.79 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-09-03 06:00 | 20152460215 | 0.01 | Recoverable Result | 0.06 | . | 0.0504 | ug/L | 0.84 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-08-16 06:30 | 20122300021 | 0.01 | Recoverable Result | 0.06 | . | 0.0593 | ug/L | 0.98833 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2015-10-01 06:00 | 20152750006 | 0.01 | Recoverable Result | 0.06 | . | 0.0466 | ug/L | 0.77667 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-07-03 08:00 | 20121870008 | 0.01 | Recoverable Result | 0.06 | . | 0.0541 | ug/L | 0.90167 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-02-07 06:30 | 20130390105 | 0.01 | Recoverable Result | 0.06 | . | 0.0346 | ug/L | 0.57667 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-03-27 06:30 | 20140860102 | 0.01 | Recoverable Result | 0.06 | . | 0.0357 | ug/L | 0.595 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-10-17 06:30 | 20132910008 | 0.01 | Recoverable Result | 0.06 | . | 0.0482 | ug/L | 0.80333 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-12-05 08:00 | 20133400002 | 0.01 | Recoverable Result | 0.06 | . | 0.0493 | ug/L | 0.82167 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-06-07 10:00 | 20111590005 | 0.01 | Recoverable Result | 0.074096 | . | 0.067 | ug/L | 0.90423 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-02-10 07:00 | 20110410061 | 0.01 | Recoverable Result | 0.094642 | . | 0.0785 | ug/L | 0.82944 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-11-04 07:30 | 20103080116 | 0.01 | Estimated Values | 0.094679 | E | 0.0958 | ug/L | 1.0118 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-10-14 07:30 | 20102880001 | 0.01 | Recoverable Result | 0.095078 | . | 0.102 | ug/L | 1.0728 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-11-17 07:00 | 20113220198 | 0.01 | Recoverable Result | 0.0952 | . | 0.0787 | ug/L | 0.82668 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-06-23 07:00 | 20111750006 | 0.01 | Recoverable Result | 0.096 | . | 0.0953 | ug/L | 0.99271 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-09-08 07:30 | 20112520209 | 0.01 | Recoverable Result | 0.096 | . | 0.096 | ug/L | 1 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-12-13 07:30 | 20113490056 | 0.01 | Recoverable Result | 0.096 | . | 0.105 | ug/L | 1.0938 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-01-19 07:00 | 20120200073 | 0.01 | Recoverable Result | 0.096 | . | 0.101 | ug/L | 1.0521 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | ACETOCHLOR | 49260GCM33 | 2011-04-07 09:00 | 20110980030 | 0.01 | Recoverable Result | 0.099483 | . | 0.0909 | ug/L | 0.91373 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-11-18 09:00 | 20103230114 | 0.01 | Recoverable Result | 0.1007 | . | 0.107 | ug/L | 1.0625 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-02-06 06:30 | 20140370077 | 0.01 | Recoverable Result | 0.125 | . | 0.0894 | ug/L | 0.7152 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-09-25 08:00 | 20132690010 | 0.01 | Recoverable Result | 0.125 | . | 0.142 | ug/L | 1.136 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-05-16 07:00 | 20131370001 | 0.01 | Recoverable Result | 0.1255 | . | 0.136 | ug/L | 1.0837 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2010-08-12 06:30 | 20102250096 | 0.01 | Recoverable Result | 0.12657 | . | 0.0772 | ug/L | 0.60994 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-06-21 06:00 | 20121730123 | 0.01 | Recoverable Result | 0.15 | . | 0.139 | ug/L | 0.92667 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-10-30 07:00 | 20123040157 | 0.01 | Recoverable Result | 0.15 | . | 0.136 | ug/L | 0.90667 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-12-20 06:30 | 20123560092 | 0.01 | Recoverable Result | 0.15 | . | 0.114 | ug/L | 0.76 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-03-21 06:30 | 20130810108 | 0.01 | Recoverable Result | 0.15 | . | 0.125 | ug/L | 0.83333 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-08-29 06:30 | 20132420001 | 0.01 | Recoverable Result | 0.15 | . | 0.117 | ug/L | 0.78 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-01-23 06:30 | 20140230082 | 0.01 | Recoverable Result | 0.15 | . | 0.0951 | ug/L | 0.634 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-09-06 06:50 | 20132490342 | 0.01 | Recoverable Result | 0.25 | . | 0.239 | ug/L | 0.956 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2014-01-09 06:30 | 20140100085 | 0.01 | Recoverable Result | 0.25 | . | 0.221 | ug/L | 0.884 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2013-01-24 06:00 | 20130250061 | 0.01 | Recoverable Result | 0.3 | . | 0.231 | ug/L | 0.77 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-12-06 06:30 | 20123420074 | 0.01 | Recoverable Result | 0.3 | . | 0.276 | ug/L | 0.92 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2012-11-08 06:30 | 20123140095 | 0.01 | Recoverable Result | 0.3 | . | 0.246 | ug/L | 0.82 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl