## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ALACHLOR | 46342GCM35 | 2015-04-30 07:00 | 20151210037 | 0.008 | Recoverable Result | 0.012 | . | 0.0126 | ug/L | 1.05 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2015-10-22 06:00 | 20152950078 | 0.008 | Recoverable Result | 0.012 | . | 0.0083 | ug/L | 0.69167 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2015-06-25 06:00 | 20151760208 | 0.008 | Recoverable Result | 0.012 | . | 0.0149 | ug/L | 1.2417 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2015-07-23 06:00 | 20152040177 | 0.008 | Recoverable Result | 0.012 | . | 0.0125 | ug/L | 1.0417 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2015-11-10 06:00 | 20153160001 | 0.008 | Recoverable Result | 0.012 | . | 0.0112 | ug/L | 0.93333 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-06-13 06:30 | 20131650073 | 0.008 | Recoverable Result | 0.014 | . | 0.0182 | ug/L | 1.3 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-06-27 06:30 | 20131790009 | 0.008 | Recoverable Result | 0.014 | . | 0.0176 | ug/L | 1.2571 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-08-15 06:30 | 20132280016 | 0.008 | Recoverable Result | 0.014 | . | 0.0167 | ug/L | 1.1929 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-12-12 06:30 | 20133470008 | 0.008 | Recoverable Result | 0.014 | . | 0.0138 | ug/L | 0.98571 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-10-31 06:30 | 20133050050 | 0.008 | Recoverable Result | 0.014 | . | 0.0168 | ug/L | 1.2 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-11-26 07:00 | 20133310030 | 0.008 | Recoverable Result | 0.014 | . | 0.0158 | ug/L | 1.1286 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2014-03-13 07:00 | 20140730138 | 0.008 | Recoverable Result | 0.014 | . | 0.0141 | ug/L | 1.0071 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | ALACHLOR | 46342GCM35 | 2010-02-11 06:30 | 20100420055 | 0.008 | Estimated Values | 0.01556 | E | 0.019 | ug/L | 1.221 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2010-01-28 06:30 | 20100280077 | 0.008 | Recoverable Result | 0.01569 | . | 0.0106 | ug/L | 0.67558 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2014-04-17 06:00 | 20141080004 | 0.008 | Recoverable Result | 0.0159 | . | 0.014 | ug/L | 0.8805 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2014-05-22 07:00 | 20141420140 | 0.008 | Recoverable Result | 0.0159 | . | 0.0162 | ug/L | 1.0189 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2014-08-07 07:00 | 20142200164 | 0.008 | Recoverable Result | 0.0159 | . | 0.0143 | ug/L | 0.89937 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2014-06-12 06:00 | 20141640076 | 0.008 | Recoverable Result | 0.0159 | . | 0.0142 | ug/L | 0.89308 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2015-01-15 06:00 | 20150150115 | 0.008 | Recoverable Result | 0.01596 | . | 0.0133 | ug/L | 0.83333 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2014-07-10 06:00 | 20141910243 | 0.008 | Recoverable Result | 0.01596 | . | 0.013 | ug/L | 0.81454 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2014-07-02 07:00 | 20141840097 | 0.008 | Recoverable Result | 0.01596 | . | 0.0131 | ug/L | 0.8208 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2014-12-03 06:00 | 20143370094 | 0.008 | Recoverable Result | 0.01596 | . | 0.0121 | ug/L | 0.75815 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | ALACHLOR | 46342GCM35 | 2010-06-03 06:30 | 20101550006 | 0.008 | Recoverable Result | 0.016343 | . | 0.0194 | ug/L | 1.1871 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2015-07-09 07:00 | 20151900132 | 0.008 | Recoverable Result | 0.024 | . | 0.0242 | ug/L | 1.0083 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2015-08-20 06:00 | 20152330039 | 0.008 | Recoverable Result | 0.024 | . | 0.0209 | ug/L | 0.87083 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2015-05-07 07:00 | 20151270112 | 0.008 | Recoverable Result | 0.024 | . | 0.024 | ug/L | 1 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2015-12-09 06:00 | 20153440001 | 0.008 | Recoverable Result | 0.024 | . | 0.0182 | ug/L | 0.75833 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-02-17 08:30 | 20110490035 | 0.008 | Recoverable Result | 0.02475 | . | 0.0262 | ug/L | 1.0586 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ALACHLOR | 46342GCM35 | 2013-07-11 06:30 | 20131920149 | 0.008 | Recoverable Result | 0.03 | . | 0.0278 | ug/L | 0.92667 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2012-09-13 06:00 | 20122570122 | 0.008 | Recoverable Result | 0.03 | . | 0.0246 | ug/L | 0.82 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-03-05 06:00 | 20130650005 | 0.008 | Recoverable Result | 0.03 | . | 0.0207 | ug/L | 0.69 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-05-02 06:00 | 20131230084 | 0.008 | Recoverable Result | 0.03 | . | 0.0334 | ug/L | 1.1133 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2012-08-07 06:00 | 20122210006 | 0.008 | Recoverable Result | 0.03 | . | 0.0267 | ug/L | 0.89 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2012-08-16 06:30 | 20122300021 | 0.008 | Recoverable Result | 0.03 | . | 0.0331 | ug/L | 1.1033 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2012-07-03 08:00 | 20121870008 | 0.008 | Recoverable Result | 0.03 | . | 0.0307 | ug/L | 1.0233 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2013-02-07 06:30 | 20130390105 | 0.008 | Recoverable Result | 0.03 | . | 0.0206 | ug/L | 0.68667 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2014-03-27 06:30 | 20140860102 | 0.008 | Recoverable Result | 0.03 | . | 0.0216 | ug/L | 0.72 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | ALACHLOR | 46342GCM35 | 2013-10-17 06:30 | 20132910008 | 0.008 | Recoverable Result | 0.03 | . | 0.0268 | ug/L | 0.89333 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ALACHLOR | 46342GCM35 | 2013-12-05 08:00 | 20133400002 | 0.008 | Recoverable Result | 0.03 | . | 0.0274 | ug/L | 0.91333 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | ALACHLOR | 46342GCM35 | 2010-05-06 06:30 | 20101270038 | 0.008 | Recoverable Result | 0.030638 | . | 0.03 | ug/L | 0.97918 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2010-07-13 06:30 | 20101950137 | 0.008 | Recoverable Result | 0.031256 | . | 0.0364 | ug/L | 1.1646 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2014-08-14 06:00 | 20142270001 | 0.008 | Recoverable Result | 0.0318 | . | 0.0233 | ug/L | 0.7327 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2015-03-12 06:00 | 20150720069 | 0.008 | Recoverable Result | 0.0318 | . | 0.0314 | ug/L | 0.98742 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-10-23 06:00 | 20142960086 | 0.008 | Recoverable Result | 0.0318 | . | 0.0265 | ug/L | 0.83333 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-11-06 06:00 | 20143110108 | 0.008 | Recoverable Result | 0.0318 | . | 0.0256 | ug/L | 0.80503 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-05-01 06:00 | 20141220025 | 0.008 | Recoverable Result | 0.03192 | . | 0.034 | ug/L | 1.0652 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-09-25 06:00 | 20142720002 | 0.008 | Recoverable Result | 0.03192 | . | 0.0256 | ug/L | 0.80201 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-06-05 07:00 | 20141570088 | 0.008 | Recoverable Result | 0.03192 | . | 0.0309 | ug/L | 0.96805 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-09-10 06:00 | 20142530087 | 0.008 | Recoverable Result | 0.03192 | . | 0.0243 | ug/L | 0.76128 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | ALACHLOR | 46342GCM35 | 2014-02-06 06:30 | 20140370077 | 0.008 | Recoverable Result | 0.035 | . | 0.0295 | ug/L | 0.84286 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | ALACHLOR | 46342GCM35 | 2013-05-16 07:00 | 20131370001 | 0.008 | Recoverable Result | 0.035 | . | 0.0381 | ug/L | 1.0886 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | ALACHLOR | 46342GCM35 | 2013-09-25 08:00 | 20132690010 | 0.008 | Recoverable Result | 0.035 | . | 0.0459 | ug/L | 1.3114 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2010-04-29 10:30 | 20101190091 | 0.008 | Recoverable Result | 0.038782 | . | 0.0348 | ug/L | 0.89732 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2010-09-09 06:40 | 20102530008 | 0.008 | Recoverable Result | 0.040428 | . | 0.0417 | ug/L | 1.0315 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2010-06-17 10:30 | 20101720149 | 0.008 | Recoverable Result | 0.040547 | . | 0.0441 | ug/L | 1.0876 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2010-10-28 07:30 | 20103020155 | 0.008 | Recoverable Result | 0.042689 | . | 0.0448 | ug/L | 1.0495 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-01-20 07:30 | 20110210095 | 0.008 | Recoverable Result | 0.043495 | . | 0.0355 | ug/L | 0.81618 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2010-10-07 07:30 | 20102810019 | 0.008 | Recoverable Result | 0.043846 | . | 0.0331 | ug/L | 0.75492 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-06-16 08:00 | 20111680035 | 0.008 | Recoverable Result | 0.044121 | . | 0.0379 | ug/L | 0.85901 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-02-02 06:30 | 20110340007 | 0.008 | Recoverable Result | 0.044145 | . | 0.0394 | ug/L | 0.89251 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-07-07 07:00 | 20111890004 | 0.008 | Recoverable Result | 0.0442 | . | 0.0487 | ug/L | 1.1018 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-10-27 07:30 | 20113010047 | 0.008 | Recoverable Result | 0.0442 | . | 0.039 | ug/L | 0.88235 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2012-03-15 08:00 | 20120760111 | 0.008 | Recoverable Result | 0.0442 | . | 0.0322 | ug/L | 0.72851 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-04-22 06:20 | 20111170107 | 0.008 | Recoverable Result | 0.044356 | . | 0.0474 | ug/L | 1.0686 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-03-24 06:30 | 20110840108 | 0.008 | Recoverable Result | 0.044404 | . | 0.0383 | ug/L | 0.86253 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-07-28 07:00 | 20112100007 | 0.008 | Estimated Values | 0.0446 | E | 0.0443 | ug/L | 0.99327 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2011-10-07 06:30 | 20112840031 | 0.008 | Recoverable Result | 0.0446 | . | 0.0413 | ug/L | 0.92601 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2012-01-12 07:00 | 20120120071 | 0.008 | Recoverable Result | 0.0446 | . | 0.0392 | ug/L | 0.87892 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2012-02-23 07:30 | 20120540036 | 0.008 | Recoverable Result | 0.0446 | . | 0.0358 | ug/L | 0.80269 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2012-03-29 08:00 | 20120930003 | 0.008 | Recoverable Result | 0.0446 | . | 0.0346 | ug/L | 0.77578 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | ALACHLOR | 46342GCM35 | 2015-09-03 06:00 | 20152460215 | 0.008 | Recoverable Result | 0.048 | . | 0.0447 | ug/L | 0.93125 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2015-10-01 06:00 | 20152750006 | 0.008 | Recoverable Result | 0.048 | . | 0.0369 | ug/L | 0.76875 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2013-09-06 06:50 | 20132490342 | 0.008 | Recoverable Result | 0.07 | . | 0.0794 | ug/L | 1.1343 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2014-01-09 06:30 | 20140100085 | 0.008 | Recoverable Result | 0.07 | . | 0.0716 | ug/L | 1.0229 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | ALACHLOR | 46342GCM35 | 2011-06-07 10:00 | 20111590005 | 0.008 | Recoverable Result | 0.074096 | . | 0.0622 | ug/L | 0.83945 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ALACHLOR | 46342GCM35 | 2012-06-21 06:00 | 20121730123 | 0.008 | Recoverable Result | 0.075 | . | 0.0738 | ug/L | 0.984 | Y | rcr |  | 2012-06-28 | Restek A088380: 50 µl
2033 | ALACHLOR | 46342GCM35 | 2012-10-30 07:00 | 20123040157 | 0.008 | Recoverable Result | 0.075 | . | 0.0695 | ug/L | 0.92667 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | ALACHLOR | 46342GCM35 | 2012-12-20 06:30 | 20123560092 | 0.008 | Recoverable Result | 0.075 | . | 0.0634 | ug/L | 0.84533 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ALACHLOR | 46342GCM35 | 2013-03-21 06:30 | 20130810108 | 0.008 | Recoverable Result | 0.075 | . | 0.0669 | ug/L | 0.892 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | ALACHLOR | 46342GCM35 | 2013-08-29 06:30 | 20132420001 | 0.008 | Recoverable Result | 0.075 | . | 0.0646 | ug/L | 0.86133 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | ALACHLOR | 46342GCM35 | 2014-01-23 06:30 | 20140230082 | 0.008 | Recoverable Result | 0.075 | . | 0.0572 | ug/L | 0.76267 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | ALACHLOR | 46342GCM35 | 2010-08-12 06:30 | 20102250096 | 0.008 | Recoverable Result | 0.080637 | . | 0.0562 | ug/L | 0.69695 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2010-11-24 07:00 | 20103330007 | 0.008 | Recoverable Result | 0.085827 | . | 0.0848 | ug/L | 0.98803 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2010-12-16 06:30 | 20103510060 | 0.008 | Recoverable Result | 0.087969 | . | 0.0732 | ug/L | 0.83211 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2011-04-28 07:00 | 20111190184 | 0.008 | Recoverable Result | 0.088057 | . | 0.102 | ug/L | 1.1583 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2011-08-04 08:00 | 20112170174 | 0.008 | Recoverable Result | 0.0884 | . | 0.0818 | ug/L | 0.92534 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2011-11-29 07:00 | 20113340046 | 0.008 | Recoverable Result | 0.0884 | . | 0.0608 | ug/L | 0.68778 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2012-02-09 07:00 | 20120400058 | 0.008 | Recoverable Result | 0.0884 | . | 0.0789 | ug/L | 0.89253 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2011-03-03 07:00 | 20110620082 | 0.008 | Recoverable Result | 0.088562 | . | 0.0843 | ug/L | 0.95187 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2012-01-26 07:00 | 20120260028 | 0.008 | Recoverable Result | 0.0892 | . | 0.0825 | ug/L | 0.92489 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2012-04-12 07:00 | 20121040012 | 0.008 | Recoverable Result | 0.0892 | . | 0.0795 | ug/L | 0.89126 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2011-05-19 07:30 | 20111390178 | 0.008 | Recoverable Result | 0.089802 | . | 0.0857 | ug/L | 0.95432 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | ALACHLOR | 46342GCM35 | 2011-04-07 09:00 | 20110980030 | 0.008 | Recoverable Result | 0.099483 | . | 0.0921 | ug/L | 0.92579 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2010-11-18 09:00 | 20103230114 | 0.008 | Recoverable Result | 0.1007 | . | 0.112 | ug/L | 1.1122 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2013-01-24 06:00 | 20130250061 | 0.008 | Recoverable Result | 0.15 | . | 0.126 | ug/L | 0.84 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-12-06 06:30 | 20123420074 | 0.008 | Recoverable Result | 0.15 | . | 0.147 | ug/L | 0.98 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ALACHLOR | 46342GCM35 | 2012-11-08 06:30 | 20123140095 | 0.008 | Recoverable Result | 0.15 | . | 0.129 | ug/L | 0.86 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl