## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-10-22 06:00 | 20152950078 | 0.01 | Recoverable Result | 0.014 | . | 0.0084 | ug/L | 0.6 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-06-25 06:00 | 20151760208 | 0.01 | Recoverable Result | 0.014 | . | 0.0143 | ug/L | 1.0214 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-10-29 06:00 | 20153030068 | 0.01 | Recoverable Result | 0.014 | . | 0.0121 | ug/L | 0.86429 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-07-23 06:00 | 20152040177 | 0.01 | Recoverable Result | 0.01502 | . | 0.0117 | ug/L | 0.77896 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-08-06 06:00 | 20152190003 | 0.01 | Recoverable Result | 0.01502 | . | 0.0091 | ug/L | 0.60586 |  | rcr | n | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-04-17 06:00 | 20141080004 | 0.01 | Recoverable Result | 0.0201 | . | 0.0168 | ug/L | 0.83582 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-01-15 06:00 | 20150150115 | 0.01 | Recoverable Result | 0.0201 | . | 0.0152 | ug/L | 0.75622 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-05-22 07:00 | 20141420140 | 0.01 | Recoverable Result | 0.0201 | . | 0.0226 | ug/L | 1.1244 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-08-07 07:00 | 20142200164 | 0.01 | Recoverable Result | 0.0201 | . | 0.0149 | ug/L | 0.74129 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-06-12 06:00 | 20141640076 | 0.01 | Recoverable Result | 0.0201 | . | 0.0178 | ug/L | 0.88557 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-07-10 06:00 | 20141910243 | 0.01 | Recoverable Result | 0.0201 | . | 0.0136 | ug/L | 0.67662 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-07-02 07:00 | 20141840097 | 0.01 | Recoverable Result | 0.0201 | . | 0.0142 | ug/L | 0.70647 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-12-03 06:00 | 20143370094 | 0.01 | Recoverable Result | 0.0201 | . | 0.0096 | ug/L | 0.47761 | Y | rcr | n | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-02-17 08:30 | 20110490035 | 0.0036 | Recoverable Result | 0.02475 | . | 0.023 | ug/L | 0.92929 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-06-04 07:00 | 20151550293 | 0.01 | Recoverable Result | 0.028 | . | 0.0268 | ug/L | 0.95714 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-05-07 07:00 | 20151270112 | 0.01 | Recoverable Result | 0.028 | . | 0.0243 | ug/L | 0.86786 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-12-09 06:00 | 20153440001 | 0.01 | Recoverable Result | 0.03004 | . | 0.0195 | ug/L | 0.64913 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-12-17 06:00 | 20153510109 | 0.01 | Recoverable Result | 0.03004 | . | 0.0201 | ug/L | 0.66911 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-06-13 06:30 | 20131650073 | 0.01 | Recoverable Result | 0.038 | . | 0.0361 | ug/L | 0.95 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-06-27 06:30 | 20131790009 | 0.01 | Recoverable Result | 0.038 | . | 0.0361 | ug/L | 0.95 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-08-15 06:30 | 20132280016 | 0.01 | Recoverable Result | 0.038 | . | 0.0386 | ug/L | 1.0158 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-12-12 06:30 | 20133470008 | 0.01 | Recoverable Result | 0.038 | . | 0.0363 | ug/L | 0.95526 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-10-31 06:30 | 20133050050 | 0.01 | Recoverable Result | 0.038 | . | 0.0412 | ug/L | 1.0842 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-11-26 07:00 | 20133310030 | 0.01 | Recoverable Result | 0.038 | . | 0.0326 | ug/L | 0.85789 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-03-13 07:00 | 20140730138 | 0.01 | Recoverable Result | 0.038 | . | 0.0327 | ug/L | 0.86053 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-04-29 10:30 | 20101190091 | 0.01 | Recoverable Result | 0.038782 | . | 0.0304 | ug/L | 0.78386 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-08-14 06:00 | 20142270001 | 0.01 | Recoverable Result | 0.0402 | . | 0.0258 | ug/L | 0.64179 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-05-01 06:00 | 20141220025 | 0.01 | Recoverable Result | 0.0402 | . | 0.0411 | ug/L | 1.0224 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-03-12 06:00 | 20150720069 | 0.01 | Recoverable Result | 0.0402 | . | 0.0348 | ug/L | 0.86567 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-10-23 06:00 | 20142960086 | 0.01 | Recoverable Result | 0.0402 | . | 0.0285 | ug/L | 0.70896 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-11-06 06:00 | 20143110108 | 0.01 | Recoverable Result | 0.0402 | . | 0.0313 | ug/L | 0.77861 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-09-25 06:00 | 20142720002 | 0.01 | Recoverable Result | 0.0402 | . | 0.0291 | ug/L | 0.72388 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-06-05 07:00 | 20141570088 | 0.01 | Recoverable Result | 0.0402 | . | 0.0357 | ug/L | 0.88806 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-09-10 06:00 | 20142530087 | 0.01 | Recoverable Result | 0.0402 | . | 0.0242 | ug/L | 0.60199 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-09-09 06:40 | 20102530008 | 0.0036 | Recoverable Result | 0.040428 | . | 0.0377 | ug/L | 0.93251 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-06-17 10:30 | 20101720149 | 0.01 | Recoverable Result | 0.040547 | . | 0.0425 | ug/L | 1.0482 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-10-28 07:30 | 20103020155 | 0.0036 | Recoverable Result | 0.046552 | . | 0.0362 | ug/L | 0.77762 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-01-20 07:30 | 20110210095 | 0.0036 | Recoverable Result | 0.047432 | . | 0.0337 | ug/L | 0.7105 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-06-16 08:00 | 20111680035 | 0.0036 | Recoverable Result | 0.048113 | . | 0.0311 | ug/L | 0.64639 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-07-07 07:00 | 20111890004 | 0.0036 | Recoverable Result | 0.0482 | . | 0.0422 | ug/L | 0.87552 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-10-27 07:30 | 20113010047 | 0.0036 | Recoverable Result | 0.0482 | . | 0.0377 | ug/L | 0.78216 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-03-15 08:00 | 20120760111 | 0.0036 | Recoverable Result | 0.0482 | . | 0.0328 | ug/L | 0.6805 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-03-24 06:30 | 20110840108 | 0.0036 | Recoverable Result | 0.048423 | . | 0.0389 | ug/L | 0.80334 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-10-07 07:30 | 20102810019 | 0.0036 | Recoverable Result | 0.048997 | . | 0.0278 | ug/L | 0.56738 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-02-02 06:30 | 20110340007 | 0.0036 | Recoverable Result | 0.049332 | . | 0.0387 | ug/L | 0.78448 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-04-22 06:20 | 20111170107 | 0.0036 | Recoverable Result | 0.049567 | . | 0.0447 | ug/L | 0.9018 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-07-28 07:00 | 20112100007 | 0.0036 | Estimated Values | 0.04984 | E | 0.0402 | ug/L | 0.80658 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-10-07 06:30 | 20112840031 | 0.0036 | Recoverable Result | 0.04984 | . | 0.0382 | ug/L | 0.76645 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-01-12 07:00 | 20120120071 | 0.0036 | Recoverable Result | 0.04984 | . | 0.0423 | ug/L | 0.84872 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-02-23 07:30 | 20120540036 | 0.0036 | Recoverable Result | 0.04984 | . | 0.0388 | ug/L | 0.77849 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-03-29 08:00 | 20120930003 | 0.0036 | Recoverable Result | 0.04984 | . | 0.0351 | ug/L | 0.70425 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-09-17 06:00 | 20152610011 | 0.01 | Recoverable Result | 0.06008 | . | 0.045 | ug/L | 0.749 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2015-09-03 06:00 | 20152460215 | 0.01 | Recoverable Result | 0.06008 | . | 0.0414 | ug/L | 0.68908 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-06-07 10:00 | 20111590005 | 0.0036 | Recoverable Result | 0.074096 | . | 0.0586 | ug/L | 0.79087 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-02-06 06:30 | 20140370077 | 0.01 | Recoverable Result | 0.095 | . | 0.0843 | ug/L | 0.88737 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-05-16 07:00 | 20131370001 | 0.01 | Recoverable Result | 0.095 | . | 0.0983 | ug/L | 1.0347 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-09-25 08:00 | 20132690010 | 0.01 | Recoverable Result | 0.095 | . | 0.117 | ug/L | 1.2316 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-02-11 06:30 | 20100420055 | 0.01 | Recoverable Result | 0.09549 | . | 0.0552 | ug/L | 0.57807 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-11-24 07:00 | 20103330007 | 0.0036 | Recoverable Result | 0.095911 | . | 0.0648 | ug/L | 0.67563 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-12-16 06:30 | 20103510060 | 0.0036 | Recoverable Result | 0.09593 | . | 0.074 | ug/L | 0.7714 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-04-28 07:00 | 20111190184 | 0.0036 | Recoverable Result | 0.096025 | . | 0.0897 | ug/L | 0.93413 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-01-28 06:30 | 20100280077 | 0.01 | Recoverable Result | 0.096127 | . | 0.057 | ug/L | 0.59296 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-08-04 08:00 | 20112170174 | 0.0036 | Recoverable Result | 0.0964 | . | 0.0797 | ug/L | 0.82676 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-11-29 07:00 | 20113340046 | 0.0036 | Recoverable Result | 0.0964 | . | 0.0686 | ug/L | 0.71162 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-02-09 07:00 | 20120400058 | 0.0036 | Recoverable Result | 0.0964 | . | 0.0808 | ug/L | 0.83817 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-03-03 07:00 | 20110620082 | 0.0036 | Recoverable Result | 0.098967 | . | 0.0819 | ug/L | 0.82755 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-04-07 09:00 | 20110980030 | 0.0036 | Recoverable Result | 0.099483 | . | 0.093 | ug/L | 0.93484 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-05-02 06:00 | 20131230084 | 0.01 | Recoverable Result | 0.0996 | . | 0.0931 | ug/L | 0.93474 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-08-07 06:00 | 20122210006 | 0.0036 | Recoverable Result | 0.0996 | . | 0.0751 | ug/L | 0.75402 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-08-30 06:30 | 20122430227 | 0.0036 | Recoverable Result | 0.0996 | . | 0.0872 | ug/L | 0.8755 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-02-19 06:30 | 20130510051 | 0.01 | Recoverable Result | 0.0996 | . | 0.061 | ug/L | 0.61245 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-01-26 07:00 | 20120260028 | 0.0036 | Recoverable Result | 0.09968 | . | 0.0766 | ug/L | 0.76846 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-04-12 07:00 | 20121040012 | 0.0036 | Recoverable Result | 0.09968 | . | 0.0724 | ug/L | 0.72632 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-06-03 06:30 | 20101550006 | 0.01 | Recoverable Result | 0.10012 | . | 0.0939 | ug/L | 0.93784 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-06-07 06:30 | 20121600156 | 0.0036 | Recoverable Result | 0.1002 | . | 0.0906 | ug/L | 0.90419 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-07-11 06:30 | 20131920149 | 0.01 | Recoverable Result | 0.1002 | . | 0.0787 | ug/L | 0.78543 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-09-13 06:00 | 20122570122 | 0.0036 | Recoverable Result | 0.1002 | . | 0.0712 | ug/L | 0.71058 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-03-05 06:00 | 20130650005 | 0.01 | Recoverable Result | 0.1002 | . | 0.0669 | ug/L | 0.66766 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-07-19 06:30 | 20122020004 | 0.0036 | Recoverable Result | 0.1002 | . | 0.0905 | ug/L | 0.90319 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-03-27 06:30 | 20140860102 | 0.01 | Recoverable Result | 0.1002 | . | 0.0686 | ug/L | 0.68463 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-10-17 06:30 | 20132910008 | 0.01 | Recoverable Result | 0.1002 | . | 0.0723 | ug/L | 0.72156 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-12-05 08:00 | 20133400002 | 0.01 | Recoverable Result | 0.1002 | . | 0.0868 | ug/L | 0.86627 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2011-05-19 07:30 | 20111390178 | 0.0036 | Recoverable Result | 0.10035 | . | 0.0838 | ug/L | 0.83506 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-11-18 09:00 | 20103230114 | 0.0036 | Recoverable Result | 0.1007 | . | 0.102 | ug/L | 1.0129 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-05-06 06:30 | 20101270038 | 0.01 | Recoverable Result | 0.18802 | . | 0.154 | ug/L | 0.81908 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-09-06 06:50 | 20132490342 | 0.01 | Recoverable Result | 0.19 | . | 0.213 | ug/L | 1.1211 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-01-09 06:30 | 20140100085 | 0.01 | Recoverable Result | 0.19 | . | 0.174 | ug/L | 0.91579 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-07-13 06:30 | 20101950137 | 0.01 | Recoverable Result | 0.19181 | . | 0.169 | ug/L | 0.88108 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-10-30 07:00 | 20123040157 | 0.01 | Recoverable Result | 0.249 | . | 0.201 | ug/L | 0.80723 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-10-10 07:00 | 20122850005 | 0.01 | Recoverable Result | 0.2505 | . | 0.213 | ug/L | 0.8503 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-01-10 06:00 | 20130100066 | 0.01 | Recoverable Result | 0.2505 | . | 0.245 | ug/L | 0.97804 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-04-04 06:30 | 20130940097 | 0.01 | Recoverable Result | 0.2505 | . | 0.194 | ug/L | 0.77445 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-08-29 06:30 | 20132420001 | 0.01 | Recoverable Result | 0.2505 | . | 0.228 | ug/L | 0.91018 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2014-01-23 06:30 | 20140230082 | 0.01 | Recoverable Result | 0.2505 | . | 0.199 | ug/L | 0.79441 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2010-08-12 06:30 | 20102250096 | 0.0036 | Recoverable Result | 0.49403 | . | 0.366 | ug/L | 0.74085 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2013-01-24 06:00 | 20130250061 | 0.01 | Recoverable Result | 0.498 | . | 0.436 | ug/L | 0.8755 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-12-06 06:30 | 20123420074 | 0.01 | Recoverable Result | 0.498 | . | 0.461 | ug/L | 0.9257 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | CHLORPYRIFOS | 38933GCM35 | 2012-11-20 06:30 | 20123260037 | 0.01 | Recoverable Result | 0.501 | . | 0.478 | ug/L | 0.95409 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl