## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ETHION | 82346GCM40 | 2011-08-18 08:47 | 20112310030 | 0.008 | False Positive |  | . |  | ug/L |  | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | ETHION | 82346GCM40 | 2012-12-06 06:30 | 20123420074 | 0.0046 | False Positive |  | . |  | ug/L |  | V | rcr | b | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | ETHION | 82346GCM40 | 2013-08-15 06:30 | 20132280016 | 0.0046 | Recoverable Result | 0.006 | . | 0.007 | ug/L | 1.1667 | Y | rcr | b | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | ETHION | 82346GCM40 | 2013-10-31 06:30 | 20133050050 | 0.0046 | Recoverable Result | 0.006 | . | 0.0062 | ug/L | 1.0333 | Y | rcr | b | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | ETHION | 82346GCM40 | 2015-04-30 07:00 | 20151210037 | 0.0046 | Recoverable Result | 0.007 | . | 0.0064 | ug/L | 0.91429 | V | rcr | b | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | ETHION | 82346GCM40 | 2013-06-13 06:30 | 20131650073 | 0.0046 | Recoverable Result | 0.007 | . | 0.0082 | ug/L | 1.1714 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | ETHION | 82346GCM40 | 2015-10-22 06:00 | 20152950078 | 0.0046 | Recoverable Result | 0.007 | . | 0.0075 | ug/L | 1.0714 |  | rcr | b | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | ETHION | 82346GCM40 | 2015-06-25 06:00 | 20151760208 | 0.0046 | Estimated Values | 0.007 | E | 0.0074 | ug/L | 1.0571 | V | rcr | b | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | ETHION | 82346GCM40 | 2013-06-27 06:30 | 20131790009 | 0.0046 | Recoverable Result | 0.007 | . | 0.0073 | ug/L | 1.0429 | Y | rcr | b | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | ETHION | 82346GCM40 | 2015-07-23 06:00 | 20152040177 | 0.0046 | Recoverable Result | 0.007 | . | 0.0094 | ug/L | 1.3429 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | ETHION | 82346GCM40 | 2015-11-10 06:00 | 20153160001 | 0.0046 | Estimated Values | 0.007 | E | 0.0084 | ug/L | 1.2 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | ETHION | 82346GCM40 | 2013-12-12 06:30 | 20133470008 | 0.0046 | Recoverable Result | 0.007 | . | 0.0062 | ug/L | 0.88571 | Y | rcr | b | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | ETHION | 82346GCM40 | 2013-11-26 07:00 | 20133310030 | 0.0046 | Recoverable Result | 0.007 | . | 0.0089 | ug/L | 1.2714 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | ETHION | 82346GCM40 | 2014-03-13 07:00 | 20140730138 | 0.0046 | Recoverable Result | 0.007 | . | 0.0074 | ug/L | 1.0571 | Y | rcr | b | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | ETHION | 82346GCM40 | 2014-08-07 07:00 | 20142200164 | 0.0046 | Recoverable Result | 0.0093 | . | 0.0102 | ug/L | 1.0968 | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | ETHION | 82346GCM40 | 2014-10-09 06:00 | 20142820151 | 0.0046 | Recoverable Result | 0.0093 | . | 0.0104 | ug/L | 1.1183 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | ETHION | 82346GCM40 | 2014-09-03 06:00 | 20142470041 | 0.0046 | Recoverable Result | 0.0093 | . | 0.0102 | ug/L | 1.0968 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | ETHION | 82346GCM40 | 2014-12-03 06:00 | 20143370094 | 0.0046 | Recoverable Result | 0.0093 | . | 0.0124 | ug/L | 1.3333 | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | ETHION | 82346GCM40 | 2014-05-22 07:00 | 20141420140 | 0.0046 | Recoverable Result | 0.00948 | . | 0.0088 | ug/L | 0.92827 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | ETHION | 82346GCM40 | 2014-05-29 06:00 | 20141490205 | 0.0046 | Recoverable Result | 0.00948 | . | 0.007 | ug/L | 0.7384 | Y | rcr | b | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | ETHION | 82346GCM40 | 2014-05-16 06:00 | 20141360094 | 0.0046 | Recoverable Result | 0.00948 | . | 0.0086 | ug/L | 0.90717 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | ETHION | 82346GCM40 | 2014-07-02 07:00 | 20141840097 | 0.0046 | Recoverable Result | 0.00948 | . | 0.0105 | ug/L | 1.1076 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | ETHION | 82346GCM40 | 2015-07-09 07:00 | 20151900132 | 0.0046 | Recoverable Result | 0.014 | . | 0.0131 | ug/L | 0.93571 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | ETHION | 82346GCM40 | 2015-08-20 06:00 | 20152330039 | 0.0046 | Recoverable Result | 0.014 | . | 0.0132 | ug/L | 0.94286 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | ETHION | 82346GCM40 | 2015-05-07 07:00 | 20151270112 | 0.0046 | Recoverable Result | 0.014 | . | 0.0179 | ug/L | 1.2786 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | ETHION | 82346GCM40 | 2015-12-09 06:00 | 20153440001 | 0.0046 | Recoverable Result | 0.014 | . | 0.0131 | ug/L | 0.93571 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | ETHION | 82346GCM40 | 2014-02-06 06:30 | 20140370077 | 0.0046 | Recoverable Result | 0.015 | . | 0.0136 | ug/L | 0.90667 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | ETHION | 82346GCM40 | 2013-09-25 08:00 | 20132690010 | 0.0046 | Recoverable Result | 0.015 | . | 0.0149 | ug/L | 0.99333 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | ETHION | 82346GCM40 | 2013-05-16 07:00 | 20131370001 | 0.0046 | Recoverable Result | 0.0175 | . | 0.0224 | ug/L | 1.28 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | ETHION | 82346GCM40 | 2014-10-23 06:00 | 20142960086 | 0.0046 | Recoverable Result | 0.0186 | . | 0.0192 | ug/L | 1.0323 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | ETHION | 82346GCM40 | 2014-11-19 06:00 | 20143240095 | 0.0046 | Recoverable Result | 0.0186 | . | 0.0196 | ug/L | 1.0538 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | ETHION | 82346GCM40 | 2015-02-12 06:00 | 20150430092 | 0.0046 | Recoverable Result | 0.0186 | . | 0.0214 | ug/L | 1.1505 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | ETHION | 82346GCM40 | 2014-09-10 06:00 | 20142530087 | 0.0046 | Recoverable Result | 0.0186 | . | 0.0178 | ug/L | 0.95699 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | ETHION | 82346GCM40 | 2015-03-12 06:00 | 20150720069 | 0.0046 | Recoverable Result | 0.01896 | . | 0.0215 | ug/L | 1.134 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | ETHION | 82346GCM40 | 2014-06-26 06:00 | 20141770149 | 0.0046 | Recoverable Result | 0.01896 | . | 0.0204 | ug/L | 1.0759 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | ETHION | 82346GCM40 | 2014-06-05 07:00 | 20141570088 | 0.0046 | Recoverable Result | 0.01896 | . | 0.0148 | ug/L | 0.78059 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | ETHION | 82346GCM40 | 2011-03-10 06:30 | 20110690078 | 0.008 | Recoverable Result | 0.019592 | . | 0.0176 | ug/L | 0.8983 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2010-11-30 07:00 | 20103350003 | 0.008 | Recoverable Result | 0.019958 | . | 0.0199 | ug/L | 0.99709 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2011-08-25 10:00 | 20112380055 | 0.008 | Recoverable Result | 0.02 | . | 0.0181 | ug/L | 0.905 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2011-11-03 07:00 | 20113080001 | 0.01 | Recoverable Result | 0.02 | . | 0.0173 | ug/L | 0.865 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2012-03-22 06:30 | 20120830077 | 0.01 | Recoverable Result | 0.02 | . | 0.0112 | ug/L | 0.56 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2012-05-24 07:00 | 20121460001 | 0.01 | Recoverable Result | 0.02 | . | 0.0172 | ug/L | 0.86 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2011-01-27 06:30 | 20110280004 | 0.008 | Recoverable Result | 0.02009 | . | 0.018 | ug/L | 0.89595 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2011-05-05 07:30 | 20111260154 | 0.008 | Recoverable Result | 0.02022 | . | 0.0191 | ug/L | 0.94459 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | ETHION | 82346GCM40 | 2011-01-06 07:00 | 20110070109 | 0.008 | Recoverable Result | 0.021701 | . | 0.0238 | ug/L | 1.0967 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2011-07-14 08:00 | 20111960039 | 0.008 | Recoverable Result | 0.02212 | . | 0.0286 | ug/L | 1.2929 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2011-10-13 07:30 | 20112870073 | 0.01 | Recoverable Result | 0.02212 | . | 0.0193 | ug/L | 0.87251 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2012-02-16 07:30 | 20120470078 | 0.01 | Recoverable Result | 0.02212 | . | 0.018 | ug/L | 0.81374 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2012-04-26 07:00 | 20121180062 | 0.01 | Recoverable Result | 0.02212 | . | 0.0185 | ug/L | 0.83635 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2011-03-31 07:30 | 20110910084 | 0.008 | Recoverable Result | 0.022253 | . | 0.027 | ug/L | 1.2133 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2011-05-26 07:30 | 20111470065 | 0.008 | Recoverable Result | 0.022357 | . | 0.0192 | ug/L | 0.85879 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | ETHION | 82346GCM40 | 2011-02-17 08:30 | 20110490035 | 0.008 | Recoverable Result | 0.02475 | . | 0.0257 | ug/L | 1.0384 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | ETHION | 82346GCM40 | 2015-09-03 06:00 | 20152460215 | 0.0046 | Recoverable Result | 0.028 | . | 0.0224 | ug/L | 0.8 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | ETHION | 82346GCM40 | 2015-10-01 06:00 | 20152750006 | 0.0046 | Recoverable Result | 0.028 | . | 0.0186 | ug/L | 0.66429 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | ETHION | 82346GCM40 | 2013-09-06 06:50 | 20132490342 | 0.0046 | Recoverable Result | 0.03 | . | 0.0277 | ug/L | 0.92333 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | ETHION | 82346GCM40 | 2014-01-09 06:30 | 20140100085 | 0.0046 | Recoverable Result | 0.03 | . | 0.0275 | ug/L | 0.91667 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | ETHION | 82346GCM40 | 2010-02-11 06:30 | 20100420055 | 0.008 | Recoverable Result | 0.038133 | . | 0.0497 | ug/L | 1.3033 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | ETHION | 82346GCM40 | 2010-01-28 06:30 | 20100280077 | 0.008 | Recoverable Result | 0.038332 | . | 0.0251 | ug/L | 0.65481 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | ETHION | 82346GCM40 | 2010-04-29 10:30 | 20101190091 | 0.008 | Recoverable Result | 0.038782 | . | 0.0315 | ug/L | 0.81223 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | ETHION | 82346GCM40 | 2010-10-14 07:30 | 20102880001 | 0.008 | Recoverable Result | 0.039616 | . | 0.0274 | ug/L | 0.69164 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | ETHION | 82346GCM40 | 2010-06-03 06:30 | 20101550006 | 0.008 | Recoverable Result | 0.039926 | . | 0.03 | ug/L | 0.7514 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | ETHION | 82346GCM40 | 2011-06-23 07:00 | 20111750006 | 0.008 | Recoverable Result | 0.04 | . | 0.0357 | ug/L | 0.8925 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | ETHION | 82346GCM40 | 2011-09-08 07:30 | 20112520209 | 0.008 | Recoverable Result | 0.04 | . | 0.0314 | ug/L | 0.785 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | ETHION | 82346GCM40 | 2011-12-13 07:30 | 20113490056 | 0.01 | Recoverable Result | 0.04 | . | 0.0319 | ug/L | 0.7975 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | ETHION | 82346GCM40 | 2012-01-19 07:00 | 20120200073 | 0.01 | Recoverable Result | 0.04 | . | 0.0335 | ug/L | 0.8375 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | ETHION | 82346GCM40 | 2010-09-09 06:40 | 20102530008 | 0.008 | Recoverable Result | 0.040428 | . | 0.037 | ug/L | 0.9152 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | ETHION | 82346GCM40 | 2010-06-17 10:30 | 20101720149 | 0.008 | Recoverable Result | 0.040547 | . | 0.0385 | ug/L | 0.94951 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | ETHION | 82346GCM40 | 2011-02-10 07:00 | 20110410061 | 0.008 | Recoverable Result | 0.04398 | . | 0.0412 | ug/L | 0.93678 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | ETHION | 82346GCM40 | 2010-11-04 07:30 | 20103080116 | 0.008 | Recoverable Result | 0.043998 | . | 0.0429 | ug/L | 0.97504 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | ETHION | 82346GCM40 | 2011-11-17 07:00 | 20113220198 | 0.01 | Recoverable Result | 0.04424 | . | 0.0293 | ug/L | 0.6623 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | ETHION | 82346GCM40 | 2011-06-07 10:00 | 20111590005 | 0.008 | Recoverable Result | 0.074096 | . | 0.057 | ug/L | 0.76927 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | ETHION | 82346GCM40 | 2010-05-06 06:30 | 20101270038 | 0.008 | Recoverable Result | 0.075082 | . | 0.0659 | ug/L | 0.8777 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | ETHION | 82346GCM40 | 2010-07-13 06:30 | 20101950137 | 0.008 | Recoverable Result | 0.076597 | . | 0.0617 | ug/L | 0.80551 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | ETHION | 82346GCM40 | 2011-04-07 09:00 | 20110980030 | 0.008 | Recoverable Result | 0.099483 | . | 0.0699 | ug/L | 0.70263 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | ETHION | 82346GCM40 | 2012-07-19 06:30 | 20122020004 | 0.01 | Recoverable Result | 0.1 | . | 0.0744 | ug/L | 0.744 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | ETHION | 82346GCM40 | 2012-07-03 08:00 | 20121870008 | 0.01 | Recoverable Result | 0.1 | . | 0.0836 | ug/L | 0.836 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | ETHION | 82346GCM40 | 2013-02-07 06:30 | 20130390105 | 0.0046 | Recoverable Result | 0.1 | . | 0.07 | ug/L | 0.7 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | ETHION | 82346GCM40 | 2010-11-18 09:00 | 20103230114 | 0.008 | Recoverable Result | 0.1007 | . | 0.0829 | ug/L | 0.8232 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | ETHION | 82346GCM40 | 2012-08-30 06:30 | 20122430227 | 0.01 | Recoverable Result | 0.1038 | . | 0.0857 | ug/L | 0.82563 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ETHION | 82346GCM40 | 2013-02-19 06:30 | 20130510051 | 0.0046 | Recoverable Result | 0.1038 | . | 0.0702 | ug/L | 0.6763 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ETHION | 82346GCM40 | 2012-08-16 06:30 | 20122300021 | 0.01 | Recoverable Result | 0.1038 | . | 0.0912 | ug/L | 0.87861 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | ETHION | 82346GCM40 | 2010-08-12 06:30 | 20102250096 | 0.008 | Recoverable Result | 0.197 | . | 0.125 | ug/L | 0.63452 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | ETHION | 82346GCM40 | 2012-10-10 07:00 | 20122850005 | 0.0046 | Recoverable Result | 0.25 | . | 0.166 | ug/L | 0.664 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | ETHION | 82346GCM40 | 2013-01-10 06:00 | 20130100066 | 0.0046 | Recoverable Result | 0.25 | . | 0.166 | ug/L | 0.664 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | ETHION | 82346GCM40 | 2013-03-21 06:30 | 20130810108 | 0.0046 | Recoverable Result | 0.25 | . | 0.202 | ug/L | 0.808 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | ETHION | 82346GCM40 | 2012-09-27 07:00 | 20122720048 | 0.0046 | Recoverable Result | 0.2595 | . | 0.234 | ug/L | 0.90173 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | ETHION | 82346GCM40 | 2013-04-04 06:30 | 20130940097 | 0.0046 | Recoverable Result | 0.2595 | . | 0.154 | ug/L | 0.59345 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ETHION | 82346GCM40 | 2012-12-20 06:30 | 20123560092 | 0.0046 | Recoverable Result | 0.2595 | . | 0.153 | ug/L | 0.5896 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | ETHION | 82346GCM40 | 2012-11-08 06:30 | 20123140095 | 0.0046 | Recoverable Result | 0.5 | . | 0.373 | ug/L | 0.746 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | ETHION | 82346GCM40 | 2012-11-20 06:30 | 20123260037 | 0.0046 | Recoverable Result | 0.519 | . | 0.391 | ug/L | 0.75337 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl