## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | MALAOXON | 61652GCM39 | 2011-06-23 07:00 | 20111750006 | 0.022 | False Positive |  | . |  | ug/L |  | X | str | b | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | MALAOXON | 61652GCM39 | 2015-10-01 06:00 | 20152750006 | 0.022 | False Positive |  | . |  | ug/L |  |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | MALAOXON | 61652GCM39 | 2010-04-29 10:30 | 20101190091 | 0.08 | Estimated Values | 0.038782 | E | 0.033 | ug/L | 0.85091 | S | c3L | t | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-17 10:30 | 20101720149 | 0.08 | Estimated Values | 0.040547 | E | 0.049 | ug/L | 1.2085 | X | str | n | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-02-17 08:30 | 20110490035 | 0.022 | Recoverable Result | 0.02475 | . | 0.025 | ug/L | 1.0101 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | MALAOXON | 61652GCM39 | 2013-05-02 06:00 | 20131230084 | 0.022 | Recoverable Result | 0.03 | . | 0.036 | ug/L | 1.2 | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | MALAOXON | 61652GCM39 | 2012-08-07 06:00 | 20122210006 | 0.022 | Estimated Values | 0.03 | E | 0.035 | ug/L | 1.1667 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | MALAOXON | 61652GCM39 | 2012-08-30 06:30 | 20122430227 | 0.022 | Recoverable Result | 0.03 | . | 0.028 | ug/L | 0.93333 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-02-19 06:30 | 20130510051 | 0.022 | Recoverable Result | 0.03 | . | 0.027 | ug/L | 0.9 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-07-11 06:30 | 20131920149 | 0.022 | Recoverable Result | 0.0302 | . | 0.035 | ug/L | 1.1589 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | MALAOXON | 61652GCM39 | 2014-03-27 06:30 | 20140860102 | 0.022 | Recoverable Result | 0.0302 | . | 0.033 | ug/L | 1.0927 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2012-06-07 06:30 | 20121600156 | 0.022 | Estimated Values | 0.0304 | E | 0.043 | ug/L | 1.4145 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | MALAOXON | 61652GCM39 | 2012-09-13 06:00 | 20122570122 | 0.022 | Recoverable Result | 0.0304 | . | 0.035 | ug/L | 1.1513 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-03-05 06:00 | 20130650005 | 0.022 | Recoverable Result | 0.0304 | . | 0.033 | ug/L | 1.0855 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | MALAOXON | 61652GCM39 | 2012-07-19 06:30 | 20122020004 | 0.022 | Estimated Values | 0.0304 | E | 0.047 | ug/L | 1.5461 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-10-17 06:30 | 20132910008 | 0.022 | Recoverable Result | 0.0304 | . | 0.029 | ug/L | 0.95395 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | MALAOXON | 61652GCM39 | 2013-12-05 08:00 | 20133400002 | 0.022 | Recoverable Result | 0.0304 | . | 0.038 | ug/L | 1.25 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | MALAOXON | 61652GCM39 | 2015-07-23 06:00 | 20152040177 | 0.022 | Recoverable Result | 0.033 | . | 0.041 | ug/L | 1.2424 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | MALAOXON | 61652GCM39 | 2015-08-06 06:00 | 20152190003 | 0.022 | Recoverable Result | 0.033 | . | 0.037 | ug/L | 1.1212 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | MALAOXON | 61652GCM39 | 2015-10-22 06:00 | 20152950078 | 0.022 | Recoverable Result | 0.034 | . | 0.021 | ug/L | 0.61765 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | MALAOXON | 61652GCM39 | 2015-06-25 06:00 | 20151760208 | 0.022 | Recoverable Result | 0.034 | . | 0.047 | ug/L | 1.3824 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | MALAOXON | 61652GCM39 | 2015-10-29 06:00 | 20153030068 | 0.022 | Recoverable Result | 0.034 | . | 0.025 | ug/L | 0.73529 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | MALAOXON | 61652GCM39 | 2010-09-09 06:40 | 20102530008 | 0.022 | Recoverable Result | 0.040428 | . | 0.042 | ug/L | 1.0389 | V | rcr | n | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | MALAOXON | 61652GCM39 | 2014-04-17 06:00 | 20141080004 | 0.022 | Recoverable Result | 0.0441 | . | 0.046 | ug/L | 1.0431 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | MALAOXON | 61652GCM39 | 2015-01-15 06:00 | 20150150115 | 0.022 | Recoverable Result | 0.0441 | . | 0.046 | ug/L | 1.0431 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | MALAOXON | 61652GCM39 | 2014-05-29 06:00 | 20141490205 | 0.022 | Recoverable Result | 0.0441 | . | 0.06 | ug/L | 1.3605 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | MALAOXON | 61652GCM39 | 2014-10-09 06:00 | 20142820151 | 0.022 | Recoverable Result | 0.0441 | . | 0.052 | ug/L | 1.1791 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | MALAOXON | 61652GCM39 | 2014-05-16 06:00 | 20141360094 | 0.022 | Recoverable Result | 0.045 | . | 0.039 | ug/L | 0.86667 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | MALAOXON | 61652GCM39 | 2014-09-03 06:00 | 20142470041 | 0.022 | Recoverable Result | 0.045 | . | 0.058 | ug/L | 1.2889 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | MALAOXON | 61652GCM39 | 2014-06-12 06:00 | 20141640076 | 0.022 | Recoverable Result | 0.045 | . | 0.042 | ug/L | 0.93333 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | MALAOXON | 61652GCM39 | 2014-07-10 06:00 | 20141910243 | 0.022 | Recoverable Result | 0.045 | . | 0.035 | ug/L | 0.77778 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | MALAOXON | 61652GCM39 | 2013-05-30 07:30 | 20131510026 | 0.022 | Recoverable Result | 0.048 | . | 0.048 | ug/L | 1 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-08-15 06:30 | 20132280016 | 0.022 | Recoverable Result | 0.048 | . | 0.053 | ug/L | 1.1042 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-11-26 07:00 | 20133310030 | 0.022 | Recoverable Result | 0.048 | . | 0.056 | ug/L | 1.1667 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | MALAOXON | 61652GCM39 | 2014-03-13 07:00 | 20140730138 | 0.022 | Recoverable Result | 0.048 | . | 0.036 | ug/L | 0.75 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2014-02-20 06:30 | 20140510043 | 0.022 | Recoverable Result | 0.048 | . | 0.033 | ug/L | 0.6875 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2013-06-13 06:30 | 20131650073 | 0.022 | Recoverable Result | 0.0482 | . | 0.068 | ug/L | 1.4108 | V | rcr |  | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-12-23 06:30 | 20133580036 | 0.022 | Recoverable Result | 0.0482 | . | 0.059 | ug/L | 1.2241 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2013-11-14 07:30 | 20133190012 | 0.022 | Recoverable Result | 0.0482 | . | 0.077 | ug/L | 1.5975 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2015-12-09 06:00 | 20153440001 | 0.022 | Recoverable Result | 0.066 | . | 0.063 | ug/L | 0.95455 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | MALAOXON | 61652GCM39 | 2015-12-17 06:00 | 20153510109 | 0.022 | Recoverable Result | 0.066 | . | 0.054 | ug/L | 0.81818 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | MALAOXON | 61652GCM39 | 2015-06-04 07:00 | 20151550293 | 0.022 | Recoverable Result | 0.068 | . | 0.062 | ug/L | 0.91176 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | MALAOXON | 61652GCM39 | 2015-05-07 07:00 | 20151270112 | 0.022 | Recoverable Result | 0.068 | . | 0.064 | ug/L | 0.94118 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-06-07 10:00 | 20111590005 | 0.022 | Recoverable Result | 0.074096 | . | 0.058 | ug/L | 0.78277 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | MALAOXON | 61652GCM39 | 2012-10-30 07:00 | 20123040157 | 0.022 | Recoverable Result | 0.075 | . | 0.062 | ug/L | 0.82667 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | MALAOXON | 61652GCM39 | 2013-08-29 06:30 | 20132420001 | 0.022 | Recoverable Result | 0.0755 | . | 0.076 | ug/L | 1.0066 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | MALAOXON | 61652GCM39 | 2014-01-23 06:30 | 20140230082 | 0.022 | Recoverable Result | 0.0755 | . | 0.074 | ug/L | 0.98013 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2012-10-10 07:00 | 20122850005 | 0.022 | Estimated Values | 0.076 | E | 0.079 | ug/L | 1.0395 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | MALAOXON | 61652GCM39 | 2013-01-10 06:00 | 20130100066 | 0.022 | Recoverable Result | 0.076 | . | 0.089 | ug/L | 1.1711 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | MALAOXON | 61652GCM39 | 2013-04-04 06:30 | 20130940097 | 0.022 | Recoverable Result | 0.076 | . | 0.077 | ug/L | 1.0132 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | MALAOXON | 61652GCM39 | 2014-08-14 06:00 | 20142270001 | 0.022 | Recoverable Result | 0.0882 | . | 0.1 | ug/L | 1.1338 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | MALAOXON | 61652GCM39 | 2014-05-01 06:00 | 20141220025 | 0.022 | Recoverable Result | 0.0882 | . | 0.096 | ug/L | 1.0884 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | MALAOXON | 61652GCM39 | 2014-11-19 06:00 | 20143240095 | 0.022 | Recoverable Result | 0.0882 | . | 0.109 | ug/L | 1.2358 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | MALAOXON | 61652GCM39 | 2014-11-06 06:00 | 20143110108 | 0.022 | Recoverable Result | 0.09 | . | 0.071 | ug/L | 0.78889 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | MALAOXON | 61652GCM39 | 2014-06-26 06:00 | 20141770149 | 0.022 | Recoverable Result | 0.09 | . | 0.077 | ug/L | 0.85556 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | MALAOXON | 61652GCM39 | 2015-02-12 06:00 | 20150430092 | 0.022 | Recoverable Result | 0.09 | . | 0.071 | ug/L | 0.78889 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | MALAOXON | 61652GCM39 | 2014-09-25 06:00 | 20142720002 | 0.022 | Recoverable Result | 0.09 | . | 0.072 | ug/L | 0.8 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | MALAOXON | 61652GCM39 | 2010-10-21 07:30 | 20102950072 | 0.022 | Recoverable Result | 0.094477 | . | 0.092 | ug/L | 0.97378 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-11-10 07:30 | 20103140135 | 0.022 | Recoverable Result | 0.096929 | . | 0.084 | ug/L | 0.86662 | V | rcr |  | 2011-01-18 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-03-17 08:00 | 20110770001 | 0.022 | Recoverable Result | 0.097142 | . | 0.089 | ug/L | 0.91619 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-07-21 07:30 | 20112030057 | 0.022 | Estimated Values | 0.09716 | E | 0.097 | ug/L | 0.99835 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-11-22 07:30 | 20113260111 | 0.022 | Recoverable Result | 0.09716 | . | 0.087 | ug/L | 0.89543 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | MALAOXON | 61652GCM39 | 2012-02-02 12:10 | 20120370001 | 0.022 | Recoverable Result | 0.09716 | . | 0.078 | ug/L | 0.8028 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-07-07 06:30 | 20111890005 | 0.022 | Recoverable Result | 0.0972 | . | 0.086 | ug/L | 0.88477 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-09-01 07:30 | 20112450022 | 0.022 | Recoverable Result | 0.0972 | . | 0.105 | ug/L | 1.0802 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-12-15 07:30 | 20113500021 | 0.022 | Recoverable Result | 0.0972 | . | 0.089 | ug/L | 0.91564 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2012-03-01 07:30 | 20120620015 | 0.022 | Recoverable Result | 0.0972 | . | 0.09 | ug/L | 0.92593 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-04-14 07:30 | 20111050150 | 0.022 | Recoverable Result | 0.098112 | . | 0.11 | ug/L | 1.1212 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-05-12 07:00 | 20111330148 | 0.022 | Recoverable Result | 0.098881 | . | 0.101 | ug/L | 1.0214 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-02-24 08:00 | 20110560005 | 0.022 | Recoverable Result | 0.098921 | . | 0.101 | ug/L | 1.021 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | MALAOXON | 61652GCM39 | 2011-04-07 09:00 | 20110980030 | 0.022 | Recoverable Result | 0.099483 | . | 0.083 | ug/L | 0.83432 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | MALAOXON | 61652GCM39 | 2010-11-18 09:00 | 20103230114 | 0.022 | Recoverable Result | 0.1007 | . | 0.108 | ug/L | 1.0724 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | MALAOXON | 61652GCM39 | 2013-08-01 07:00 | 20132140002 | 0.022 | Recoverable Result | 0.12 | . | 0.079 | ug/L | 0.65833 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | MALAOXON | 61652GCM39 | 2013-09-12 08:30 | 20132560001 | 0.022 | Recoverable Result | 0.1205 | . | 0.107 | ug/L | 0.88797 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | MALAOXON | 61652GCM39 | 2013-09-25 08:00 | 20132690010 | 0.022 | Recoverable Result | 0.1205 | . | 0.142 | ug/L | 1.1784 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | MALAOXON | 61652GCM39 | 2010-01-21 07:00 | 20100210100 | 0.08 | Recoverable Result | 0.12907 | . | 0.109 | ug/L | 0.8445 | X | STR |  | 2010-03-24 | Accu 209081187: 20 µl
2033 | MALAOXON | 61652GCM39 | 2010-08-03 06:30 | 20102160002 | 0.022 | Recoverable Result | 0.13046 | . | 0.11 | ug/L | 0.84319 | X | str |  | 2010-10-19 | Crescent 08Ll064: 20 µl
2033 | MALAOXON | 61652GCM39 | 2010-04-01 06:30 | 20100920048 | 0.08 | Estimated Values | 0.13085 | E | 0.079 | ug/L | 0.60374 | W | fww | n | 2010-06-03 | Crescent 08Ll064: 20 µl
2033 | MALAOXON | 61652GCM39 | 2015-09-17 06:00 | 20152610011 | 0.022 | Estimated Values | 0.132 | E | 0.092 | ug/L | 0.69697 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | MALAOXON | 61652GCM39 | 2015-09-03 06:00 | 20152460215 | 0.022 | Recoverable Result | 0.132 | . | 0.141 | ug/L | 1.0682 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | MALAOXON | 61652GCM39 | 2010-02-25 06:30 | 20100570086 | 0.08 | Recoverable Result | 0.13529 | . | 0.13 | ug/L | 0.96092 | X | STR |  | 2010-05-07 | Accu 209081187: 20 µl
2033 | MALAOXON | 61652GCM39 | 2013-01-24 06:00 | 20130250061 | 0.022 | Recoverable Result | 0.15 | . | 0.109 | ug/L | 0.72667 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | MALAOXON | 61652GCM39 | 2012-12-06 06:30 | 20123420074 | 0.022 | Recoverable Result | 0.15 | . | 0.104 | ug/L | 0.69333 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | MALAOXON | 61652GCM39 | 2012-11-20 06:30 | 20123260037 | 0.022 | Recoverable Result | 0.152 | . | 0.144 | ug/L | 0.94737 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | MALAOXON | 61652GCM39 | 2011-01-13 06:30 | 20110130056 | 0.022 | Recoverable Result | 0.18763 | . | 0.147 | ug/L | 0.78347 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-06-02 07:30 | 20111540007 | 0.022 | Estimated Values | 0.19152 | E | 0.223 | ug/L | 1.1643 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-08-10 08:00 | 20112220126 | 0.022 | Recoverable Result | 0.19432 | . | 0.164 | ug/L | 0.84397 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-08-18 08:46 | 20112310032 | 0.022 | Recoverable Result | 0.19432 | . | 0.079 | ug/L | 0.40655 | Y | rcr |  | 2011-09-13 | Restek A075606: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-10-20 07:00 | 20112930085 | 0.022 | Recoverable Result | 0.19432 | . | 0.216 | ug/L | 1.1116 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | MALAOXON | 61652GCM39 | 2012-05-10 06:30 | 20121310027 | 0.022 | Recoverable Result | 0.19432 | . | 0.19 | ug/L | 0.97777 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-06-29 07:00 | 20111810004 | 0.022 | Recoverable Result | 0.1944 | . | 0.119 | ug/L | 0.61214 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-09-15 07:30 | 20112590005 | 0.022 | Recoverable Result | 0.1944 | . | 0.13 | ug/L | 0.66872 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | MALAOXON | 61652GCM39 | 2011-11-09 07:00 | 20113130085 | 0.022 | Recoverable Result | 0.1944 | . | 0.166 | ug/L | 0.85391 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | MALAOXON | 61652GCM39 | 2010-12-09 06:00 | 20103430087 | 0.022 | Estimated Values | 0.19547 | E | 0.151 | ug/L | 0.77248 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | MALAOXON | 61652GCM39 | 2014-01-09 06:30 | 20140100085 | 0.022 | Recoverable Result | 0.241 | . | 0.291 | ug/L | 1.2075 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | MALAOXON | 61652GCM39 | 2010-05-20 06:30 | 20101410006 | 0.08 | Estimated Values | 0.25927 | E | 0.15 | ug/L | 0.57854 | W | c3L |  | 2010-07-21 | Crescent 08Ll064: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-09-02 06:30 | 20102500051 | 0.022 | Recoverable Result | 0.2623 | . | 0.209 | ug/L | 0.79681 | X | str |  | 2010-12-14 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl
2033 | MALAOXON | 61652GCM39 | 2010-06-24 06:30 | 20101760006 | 0.08 | Estimated Values | 0.26382 | E | 0.255 | ug/L | 0.96659 | S | c3L |  | 2010-09-09 | Accu 209081187: 40 µl