## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | METALAXYL | 61596GCM39 | 2011-08-18 08:47 | 20112310030 | 0.014 | False Negative | 0.1104 | < |  | ug/L |  | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | METALAXYL | 61596GCM39 | 2015-04-30 07:00 | 20151210037 | 0.014 | Recoverable Result | 0.021 | . | 0.0212 | ug/L | 1.0095 | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | METALAXYL | 61596GCM39 | 2015-10-22 06:00 | 20152950078 | 0.014 | Recoverable Result | 0.021 | . | 0.012 | ug/L | 0.57143 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | METALAXYL | 61596GCM39 | 2015-06-25 06:00 | 20151760208 | 0.014 | Recoverable Result | 0.021 | . | 0.0312 | ug/L | 1.4857 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | METALAXYL | 61596GCM39 | 2015-07-23 06:00 | 20152040177 | 0.014 | Recoverable Result | 0.021 | . | 0.0275 | ug/L | 1.3095 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | METALAXYL | 61596GCM39 | 2015-11-10 06:00 | 20153160001 | 0.014 | Recoverable Result | 0.021 | . | 0.0163 | ug/L | 0.77619 |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | METALAXYL | 61596GCM39 | 2011-02-17 08:30 | 20110490035 | 0.014 | Recoverable Result | 0.02475 | . | 0.0281 | ug/L | 1.1354 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | METALAXYL | 61596GCM39 | 2010-10-28 07:30 | 20103020155 | 0.014 | Recoverable Result | 0.027159 | . | 0.0311 | ug/L | 1.1451 | W | c3L |  | 2011-01-12 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-01-20 07:30 | 20110210095 | 0.014 | Recoverable Result | 0.027672 | . | 0.0256 | ug/L | 0.92513 | V | rcr |  | 2011-02-14 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2014-05-16 06:00 | 20141360094 | 0.014 | Recoverable Result | 0.02793 | . | 0.0227 | ug/L | 0.81275 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | METALAXYL | 61596GCM39 | 2014-09-03 06:00 | 20142470041 | 0.014 | Recoverable Result | 0.02793 | . | 0.0333 | ug/L | 1.1923 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | METALAXYL | 61596GCM39 | 2014-06-12 06:00 | 20141640076 | 0.014 | Recoverable Result | 0.02793 | . | 0.0225 | ug/L | 0.80559 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | METALAXYL | 61596GCM39 | 2014-07-10 06:00 | 20141910243 | 0.014 | Recoverable Result | 0.02793 | . | 0.0194 | ug/L | 0.69459 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | METALAXYL | 61596GCM39 | 2011-06-16 08:00 | 20111680035 | 0.014 | Recoverable Result | 0.02807 | . | 0.0292 | ug/L | 1.0403 | V | rcr |  | 2011-07-02 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-07-07 07:00 | 20111890004 | 0.014 | Recoverable Result | 0.02812 | . | 0.0365 | ug/L | 1.298 | X | str |  | 2011-07-20 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-10-27 07:30 | 20113010047 | 0.014 | Recoverable Result | 0.02812 | . | 0.0354 | ug/L | 1.2589 | X | str |  | 2011-11-05 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2012-03-15 08:00 | 20120760111 | 0.014 | Recoverable Result | 0.02812 | . | 0.0217 | ug/L | 0.77169 | V | rcr |  | 2012-03-27 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2014-04-17 06:00 | 20141080004 | 0.014 | Recoverable Result | 0.0282 | . | 0.025 | ug/L | 0.88652 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | METALAXYL | 61596GCM39 | 2015-01-15 06:00 | 20150150115 | 0.014 | Recoverable Result | 0.0282 | . | 0.0219 | ug/L | 0.7766 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | METALAXYL | 61596GCM39 | 2014-05-29 06:00 | 20141490205 | 0.014 | Recoverable Result | 0.0282 | . | 0.0275 | ug/L | 0.97518 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | METALAXYL | 61596GCM39 | 2014-10-09 06:00 | 20142820151 | 0.014 | Recoverable Result | 0.0282 | . | 0.0255 | ug/L | 0.90426 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | METALAXYL | 61596GCM39 | 2011-03-24 06:30 | 20110840108 | 0.014 | Recoverable Result | 0.02825 | . | 0.0312 | ug/L | 1.1044 | X | str |  | 2011-04-07 | Accu 210061341: 40 µl
2033 | METALAXYL | 61596GCM39 | 2010-10-07 07:30 | 20102810019 | 0.014 | Recoverable Result | 0.029296 | . | 0.0259 | ug/L | 0.88408 | W | c3L |  | 2011-01-07 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-02-02 06:30 | 20110340007 | 0.014 | Recoverable Result | 0.029496 | . | 0.0286 | ug/L | 0.96962 | V | rcr |  | 2011-02-22 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-04-22 06:20 | 20111170107 | 0.014 | Recoverable Result | 0.029637 | . | 0.0396 | ug/L | 1.3362 | X | str |  | 2011-05-03 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-07-28 07:00 | 20112100007 | 0.014 | Recoverable Result | 0.0298 | . | 0.027 | ug/L | 0.90604 | V | rcr |  | 2011-08-22 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-10-07 06:30 | 20112840031 | 0.014 | Recoverable Result | 0.0298 | . | 0.0323 | ug/L | 1.0839 | X | str |  | 2011-10-20 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2012-01-12 07:00 | 20120120071 | 0.014 | Recoverable Result | 0.0298 | . | 0.0329 | ug/L | 1.104 | X | str |  | 2012-01-20 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2012-02-23 07:30 | 20120540036 | 0.014 | Recoverable Result | 0.0298 | . | 0.0277 | ug/L | 0.92953 | V | rcr |  | 2012-03-08 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2012-03-29 08:00 | 20120930003 | 0.014 | Recoverable Result | 0.0298 | . | 0.0258 | ug/L | 0.86577 | V | rcr |  | 2012-04-12 | Abs 080610: 40 µl
2033 | METALAXYL | 61596GCM39 | 2012-07-19 06:30 | 20122020004 | 0.014 | Recoverable Result | 0.03 | . | 0.0312 | ug/L | 1.04 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | METALAXYL | 61596GCM39 | 2012-07-03 08:00 | 20121870008 | 0.014 | Recoverable Result | 0.03 | . | 0.0338 | ug/L | 1.1267 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-02-07 06:30 | 20130390105 | 0.014 | Recoverable Result | 0.03 | . | 0.0215 | ug/L | 0.71667 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | METALAXYL | 61596GCM39 | 2012-08-30 06:30 | 20122430227 | 0.014 | Recoverable Result | 0.0308 | . | 0.0289 | ug/L | 0.93831 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-02-19 06:30 | 20130510051 | 0.014 | Recoverable Result | 0.0308 | . | 0.0257 | ug/L | 0.83442 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METALAXYL | 61596GCM39 | 2012-08-16 06:30 | 20122300021 | 0.014 | Recoverable Result | 0.0308 | . | 0.0315 | ug/L | 1.0227 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | METALAXYL | 61596GCM39 | 2010-04-29 10:30 | 20101190091 | 0.007 | Recoverable Result | 0.038782 | . | 0.0352 | ug/L | 0.90763 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | METALAXYL | 61596GCM39 | 2010-09-09 06:40 | 20102530008 | 0.014 | Recoverable Result | 0.040428 | . | 0.0473 | ug/L | 1.17 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | METALAXYL | 61596GCM39 | 2010-06-17 10:30 | 20101720149 | 0.007 | Recoverable Result | 0.040547 | . | 0.0509 | ug/L | 1.2553 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | METALAXYL | 61596GCM39 | 2010-01-14 06:30 | 20100150090 | 0.007 | Recoverable Result | 0.041809 | . | 0.04 | ug/L | 0.95673 | W | fww |  | 2010-03-19 | Restek A069639: 20 µl
2033 | METALAXYL | 61596GCM39 | 2015-07-09 07:00 | 20151900132 | 0.014 | Recoverable Result | 0.042 | . | 0.0481 | ug/L | 1.1452 | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | METALAXYL | 61596GCM39 | 2015-08-20 06:00 | 20152330039 | 0.014 | Recoverable Result | 0.042 | . | 0.03 | ug/L | 0.71429 |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | METALAXYL | 61596GCM39 | 2015-05-07 07:00 | 20151270112 | 0.014 | Recoverable Result | 0.042 | . | 0.0395 | ug/L | 0.94048 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | METALAXYL | 61596GCM39 | 2015-12-09 06:00 | 20153440001 | 0.014 | Recoverable Result | 0.042 | . | 0.0307 | ug/L | 0.73095 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | METALAXYL | 61596GCM39 | 2010-07-01 06:30 | 20101830110 | 0.007 | Recoverable Result | 0.043302 | . | 0.0493 | ug/L | 1.1385 | S | c3L |  | 2010-09-21 | ChemService 430-36C: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-12-12 06:30 | 20133470008 | 0.014 | Recoverable Result | 0.05504 | . | 0.0558 | ug/L | 1.0138 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-10-31 06:30 | 20133050050 | 0.014 | Recoverable Result | 0.05504 | . | 0.052 | ug/L | 0.94477 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-11-14 07:30 | 20133190012 | 0.014 | Recoverable Result | 0.05504 | . | 0.056 | ug/L | 1.0174 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | METALAXYL | 61596GCM39 | 2014-02-20 06:30 | 20140510043 | 0.014 | Recoverable Result | 0.05504 | . | 0.0424 | ug/L | 0.77035 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | METALAXYL | 61596GCM39 | 2013-05-30 07:30 | 20131510026 | 0.014 | Recoverable Result | 0.0552 | . | 0.0459 | ug/L | 0.83152 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-06-27 06:30 | 20131790009 | 0.014 | Recoverable Result | 0.0552 | . | 0.038 | ug/L | 0.68841 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | METALAXYL | 61596GCM39 | 2013-12-23 06:30 | 20133580036 | 0.014 | Recoverable Result | 0.0552 | . | 0.0427 | ug/L | 0.77355 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | METALAXYL | 61596GCM39 | 2014-11-06 06:00 | 20143110108 | 0.014 | Recoverable Result | 0.05586 | . | 0.0423 | ug/L | 0.75725 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | METALAXYL | 61596GCM39 | 2014-06-26 06:00 | 20141770149 | 0.014 | Recoverable Result | 0.05586 | . | 0.0466 | ug/L | 0.83423 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | METALAXYL | 61596GCM39 | 2015-02-12 06:00 | 20150430092 | 0.014 | Recoverable Result | 0.05586 | . | 0.0414 | ug/L | 0.74114 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | METALAXYL | 61596GCM39 | 2014-09-25 06:00 | 20142720002 | 0.014 | Recoverable Result | 0.05586 | . | 0.0443 | ug/L | 0.79305 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | METALAXYL | 61596GCM39 | 2010-12-16 06:30 | 20103510060 | 0.014 | Recoverable Result | 0.055966 | . | 0.0544 | ug/L | 0.97202 | X | str |  | 2011-02-01 | Accu 210061341: 80 µl
2033 | METALAXYL | 61596GCM39 | 2011-04-28 07:00 | 20111190184 | 0.014 | Recoverable Result | 0.056022 | . | 0.0703 | ug/L | 1.2549 | X | rcr |  | 2011-05-21 | Accu 210061341: 80 µl
2033 | METALAXYL | 61596GCM39 | 2011-08-04 08:00 | 20112170174 | 0.014 | Recoverable Result | 0.05624 | . | 0.0564 | ug/L | 1.0028 | V | rcr |  | 2011-08-30 | Accu 210061341: 80 µl
2033 | METALAXYL | 61596GCM39 | 2011-11-29 07:00 | 20113340046 | 0.014 | Recoverable Result | 0.05624 | . | 0.0424 | ug/L | 0.75391 | V | rcr |  | 2011-12-08 | Accu 210061341: 80 µl
2033 | METALAXYL | 61596GCM39 | 2012-02-09 07:00 | 20120400058 | 0.014 | Recoverable Result | 0.05624 | . | 0.0551 | ug/L | 0.97973 | V | rcr |  | 2012-03-02 | Accu 210061341: 80 µl
2033 | METALAXYL | 61596GCM39 | 2014-08-14 06:00 | 20142270001 | 0.014 | Recoverable Result | 0.0564 | . | 0.0403 | ug/L | 0.71454 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | METALAXYL | 61596GCM39 | 2014-05-01 06:00 | 20141220025 | 0.014 | Recoverable Result | 0.0564 | . | 0.0666 | ug/L | 1.1809 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | METALAXYL | 61596GCM39 | 2014-11-19 06:00 | 20143240095 | 0.014 | Recoverable Result | 0.0564 | . | 0.0587 | ug/L | 1.0408 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | METALAXYL | 61596GCM39 | 2010-11-24 07:00 | 20103330007 | 0.014 | Recoverable Result | 0.057346 | . | 0.0627 | ug/L | 1.0934 | S | rcr |  | 2011-01-28 | Abs 080610: 80 µl
2033 | METALAXYL | 61596GCM39 | 2011-03-03 07:00 | 20110620082 | 0.014 | Recoverable Result | 0.059174 | . | 0.0552 | ug/L | 0.93284 | V | rcr |  | 2011-03-16 | Abs 080610: 80 µl
2033 | METALAXYL | 61596GCM39 | 2012-01-26 07:00 | 20120260028 | 0.014 | Recoverable Result | 0.0596 | . | 0.0622 | ug/L | 1.0436 | V | rcr |  | 2012-02-09 | Abs 080610: 80 µl
2033 | METALAXYL | 61596GCM39 | 2012-04-12 07:00 | 20121040012 | 0.014 | Recoverable Result | 0.0596 | . | 0.0553 | ug/L | 0.92785 | V | rcr |  | 2012-04-24 | Abs 080610: 80 µl
2033 | METALAXYL | 61596GCM39 | 2011-05-19 07:30 | 20111390178 | 0.014 | Recoverable Result | 0.060002 | . | 0.0549 | ug/L | 0.91497 | V | rcr |  | 2011-05-29 | Abs 080610: 80 µl
2033 | METALAXYL | 61596GCM39 | 2011-06-07 10:00 | 20111590005 | 0.014 | Recoverable Result | 0.074096 | . | 0.074 | ug/L | 0.9987 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | METALAXYL | 61596GCM39 | 2012-10-10 07:00 | 20122850005 | 0.014 | Recoverable Result | 0.075 | . | 0.0644 | ug/L | 0.85867 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | METALAXYL | 61596GCM39 | 2013-01-10 06:00 | 20130100066 | 0.014 | Recoverable Result | 0.075 | . | 0.0712 | ug/L | 0.94933 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | METALAXYL | 61596GCM39 | 2013-03-21 06:30 | 20130810108 | 0.014 | Recoverable Result | 0.075 | . | 0.0672 | ug/L | 0.896 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | METALAXYL | 61596GCM39 | 2012-09-27 07:00 | 20122720048 | 0.014 | Recoverable Result | 0.077 | . | 0.0794 | ug/L | 1.0312 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | METALAXYL | 61596GCM39 | 2013-04-04 06:30 | 20130940097 | 0.014 | Recoverable Result | 0.077 | . | 0.0632 | ug/L | 0.82078 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | METALAXYL | 61596GCM39 | 2012-12-20 06:30 | 20123560092 | 0.014 | Recoverable Result | 0.077 | . | 0.063 | ug/L | 0.81818 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | METALAXYL | 61596GCM39 | 2010-08-05 06:30 | 20102180092 | 0.014 | Recoverable Result | 0.082696 | . | 0.0821 | ug/L | 0.9928 | W | fww |  | 2010-10-18 | Restek A069639: 40 µl
2033 | METALAXYL | 61596GCM39 | 2015-09-03 06:00 | 20152460215 | 0.014 | Recoverable Result | 0.084 | . | 0.0711 | ug/L | 0.84643 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | METALAXYL | 61596GCM39 | 2015-10-01 06:00 | 20152750006 | 0.014 | Recoverable Result | 0.084 | . | 0.0853 | ug/L | 1.0155 |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | METALAXYL | 61596GCM39 | 2010-04-22 06:30 | 20101130055 | 0.007 | Recoverable Result | 0.084561 | . | 0.102 | ug/L | 1.2062 | X | mco |  | 2010-06-26 | ChemService 430-36C: 40 µl
2033 | METALAXYL | 61596GCM39 | 2011-04-07 09:00 | 20110980030 | 0.014 | Recoverable Result | 0.099483 | . | 0.0964 | ug/L | 0.96901 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | METALAXYL | 61596GCM39 | 2010-11-18 09:00 | 20103230114 | 0.014 | Recoverable Result | 0.1007 | . | 0.114 | ug/L | 1.132 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-08-01 07:00 | 20132140002 | 0.014 | Recoverable Result | 0.1376 | . | 0.143 | ug/L | 1.0392 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | METALAXYL | 61596GCM39 | 2013-05-16 07:00 | 20131370001 | 0.014 | Recoverable Result | 0.1376 | . | 0.14 | ug/L | 1.0174 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | METALAXYL | 61596GCM39 | 2014-02-06 06:30 | 20140370077 | 0.014 | Recoverable Result | 0.138 | . | 0.109 | ug/L | 0.78986 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-12 08:30 | 20132560001 | 0.014 | Recoverable Result | 0.138 | . | 0.139 | ug/L | 1.0072 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | METALAXYL | 61596GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Recoverable Result | 0.15 | . | 0.134 | ug/L | 0.89333 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | METALAXYL | 61596GCM39 | 2012-11-20 06:30 | 20123260037 | 0.014 | Recoverable Result | 0.154 | . | 0.149 | ug/L | 0.96753 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2010-05-27 06:30 | 20101480005 | 0.007 | Recoverable Result | 0.21606 | . | 0.231 | ug/L | 1.0692 | X | mco |  | 2010-07-29 | Restek A069639: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | METALAXYL | 61596GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Recoverable Result | 0.276 | . | 0.269 | ug/L | 0.97464 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl