## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PENDIMETHALIN | 82683GCM35 | 2015-10-22 06:00 | 20152950078 | 0.012 | Recoverable Result | 0.018 | . | 0.0137 | ug/L | 0.76111 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-06-25 06:00 | 20151760208 | 0.012 | Recoverable Result | 0.018 | . | 0.0221 | ug/L | 1.2278 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-10-29 06:00 | 20153030068 | 0.012 | Recoverable Result | 0.018 | . | 0.0176 | ug/L | 0.97778 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-07-23 06:00 | 20152040177 | 0.012 | Recoverable Result | 0.01812 | . | 0.0266 | ug/L | 1.468 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-08-06 06:00 | 20152190003 | 0.012 | Recoverable Result | 0.01812 | . | 0.0166 | ug/L | 0.91611 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-08-30 06:30 | 20122430227 | 0.012 | Recoverable Result | 0.02 | . | 0.0221 | ug/L | 1.105 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-02-19 06:30 | 20130510051 | 0.012 | Recoverable Result | 0.02 | . | 0.0217 | ug/L | 1.085 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-08-16 06:30 | 20122300021 | 0.012 | Recoverable Result | 0.02 | . | 0.0217 | ug/L | 1.085 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-07-19 06:30 | 20122020004 | 0.012 | Recoverable Result | 0.02 | . | 0.0236 | ug/L | 1.18 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-07-03 08:00 | 20121870008 | 0.012 | Recoverable Result | 0.02 | . | 0.0243 | ug/L | 1.215 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-02-07 06:30 | 20130390105 | 0.012 | Recoverable Result | 0.02 | . | 0.0147 | ug/L | 0.735 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-05-16 06:00 | 20141360094 | 0.012 | Recoverable Result | 0.02397 | . | 0.0195 | ug/L | 0.81352 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-09-03 06:00 | 20142470041 | 0.012 | Recoverable Result | 0.02397 | . | 0.0193 | ug/L | 0.80517 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-06-12 06:00 | 20141640076 | 0.012 | Recoverable Result | 0.02397 | . | 0.0183 | ug/L | 0.76345 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-07-10 06:00 | 20141910243 | 0.012 | Recoverable Result | 0.02397 | . | 0.0201 | ug/L | 0.83855 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-04-17 06:00 | 20141080004 | 0.012 | Recoverable Result | 0.024 | . | 0.021 | ug/L | 0.875 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-01-15 06:00 | 20150150115 | 0.012 | Recoverable Result | 0.024 | . | 0.0274 | ug/L | 1.1417 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-05-29 06:00 | 20141490205 | 0.012 | Recoverable Result | 0.024 | . | 0.0166 | ug/L | 0.69167 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-10-09 06:00 | 20142820151 | 0.012 | Recoverable Result | 0.024 | . | 0.0215 | ug/L | 0.89583 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-02-17 08:30 | 20110490035 | 0.012 | Recoverable Result | 0.02475 | . | 0.0326 | ug/L | 1.3172 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-05-30 07:30 | 20131510026 | 0.012 | Recoverable Result | 0.025 | . | 0.0316 | ug/L | 1.264 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-06-27 06:30 | 20131790009 | 0.012 | Recoverable Result | 0.025 | . | 0.019 | ug/L | 0.76 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-12-23 06:30 | 20133580036 | 0.012 | Recoverable Result | 0.025 | . | 0.0216 | ug/L | 0.864 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-12-12 06:30 | 20133470008 | 0.012 | Recoverable Result | 0.02504 | . | 0.0209 | ug/L | 0.83466 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-10-31 06:30 | 20133050050 | 0.012 | Recoverable Result | 0.02504 | . | 0.0227 | ug/L | 0.90655 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-11-14 07:30 | 20133190012 | 0.012 | Recoverable Result | 0.02504 | . | 0.0221 | ug/L | 0.88259 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-02-20 06:30 | 20140510043 | 0.012 | Recoverable Result | 0.02504 | . | 0.0334 | ug/L | 1.3339 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-06-04 07:00 | 20151550293 | 0.012 | Recoverable Result | 0.036 | . | 0.0272 | ug/L | 0.75556 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-05-07 07:00 | 20151270112 | 0.012 | Recoverable Result | 0.036 | . | 0.0294 | ug/L | 0.81667 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-12-09 06:00 | 20153440001 | 0.012 | Recoverable Result | 0.03624 | . | 0.0305 | ug/L | 0.84161 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-12-17 06:00 | 20153510109 | 0.012 | Recoverable Result | 0.03624 | . | 0.0286 | ug/L | 0.78918 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-04-29 10:30 | 20101190091 | 0.012 | Recoverable Result | 0.038782 | . | 0.0369 | ug/L | 0.95147 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-03-10 06:30 | 20110690078 | 0.012 | Recoverable Result | 0.039185 | . | 0.0488 | ug/L | 1.2454 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-11-30 07:00 | 20103350003 | 0.012 | Recoverable Result | 0.039916 | . | 0.0507 | ug/L | 1.2702 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-08-25 10:00 | 20112380055 | 0.012 | Recoverable Result | 0.04 | . | 0.0379 | ug/L | 0.9475 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-11-03 07:00 | 20113080001 | 0.012 | Recoverable Result | 0.04 | . | 0.0403 | ug/L | 1.0075 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-03-22 06:30 | 20120830077 | 0.012 | Recoverable Result | 0.04 | . | 0.0517 | ug/L | 1.2925 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-05-24 07:00 | 20121460001 | 0.012 | Recoverable Result | 0.04 | . | 0.0417 | ug/L | 1.0425 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-01-27 06:30 | 20110280004 | 0.012 | Recoverable Result | 0.040181 | . | 0.0415 | ug/L | 1.0328 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-09-09 06:40 | 20102530008 | 0.012 | Recoverable Result | 0.040428 | . | 0.0496 | ug/L | 1.2269 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-05-05 07:30 | 20111260154 | 0.012 | Recoverable Result | 0.040441 | . | 0.041 | ug/L | 1.0138 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-06-17 10:30 | 20101720149 | 0.012 | Recoverable Result | 0.040547 | . | 0.0452 | ug/L | 1.1147 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-01-06 07:00 | 20110070109 | 0.012 | Recoverable Result | 0.041205 | . | 0.0482 | ug/L | 1.1698 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-07-14 08:00 | 20111960039 | 0.012 | Recoverable Result | 0.042 | . | 0.058 | ug/L | 1.381 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-10-13 07:30 | 20112870073 | 0.012 | Recoverable Result | 0.042 | . | 0.0371 | ug/L | 0.88333 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-02-16 07:30 | 20120470078 | 0.012 | Recoverable Result | 0.042 | . | 0.0398 | ug/L | 0.94762 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-04-26 07:00 | 20121180062 | 0.012 | Recoverable Result | 0.042 | . | 0.0531 | ug/L | 1.2643 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-03-31 07:30 | 20110910084 | 0.012 | Estimated Values | 0.042253 | E | 0.0247 | ug/L | 0.58457 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-05-26 07:30 | 20111470065 | 0.012 | Recoverable Result | 0.04245 | . | 0.0396 | ug/L | 0.93286 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-11-06 06:00 | 20143110108 | 0.012 | Recoverable Result | 0.04794 | . | 0.0428 | ug/L | 0.89278 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-06-26 06:00 | 20141770149 | 0.012 | Recoverable Result | 0.04794 | . | 0.0387 | ug/L | 0.80726 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-02-12 06:00 | 20150430092 | 0.012 | Recoverable Result | 0.04794 | . | 0.0431 | ug/L | 0.89904 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-09-25 06:00 | 20142720002 | 0.012 | Recoverable Result | 0.04794 | . | 0.0403 | ug/L | 0.84063 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-08-14 06:00 | 20142270001 | 0.012 | Recoverable Result | 0.048 | . | 0.035 | ug/L | 0.72917 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-05-01 06:00 | 20141220025 | 0.012 | Recoverable Result | 0.048 | . | 0.042 | ug/L | 0.875 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-11-19 06:00 | 20143240095 | 0.012 | Recoverable Result | 0.048 | . | 0.0449 | ug/L | 0.93542 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-02-11 06:30 | 20100420055 | 0.012 | Recoverable Result | 0.048769 | . | 0.0625 | ug/L | 1.2816 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-01-28 06:30 | 20100280077 | 0.012 | Recoverable Result | 0.049255 | . | 0.0297 | ug/L | 0.60298 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-08-18 08:47 | 20112310030 | 0.012 | Recoverable Result | 0.05 | . | 0.0781 | ug/L | 1.562 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-09-27 07:00 | 20122720048 | 0.012 | Recoverable Result | 0.05 | . | 0.0524 | ug/L | 1.048 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-10-10 07:00 | 20122850005 | 0.012 | Recoverable Result | 0.05 | . | 0.0447 | ug/L | 0.894 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-01-10 06:00 | 20130100066 | 0.012 | Recoverable Result | 0.05 | . | 0.0455 | ug/L | 0.91 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-04-04 06:30 | 20130940097 | 0.012 | Recoverable Result | 0.05 | . | 0.0363 | ug/L | 0.726 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-12-20 06:30 | 20123560092 | 0.012 | Recoverable Result | 0.05 | . | 0.0433 | ug/L | 0.866 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-03-21 06:30 | 20130810108 | 0.012 | Recoverable Result | 0.05 | . | 0.0351 | ug/L | 0.702 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-06-03 06:30 | 20101550006 | 0.012 | Recoverable Result | 0.051303 | . | 0.0427 | ug/L | 0.83231 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2014-02-06 06:30 | 20140370077 | 0.012 | Recoverable Result | 0.0625 | . | 0.0501 | ug/L | 0.8016 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-09-12 08:30 | 20132560001 | 0.012 | Recoverable Result | 0.0625 | . | 0.055 | ug/L | 0.88 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-08-01 07:00 | 20132140002 | 0.012 | Recoverable Result | 0.0626 | . | 0.0503 | ug/L | 0.80351 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-05-16 07:00 | 20131370001 | 0.012 | Recoverable Result | 0.0626 | . | 0.0613 | ug/L | 0.97923 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-09-17 06:00 | 20152610011 | 0.012 | Recoverable Result | 0.07248 | . | 0.059 | ug/L | 0.81402 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-09-03 06:00 | 20152460215 | 0.012 | Recoverable Result | 0.07248 | . | 0.0471 | ug/L | 0.64983 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-06-07 10:00 | 20111590005 | 0.012 | Recoverable Result | 0.074096 | . | 0.0716 | ug/L | 0.96631 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-10-14 07:30 | 20102880001 | 0.012 | Recoverable Result | 0.079231 | . | 0.0929 | ug/L | 1.1725 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-06-23 07:00 | 20111750006 | 0.012 | Recoverable Result | 0.08 | . | 0.0736 | ug/L | 0.92 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-09-08 07:30 | 20112520209 | 0.012 | Recoverable Result | 0.08 | . | 0.0775 | ug/L | 0.96875 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-12-13 07:30 | 20113490056 | 0.012 | Recoverable Result | 0.08 | . | 0.0906 | ug/L | 1.1325 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-01-19 07:00 | 20120200073 | 0.012 | Recoverable Result | 0.08 | . | 0.0628 | ug/L | 0.785 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-02-10 07:00 | 20110410061 | 0.012 | Recoverable Result | 0.083507 | . | 0.0777 | ug/L | 0.93046 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-11-04 07:30 | 20103080116 | 0.012 | Recoverable Result | 0.083541 | . | 0.0783 | ug/L | 0.93727 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-11-17 07:00 | 20113220198 | 0.012 | Recoverable Result | 0.084 | . | 0.0611 | ug/L | 0.72738 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-05-06 06:30 | 20101270038 | 0.012 | Recoverable Result | 0.096025 | . | 0.0779 | ug/L | 0.81125 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-07-13 06:30 | 20101950137 | 0.012 | Recoverable Result | 0.097962 | . | 0.0892 | ug/L | 0.91055 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2011-04-07 09:00 | 20110980030 | 0.012 | Recoverable Result | 0.099483 | . | 0.078 | ug/L | 0.78406 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-11-20 06:30 | 20123260037 | 0.012 | Recoverable Result | 0.1 | . | 0.0787 | ug/L | 0.787 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2012-11-08 06:30 | 20123140095 | 0.012 | Recoverable Result | 0.1 | . | 0.0774 | ug/L | 0.774 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-11-18 09:00 | 20103230114 | 0.012 | Recoverable Result | 0.1007 | . | 0.0936 | ug/L | 0.92945 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2013-09-06 06:50 | 20132490342 | 0.012 | Recoverable Result | 0.125 | . | 0.0976 | ug/L | 0.7808 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.25314 | . | 0.134 | ug/L | 0.52935 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl