## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PHORATE | 82664GCM35 | 2015-10-01 06:00 | 20152750006 | 0.02 | Deleted Values |  | R |  | ug/L |  |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PHORATE | 82664GCM35 | 2015-06-25 06:00 | 20151760208 | 0.02 | False Negative | 0.03 | < |  | ug/L |  | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | PHORATE | 82664GCM35 | 2015-07-23 06:00 | 20152040177 | 0.02 | False Negative | 0.03 | < |  | ug/L |  | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | PHORATE | 82664GCM35 | 2015-08-06 06:00 | 20152190003 | 0.02 | False Negative | 0.03 | < |  | ug/L |  |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PHORATE | 82664GCM35 | 2014-08-07 07:00 | 20142200164 | 0.02 | False Negative | 0.0405 | < |  | ug/L |  | Y | rcr |  | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | PHORATE | 82664GCM35 | 2014-10-09 06:00 | 20142820151 | 0.02 | False Negative | 0.0405 | < |  | ug/L |  | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | PHORATE | 82664GCM35 | 2014-09-03 06:00 | 20142470041 | 0.02 | False Negative | 0.0405 | < |  | ug/L |  | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | PHORATE | 82664GCM35 | 2014-12-03 06:00 | 20143370094 | 0.02 | False Negative | 0.0405 | < |  | ug/L |  | Y | rcr |  | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | PHORATE | 82664GCM35 | 2013-05-30 07:30 | 20131510026 | 0.02 | False Negative | 0.042 | < |  | ug/L |  | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | PHORATE | 82664GCM35 | 2013-05-02 06:00 | 20131230084 | 0.02 | False Negative | 0.0586 | < |  | ug/L |  | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | PHORATE | 82664GCM35 | 2015-06-04 07:00 | 20151550293 | 0.02 | False Negative | 0.06 | < |  | ug/L |  | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PHORATE | 82664GCM35 | 2014-10-23 06:00 | 20142960086 | 0.02 | False Negative | 0.081 | < |  | ug/L |  | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | PHORATE | 82664GCM35 | 2014-11-19 06:00 | 20143240095 | 0.02 | False Negative | 0.081 | < |  | ug/L |  | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | PHORATE | 82664GCM35 | 2015-02-12 06:00 | 20150430092 | 0.02 | False Negative | 0.081 | < |  | ug/L |  | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | PHORATE | 82664GCM35 | 2014-09-10 06:00 | 20142530087 | 0.02 | False Negative | 0.081 | < |  | ug/L |  | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | PHORATE | 82664GCM35 | 2015-09-17 06:00 | 20152610011 | 0.02 | False Negative | 0.12 | < |  | ug/L |  |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PHORATE | 82664GCM35 | 2015-09-03 06:00 | 20152460215 | 0.02 | False Negative | 0.12 | < |  | ug/L |  |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-02-17 08:30 | 20110490035 | 0.02 | Recoverable Result | 0.02475 | . | 0.02 | ug/L | 0.80808 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PHORATE | 82664GCM35 | 2015-10-22 06:00 | 20152950078 | 0.02 | Recoverable Result | 0.03 | . | 0.012 | ug/L | 0.4 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PHORATE | 82664GCM35 | 2015-10-29 06:00 | 20153030068 | 0.02 | Recoverable Result | 0.03 | . | 0.019 | ug/L | 0.63333 |  | rcr | n | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PHORATE | 82664GCM35 | 2010-04-29 10:30 | 20101190091 | 0.02 | Recoverable Result | 0.038782 | . | 0.03 | ug/L | 0.77355 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PHORATE | 82664GCM35 | 2010-09-09 06:40 | 20102530008 | 0.02 | Recoverable Result | 0.040428 | . | 0.036 | ug/L | 0.89046 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PHORATE | 82664GCM35 | 2014-05-22 07:00 | 20141420140 | 0.02 | Recoverable Result | 0.0405 | . | 0.013 | ug/L | 0.32099 | Y | rcr | n | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | PHORATE | 82664GCM35 | 2014-05-29 06:00 | 20141490205 | 0.02 | Recoverable Result | 0.0405 | . | 0.034 | ug/L | 0.83951 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | PHORATE | 82664GCM35 | 2014-05-16 06:00 | 20141360094 | 0.02 | Recoverable Result | 0.0405 | . | 0.021 | ug/L | 0.51852 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | PHORATE | 82664GCM35 | 2014-07-02 07:00 | 20141840097 | 0.02 | Recoverable Result | 0.0405 | . | 0.012 | ug/L | 0.2963 | Y | rcr | n | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | PHORATE | 82664GCM35 | 2010-06-17 10:30 | 20101720149 | 0.02 | Recoverable Result | 0.040547 | . | 0.031 | ug/L | 0.76454 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PHORATE | 82664GCM35 | 2013-08-15 06:30 | 20132280016 | 0.02 | Recoverable Result | 0.042 | . | 0.024 | ug/L | 0.57143 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | PHORATE | 82664GCM35 | 2013-11-26 07:00 | 20133310030 | 0.02 | Recoverable Result | 0.042 | . | 0.034 | ug/L | 0.80952 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | PHORATE | 82664GCM35 | 2014-03-13 07:00 | 20140730138 | 0.02 | Recoverable Result | 0.042 | . | 0.029 | ug/L | 0.69048 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2014-02-20 06:30 | 20140510043 | 0.02 | Recoverable Result | 0.042 | . | 0.016 | ug/L | 0.38095 | Y | rcr | n | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2013-06-13 06:30 | 20131650073 | 0.02 | Recoverable Result | 0.0432 | . | 0.018 | ug/L | 0.41667 | V | rcr | n | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | PHORATE | 82664GCM35 | 2013-12-23 06:30 | 20133580036 | 0.02 | Recoverable Result | 0.0432 | . | 0.017 | ug/L | 0.39352 | Y | rcr | n | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2013-11-14 07:30 | 20133190012 | 0.02 | Recoverable Result | 0.0432 | . | 0.032 | ug/L | 0.74074 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2010-10-21 07:30 | 20102950072 | 0.02 | Recoverable Result | 0.049164 | . | 0.048 | ug/L | 0.97633 | X | str |  | 2011-01-09 | Restek A075606: 40 µl
2033 | PHORATE | 82664GCM35 | 2010-04-08 06:30 | 20100990014 | 0.02 | Estimated Values | 0.050201 | E | 0.015 | ug/L | 0.2988 | X | STR | n | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | PHORATE | 82664GCM35 | 2010-11-10 07:30 | 20103140135 | 0.02 | Recoverable Result | 0.050299 | . | 0.036 | ug/L | 0.71572 | V | rcr |  | 2011-01-18 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-03-17 08:00 | 20110770001 | 0.02 | Recoverable Result | 0.05041 | . | 0.045 | ug/L | 0.89268 | X | str |  | 2011-03-30 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-07-07 06:30 | 20111890005 | 0.02 | Recoverable Result | 0.05044 | . | 0.041 | ug/L | 0.81285 | X | str |  | 2011-07-20 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-09-01 07:30 | 20112450022 | 0.02 | Recoverable Result | 0.05044 | . | 0.043 | ug/L | 0.8525 | Y | rcr |  | 2011-09-24 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-12-15 07:30 | 20113500021 | 0.02 | Recoverable Result | 0.05044 | . | 0.045 | ug/L | 0.89215 | V | rcr |  | 2011-12-22 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2012-03-01 07:30 | 20120620015 | 0.02 | Recoverable Result | 0.05044 | . | 0.031 | ug/L | 0.61459 | X | rcr |  | 2012-03-09 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2010-08-26 06:30 | 20102390088 | 0.02 | Recoverable Result | 0.05051 | . | 0.029 | ug/L | 0.57414 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | PHORATE | 82664GCM35 | 2011-07-21 07:30 | 20112030057 | 0.02 | Estimated Values | 0.05056 | E | 0.042 | ug/L | 0.8307 | V | rcr |  | 2011-08-17 | Restek A075606: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-11-22 07:30 | 20113260111 | 0.02 | Recoverable Result | 0.05056 | . | 0.031 | ug/L | 0.61313 | V | rcr |  | 2011-12-04 | Restek A075606: 40 µl
2033 | PHORATE | 82664GCM35 | 2012-02-02 12:10 | 20120370001 | 0.02 | Recoverable Result | 0.05056 | . | 0.045 | ug/L | 0.89003 | V | rcr |  | 2012-02-14 | Restek A075606: 40 µl
2033 | PHORATE | 82664GCM35 | 2010-03-11 06:30 | 20100710178 | 0.02 | Recoverable Result | 0.050787 | . | 0.048 | ug/L | 0.94512 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | PHORATE | 82664GCM35 | 2010-07-21 06:30 | 20102030005 | 0.02 | Recoverable Result | 0.051031 | . | 0.025 | ug/L | 0.4899 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | PHORATE | 82664GCM35 | 2011-04-14 07:30 | 20111050150 | 0.02 | Recoverable Result | 0.051055 | . | 0.043 | ug/L | 0.84223 | V | rcr |  | 2011-04-23 | Restek A075606: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-05-12 07:00 | 20111330148 | 0.02 | Recoverable Result | 0.051312 | . | 0.044 | ug/L | 0.85749 | V | rcr |  | 2011-05-25 | Supelco LB77168: 40 µl
2033 | PHORATE | 82664GCM35 | 2011-02-24 08:00 | 20110560005 | 0.02 | Recoverable Result | 0.051476 | . | 0.037 | ug/L | 0.71878 | V | rcr |  | 2011-03-08 | Restek A075606: 40 µl
2033 | PHORATE | 82664GCM35 | 2012-08-07 06:00 | 20122210006 | 0.02 | Recoverable Result | 0.0586 | . | 0.034 | ug/L | 0.5802 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | PHORATE | 82664GCM35 | 2012-08-30 06:30 | 20122430227 | 0.02 | Recoverable Result | 0.0586 | . | 0.044 | ug/L | 0.75085 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PHORATE | 82664GCM35 | 2013-02-19 06:30 | 20130510051 | 0.02 | Recoverable Result | 0.0586 | . | 0.013 | ug/L | 0.22184 | Y | rcr | n | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PHORATE | 82664GCM35 | 2015-05-07 07:00 | 20151270112 | 0.02 | Recoverable Result | 0.06 | . | 0.048 | ug/L | 0.8 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | PHORATE | 82664GCM35 | 2015-12-09 06:00 | 20153440001 | 0.02 | Recoverable Result | 0.06 | . | 0.031 | ug/L | 0.51667 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PHORATE | 82664GCM35 | 2015-12-17 06:00 | 20153510109 | 0.02 | Recoverable Result | 0.06 | . | 0.034 | ug/L | 0.56667 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PHORATE | 82664GCM35 | 2013-07-11 06:30 | 20131920149 | 0.02 | Recoverable Result | 0.0602 | . | 0.029 | ug/L | 0.48173 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | PHORATE | 82664GCM35 | 2014-03-27 06:30 | 20140860102 | 0.02 | Recoverable Result | 0.0602 | . | 0.023 | ug/L | 0.38206 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2012-06-07 06:30 | 20121600156 | 0.02 | Recoverable Result | 0.0606 | . | 0.041 | ug/L | 0.67657 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | PHORATE | 82664GCM35 | 2012-09-13 06:00 | 20122570122 | 0.02 | Recoverable Result | 0.0606 | . | 0.038 | ug/L | 0.62706 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PHORATE | 82664GCM35 | 2013-03-05 06:00 | 20130650005 | 0.02 | Recoverable Result | 0.0606 | . | 0.027 | ug/L | 0.44554 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | PHORATE | 82664GCM35 | 2012-07-19 06:30 | 20122020004 | 0.02 | Recoverable Result | 0.0606 | . | 0.031 | ug/L | 0.51155 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | PHORATE | 82664GCM35 | 2013-10-17 06:30 | 20132910008 | 0.02 | Recoverable Result | 0.0606 | . | 0.043 | ug/L | 0.70957 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PHORATE | 82664GCM35 | 2013-12-05 08:00 | 20133400002 | 0.02 | Recoverable Result | 0.0606 | . | 0.045 | ug/L | 0.74257 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | PHORATE | 82664GCM35 | 2011-06-07 10:00 | 20111590005 | 0.02 | Recoverable Result | 0.074096 | . | 0.06 | ug/L | 0.80976 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PHORATE | 82664GCM35 | 2015-03-12 06:00 | 20150720069 | 0.02 | Recoverable Result | 0.081 | . | 0.027 | ug/L | 0.33333 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PHORATE | 82664GCM35 | 2014-06-26 06:00 | 20141770149 | 0.02 | Recoverable Result | 0.081 | . | 0.054 | ug/L | 0.66667 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | PHORATE | 82664GCM35 | 2014-06-05 07:00 | 20141570088 | 0.02 | Recoverable Result | 0.081 | . | 0.045 | ug/L | 0.55556 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | PHORATE | 82664GCM35 | 2011-01-13 06:30 | 20110130056 | 0.02 | Recoverable Result | 0.097365 | . | 0.062 | ug/L | 0.63678 | V | rcr |  | 2011-02-09 | Supelco LB77168: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-04-07 09:00 | 20110980030 | 0.02 | Recoverable Result | 0.099483 | . | 0.085 | ug/L | 0.85442 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PHORATE | 82664GCM35 | 2011-06-02 07:30 | 20111540007 | 0.02 | Recoverable Result | 0.099665 | . | 0.091 | ug/L | 0.91306 | V | rcr |  | 2011-06-20 | Restek A075606: 80 µl
2033 | PHORATE | 82664GCM35 | 2010-11-18 09:00 | 20103230114 | 0.02 | Recoverable Result | 0.1007 | . | 0.092 | ug/L | 0.91356 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PHORATE | 82664GCM35 | 2011-06-29 07:00 | 20111810004 | 0.02 | Recoverable Result | 0.10088 | . | 0.073 | ug/L | 0.72363 | X | str |  | 2011-07-14 | Supelco LB77168: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-09-15 07:30 | 20112590005 | 0.02 | Recoverable Result | 0.10088 | . | 0.071 | ug/L | 0.70381 | V | rcr |  | 2011-10-02 | Supelco LB77168: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-11-09 07:00 | 20113130085 | 0.02 | Recoverable Result | 0.10088 | . | 0.079 | ug/L | 0.78311 | X | str |  | 2011-11-17 | Supelco LB77168: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-08-10 08:00 | 20112220126 | 0.02 | Recoverable Result | 0.10112 | . | 0.077 | ug/L | 0.76147 | V | rcr |  | 2011-09-01 | Restek A075606: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-08-18 08:46 | 20112310032 | 0.02 | Recoverable Result | 0.10112 | . | 0.018 | ug/L | 0.17801 | Y | rcr | n | 2011-09-13 | Restek A075606: 80 µl
2033 | PHORATE | 82664GCM35 | 2011-10-20 07:00 | 20112930085 | 0.02 | Recoverable Result | 0.10112 | . | 0.083 | ug/L | 0.82081 | X | str |  | 2011-11-01 | Restek A075606: 80 µl
2033 | PHORATE | 82664GCM35 | 2012-05-10 06:30 | 20121310027 | 0.02 | Recoverable Result | 0.10112 | . | 0.061 | ug/L | 0.60324 | Y | rcr |  | 2012-05-15 | Restek A075606: 80 µl
2033 | PHORATE | 82664GCM35 | 2010-12-09 06:00 | 20103430087 | 0.02 | Recoverable Result | 0.10172 | . | 0.07 | ug/L | 0.68816 | S | rcr |  | 2011-01-28 | Restek A075606: 80 µl
2033 | PHORATE | 82664GCM35 | 2010-06-10 06:30 | 20101650033 | 0.02 | Recoverable Result | 0.10223 | . | 0.099 | ug/L | 0.96842 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | PHORATE | 82664GCM35 | 2010-09-16 06:30 | 20102630169 | 0.02 | Recoverable Result | 0.10275 | . | 0.074 | ug/L | 0.72017 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | PHORATE | 82664GCM35 | 2013-08-01 07:00 | 20132140002 | 0.02 | Recoverable Result | 0.105 | . | 0.027 | ug/L | 0.25714 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PHORATE | 82664GCM35 | 2013-09-12 08:30 | 20132560001 | 0.02 | Recoverable Result | 0.108 | . | 0.09 | ug/L | 0.83333 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2013-09-25 08:00 | 20132690010 | 0.02 | Recoverable Result | 0.108 | . | 0.122 | ug/L | 1.1296 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | PHORATE | 82664GCM35 | 2012-10-30 07:00 | 20123040157 | 0.02 | Recoverable Result | 0.1465 | . | 0.068 | ug/L | 0.46416 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | PHORATE | 82664GCM35 | 2013-08-29 06:30 | 20132420001 | 0.02 | Recoverable Result | 0.1505 | . | 0.104 | ug/L | 0.69103 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | PHORATE | 82664GCM35 | 2014-01-23 06:30 | 20140230082 | 0.02 | Recoverable Result | 0.1505 | . | 0.113 | ug/L | 0.75083 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | PHORATE | 82664GCM35 | 2012-10-10 07:00 | 20122850005 | 0.02 | Recoverable Result | 0.1515 | . | 0.104 | ug/L | 0.68647 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PHORATE | 82664GCM35 | 2013-01-10 06:00 | 20130100066 | 0.02 | Recoverable Result | 0.1515 | . | 0.08 | ug/L | 0.52805 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PHORATE | 82664GCM35 | 2013-04-04 06:30 | 20130940097 | 0.02 | Recoverable Result | 0.1515 | . | 0.041 | ug/L | 0.27063 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PHORATE | 82664GCM35 | 2014-01-09 06:30 | 20140100085 | 0.02 | Recoverable Result | 0.216 | . | 0.198 | ug/L | 0.91667 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | PHORATE | 82664GCM35 | 2010-05-13 06:30 | 20101340154 | 0.02 | Recoverable Result | 0.25253 | . | 0.194 | ug/L | 0.76824 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl
2033 | PHORATE | 82664GCM35 | 2013-01-24 06:00 | 20130250061 | 0.02 | Recoverable Result | 0.293 | . | 0.175 | ug/L | 0.59727 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-12-06 06:30 | 20123420074 | 0.02 | Recoverable Result | 0.293 | . | 0.198 | ug/L | 0.67577 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PHORATE | 82664GCM35 | 2012-11-20 06:30 | 20123260037 | 0.02 | Recoverable Result | 0.303 | . | 0.191 | ug/L | 0.63036 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl