## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PROMETON | 04037GCM35 | 2015-10-22 06:00 | 20152950078 | 0.012 | Recoverable Result | 0.018 | . | 0.0099 | ug/L | 0.55 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PROMETON | 04037GCM35 | 2015-06-25 06:00 | 20151760208 | 0.012 | Recoverable Result | 0.018 | . | 0.0198 | ug/L | 1.1 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | PROMETON | 04037GCM35 | 2015-10-29 06:00 | 20153030068 | 0.012 | Recoverable Result | 0.018 | . | 0.015 | ug/L | 0.83333 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PROMETON | 04037GCM35 | 2015-07-23 06:00 | 20152040177 | 0.012 | Recoverable Result | 0.0182 | . | 0.0161 | ug/L | 0.88462 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | PROMETON | 04037GCM35 | 2015-08-06 06:00 | 20152190003 | 0.012 | Recoverable Result | 0.0182 | . | 0.0123 | ug/L | 0.67582 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PROMETON | 04037GCM35 | 2012-07-19 06:30 | 20122020004 | 0.012 | Recoverable Result | 0.02 | . | 0.0234 | ug/L | 1.17 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | PROMETON | 04037GCM35 | 2012-07-03 08:00 | 20121870008 | 0.012 | Recoverable Result | 0.02 | . | 0.0204 | ug/L | 1.02 | V | rcr |  | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | PROMETON | 04037GCM35 | 2013-02-07 06:30 | 20130390105 | 0.012 | Recoverable Result | 0.02 | . | 0.0134 | ug/L | 0.67 | V | rcr |  | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | PROMETON | 04037GCM35 | 2012-08-30 06:30 | 20122430227 | 0.012 | Recoverable Result | 0.0202 | . | 0.0197 | ug/L | 0.97525 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PROMETON | 04037GCM35 | 2013-02-19 06:30 | 20130510051 | 0.012 | Recoverable Result | 0.0202 | . | 0.0158 | ug/L | 0.78218 | Y | rcr |  | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PROMETON | 04037GCM35 | 2012-08-16 06:30 | 20122300021 | 0.012 | Recoverable Result | 0.0202 | . | 0.0204 | ug/L | 1.0099 | V | rcr |  | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | PROMETON | 04037GCM35 | 2014-04-17 06:00 | 20141080004 | 0.012 | Recoverable Result | 0.024 | . | 0.0203 | ug/L | 0.84583 | Y | rcr |  | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | PROMETON | 04037GCM35 | 2015-01-15 06:00 | 20150150115 | 0.012 | Recoverable Result | 0.024 | . | 0.0178 | ug/L | 0.74167 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | PROMETON | 04037GCM35 | 2014-05-29 06:00 | 20141490205 | 0.012 | Recoverable Result | 0.024 | . | 0.0239 | ug/L | 0.99583 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | PROMETON | 04037GCM35 | 2014-05-16 06:00 | 20141360094 | 0.012 | Recoverable Result | 0.024 | . | 0.018 | ug/L | 0.75 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | PROMETON | 04037GCM35 | 2014-10-09 06:00 | 20142820151 | 0.012 | Recoverable Result | 0.024 | . | 0.0212 | ug/L | 0.88333 | Y | rcr |  | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | PROMETON | 04037GCM35 | 2014-09-03 06:00 | 20142470041 | 0.012 | Recoverable Result | 0.024 | . | 0.0183 | ug/L | 0.7625 | Y | rcr |  | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | PROMETON | 04037GCM35 | 2014-06-12 06:00 | 20141640076 | 0.012 | Recoverable Result | 0.024 | . | 0.0191 | ug/L | 0.79583 | Y | rcr |  | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PROMETON | 04037GCM35 | 2014-07-10 06:00 | 20141910243 | 0.012 | Recoverable Result | 0.024 | . | 0.0139 | ug/L | 0.57917 | Y | rcr |  | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | PROMETON | 04037GCM35 | 2011-02-17 08:30 | 20110490035 | 0.012 | Recoverable Result | 0.02475 | . | 0.0265 | ug/L | 1.0707 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | PROMETON | 04037GCM35 | 2013-05-30 07:30 | 20131510026 | 0.012 | Recoverable Result | 0.03 | . | 0.0241 | ug/L | 0.80333 | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | PROMETON | 04037GCM35 | 2013-06-27 06:30 | 20131790009 | 0.012 | Recoverable Result | 0.03 | . | 0.0179 | ug/L | 0.59667 | Y | rcr |  | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | PROMETON | 04037GCM35 | 2013-12-23 06:30 | 20133580036 | 0.012 | Recoverable Result | 0.03 | . | 0.0199 | ug/L | 0.66333 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PROMETON | 04037GCM35 | 2013-12-12 06:30 | 20133470008 | 0.012 | Recoverable Result | 0.03008 | . | 0.027 | ug/L | 0.89761 | Y | rcr |  | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | PROMETON | 04037GCM35 | 2013-10-31 06:30 | 20133050050 | 0.012 | Recoverable Result | 0.03008 | . | 0.0352 | ug/L | 1.1702 | Y | rcr |  | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | PROMETON | 04037GCM35 | 2013-11-14 07:30 | 20133190012 | 0.012 | Recoverable Result | 0.03008 | . | 0.0291 | ug/L | 0.96742 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | PROMETON | 04037GCM35 | 2014-02-20 06:30 | 20140510043 | 0.012 | Recoverable Result | 0.03008 | . | 0.0258 | ug/L | 0.85771 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | PROMETON | 04037GCM35 | 2015-06-04 07:00 | 20151550293 | 0.012 | Recoverable Result | 0.036 | . | 0.0383 | ug/L | 1.0639 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PROMETON | 04037GCM35 | 2015-05-07 07:00 | 20151270112 | 0.012 | Recoverable Result | 0.036 | . | 0.0271 | ug/L | 0.75278 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | PROMETON | 04037GCM35 | 2015-12-09 06:00 | 20153440001 | 0.012 | Recoverable Result | 0.0364 | . | 0.018 | ug/L | 0.49451 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PROMETON | 04037GCM35 | 2015-12-17 06:00 | 20153510109 | 0.012 | Recoverable Result | 0.0364 | . | 0.0234 | ug/L | 0.64286 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PROMETON | 04037GCM35 | 2010-04-29 10:30 | 20101190091 | 0.012 | Recoverable Result | 0.038782 | . | 0.0367 | ug/L | 0.94631 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-03-10 06:30 | 20110690078 | 0.012 | Recoverable Result | 0.039185 | . | 0.0371 | ug/L | 0.94679 | V | rcr |  | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-01-06 07:00 | 20110070109 | 0.012 | Recoverable Result | 0.039635 | . | 0.0286 | ug/L | 0.72158 | S | rcr |  | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2010-11-30 07:00 | 20103350003 | 0.012 | Recoverable Result | 0.039916 | . | 0.0426 | ug/L | 1.0672 | W | c3L |  | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-08-25 10:00 | 20112380055 | 0.012 | Recoverable Result | 0.04 | . | 0.0327 | ug/L | 0.8175 | V | rcr |  | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-11-03 07:00 | 20113080001 | 0.012 | Recoverable Result | 0.04 | . | 0.0346 | ug/L | 0.865 | V | rcr |  | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2012-03-22 06:30 | 20120830077 | 0.012 | Recoverable Result | 0.04 | . | 0.0404 | ug/L | 1.01 | V | rcr |  | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2012-05-24 07:00 | 20121460001 | 0.012 | Recoverable Result | 0.04 | . | 0.038 | ug/L | 0.95 | Y | rcr |  | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-01-27 06:30 | 20110280004 | 0.012 | Recoverable Result | 0.040181 | . | 0.0311 | ug/L | 0.774 | V | rcr |  | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-07-14 08:00 | 20111960039 | 0.012 | Recoverable Result | 0.0404 | . | 0.0371 | ug/L | 0.91832 | V | rcr |  | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-10-13 07:30 | 20112870073 | 0.012 | Recoverable Result | 0.0404 | . | 0.032 | ug/L | 0.79208 | V | rcr |  | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2012-02-16 07:30 | 20120470078 | 0.012 | Recoverable Result | 0.0404 | . | 0.031 | ug/L | 0.76733 | V | rcr |  | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2012-04-26 07:00 | 20121180062 | 0.012 | Recoverable Result | 0.0404 | . | 0.0455 | ug/L | 1.1262 | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2010-09-09 06:40 | 20102530008 | 0.012 | Recoverable Result | 0.040428 | . | 0.0436 | ug/L | 1.0784 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-05-05 07:30 | 20111260154 | 0.012 | Recoverable Result | 0.040441 | . | 0.0336 | ug/L | 0.83084 | V | rcr |  | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | PROMETON | 04037GCM35 | 2010-06-17 10:30 | 20101720149 | 0.012 | Recoverable Result | 0.040547 | . | 0.0493 | ug/L | 1.2159 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-03-31 07:30 | 20110910084 | 0.012 | Recoverable Result | 0.040644 | . | 0.0296 | ug/L | 0.72828 | X | str |  | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2011-05-26 07:30 | 20111470065 | 0.012 | Recoverable Result | 0.040833 | . | 0.0355 | ug/L | 0.8694 | X | str |  | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | PROMETON | 04037GCM35 | 2014-08-14 06:00 | 20142270001 | 0.012 | Recoverable Result | 0.048 | . | 0.032 | ug/L | 0.66667 | Y | rcr |  | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | PROMETON | 04037GCM35 | 2014-05-01 06:00 | 20141220025 | 0.012 | Recoverable Result | 0.048 | . | 0.0479 | ug/L | 0.99792 | Y | rcr |  | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | PROMETON | 04037GCM35 | 2014-11-06 06:00 | 20143110108 | 0.012 | Recoverable Result | 0.048 | . | 0.0227 | ug/L | 0.47292 | Y | rcr |  | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | PROMETON | 04037GCM35 | 2014-06-26 06:00 | 20141770149 | 0.012 | Recoverable Result | 0.048 | . | 0.0348 | ug/L | 0.725 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | PROMETON | 04037GCM35 | 2014-11-19 06:00 | 20143240095 | 0.012 | Recoverable Result | 0.048 | . | 0.0487 | ug/L | 1.0146 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | PROMETON | 04037GCM35 | 2015-02-12 06:00 | 20150430092 | 0.012 | Recoverable Result | 0.048 | . | 0.0368 | ug/L | 0.76667 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | PROMETON | 04037GCM35 | 2014-09-25 06:00 | 20142720002 | 0.012 | Recoverable Result | 0.048 | . | 0.0315 | ug/L | 0.65625 | Y | rcr |  | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | PROMETON | 04037GCM35 | 2012-10-10 07:00 | 20122850005 | 0.012 | Recoverable Result | 0.05 | . | 0.0405 | ug/L | 0.81 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PROMETON | 04037GCM35 | 2013-01-10 06:00 | 20130100066 | 0.012 | Recoverable Result | 0.05 | . | 0.0472 | ug/L | 0.944 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | PROMETON | 04037GCM35 | 2013-03-21 06:30 | 20130810108 | 0.012 | Recoverable Result | 0.05 | . | 0.0405 | ug/L | 0.81 | V | rcr |  | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | PROMETON | 04037GCM35 | 2012-09-27 07:00 | 20122720048 | 0.012 | Recoverable Result | 0.0505 | . | 0.044 | ug/L | 0.87129 | V | rcr |  | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | PROMETON | 04037GCM35 | 2013-04-04 06:30 | 20130940097 | 0.012 | Recoverable Result | 0.0505 | . | 0.0393 | ug/L | 0.77822 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PROMETON | 04037GCM35 | 2012-12-20 06:30 | 20123560092 | 0.012 | Recoverable Result | 0.0505 | . | 0.036 | ug/L | 0.71287 | Y | rcr |  | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | PROMETON | 04037GCM35 | 2011-08-18 08:47 | 20112310030 | 0.012 | Recoverable Result | 0.06 | . | 0.0593 | ug/L | 0.98833 | Y | rcr |  | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | PROMETON | 04037GCM35 | 2015-09-17 06:00 | 20152610011 | 0.012 | Recoverable Result | 0.0728 | . | 0.0525 | ug/L | 0.72115 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | PROMETON | 04037GCM35 | 2015-09-03 06:00 | 20152460215 | 0.012 | Recoverable Result | 0.0728 | . | 0.0545 | ug/L | 0.74863 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | PROMETON | 04037GCM35 | 2011-06-07 10:00 | 20111590005 | 0.012 | Recoverable Result | 0.074096 | . | 0.0706 | ug/L | 0.95282 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | PROMETON | 04037GCM35 | 2014-02-06 06:30 | 20140370077 | 0.012 | Recoverable Result | 0.075 | . | 0.0445 | ug/L | 0.59333 | Y | rcr |  | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | PROMETON | 04037GCM35 | 2013-09-12 08:30 | 20132560001 | 0.012 | Recoverable Result | 0.075 | . | 0.0734 | ug/L | 0.97867 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | PROMETON | 04037GCM35 | 2013-08-01 07:00 | 20132140002 | 0.012 | Recoverable Result | 0.0752 | . | 0.0701 | ug/L | 0.93218 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | PROMETON | 04037GCM35 | 2013-05-16 07:00 | 20131370001 | 0.012 | Recoverable Result | 0.0752 | . | 0.0825 | ug/L | 1.0971 | V | rcr |  | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | PROMETON | 04037GCM35 | 2010-02-11 06:30 | 20100420055 | 0.012 | Estimated Values | 0.077053 | E | 0.064 | ug/L | 0.83059 | S | c3L |  | 2010-04-22 | Supelco LB69639: 20 µl
2033 | PROMETON | 04037GCM35 | 2010-01-28 06:30 | 20100280077 | 0.012 | Recoverable Result | 0.077656 | . | 0.0383 | ug/L | 0.4932 | W | fww |  | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | PROMETON | 04037GCM35 | 2010-10-14 07:30 | 20102880001 | 0.012 | Recoverable Result | 0.079231 | . | 0.0789 | ug/L | 0.99582 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | PROMETON | 04037GCM35 | 2011-06-23 07:00 | 20111750006 | 0.012 | Recoverable Result | 0.08 | . | 0.0795 | ug/L | 0.99375 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | PROMETON | 04037GCM35 | 2011-09-08 07:30 | 20112520209 | 0.012 | Recoverable Result | 0.08 | . | 0.0714 | ug/L | 0.8925 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | PROMETON | 04037GCM35 | 2011-12-13 07:30 | 20113490056 | 0.012 | Recoverable Result | 0.08 | . | 0.0745 | ug/L | 0.93125 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | PROMETON | 04037GCM35 | 2012-01-19 07:00 | 20120200073 | 0.012 | Recoverable Result | 0.08 | . | 0.067 | ug/L | 0.8375 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | PROMETON | 04037GCM35 | 2011-02-10 07:00 | 20110410061 | 0.012 | Recoverable Result | 0.080326 | . | 0.0598 | ug/L | 0.74447 | V | rcr |  | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PROMETON | 04037GCM35 | 2010-11-04 07:30 | 20103080116 | 0.012 | Recoverable Result | 0.080358 | . | 0.0777 | ug/L | 0.96692 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PROMETON | 04037GCM35 | 2011-11-17 07:00 | 20113220198 | 0.012 | Recoverable Result | 0.0808 | . | 0.0591 | ug/L | 0.73144 | V | rcr |  | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | PROMETON | 04037GCM35 | 2010-06-03 06:30 | 20101550006 | 0.012 | Recoverable Result | 0.080885 | . | 0.0803 | ug/L | 0.99276 | X | mco |  | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | PROMETON | 04037GCM35 | 2011-04-07 09:00 | 20110980030 | 0.012 | Recoverable Result | 0.099483 | . | 0.0926 | ug/L | 0.93082 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | PROMETON | 04037GCM35 | 2012-11-08 06:30 | 20123140095 | 0.012 | Recoverable Result | 0.1 | . | 0.0786 | ug/L | 0.786 | V | rcr |  | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-11-18 09:00 | 20103230114 | 0.012 | Recoverable Result | 0.1007 | . | 0.105 | ug/L | 1.0427 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | PROMETON | 04037GCM35 | 2012-11-20 06:30 | 20123260037 | 0.012 | Recoverable Result | 0.101 | . | 0.094 | ug/L | 0.93069 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | PROMETON | 04037GCM35 | 2013-09-06 06:50 | 20132490342 | 0.012 | Recoverable Result | 0.15 | . | 0.132 | ug/L | 0.88 | Y | rcr |  | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-05-06 06:30 | 20101270038 | 0.012 | Recoverable Result | 0.15172 | . | 0.145 | ug/L | 0.95573 | S | cgr |  | 2010-07-07 | Supelco LB69639: 40 µl
2033 | PROMETON | 04037GCM35 | 2010-07-13 06:30 | 20101950137 | 0.012 | Recoverable Result | 0.15478 | . | 0.158 | ug/L | 1.0208 | X | str |  | 2010-09-23 | Supelco LB69639: 40 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | PROMETON | 04037GCM35 | 2010-08-12 06:30 | 20102250096 | 0.012 | Recoverable Result | 0.3991 | . | 0.267 | ug/L | 0.669 | X | str |  | 2010-10-27 | NSI 090109-01Pest: 100 µl