## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TEFLUTHRIN | 61606GCM39 | 2011-03-03 07:00 | 20110620082 | 0.01 | False Positive |  | E |  | ug/L |  | V | rcr | b | 2011-03-16 | Abs 080610: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-01-06 07:00 | 20110070109 | 0.01 | Estimated Values | 0.018444 | E | 0.0145 | ug/L | 0.78616 | S | rcr | m | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-07-14 08:00 | 20111960039 | 0.01 | Estimated Values | 0.0188 | E | 0.0154 | ug/L | 0.81915 | V | rcr | m | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-10-13 07:30 | 20112870073 | 0.014 | Estimated Values | 0.0188 | E | 0.0134 | ug/L | 0.71277 | V | rcr | m | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-02-16 07:30 | 20120470078 | 0.014 | Estimated Values | 0.0188 | E | 0.0133 | ug/L | 0.70745 | V | rcr | m | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-04-26 07:00 | 20121180062 | 0.014 | Estimated Values | 0.0188 | E | 0.0158 | ug/L | 0.84043 | Y | rcr | m | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-03-31 07:30 | 20110910084 | 0.01 | Estimated Values | 0.018913 | E | 0.0138 | ug/L | 0.72964 | X | str | m | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-05-26 07:30 | 20111470065 | 0.01 | Estimated Values | 0.019001 | E | 0.0134 | ug/L | 0.70521 | X | str | m | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-03-10 06:30 | 20110690078 | 0.01 | Estimated Values | 0.019592 | E | 0.0169 | ug/L | 0.86257 | V | rcr | m | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-11-30 07:00 | 20103350003 | 0.01 | Estimated Values | 0.019958 | E | 0.0189 | ug/L | 0.94698 | W | c3L | m | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-08-25 10:00 | 20112380055 | 0.01 | Estimated Values | 0.02 | E | 0.015 | ug/L | 0.75 | V | rcr | m | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-11-03 07:00 | 20113080001 | 0.014 | Estimated Values | 0.02 | E | 0.0145 | ug/L | 0.725 | V | rcr | m | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-03-22 06:30 | 20120830077 | 0.014 | Estimated Values | 0.02 | E | 0.0083 | ug/L | 0.415 | V | rcr | m | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-05-24 07:00 | 20121460001 | 0.014 | Estimated Values | 0.02 | E | 0.0146 | ug/L | 0.73 | Y | rcr | m | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-01-27 06:30 | 20110280004 | 0.01 | Estimated Values | 0.02009 | E | 0.0129 | ug/L | 0.6421 | V | rcr | m | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-05-05 07:30 | 20111260154 | 0.01 | Estimated Values | 0.02022 | E | 0.0154 | ug/L | 0.76161 | V | rcr | m | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-04-30 07:00 | 20151210037 | 0.014 | Estimated Values | 0.021 | E | 0.0141 | ug/L | 0.67143 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-10-22 06:00 | 20152950078 | 0.014 | Estimated Values | 0.021 | E | 0.0086 | ug/L | 0.40952 |  | rcr | m | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-06-25 06:00 | 20151760208 | 0.014 | Estimated Values | 0.021 | E | 0.0142 | ug/L | 0.67619 | V | rcr | m | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-07-23 06:00 | 20152040177 | 0.014 | Estimated Values | 0.021 | E | 0.0128 | ug/L | 0.60952 | Y | rcr | m | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-11-10 06:00 | 20153160001 | 0.014 | Estimated Values | 0.021 | E | 0.0117 | ug/L | 0.55714 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-02-17 08:30 | 20110490035 | 0.01 | Estimated Values | 0.02475 | E | 0.0202 | ug/L | 0.81616 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-04-17 06:00 | 20141080004 | 0.014 | Estimated Values | 0.0279 | E | 0.0163 | ug/L | 0.58423 | Y | rcr | m | 2014-04-29 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-01-15 06:00 | 20150150115 | 0.014 | Estimated Values | 0.0279 | E | 0.0155 | ug/L | 0.55556 | Y | rcr | m | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-05-29 06:00 | 20141490205 | 0.014 | Estimated Values | 0.0279 | E | 0.0179 | ug/L | 0.64158 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-10-09 06:00 | 20142820151 | 0.014 | Estimated Values | 0.0279 | E | 0.02 | ug/L | 0.71685 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-05-16 06:00 | 20141360094 | 0.014 | Estimated Values | 0.02793 | E | 0.014 | ug/L | 0.50125 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-09-03 06:00 | 20142470041 | 0.014 | Estimated Values | 0.02793 | E | 0.0168 | ug/L | 0.6015 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-06-12 06:00 | 20141640076 | 0.014 | Estimated Values | 0.02793 | E | 0.0174 | ug/L | 0.62299 | Y | rcr | m | 2014-06-30 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-07-10 06:00 | 20141910243 | 0.014 | Estimated Values | 0.02793 | E | 0.0152 | ug/L | 0.54422 | Y | rcr | m | 2014-07-17 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-05-30 07:30 | 20131510026 | 0.014 | Estimated Values | 0.033 | E | 0.0184 | ug/L | 0.55758 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-06-27 06:30 | 20131790009 | 0.014 | Estimated Values | 0.033 | E | 0.0134 | ug/L | 0.40606 | Y | rcr | m | 2013-07-11 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-12-23 06:30 | 20133580036 | 0.014 | Estimated Values | 0.033 | E | 0.0138 | ug/L | 0.41818 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-12-12 06:30 | 20133470008 | 0.014 | Estimated Values | 0.03308 | E | 0.0186 | ug/L | 0.56227 | Y | rcr | m | 2014-01-08 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-10-31 06:30 | 20133050050 | 0.014 | Estimated Values | 0.03308 | E | 0.0229 | ug/L | 0.69226 | Y | rcr | m | 2013-11-09 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-11-14 07:30 | 20133190012 | 0.014 | Estimated Values | 0.03308 | E | 0.0193 | ug/L | 0.58343 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-02-20 06:30 | 20140510043 | 0.014 | Estimated Values | 0.03308 | E | 0.0186 | ug/L | 0.56227 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-02-10 07:00 | 20110410061 | 0.01 | Estimated Values | 0.03738 | E | 0.0212 | ug/L | 0.56716 | V | rcr | m | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-11-04 07:30 | 20103080116 | 0.01 | Estimated Values | 0.037394 | E | 0.0264 | ug/L | 0.70599 | X | str | m | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-11-17 07:00 | 20113220198 | 0.014 | Estimated Values | 0.0376 | E | 0.0201 | ug/L | 0.53457 | V | rcr | m | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-04-29 10:30 | 20101190091 | 0.01 | Estimated Values | 0.038782 | E | 0.0248 | ug/L | 0.63947 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-10-14 07:30 | 20102880001 | 0.01 | Estimated Values | 0.039616 | E | 0.0235 | ug/L | 0.5932 | V | rcr | m | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-06-23 07:00 | 20111750006 | 0.01 | Estimated Values | 0.04 | E | 0.0298 | ug/L | 0.745 | X | str | m | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-09-08 07:30 | 20112520209 | 0.01 | Estimated Values | 0.04 | E | 0.0233 | ug/L | 0.5825 | Y | rcr | m | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-12-13 07:30 | 20113490056 | 0.014 | Estimated Values | 0.04 | E | 0.0263 | ug/L | 0.6575 | V | rcr | m | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-01-19 07:00 | 20120200073 | 0.014 | Estimated Values | 0.04 | E | 0.0265 | ug/L | 0.6625 | X | str | m | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-09-09 06:40 | 20102530008 | 0.01 | Estimated Values | 0.040428 | E | 0.0292 | ug/L | 0.72226 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-06-17 10:30 | 20101720149 | 0.01 | Estimated Values | 0.040547 | E | 0.0307 | ug/L | 0.75714 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-07-09 07:00 | 20151900132 | 0.014 | Estimated Values | 0.042 | E | 0.0271 | ug/L | 0.64524 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-08-20 06:00 | 20152330039 | 0.014 | Estimated Values | 0.042 | E | 0.0235 | ug/L | 0.55952 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-05-07 07:00 | 20151270112 | 0.014 | Estimated Values | 0.042 | E | 0.0305 | ug/L | 0.72619 | V | rcr | m | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-12-09 06:00 | 20153440001 | 0.014 | Estimated Values | 0.042 | E | 0.0188 | ug/L | 0.44762 |  | rcr | m | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-08-14 06:00 | 20142270001 | 0.014 | Estimated Values | 0.0558 | E | 0.0292 | ug/L | 0.5233 | Y | rcr | m | 2014-08-27 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-05-01 06:00 | 20141220025 | 0.014 | Estimated Values | 0.0558 | E | 0.0387 | ug/L | 0.69355 | Y | rcr | m | 2014-05-20 | Supelco LC06435: 60 µl & Abs 032714: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-11-19 06:00 | 20143240095 | 0.014 | Estimated Values | 0.0558 | E | 0.0353 | ug/L | 0.63262 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-11-06 06:00 | 20143110108 | 0.014 | Estimated Values | 0.05586 | E | 0.0288 | ug/L | 0.51557 | Y | rcr | m | 2014-11-19 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-06-26 06:00 | 20141770149 | 0.014 | Estimated Values | 0.05586 | E | 0.0293 | ug/L | 0.52453 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-02-12 06:00 | 20150430092 | 0.014 | Estimated Values | 0.05586 | E | 0.0343 | ug/L | 0.61404 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-09-25 06:00 | 20142720002 | 0.014 | Estimated Values | 0.05586 | E | 0.0293 | ug/L | 0.52453 | Y | rcr | m | 2014-10-04 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-02-11 06:30 | 20100420055 | 0.01 | Estimated Values | 0.056667 | E | 0.0287 | ug/L | 0.50646 | S | c3L | m | 2010-04-22 | Supelco LB69639: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-01-28 06:30 | 20100280077 | 0.01 | Estimated Values | 0.057001 | E | 0.0205 | ug/L | 0.35964 | W | fww | m | 2010-03-25 | NSI 090109-01Pest: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-06-03 06:30 | 20101550006 | 0.01 | Estimated Values | 0.059371 | E | 0.0338 | ug/L | 0.5693 | X | mco | m | 2010-08-03 | NSI 090109-01Pest: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-08-30 06:30 | 20122430227 | 0.014 | Estimated Values | 0.0598 | E | 0.0322 | ug/L | 0.53846 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-02-19 06:30 | 20130510051 | 0.014 | Estimated Values | 0.0598 | E | 0.0301 | ug/L | 0.50334 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-08-16 06:30 | 20122300021 | 0.014 | Estimated Values | 0.0598 | E | 0.0391 | ug/L | 0.65385 | V | rcr | m | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-07-19 06:30 | 20122020004 | 0.014 | Estimated Values | 0.06 | E | 0.0346 | ug/L | 0.57667 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-07-03 08:00 | 20121870008 | 0.014 | Estimated Values | 0.06 | E | 0.0391 | ug/L | 0.65167 | V | rcr | m | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-02-07 06:30 | 20130390105 | 0.014 | Estimated Values | 0.06 | E | 0.0287 | ug/L | 0.47833 | V | rcr | m | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-08-18 08:47 | 20112310030 | 0.01 | Estimated Values | 0.066 | E | 0.0202 | ug/L | 0.30606 | Y | rcr | m | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-06-07 10:00 | 20111590005 | 0.01 | Estimated Values | 0.074096 | E | 0.0454 | ug/L | 0.61272 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2014-02-06 06:30 | 20140370077 | 0.014 | Estimated Values | 0.0825 | E | 0.047 | ug/L | 0.5697 | Y | rcr | m | 2014-02-12 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-09-12 08:30 | 20132560001 | 0.014 | Estimated Values | 0.0825 | E | 0.0503 | ug/L | 0.6097 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-08-01 07:00 | 20132140002 | 0.014 | Estimated Values | 0.0827 | E | 0.0515 | ug/L | 0.62273 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-05-16 07:00 | 20131370001 | 0.014 | Estimated Values | 0.0827 | E | 0.0562 | ug/L | 0.67956 | V | rcr | m | 2013-06-05 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-09-03 06:00 | 20152460215 | 0.014 | Estimated Values | 0.084 | E | 0.0438 | ug/L | 0.52143 |  | rcr | m | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2015-10-01 06:00 | 20152750006 | 0.014 | Estimated Values | 0.084 | E | 0.0434 | ug/L | 0.51667 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2011-04-07 09:00 | 20110980030 | 0.01 | Estimated Values | 0.099483 | E | 0.0632 | ug/L | 0.63529 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-11-18 09:00 | 20103230114 | 0.01 | Estimated Values | 0.1007 | E | 0.0712 | ug/L | 0.70702 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-05-06 06:30 | 20101270038 | 0.01 | Estimated Values | 0.11158 | E | 0.0568 | ug/L | 0.50907 | S | cgr | m | 2010-07-07 | Supelco LB69639: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-07-13 06:30 | 20101950137 | 0.01 | Estimated Values | 0.11383 | E | 0.081 | ug/L | 0.7116 | X | str | m | 2010-09-23 | Supelco LB69639: 40 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-09-27 07:00 | 20122720048 | 0.014 | Estimated Values | 0.1495 | E | 0.0991 | ug/L | 0.66288 | V | rcr | m | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-04-04 06:30 | 20130940097 | 0.014 | Estimated Values | 0.1495 | E | 0.0805 | ug/L | 0.53846 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-12-20 06:30 | 20123560092 | 0.014 | Estimated Values | 0.1495 | E | 0.0626 | ug/L | 0.41873 | Y | rcr | m | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-10-10 07:00 | 20122850005 | 0.014 | Estimated Values | 0.15 | E | 0.081 | ug/L | 0.54 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-01-10 06:00 | 20130100066 | 0.014 | Estimated Values | 0.15 | E | 0.0846 | ug/L | 0.564 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-03-21 06:30 | 20130810108 | 0.014 | Estimated Values | 0.15 | E | 0.0779 | ug/L | 0.51933 | V | rcr | m | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2013-09-06 06:50 | 20132490342 | 0.014 | Estimated Values | 0.165 | E | 0.0956 | ug/L | 0.57939 | Y | rcr | m | 2013-09-20 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2010-08-12 06:30 | 20102250096 | 0.01 | Estimated Values | 0.29295 | E | 0.122 | ug/L | 0.41646 | X | str | m | 2010-10-27 | NSI 090109-01Pest: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-20 06:30 | 20123260037 | 0.014 | Estimated Values | 0.299 | E | 0.151 | ug/L | 0.50502 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TEFLUTHRIN | 61606GCM39 | 2012-11-08 06:30 | 20123140095 | 0.014 | Estimated Values | 0.3 | E | 0.152 | ug/L | 0.50667 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl