## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TERBUFOS | 82675GCM35 | 2011-08-18 08:47 | 20112310030 | 0.018 | False Positive |  | . |  | ug/L |  | Y | rcr | n | 2011-09-13 | ERA 0318-13-02.2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2015-08-20 06:00 | 20152330039 | 0.018 | Deleted Values |  | R |  | ug/L |  |  | rcr |  | 2015-09-04 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2015-10-01 06:00 | 20152750006 | 0.018 | Deleted Values |  | R |  | ug/L |  |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2012-04-26 07:00 | 20121180062 | 0.018 | False Negative | 0.0234 | < |  | ug/L |  | Y | rcr |  | 2012-05-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2015-07-23 06:00 | 20152040177 | 0.018 | False Negative | 0.0272 | < |  | ug/L |  | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2015-08-06 06:00 | 20152190003 | 0.018 | Deleted Values | 0.0272 | R |  | ug/L |  |  | rcr |  | 2015-08-20 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2015-06-25 06:00 | 20151760208 | 0.018 | False Negative | 0.028 | < |  | ug/L |  | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-05-30 07:30 | 20131510026 | 0.018 | False Negative | 0.0444 | < |  | ug/L |  | Y | rcr |  | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2015-06-04 07:00 | 20151550293 | 0.018 | False Negative | 0.056 | < |  | ug/L |  | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2013-05-02 06:00 | 20131230084 | 0.018 | False Negative | 0.0598 | < |  | ug/L |  | V | rcr |  | 2013-05-22 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2015-09-17 06:00 | 20152610011 | 0.018 | Deleted Values | 0.1088 | R |  | ug/L |  |  | rcr |  | 2015-09-23 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2015-09-03 06:00 | 20152460215 | 0.018 | Deleted Values | 0.1088 | R |  | ug/L |  |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2011-01-06 07:00 | 20110070109 | 0.018 | Recoverable Result | 0.022957 | . | 0.0133 | ug/L | 0.57935 | S | rcr | n | 2011-02-08 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-07-14 08:00 | 20111960039 | 0.018 | Recoverable Result | 0.0234 | . | 0.0142 | ug/L | 0.60684 | V | rcr | n | 2011-07-28 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-10-13 07:30 | 20112870073 | 0.018 | Recoverable Result | 0.0234 | . | 0.012 | ug/L | 0.51282 | V | rcr | n | 2011-10-25 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2012-02-16 07:30 | 20120470078 | 0.018 | Recoverable Result | 0.0234 | . | 0.0106 | ug/L | 0.45299 | V | rcr | n | 2012-03-05 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-03-10 06:30 | 20110690078 | 0.018 | Recoverable Result | 0.023511 | . | 0.0141 | ug/L | 0.59972 | V | rcr | n | 2011-03-23 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-03-31 07:30 | 20110910084 | 0.018 | Recoverable Result | 0.023541 | . | 0.0098 | ug/L | 0.41629 | X | str | n | 2011-04-13 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-05-26 07:30 | 20111470065 | 0.018 | Recoverable Result | 0.023651 | . | 0.0103 | ug/L | 0.43551 | X | str | n | 2011-06-20 | ERA 0818-10-05 LS 2033#2: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2010-11-30 07:00 | 20103350003 | 0.018 | Recoverable Result | 0.02395 | . | 0.0174 | ug/L | 0.72652 | W | c3L | n | 2011-01-21 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-08-25 10:00 | 20112380055 | 0.018 | Recoverable Result | 0.024 | . | 0.0179 | ug/L | 0.74583 | V | rcr | n | 2011-09-19 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-11-03 07:00 | 20113080001 | 0.018 | Recoverable Result | 0.024 | . | 0.0133 | ug/L | 0.55417 | V | rcr | n | 2011-11-17 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2012-03-22 06:30 | 20120830077 | 0.018 | Estimated Values | 0.024 | E | 0.0142 | ug/L | 0.59167 | V | rcr | n | 2012-04-05 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2012-05-24 07:00 | 20121460001 | 0.018 | Recoverable Result | 0.024 | . | 0.011 | ug/L | 0.45833 | Y | rcr | n | 2012-06-02 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-01-27 06:30 | 20110280004 | 0.018 | Recoverable Result | 0.024109 | . | 0.0121 | ug/L | 0.5019 | V | rcr | n | 2011-02-19 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-05-05 07:30 | 20111260154 | 0.018 | Recoverable Result | 0.024265 | . | 0.0147 | ug/L | 0.60582 | V | rcr | n | 2011-05-14 | Spex Organics T1100628017: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2011-02-17 08:30 | 20110490035 | 0.018 | Recoverable Result | 0.02475 | . | 0.0212 | ug/L | 0.85657 | V | rcr |  | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TERBUFOS | 82675GCM35 | 2015-10-22 06:00 | 20152950078 | 0.018 | Recoverable Result | 0.028 | . | 0.0128 | ug/L | 0.45714 |  | rcr | n | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2015-10-29 06:00 | 20153030068 | 0.018 | Recoverable Result | 0.028 | . | 0.021 | ug/L | 0.75 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2010-04-08 06:30 | 20100990014 | 0.018 | Estimated Values | 0.03012 | E | 0.0173 | ug/L | 0.57436 | X | STR | n | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2010-08-26 06:30 | 20102390088 | 0.018 | Recoverable Result | 0.030306 | . | 0.019 | ug/L | 0.62694 | X | str |  | 2010-12-01 | Ultra CF-3558: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2010-03-11 06:30 | 20100710178 | 0.018 | Recoverable Result | 0.030472 | . | 0.0344 | ug/L | 1.1289 | S | c3L |  | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2010-07-21 06:30 | 20102030005 | 0.018 | Recoverable Result | 0.030618 | . | 0.019 | ug/L | 0.62054 | W | fww |  | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2014-08-07 07:00 | 20142200164 | 0.018 | Recoverable Result | 0.036 | . | 0.013 | ug/L | 0.36111 | Y | rcr | n | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-10-09 06:00 | 20142820151 | 0.018 | Recoverable Result | 0.036 | . | 0.0154 | ug/L | 0.42778 | Y | rcr | n | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-09-03 06:00 | 20142470041 | 0.018 | Recoverable Result | 0.036 | . | 0.0127 | ug/L | 0.35278 | Y | rcr | n | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-12-03 06:00 | 20143370094 | 0.018 | Recoverable Result | 0.036 | . | 0.0118 | ug/L | 0.32778 | Y | rcr | n | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-05-22 07:00 | 20141420140 | 0.018 | Recoverable Result | 0.0363 | . | 0.0219 | ug/L | 0.60331 | Y | rcr |  | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-05-29 06:00 | 20141490205 | 0.018 | Recoverable Result | 0.0363 | . | 0.0288 | ug/L | 0.79339 | Y | rcr |  | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-05-16 06:00 | 20141360094 | 0.018 | Recoverable Result | 0.0363 | . | 0.0192 | ug/L | 0.52893 | Y | rcr |  | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2014-07-02 07:00 | 20141840097 | 0.018 | Recoverable Result | 0.0363 | . | 0.0186 | ug/L | 0.5124 | Y | rcr |  | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | TERBUFOS | 82675GCM35 | 2010-04-29 10:30 | 20101190091 | 0.018 | Recoverable Result | 0.038782 | . | 0.0259 | ug/L | 0.66783 | S | c3L |  | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2010-09-09 06:40 | 20102530008 | 0.018 | Recoverable Result | 0.040428 | . | 0.0384 | ug/L | 0.94982 | V | rcr |  | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2010-06-17 10:30 | 20101720149 | 0.018 | Recoverable Result | 0.040547 | . | 0.0357 | ug/L | 0.88045 | X | str |  | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2013-08-15 06:30 | 20132280016 | 0.018 | Recoverable Result | 0.0444 | . | 0.0258 | ug/L | 0.58108 | Y | rcr |  | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-11-26 07:00 | 20133310030 | 0.018 | Recoverable Result | 0.0444 | . | 0.0309 | ug/L | 0.69595 | Y | rcr |  | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2014-03-13 07:00 | 20140730138 | 0.018 | Recoverable Result | 0.0444 | . | 0.0266 | ug/L | 0.5991 | Y | rcr |  | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2014-02-20 06:30 | 20140510043 | 0.018 | Recoverable Result | 0.0444 | . | 0.0238 | ug/L | 0.53604 | Y | rcr |  | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2013-06-13 06:30 | 20131650073 | 0.018 | Recoverable Result | 0.0452 | . | 0.0122 | ug/L | 0.26991 | V | rcr | n | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-12-23 06:30 | 20133580036 | 0.018 | Recoverable Result | 0.0452 | . | 0.0199 | ug/L | 0.44027 | Y | rcr |  | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2013-11-14 07:30 | 20133190012 | 0.018 | Recoverable Result | 0.0452 | . | 0.0332 | ug/L | 0.73451 | Y | rcr |  | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2011-02-10 07:00 | 20110410061 | 0.018 | Recoverable Result | 0.046525 | . | 0.017 | ug/L | 0.36539 | V | rcr | n | 2011-02-28 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2010-11-04 07:30 | 20103080116 | 0.018 | Recoverable Result | 0.046544 | . | 0.033 | ug/L | 0.70901 | X | str |  | 2011-01-13 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2011-11-17 07:00 | 20113220198 | 0.018 | Recoverable Result | 0.0468 | . | 0.0136 | ug/L | 0.2906 | V | rcr | n | 2011-12-03 | ERA 0818-10-05 LS 2033#2: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2010-10-14 07:30 | 20102880001 | 0.018 | Recoverable Result | 0.047539 | . | 0.0217 | ug/L | 0.45647 | V | rcr |  | 2011-01-11 | Spex Organics T1100628017: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2011-06-23 07:00 | 20111750006 | 0.018 | Recoverable Result | 0.048 | . | 0.0312 | ug/L | 0.65 | X | str |  | 2011-07-07 | Spex Organics T1100628017: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2011-09-08 07:30 | 20112520209 | 0.018 | Recoverable Result | 0.048 | . | 0.0252 | ug/L | 0.525 | Y | rcr |  | 2011-09-29 | Spex Organics T1100628017: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2011-12-13 07:30 | 20113490056 | 0.018 | Recoverable Result | 0.048 | . | 0.033 | ug/L | 0.6875 | V | rcr |  | 2011-12-21 | Spex Organics T1100628017: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2012-01-19 07:00 | 20120200073 | 0.018 | Recoverable Result | 0.048 | . | 0.033 | ug/L | 0.6875 | X | str |  | 2012-01-27 | Spex Organics T1100628017: 80 µl
2033 | TERBUFOS | 82675GCM35 | 2015-12-09 06:00 | 20153440001 | 0.018 | Recoverable Result | 0.0544 | . | 0.0244 | ug/L | 0.44853 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2015-12-17 06:00 | 20153510109 | 0.018 | Recoverable Result | 0.0544 | . | 0.0264 | ug/L | 0.48529 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2015-05-07 07:00 | 20151270112 | 0.018 | Recoverable Result | 0.056 | . | 0.0332 | ug/L | 0.59286 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2012-08-07 06:00 | 20122210006 | 0.018 | Recoverable Result | 0.0598 | . | 0.0386 | ug/L | 0.64548 | Y | rcr |  | 2012-08-29 | Spex Organics T1120530013: 20 µl & Crescent 05BB029: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2012-08-30 06:30 | 20122430227 | 0.018 | Recoverable Result | 0.0598 | . | 0.0437 | ug/L | 0.73077 | V | rcr |  | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-02-19 06:30 | 20130510051 | 0.018 | Recoverable Result | 0.0598 | . | 0.015 | ug/L | 0.25084 | Y | rcr | n | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-07-11 06:30 | 20131920149 | 0.018 | Recoverable Result | 0.0604 | . | 0.0331 | ug/L | 0.54801 | Y | rcr |  | 2013-07-23 | Restek A093651: 20 µl & Abs 012513: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2014-03-27 06:30 | 20140860102 | 0.018 | Recoverable Result | 0.0604 | . | 0.0335 | ug/L | 0.55464 | Y | rcr |  | 2014-04-15 | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2012-06-07 06:30 | 20121600156 | 0.018 | Recoverable Result | 0.0606 | . | 0.0397 | ug/L | 0.65512 | Y | rcr |  | 2012-06-16 | Abs 052412: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2012-09-13 06:00 | 20122570122 | 0.018 | Recoverable Result | 0.0606 | . | 0.0404 | ug/L | 0.66667 | Y | rcr |  | 2012-09-26 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-03-05 06:00 | 20130650005 | 0.018 | Recoverable Result | 0.0606 | . | 0.0254 | ug/L | 0.41914 | V | rcr |  | 2013-03-18 | Restek A088380: 20 µl & Abs 052412: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2012-07-19 06:30 | 20122020004 | 0.018 | Recoverable Result | 0.0606 | . | 0.0346 | ug/L | 0.57096 | V | rcr |  | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-10-17 06:30 | 20132910008 | 0.018 | Recoverable Result | 0.0606 | . | 0.0407 | ug/L | 0.67162 | Y | rcr |  | 2013-11-04 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TERBUFOS | 82675GCM35 | 2013-12-05 08:00 | 20133400002 | 0.018 | Recoverable Result | 0.0606 | . | 0.0488 | ug/L | 0.80528 | Y | rcr |  | 2014-01-08 | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl
2033 | TERBUFOS | 82675GCM35 | 2010-06-10 06:30 | 20101650033 | 0.018 | Recoverable Result | 0.061337 | . | 0.0417 | ug/L | 0.67985 | W | c3L |  | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2010-09-16 06:30 | 20102630169 | 0.018 | Recoverable Result | 0.061652 | . | 0.0384 | ug/L | 0.62285 | X | str |  | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | TERBUFOS | 82675GCM35 | 2014-10-23 06:00 | 20142960086 | 0.018 | Recoverable Result | 0.072 | . | 0.035 | ug/L | 0.48611 | Y | rcr |  | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2014-11-19 06:00 | 20143240095 | 0.018 | Recoverable Result | 0.072 | . | 0.0452 | ug/L | 0.62778 | Y | rcr |  | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2015-02-12 06:00 | 20150430092 | 0.018 | Recoverable Result | 0.072 | . | 0.047 | ug/L | 0.65278 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2014-09-10 06:00 | 20142530087 | 0.018 | Recoverable Result | 0.072 | . | 0.0358 | ug/L | 0.49722 | Y | rcr |  | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2015-03-12 06:00 | 20150720069 | 0.018 | Recoverable Result | 0.0726 | . | 0.0412 | ug/L | 0.56749 | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2014-06-26 06:00 | 20141770149 | 0.018 | Recoverable Result | 0.0726 | . | 0.0462 | ug/L | 0.63636 | Y | rcr |  | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2014-06-05 07:00 | 20141570088 | 0.018 | Recoverable Result | 0.0726 | . | 0.0566 | ug/L | 0.77961 | Y | rcr |  | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | TERBUFOS | 82675GCM35 | 2011-06-07 10:00 | 20111590005 | 0.018 | Recoverable Result | 0.074096 | . | 0.0606 | ug/L | 0.81786 | V | rcr |  | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TERBUFOS | 82675GCM35 | 2011-04-07 09:00 | 20110980030 | 0.018 | Recoverable Result | 0.099483 | . | 0.0759 | ug/L | 0.76295 | X | str |  | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2010-11-18 09:00 | 20103230114 | 0.018 | Recoverable Result | 0.1007 | . | 0.0903 | ug/L | 0.89668 | X | str |  | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2013-08-01 07:00 | 20132140002 | 0.018 | Recoverable Result | 0.111 | . | 0.0275 | ug/L | 0.24775 | Y | rcr |  | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | TERBUFOS | 82675GCM35 | 2013-09-12 08:30 | 20132560001 | 0.018 | Recoverable Result | 0.113 | . | 0.0739 | ug/L | 0.65398 | Y | rcr |  | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2013-09-25 08:00 | 20132690010 | 0.018 | Recoverable Result | 0.113 | . | 0.111 | ug/L | 0.9823 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2012-10-30 07:00 | 20123040157 | 0.018 | Recoverable Result | 0.1495 | . | 0.0785 | ug/L | 0.52508 | V | rcr |  | 2012-11-14 | Restek A088380: 50 µl & Crescent 05BB029: 50 µl
2033 | TERBUFOS | 82675GCM35 | 2013-08-29 06:30 | 20132420001 | 0.018 | Recoverable Result | 0.151 | . | 0.0965 | ug/L | 0.63907 | Y | rcr |  | 2013-09-14 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl
2033 | TERBUFOS | 82675GCM35 | 2014-01-23 06:30 | 20140230082 | 0.018 | Recoverable Result | 0.151 | . | 0.109 | ug/L | 0.72185 | Y | rcr |  | 2014-01-31 | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl
2033 | TERBUFOS | 82675GCM35 | 2012-10-10 07:00 | 20122850005 | 0.018 | Recoverable Result | 0.1515 | . | 0.0978 | ug/L | 0.64554 | Y | rcr |  | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TERBUFOS | 82675GCM35 | 2013-01-10 06:00 | 20130100066 | 0.018 | Recoverable Result | 0.1515 | . | 0.0859 | ug/L | 0.567 | Y | rcr |  | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TERBUFOS | 82675GCM35 | 2013-04-04 06:30 | 20130940097 | 0.018 | Recoverable Result | 0.1515 | . | 0.0379 | ug/L | 0.25017 | Y | rcr |  | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TERBUFOS | 82675GCM35 | 2010-05-13 06:30 | 20101340154 | 0.018 | Recoverable Result | 0.15152 | . | 0.112 | ug/L | 0.7392 | X | mco |  | 2010-07-15 | Spex Organics T1090901009: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2014-01-09 06:30 | 20140100085 | 0.018 | Recoverable Result | 0.226 | . | 0.202 | ug/L | 0.89381 | Y | rcr |  | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | TERBUFOS | 82675GCM35 | 2013-01-24 06:00 | 20130250061 | 0.018 | Recoverable Result | 0.299 | . | 0.171 | ug/L | 0.57191 | Y | rcr |  | 2013-02-06 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-12-06 06:30 | 20123420074 | 0.018 | Recoverable Result | 0.299 | . | 0.247 | ug/L | 0.82609 | V | rcr |  | 2012-12-20 | Spex Organics T1120530013: 100 µl & Crescent 05BB029: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TERBUFOS | 82675GCM35 | 2012-11-20 06:30 | 20123260037 | 0.018 | Recoverable Result | 0.303 | . | 0.212 | ug/L | 0.69967 | V | rcr |  | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl