## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-05-29 06:00 | 20141490205 | 0.018 | 0.036 | E | 0.0223 | ug/L | 0.61944 | Y | rcr | m | 2014-06-26 | Abs 032714: 30 µl & ERA 0227-14-08: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-10-09 06:00 | 20142820151 | 0.018 | 0.036 | E | 0.0269 | ug/L | 0.74722 | Y | rcr | m | 2014-10-21 | Abs 032714: 30 µl & NSI 042814: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-11-19 06:00 | 20143240095 | 0.018 | 0.072 | E | 0.0436 | ug/L | 0.60556 | Y | rcr | m | 2014-12-04 | Abs 032714: 60 µl & NSI 042814: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-07-09 07:00 | 20151900132 | 0.018 | 0.0544 | E | 0.033 | ug/L | 0.60662 | Y | rcr | m | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-10-01 06:00 | 20152750006 | 0.018 | 0.1088 | E | 0.0547 | ug/L | 0.50276 |  | rcr | m | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-04-30 07:00 | 20151210037 | 0.018 | 0.0272 | E | 0.0217 | ug/L | 0.79779 | V | rcr | m | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-06-13 06:30 | 20131650073 | 0.018 | 0.0554 | E | 0.0374 | ug/L | 0.67509 | V | rcr | m | 2013-06-26 | Abs 042413: 20 µl & ChemService 1473000: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-09-25 08:00 | 20132690010 | 0.018 | 0.1385 | E | 0.104 | ug/L | 0.7509 | Y | rcr | @ | 2013-10-19 | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-01-09 06:30 | 20140100085 | 0.018 | 0.277 | E | 0.146 | ug/L | 0.52708 | Y | rcr | m | 2014-01-18 | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-11-20 06:30 | 20123260037 | 0.018 | 0.251 | E | 0.126 | ug/L | 0.50199 | V | rcr | m | 2012-12-06 | Abs 052412: 100 µl & ERA 0507-12-04.2: 100 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-04-04 06:30 | 20130940097 | 0.018 | 0.1255 | E | 0.0654 | ug/L | 0.52112 | Y | rcr | m | 2013-04-22 | Abs 052412: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-07-19 06:30 | 20122020004 | 0.018 | 0.05002 | E | 0.0287 | ug/L | 0.57377 | V | rcr | m | 2012-08-14 | Abs 052412: 20 µl & Supelco LB92783: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-06-04 07:00 | 20151550293 | 0.018 | 0.0544 | E | 0.0328 | ug/L | 0.60294 | V | rcr | m | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-10-29 06:00 | 20153030068 | 0.018 | 0.027 | E | 0.0266 | ug/L | 0.98519 |  | rcr | m | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-11-26 07:00 | 20133310030 | 0.018 | 0.0542 | E | 0.0496 | ug/L | 0.91513 | Y | rcr | m | 2013-12-05 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-03-13 07:00 | 20140730138 | 0.018 | 0.0542 | E | 0.0306 | ug/L | 0.56458 | Y | rcr | m | 2014-04-03 | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-08-15 06:30 | 20132280016 | 0.018 | 0.0542 | E | 0.046 | ug/L | 0.84871 | Y | rcr | m | 2013-09-05 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-08-30 06:30 | 20122430227 | 0.018 | 0.0502 | E | 0.0326 | ug/L | 0.6494 | V | rcr | m | 2012-09-17 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-02-19 06:30 | 20130510051 | 0.018 | 0.0502 | E | 0.0306 | ug/L | 0.60956 | Y | rcr | m | 2013-03-07 | Crescent 05BB029: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-05-22 07:00 | 20141420140 | 0.018 | 0.036 | E | 0.0307 | ug/L | 0.85278 | Y | rcr | m | 2014-06-24 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-03-12 06:00 | 20150720069 | 0.018 | 0.072 | E | 0.056 | ug/L | 0.77778 | Y | rcr | m | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-06-05 07:00 | 20141570088 | 0.018 | 0.072 | E | 0.0447 | ug/L | 0.62083 | Y | rcr | m | 2014-06-28 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-07-02 07:00 | 20141840097 | 0.018 | 0.036 | E | 0.0278 | ug/L | 0.77222 | Y | rcr | m | 2014-07-16 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-09-12 08:30 | 20132560001 | 0.018 | 0.1385 | E | 0.0871 | ug/L | 0.62888 | Y | rcr | m | 2013-09-24 | ERA 0318-13-02.2: 50 µl & Abs 042413: 50 µl & Crescent 10802AL: 10 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-12-23 06:30 | 20133580036 | 0.018 | 0.0554 | E | 0.0258 | ug/L | 0.4657 | Y | rcr | m | 2014-01-10 | ERA 0318-13-02.2: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-05-30 07:30 | 20131510026 | 0.018 | 0.0542 | E | 0.0478 | ug/L | 0.88192 | Y | rcr | m | 2013-06-11 | ERA 0318-13-02.2: 20 µl & Crescent 04CC101: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-09-17 06:00 | 20152610011 | 0.018 | 0.1088 | E | 0.0651 | ug/L | 0.59835 |  | rcr | m | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-08-06 06:00 | 20152190003 | 0.018 | 0.027 | E | 0.0174 | ug/L | 0.64444 |  | rcr | m | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-12-17 06:00 | 20153510109 | 0.018 | 0.054 | E | 0.038 | ug/L | 0.7037 |  | rcr | m | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-09-27 07:00 | 20122720048 | 0.018 | 0.1255 | E | 0.0743 | ug/L | 0.59203 | V | rcr | m | 2012-10-12 | ERA 0507-12-04.2: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-08-07 07:00 | 20142200164 | 0.018 | 0.036 | E | 0.0241 | ug/L | 0.66944 | Y | rcr | m | 2014-08-16 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-10-23 06:00 | 20142960086 | 0.018 | 0.072 | E | 0.0446 | ug/L | 0.61944 | Y | rcr | m | 2014-10-30 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-09-10 06:00 | 20142530087 | 0.018 | 0.072 | E | 0.0422 | ug/L | 0.58611 | Y | rcr | m | 2014-09-23 | NSI 042814: 60 µl & Supelco LC06435: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-12-03 06:00 | 20143370094 | 0.018 | 0.036 | E | 0.029 | ug/L | 0.80556 | Y | rcr | m | 2014-12-15 | NSI 042814: 30 µl & Supelco LC06435: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-04-29 10:30 | 20101190091 | 0.018 | 0.038782 | E | 0.0226 | ug/L | 0.58274 | S | c3L | m | 2010-06-30 | NWQL PSP2SP116C: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-06-17 10:30 | 20101720149 | 0.018 | 0.040547 | E | 0.0314 | ug/L | 0.7744 | X | str | m | 2010-08-25 | NWQL PSP2SP116C: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-09-09 06:40 | 20102530008 | 0.018 | 0.040428 | E | 0.0303 | ug/L | 0.74947 | V | rcr | m | 2010-12-16 | NWQL PSP2SP116C: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-11-18 09:00 | 20103230114 | 0.018 | 0.1007 | E | 0.0809 | ug/L | 0.80334 | X | str | m | 2011-01-20 | NWQL PSP2SP117A: 100 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-02-17 08:30 | 20110490035 | 0.018 | 0.02475 | E | 0.0212 | ug/L | 0.85657 | V | rcr | m | 2011-03-05 | NWQL PSP2SP117A: 25 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-04-07 09:00 | 20110980030 | 0.018 | 0.099483 | E | 0.0638 | ug/L | 0.64132 | X | str | m | 2011-04-20 | NWQL PSP2SP117A: 100 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-06-07 10:00 | 20111590005 | 0.018 | 0.074096 | E | 0.0425 | ug/L | 0.57358 | V | rcr | m | 2011-06-22 | NWQL PSP2SP117A: 75 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-07-03 08:00 | 20121870008 | 0.018 | 0.05002 | E | 0.0318 | ug/L | 0.63575 | V | rcr | m | 2012-07-14 | Restek A088380: 20 µl & Supelco LB92783: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-10-21 07:30 | 20102950072 | 0.018 | 0.062505 | E | 0.0487 | ug/L | 0.77914 | X | str | m | 2011-01-09 | Restek A075606: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-12-09 06:00 | 20103430087 | 0.018 | 0.12932 | E | 0.0884 | ug/L | 0.68356 | S | rcr | m | 2011-01-28 | Restek A075606: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-02-24 08:00 | 20110560005 | 0.018 | 0.065445 | E | 0.0466 | ug/L | 0.71205 | V | rcr | m | 2011-03-08 | Restek A075606: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-04-14 07:30 | 20111050150 | 0.018 | 0.06491 | E | 0.0371 | ug/L | 0.57156 | V | rcr | m | 2011-04-23 | Restek A075606: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-06-02 07:30 | 20111540007 | 0.018 | 0.12671 | E | 0.0756 | ug/L | 0.59664 | V | rcr | m | 2011-06-20 | Restek A075606: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-07-21 07:30 | 20112030057 | 0.018 | 0.06428 | E | 0.0522 | ug/L | 0.81207 | V | rcr | m | 2011-08-17 | Restek A075606: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-08-10 08:00 | 20112220126 | 0.018 | 0.12856 | E | 0.0523 | ug/L | 0.40681 | V | rcr | m | 2011-09-01 | Restek A075606: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-08-18 08:46 | 20112310032 | 0.018 | 0.12856 | E | 0.0387 | ug/L | 0.30103 | Y | rcr | m | 2011-09-13 | Restek A075606: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-10-20 07:00 | 20112930085 | 0.018 | 0.12856 | E | 0.0686 | ug/L | 0.5336 | X | str | m | 2011-11-01 | Restek A075606: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-11-22 07:30 | 20113260111 | 0.018 | 0.06428 | E | 0.0378 | ug/L | 0.58805 | V | rcr | m | 2011-12-04 | Restek A075606: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-02-02 12:10 | 20120370001 | 0.018 | 0.06428 | E | 0.0494 | ug/L | 0.76851 | V | rcr | m | 2012-02-14 | Restek A075606: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-05-10 06:30 | 20121310027 | 0.018 | 0.12856 | E | 0.0686 | ug/L | 0.5336 | Y | rcr | m | 2012-05-15 | Restek A075606: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-05-16 06:00 | 20141360094 | 0.018 | 0.036 | E | 0.022 | ug/L | 0.61111 | Y | rcr | m | 2014-05-28 | Spex Organics E1140407002: 30 µl & ERA 0227-14-08: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-06-26 06:00 | 20141770149 | 0.018 | 0.072 | E | 0.0491 | ug/L | 0.68194 | Y | rcr | m | 2014-07-09 | Spex Organics E1140407002: 60 µl & ERA 0227-14-08: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-09-03 06:00 | 20142470041 | 0.018 | 0.036 | E | 0.0252 | ug/L | 0.7 | Y | rcr | m | 2014-09-22 | Spex Organics E1140407002: 30 µl & NSI 042814: 30 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-02-12 06:00 | 20150430092 | 0.018 | 0.072 | E | 0.0558 | ug/L | 0.775 | Y | rcr | m | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-08-20 06:00 | 20152330039 | 0.018 | 0.054 | E | 0.0324 | ug/L | 0.6 |  | rcr | m | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2015-11-10 06:00 | 20153160001 | 0.018 | 0.027 | E | 0.0248 | ug/L | 0.91852 |  | rcr | m | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-08-16 06:30 | 20122300021 | 0.018 | 0.0502 | E | 0.035 | ug/L | 0.69721 | V | rcr | m | 2012-09-05 | Spex Organics T1120530013: 20 µl & ERA 0507-12-04.2: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-12-20 06:30 | 20123560092 | 0.018 | 0.1255 | E | 0.0487 | ug/L | 0.38805 | Y | rcr | m | 2013-01-15 | Spex Organics T1120530013: 50 µl & ERA 0507-12-04.2: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-11-08 06:30 | 20123140095 | 0.018 | 0.2501 | E | 0.117 | ug/L | 0.46781 | V | rcr | m | 2012-11-20 | Spex Organics T1120530013: 100 µl & Supelco LB92783: 100 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-02-07 06:30 | 20130390105 | 0.018 | 0.05002 | E | 0.029 | ug/L | 0.57977 | V | rcr | m | 2013-02-22 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-03-21 06:30 | 20130810108 | 0.018 | 0.12505 | E | 0.0726 | ug/L | 0.58057 | V | rcr | m | 2013-04-02 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-04-08 06:30 | 20100990014 | 0.018 | 0.13454 | E | 0.0776 | ug/L | 0.57679 | X | STR | m | 2010-06-16 | Spex Organics T1090901009: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-05-13 06:30 | 20101340154 | 0.018 | 0.67677 | E | 0.5 | ug/L | 0.73881 | X | mco | m | 2010-07-15 | Spex Organics T1090901009: 100 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-07-21 06:30 | 20102030005 | 0.018 | 0.13676 | E | 0.132 | ug/L | 0.96518 | W | fww | m | 2010-09-30 | Spex Organics T1090901009: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-09-16 06:30 | 20102630169 | 0.018 | 0.27538 | E | 0.123 | ug/L | 0.44666 | X | str | m | 2010-12-22 | Spex Organics T1090901009: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-10-10 07:00 | 20122850005 | 0.018 | 0.12505 | E | 0.0644 | ug/L | 0.51499 | Y | rcr | m | 2012-10-18 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-01-10 06:00 | 20130100066 | 0.018 | 0.12505 | E | 0.0628 | ug/L | 0.5022 | Y | rcr | m | 2013-01-17 | Supelco LB92783: 50 µl & Abs 052412: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-11-14 07:30 | 20133190012 | 0.018 | 0.0554 | E | 0.041 | ug/L | 0.74007 | Y | rcr | m | 2013-11-23 | Supelco LB99392: 20 µl & Abs 042413: 20 µl & Crescent 10802AL: 10 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2013-08-01 07:00 | 20132140002 | 0.018 | 0.1355 | E | 0.0812 | ug/L | 0.59926 | Y | rcr | m | 2013-08-19 | Supelco LB99392: 50 µl & Crescent 04CC101: 50 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2014-02-20 06:30 | 20140510043 | 0.018 | 0.0542 | E | 0.0439 | ug/L | 0.80996 | Y | rcr | m | 2014-03-05 | Supelco LB99392: 20 µl & Crescent 04CC101: 20 µl & Crescent 10802AL: 10 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-11-10 07:30 | 20103140135 | 0.018 | 0.06422 | E | 0.0274 | ug/L | 0.42666 | V | rcr | m | 2011-01-18 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-01-13 06:30 | 20110130056 | 0.018 | 0.12431 | E | 0.0565 | ug/L | 0.4545 | V | rcr | m | 2011-02-09 | Supelco LB77168: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-03-17 08:00 | 20110770001 | 0.018 | 0.064361 | E | 0.0317 | ug/L | 0.49253 | X | str | m | 2011-03-30 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-05-12 07:00 | 20111330148 | 0.018 | 0.065514 | E | 0.041 | ug/L | 0.62582 | V | rcr | m | 2011-05-25 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-06-29 07:00 | 20111810004 | 0.018 | 0.1288 | E | 0.0749 | ug/L | 0.58152 | X | str | m | 2011-07-14 | Supelco LB77168: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-07-07 06:30 | 20111890005 | 0.018 | 0.0644 | E | 0.0446 | ug/L | 0.69255 | X | str | m | 2011-07-20 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-09-01 07:30 | 20112450022 | 0.018 | 0.0644 | E | 0.0426 | ug/L | 0.66149 | Y | rcr | m | 2011-09-24 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-09-15 07:30 | 20112590005 | 0.018 | 0.1288 | E | 0.065 | ug/L | 0.50466 | V | rcr | m | 2011-10-02 | Supelco LB77168: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-11-09 07:00 | 20113130085 | 0.018 | 0.1288 | E | 0.0681 | ug/L | 0.52873 | X | str | m | 2011-11-17 | Supelco LB77168: 80 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2011-12-15 07:30 | 20113500021 | 0.018 | 0.0644 | E | 0.0373 | ug/L | 0.57919 | V | rcr | m | 2011-12-22 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2012-03-01 07:30 | 20120620015 | 0.018 | 0.0644 | E | 0.0322 | ug/L | 0.5 | X | rcr | m | 2012-03-09 | Supelco LB77168: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-03-11 06:30 | 20100710178 | 0.018 | 0.13611 | E | 0.12 | ug/L | 0.88164 | S | c3L | m | 2010-05-19 | Ultra CF-3558: 20 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-06-10 06:30 | 20101650033 | 0.018 | 0.27397 | E | 0.14 | ug/L | 0.511 | W | c3L | m | 2010-08-10 | Ultra CF-3558: 40 µl
2033 | TRIBUFOS (S,S,S-TRIBUTYLPHOSPHOROTRITHIOATE (DEF)) | 61610GCM39 | 2010-08-26 06:30 | 20102390088 | 0.018 | 0.13537 | E | 0.0586 | ug/L | 0.4329 | X | str | m | 2010-12-01 | Ultra CF-3558: 20 µl