## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-07-19 | ng/L | 1.1796 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 89.01 | 1H-1,2,4-TRIAZOLE | E | 22 | 105 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1796 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.1796 |  | 1.1796 | 0 | 0
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-12-02 | ng/L | 0.98269 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 89.55 | 1H-1,2,4-TRIAZOLE | E | 22 | 88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98269 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.98269 |  | 0.98269 | 0 | 0
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-09-23 | ng/L | 1.1841 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 44.505 | 1H-1,2,4-TRIAZOLE | E | 22 | 52.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1841 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.4178 | 0.26772 | 1.3594 | 0.52578 | 0.38976
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-11-18 | ng/L | 1.3594 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 89.01 | 1H-1,2,4-TRIAZOLE | E | 22 | 121 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3594 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.4178 | 0.26772 | 1.3594 | 0.52578 | 0.38976
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2015-04-08 | ng/L | 1.7099 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 44.505 | 1H-1,2,4-TRIAZOLE | E | 22 | 76.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7099 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.4178 | 0.26772 | 1.3594 | 0.52578 | 0.38976
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-12-16 | ng/L | 0.74819 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 89.55 | 1H-1,2,4-TRIAZOLE | E | 22 | 67 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74819 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.74819 |  | 0.74819 | 0 | 0
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2015-04-15 | ng/L | 0.62088 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 44.775 | 1H-1,2,4-TRIAZOLE | E | 22 | 27.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62088 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.62088 |  | 0.62088 | 0 | 0
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-05-17 | ng/L | 1.11 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 44.775 | 1H-1,2,4-TRIAZOLE | E | 22 | 49.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.11 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.321 | 0.1828 | 1.4238 | 0.31937 | 0.23675
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-06-11 | ng/L | 1.4238 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 179.1 | 1H-1,2,4-TRIAZOLE | E | 22 | 255 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4238 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.321 | 0.1828 | 1.4238 | 0.31937 | 0.23675
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-06-26 | ng/L | 1.4294 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 89.55 | 1H-1,2,4-TRIAZOLE | E | 22 | 128 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4294 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.321 | 0.1828 | 1.4238 | 0.31937 | 0.23675
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2015-04-09 | ng/L | 1.0673 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 44.505 | 1H-1,2,4-TRIAZOLE | E | 22 | 47.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0673 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.0673 |  | 1.0673 | 0 | 0
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-08-17 | ng/L | 0.73479 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 44.775 | 1H-1,2,4-TRIAZOLE | E | 22 | 32.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73479 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.86153 | 0.17924 | 0.86153 | 0.25349 | 0.18791
1H-1,2,4-TRIAZOLE | 2437 | 68498LCM60 | 2014-10-07 | ng/L | 0.98827 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 89.55 | 1H-1,2,4-TRIAZOLE | E | 22 | 88.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98827 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.86153 | 0.17924 | 0.86153 | 0.25349 | 0.18791