## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-07-19 | ng/L | 1.1153 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.96 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1153 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1153 |  | 1.1153 | 0 | 0
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-12-02 | ng/L | 0.88235 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 16.32 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88235 |  | 0.88235 | 0 | 0
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-08-20 | ng/L | 0.7995 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 7.98 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 6.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7995 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7995 |  | 0.7995 | 0 | 0
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-09-23 | ng/L | 1.0213 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.98 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 8.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0213 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0063 | 0.037427 | 1.0213 | 0.070175 | 0.05202
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-11-18 | ng/L | 1.0338 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 15.96 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 16.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0338 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0063 | 0.037427 | 1.0213 | 0.070175 | 0.05202
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2015-04-08 | ng/L | 0.96366 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.98 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 7.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96366 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0063 | 0.037427 | 1.0213 | 0.070175 | 0.05202
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-12-16 | ng/L | 0.82721 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 16.32 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 13.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82721 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82721 |  | 0.82721 | 0 | 0
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2015-04-15 | ng/L | 0.94485 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 8.16 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94485 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94485 |  | 0.94485 | 0 | 0
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-05-17 | ng/L | 1.3113 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 8.16 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3113 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1223 | 0.21897 | 1.1734 | 0.42892 | 0.31796
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-06-11 | ng/L | 1.1734 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 32.64 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 38.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1734 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1223 | 0.21897 | 1.1734 | 0.42892 | 0.31796
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-06-26 | ng/L | 0.88235 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 16.32 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1223 | 0.21897 | 1.1734 | 0.42892 | 0.31796
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-07-31 | ng/L | 0.95739 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.98 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 7.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95739 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97306 | 0.022152 | 0.97306 | 0.031328 | 0.023223
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2015-04-09 | ng/L | 0.98872 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.98 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 7.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98872 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.97306 | 0.022152 | 0.97306 | 0.031328 | 0.023223
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-08-17 | ng/L | 0.89951 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 8.16 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 7.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89951 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84804 | 0.07279 | 0.84804 | 0.10294 | 0.076309
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2014-10-07 | ng/L | 0.79657 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.32 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79657 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.84804 | 0.07279 | 0.84804 | 0.10294 | 0.076309
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2015-08-11 | ng/L | 0.85427 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 5.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85427 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89671 | 0.037091 | 0.9129 | 0.068677 | 0.050909
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2015-08-11 | ng/L | 0.92295 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 5.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92295 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89671 | 0.037091 | 0.9129 | 0.068677 | 0.050909
2-AMINO-N-ISOPROPYLBENZAMIDE | 2437 | 68503LCM60 | 2015-08-11 | ng/L | 0.9129 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 5.97 | 2-AMINO-N-ISOPROPYLBENZAMIDE | . | 4 | 5.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9129 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89671 | 0.037091 | 0.9129 | 0.068677 | 0.050909