## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-07-19 | ng/L | 1.4735 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 36.24 | 2-AMINOBENZIMIDAZOLE | . | 9 | 53.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4735 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4735 |  | 1.4735 | 0 | 0
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-12-02 | ng/L | 1.0926 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 36.06 | 2-AMINOBENZIMIDAZOLE | . | 9 | 39.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0926 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0926 |  | 1.0926 | 0 | 0
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-08-20 | ng/L | 1.0872 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 18.12 | 2-AMINOBENZIMIDAZOLE | . | 9 | 19.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0872 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0872 |  | 1.0872 | 0 | 0
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-09-23 | ng/L | 1.2141 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 18.12 | 2-AMINOBENZIMIDAZOLE | . | 9 | 22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2141 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2399 | 0.15067 | 1.2141 | 0.29801 | 0.22091
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-11-18 | ng/L | 1.4018 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 36.24 | 2-AMINOBENZIMIDAZOLE | . | 9 | 50.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4018 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2399 | 0.15067 | 1.2141 | 0.29801 | 0.22091
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2015-04-08 | ng/L | 1.1038 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 18.12 | 2-AMINOBENZIMIDAZOLE | . | 9 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1038 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2399 | 0.15067 | 1.2141 | 0.29801 | 0.22091
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-12-16 | ng/L | 1.1398 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 36.06 | 2-AMINOBENZIMIDAZOLE | . | 9 | 41.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1398 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1398 |  | 1.1398 | 0 | 0
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2015-04-15 | ng/L | 1.137 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 18.03 | 2-AMINOBENZIMIDAZOLE | . | 9 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.137 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.137 |  | 1.137 | 0 | 0
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-05-17 | ng/L | 0.97615 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 18.03 | 2-AMINOBENZIMIDAZOLE | . | 9 | 17.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97615 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0251 | 0.10213 | 0.97615 | 0.1858 | 0.13773
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-06-11 | ng/L | 1.1425 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 72.12 | 2-AMINOBENZIMIDAZOLE | . | 9 | 82.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1425 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0251 | 0.10213 | 0.97615 | 0.1858 | 0.13773
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-06-26 | ng/L | 0.95674 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 36.06 | 2-AMINOBENZIMIDAZOLE | . | 9 | 34.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95674 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0251 | 0.10213 | 0.97615 | 0.1858 | 0.13773
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-07-31 | ng/L | 1.2031 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 18.12 | 2-AMINOBENZIMIDAZOLE | E | 9 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2031 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1369 | 0.093657 | 1.1369 | 0.13245 | 0.098184
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2015-04-09 | ng/L | 1.0706 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 18.12 | 2-AMINOBENZIMIDAZOLE | . | 9 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0706 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1369 | 0.093657 | 1.1369 | 0.13245 | 0.098184
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-08-17 | ng/L | 1.076 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 18.03 | 2-AMINOBENZIMIDAZOLE | . | 9 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2022 | 0.17844 | 1.2022 | 0.25236 | 0.18707
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2014-10-07 | ng/L | 1.3283 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 36.06 | 2-AMINOBENZIMIDAZOLE | . | 9 | 47.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3283 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2022 | 0.17844 | 1.2022 | 0.25236 | 0.18707
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2015-08-11 | ng/L | 1.5809 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.6 | 2-AMINOBENZIMIDAZOLE | . | 9 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5809 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3873 | 0.16869 | 1.3088 | 0.30882 | 0.22893
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2015-08-11 | ng/L | 1.3088 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.6 | 2-AMINOBENZIMIDAZOLE | . | 9 | 17.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3088 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3873 | 0.16869 | 1.3088 | 0.30882 | 0.22893
2-AMINOBENZIMIDAZOLE | 2437 | 68502LCM60 | 2015-08-11 | ng/L | 1.2721 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.6 | 2-AMINOBENZIMIDAZOLE | . | 9 | 17.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2721 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3873 | 0.16869 | 1.3088 | 0.30882 | 0.22893